## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0782 | HI93701-0 | CP-R25 | W44/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK |  |  | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | P/Final | 2024-10-31 | 15:06 | 2024-10-31 | 14:35 | MARK |  | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 2 | 33316
2 | 1.00 | 2 | P/Final | 2024-10-31 | 15:07 | 2024-10-31 | 14:35 | MARK |  | 1.01 | 1.02 | / | / | 0.522 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 33316
2 | 1.00 | 3 | P/Final | 2024-10-31 | 15:07 | 2024-10-31 | 14:35 | MARK |  | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.34 |  |  | Brigitta P |  | 3 | 2 | 33316
3 | 4.00 | 4 | P/Final | 2024-10-31 | 15:10 | 2024-10-31 | 14:35 | MARK |  | 4.03 | 3.94 | / | / | 1.912 |  |  |  | 2.36 |  |  | Brigitta P |  | 3 | 3 | 33316
3 | 4.00 | 5 | P/Final | 2024-10-31 | 15:15 | 2024-10-31 | 14:35 | MARK |  | 3.66 | 3.71 | / | / | 1.760 |  |  |  | 0.61 |  |  | Brigitta P |  | 3 | 3 | 33316
3 | 4.00 | 6 | P/Final | 2024-10-31 | 15:15 | 2024-10-31 | 14:35 | MARK |  | 4.03 | 3.94 | / | / | 1.912 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3 | 33316
1 | 0.00 | 7 | P/Final | 2024-10-31 | 15:16 | 2024-10-31 | 14:35 | MARK |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.53 |  |  | Brigitta P |  | 3 | 1 | 33316
2 | 1.00 | 8 | P/Final | 2024-11-04 | 13:48 | 2024-11-04 | 11:33 | ANA | 4 | 1.03 | 1.02 | / | / | 0.533 | 6.095 |  |  | 0.28 | 109 |  | Kinga |  | 3 | 2 | 114202
2 | 1.00 | 9 | P/Final | 2024-11-04 | 13:49 | 2024-11-04 | 11:33 | ANA | 4 | 1.00 | 1.00 | / | / | 0.520 | 6.339 |  |  | 0.19 | 117 |  | Kinga |  | 3 | 2 | 114202
1 | 0.00 | 10 | P/Final | 2024-11-04 | 13:56 | 2024-11-04 | 11:33 | ANA | 4 | 0.00 | 0.00 | / | / | -0.004 | 6.158 |  |  | 9.66 |  |  | Kinga |  | 3 | 1 | 114202
1 | 0.00 | 11 | P/Final | 2024-11-04 | 13:57 | 2024-11-04 | 11:33 | ANA | 4 | 0.00 | 0.00 | / | / | -0.004 | 6.161 |  |  | 0.26 |  |  | Kinga |  | 3 | 1 | 114202
3 | 4.00 | 12 | P/Final | 2024-11-04 | 14:00 | 2024-11-04 | 11:33 | ANA | 4 | 4.10 | 4.15 | / | / | 1.939 | 6.335 |  |  | 0.24 | 108 |  | Kinga |  | 3 | 3 | 114202
3 | 4.00 | 13 | P/Final | 2024-11-04 | 14:05 | 2024-11-04 | 11:33 | ANA | 4 | 4.05 | 4.06 | / | / | 1.922 | 6.162 |  |  | 0.31 | 112 |  | Kinga |  | 3 | 3 | 114202
2 | 1.00 | 14 | P/Final | 2024-11-04 | 15:03 | 2024-11-04 | 14:37 | Dorina | 4 | 1.02 | 1.02 | / | / | 0.529 | 6.198 |  |  | 0.16 | 92 |  | Kinga |  | 3 | 2 | 114202
2 | 1.00 | 15 | P/Final | 2024-11-04 | 15:04 | 2024-11-04 | 14:37 | Dorina | 4 | 0.98 |  | / | / | 0.510 | 6.241 |  |  | 0.98 | 118 |  | Kinga |  | 3 | 2 | 114202
3 | 4.00 | 16 | P/Final | 2024-11-04 | 15:08 | 2024-11-04 | 14:37 | Dorina | 4 | 4.15 | 4.15 | / | / | 1.959 | 6.273 |  |  | 0.23 | 82 |  | Kinga |  | 3 | 3 | 114202
1 | 0.00 | 17 | P/Final | 2024-11-04 | 15:11 | 2024-11-04 | 14:37 | Dorina | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 114202
1 | 0.00 | 18 | P/Final | 2024-11-04 | 15:12 | 2024-11-04 | 14:37 | Dorina | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 1 | 114202
3 | 4.00 | 19 | P/Final | 2024-11-04 | 15:17 | 2024-11-04 | 14:37 | Dorina | 4 | 4.02 | 4.05 | / | / | 1.909 | 6.327 |  |  | 0.40 | 124 |  | Kinga |  | 3 | 3 | 114202
2 | 1.00 | 20 | Old A | 2024-11-05 | 10:02 | 2024-11-05 | 07:02 | Ana | 4 | 1.02 | 1.02 | / | / | 0.531 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 2 | 114202
3 | 4.00 | 21 | Old A | 2024-11-05 | 10:03 | 2024-11-05 | 07:02 | Ana | 4 | 4.13 | 4.14 | / | / | 1.952 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 3 | 114202
2 | 1.00 | 22 | P/Final | 2024-11-05 | 10:17 | 2024-11-05 | 07:02 | Ana | 4 | 1.03 | 1.02 | / | / | 0.533 |  |  |  | 0.17 | 102 |  | Kinga |  | 3 | 2 | 114202
2 | 1.00 | 23 | P/Final | 2024-11-05 | 10:18 | 2024-11-05 | 07:02 | Ana | 4 | 1.03 | 1.00 | / | / | 0.533 |  |  |  | 0.47 | 117 |  | Kinga |  | 3 | 2 | 114202
3 | 4.00 | 24 | P/Final | 2024-11-05 | 10:22 | 2024-11-05 | 07:02 | Ana | 4 | 3.99 | 4.05 | / | / | 1.898 | 6.144 |  |  | 0.96 | 112 |  | Kinga |  | 3 | 3 | 114202
3 | 4.00 | 25 | P/Final | 2024-11-05 | 10:26 | 2024-11-05 | 07:02 | Ana | 4 | 4.12 | 3.95 | / | / | 1.950 | 6.147 |  |  | 0.35 | 112 |  | Kinga |  | 3 | 3 | 114202
1 | 0.00 | 26 | P/Final | 2024-11-05 | 10:29 | 2024-11-05 | 07:02 | Ana | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.149 |  |  | 0.33 |  |  | Kinga |  | 3 | 1 | 114202
1 | 0.00 | 27 | P/Final | 2024-11-05 | 10:30 | 2024-11-05 | 07:02 | Ana | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.104 |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 114202
3 | 4.00 | 28 | P/Final | 2024-11-05 | 16:01 | 2024-11-05 | 15:25 | dorina | 4 | 4.12 | 4.20 | / | / | 1.949 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 103945
3 | 4.00 | 29 | P/Final | 2024-11-05 | 16:03 | 2024-11-05 | 15:25 | dorina | 4 | 4.15 | 4.21 | / | / | 1.961 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 103945
3 | 4.00 | 30 | P/Final | 2024-11-05 | 16:04 | 2024-11-05 | 15:25 | dorina | 4 | 4.13 | 4.18 | / | / | 1.952 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 103945
2 | 1.00 | 31 | P/Final | 2024-11-05 | 16:17 | 2024-11-05 | 15:25 | dorina | 4 | 1.02 | 1.02 | / | / | 0.530 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 103945
2 | 1.00 | 32 | P/Final | 2024-11-05 | 16:17 | 2024-11-05 | 15:25 | dorina | 4 | 1.02 | 1.01 | / | / | 0.529 |  |  |  | 0.14 |  |  | Kinga |  | 3 | 2 | 103945
2 | 1.00 | 33 | P/Final | 2024-11-05 | 16:18 | 2024-11-05 | 15:25 | dorina | 4 | 1.04 | 1.03 | / | / | 0.537 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 2 | 103945
1 | 0.00 | 34 | P/Final | 2024-11-05 | 16:19 | 2024-11-05 | 15:25 | dorina | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 1 | 103945
1 | 0.00 | 35 | P/Final | 2024-11-05 | 16:19 | 2024-11-05 | 15:25 | dorina | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 1 | 103945
2 | 1.00 | 36 | Old A | 2024-11-06 | 10:12 | 2024-11-06 | 07:45 | Giorgiana | 4 | 1.04 | 1.03 | / | / | 0.538 |  |  |  | 3.08 |  |  | Brigitta P |  | 3 | 2 | 103945
3 | 4.00 | 37 | Old A | 2024-11-06 | 10:13 | 2024-11-06 | 07:45 | Giorgiana | 4 | 4.13 | 4.15 | / | / | 1.952 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 38 | Old A | 2024-11-06 | 10:14 | 2024-11-06 | 07:45 | Giorgiana | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 2.11 |  |  | Kinga |  | 3 | 1 | 103945
2 | 1.00 | 39 | P/Final | 2024-11-06 | 10:15 | 2024-11-06 | 07:45 | Giorgiana | 4 | 1.06 | 1.05 | / | / | 0.549 | 6.259 |  |  | 3.20 | 115 |  | Kinga |  | 3 | 2 | 103945
2 | 1.00 | 40 | P/Final | 2024-11-06 | 10:16 | 2024-11-06 | 07:45 | Giorgiana | 4 | 1.06 | 1.05 | / | / | 0.550 | 6.273 |  |  | 0.21 | 110 |  | Kinga |  | 3 | 2 | 103945
3 | 4.00 | 41 | P/Final | 2024-11-06 | 10:18 | 2024-11-06 | 07:45 | Giorgiana | 4 | 4.14 | 4.14 | / | / | 1.949 | 6.118 |  |  | 0.49 | 115 |  | Kinga |  | 3 | 3 | 103945
3 | 4.00 | 42 | P/Final | 2024-11-06 | 10:18 | 2024-11-06 | 07:45 | Giorgiana | 4 | 4.12 | 4.15 | / | / | 1.949 | 6.247 |  |  | 0.49 | 127 |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 43 | P/Final | 2024-11-06 | 10:19 | 2024-11-06 | 07:45 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.25 | 6.215 |  | Kinga |  | 3 | 1 | 103945
1 | 0.00 | 44 | P/Final | 2024-11-06 | 10:20 | 2024-11-06 | 07:45 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.187 |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 103945
2 | 1.00 | 45 | P/Final | 2024-11-06 | 16:09 | 2024-11-06 | 14:31 | Dorina | 4 | 1.04 | 1.04 | / | / | 0.540 | 6.196 |  |  | 0.36 |  |  | Monika |  | 3 | 2
2 | 1.00 | 46 | P/Final | 2024-11-06 | 16:10 | 2024-11-06 | 14:31 | Dorina | 4 | 1.03 | 1.03 | / | / | 0.535 | 6.114 |  |  | 0.47 | 122 |  | Monika |  | 3 | 2
3 | 4.00 | 47 | P/Final | 2024-11-06 | 16:11 | 2024-11-06 | 14:31 | Dorina | 4 | 4.13 | 4.14 | / | / | 1.954 | 6.222 |  |  | 0.32 | 124 |  | Monika |  | 3 | 3
3 | 4.00 | 48 | P/Final | 2024-11-06 | 16:11 | 2024-11-06 | 14:31 | Dorina | 4 | 3.94 | 4.12 | / | / | 1.877 | 6.153 |  |  | 0.28 | 106 |  | Monika |  | 3 | 3
1 | 0.00 | 49 | P/Final | 2024-11-06 | 16:12 | 2024-11-06 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.28 | 116 |  | Monika |  | 3 | 1
1 | 0.00 | 50 | P/Final | 2024-11-06 | 16:13 | 2024-11-06 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.31 |  |  | Monika |  | 3 | 1
2 | 1.00 | 51 | Old A | 2024-11-07 | 08:16 | 2024-11-07 | 06:48 | Giorgiana | 4 | 1.05 | 1.01 | / | / | 0.542 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 2 | 103945
3 | 4.00 | 52 | Old A | 2024-11-07 | 08:17 | 2024-11-07 | 06:48 | Giorgiana | 4 | 4.10 | 4.14 | / | / | 1.942 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 53 | Old A | 2024-11-07 | 08:21 | 2024-11-07 | 06:48 | Giorgiana | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 1.68 |  |  | Kinga |  | 3 | 1 | 103945
2 | 1.00 | 54 | P/Final | 2024-11-07 | 08:22 | 2024-11-07 | 06:48 | Giorgiana | 4 | 1.05 | 1.04 | / | / | 0.543 |  |  |  | 0.61 | 114 |  | Kinga |  | 3 | 2 | 103945
2 | 1.00 | 55 | P/Final | 2024-11-07 | 08:23 | 2024-11-07 | 06:48 | Giorgiana | 4 | 1.04 | 1.01 | / | / | 0.539 |  |  |  | 0.43 | 106 |  | Kinga |  | 3 | 2 | 103945
3 | 4.00 | 56 | P/Final | 2024-11-07 | 08:27 | 2024-11-07 | 06:48 | Giorgiana | 4 | 4.15 | 4.15 | / | / | 1.968 |  |  |  | 0.43 | 116 |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 57 | P/Final | 2024-11-07 | 08:30 | 2024-11-07 | 06:48 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.41 | 110 |  | Kinga |  | 3 | 1 | 103945
1 | 0.00 | 58 | P/Final | 2024-11-07 | 08:31 | 2024-11-07 | 06:48 | Giorgiana | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 5.73 | 110 |  | Kinga |  | 3 | 1 | 103945
3 | 4.00 | 59 | P/Final | 2024-11-07 | 08:34 | 2024-11-07 | 06:48 | Giorgiana | 4 | 4.15 | 4.15 | / | / | 1.960 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3 | 103945
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 35 | 1.02 mg/L | 18 | 35 | 1.02 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 4.07 mg/L | 18 | 36 | 4.07 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0 mg/L | 15 | 30 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.02 | YES
4.00 | 3.85 ÷ 4.15 | 4.07 | YES
Validation Date | by