## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0784 | HI93701-0 | CP-R25 | W44/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK |  |  | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Valid | 2024-11-01 | 10:40 | 2024-11-01 | 09:57 | MARK |  | 3.86 | 3.90 | / | / | 1.844 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 2 | Valid | 2024-11-01 | 10:41 | 2024-11-01 | 09:57 | MARK |  | 3.78 | 3.86 | / | / | 1.812 |  |  |  | 0.24 |  |  | Brigitta P |  | 3 | 3
2 | 1.00 | 3 | Valid | 2024-11-01 | 10:44 | 2024-11-01 | 09:57 | MARK |  | 0.88 | 0.85 | / | / | 0.457 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 4 | Valid | 2024-11-01 | 10:45 | 2024-11-01 | 09:57 | MARK |  | 0.80 | 0.85 | / | / | 0.418 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 5 | Valid | 2024-11-01 | 10:45 | 2024-11-01 | 09:57 | MARK |  | 0.86 | 0.85 | / | / | 0.449 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 6 | P/Final | 2024-11-01 | 11:54 | 2024-11-01 |  | MARK | 4 | 1.00 | 1.00 | / | / | 0.519 |  |  |  | 0.519 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 7 | P/Final | 2024-11-01 | 11:56 | 2024-11-01 |  | MARK | 4 | 1.01 | 1.02 | / | / | 0.524 |  |  |  | 0.55 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 8 | P/Final | 2024-11-01 | 11:57 | 2024-11-01 |  | MARK | 4 | 1.02 | 1.02 | / | / | 0.530 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 9 | P/Final | 2024-11-01 | 11:59 | 2024-11-01 |  | MARK | 4 | 4.04 | 4.10 | / | / | 1.918 | 6.345 |  |  | 0.83 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 10 | P/Final | 2024-11-01 | 12:00 | 2024-11-01 |  | MARK | 4 | 3.89 | 3.97 | / | / | 1.856 | 6.280 |  |  | 1.49 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 11 | P/Final | 2024-11-01 | 12:01 | 2024-11-01 |  | MARK | 4 | 3.99 | 4.06 | / | / | 1.896 | 6.330 |  |  | 1.49 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 12 | P/Final | 2024-11-01 | 12:04 | 2024-11-01 |  | MARK | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.023 |  |  | 0.48 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 13 | P/Final | 2024-11-01 | 12:05 | 2024-11-01 |  | MARK | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.01 mg/L | 3 | 6 | 4.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.01 mg/L | 3 | 6 | 1.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.01 | YES
Validation Date | by