## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0818 | HI93701-0 | CP-R25 | 46/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-11-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-13 |  | 4HEAD |  |  | 0784
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2024-11-13 | 15:00 | 2024-11-13 | 14:37 | ERIKA |  | 1.04 | 1.02 | / | / | 0.537 |  |  |  | 0.63 |  |  | Kinga |  | 3 | 2 | 103945
3 | 4.00 | 2 | Old A | 2024-11-13 | 15:01 | 2024-11-13 | 14:37 | ERIKA |  | 3.85 | 3.89 | / | / | 1.833 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 3 | Old A | 2024-11-13 | 15:04 | 2024-11-13 | 14:37 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 103945
2 | 1.00 | 4 | Valid | 2024-11-13 | 15:11 | 2024-11-13 | 14:37 | ERIKA |  | 1.02 | 1.02 | / | / | 0.531 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 2 | 103945
2 | 1.00 | 5 | Valid | 2024-11-13 | 15:12 | 2024-11-13 | 14:37 | ERIKA |  | 1.03 | 1.02 | / | / | 0.534 |  |  |  | 0.02 |  |  | Kinga |  | 3 | 2 | 103945
1 | 0.00 | 6 | Valid | 2024-11-13 | 15:16 | 2024-11-13 | 14:37 | ERIKA |  | 0.01 | 0.00 | / | / |  |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 103945
3 | 4.00 | 7 | Valid | 2024-11-13 | 15:19 | 2024-11-13 | 14:37 | ERIKA |  | 3.91 | 3.93 | / | / |  |  |  |  | 1.840 |  |  | Kinga |  | 3 | 3 | 103945
1 | 0.00 | 8 | Valid | 2024-11-13 | 15:23 | 2024-11-13 | 14:37 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1 | 103945
3 | 4.00 | 9 | Valid | 2024-11-13 | 15:32 | 2024-11-13 | 14:37 | ERIKA |  | 3.98 | 3.97 | / | / |  |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3 | 103945
2 | 1.00 | 10 | P/Final | 2024-11-15 | 15:41 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 1.01 | 0.99 | / | / | 0.525 |  |  |  | 2.73 |  |  | Brigitta P |  | 3 | 2 | 92048
2 | 1.00 | 11 | P/Final | 2024-11-15 | 15:41 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.18 |  |  | Brigitta P |  | 3 | 2 | 92048
3 | 4.00 | 12 | P/Final | 2024-11-15 | 15:42 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 4.03 | 4.10 | / | / | 1.917 |  |  |  | 0.47 | 114 |  | Brigitta P |  | 3 | 3 | 92048
3 | 4.00 | 13 | P/Final | 2024-11-15 | 15:42 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 4.04 | 4.11 | / | / | 1.916 |  |  |  | 0.30 | 120 |  | Brigitta P |  | 3 | 3 | 92048
1 | 0.00 | 14 | P/Final | 2024-11-15 | 15:44 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.51 | 124 |  | Brigitta P |  | 3 | 1 | 92048
1 | 0.00 | 15 | P/Final | 2024-11-15 | 15:45 | 2024-11-15 | 15:01 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 6.34 | 138 |  | Kinga |  | 3 | 1 | 92048
1 | 0.00 | 16 | Old A | 2024-11-18 | 09:13 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 1 | 92048
2 | 1.00 | 17 | Old A | 2024-11-18 | 09:13 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.99 | 0.96 | / | / | 0.512 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2 | 92048
3 | 4.00 | 18 | Old A | 2024-11-18 | 09:14 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 4.10 | 4.11 | / | / | 1.939 |  |  |  | 0.64 |  |  | Kinga |  | 3 | 3 | 92048
2 | 1.00 | 19 | P/Final | 2024-11-18 | 09:15 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.99 | 0.97 | / | / | 0.513 | 5.906 |  |  | 0.21 | 95 |  | Kinga |  | 3 | 2 | 92048
2 | 1.00 | 20 | P/Final | 2024-11-18 | 09:16 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.98 | 0.95 | / | / | 0.506 | 5.714 |  |  | 3.20 | 124 |  | Kinga |  | 3 | 2 | 92048
3 | 4.00 | 21 | P/Final | 2024-11-18 | 09:17 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 4.13 | 4.15 | / | / | 1.951 | 6.038 |  |  | 0.20 | 138 |  | Kinga |  | 3 | 3 | 92048
3 | 4.00 | 22 | P/Final | 2024-11-18 | 09:17 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 4.07 | 4.10 | / | / | 1.927 | 6.154 |  |  | 0.35 | 115 |  | Kinga |  | 3 | 3 | 92048
1 | 0.00 | 23 | P/Final | 2024-11-18 | 09:18 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.068 |  |  | 0.00 | 115 |  | Kinga |  | 3 | 1 | 92048
1 | 0.00 | 24 | P/Final | 2024-11-18 | 09:18 | 2024-11-18 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.079 |  |  | 0.35 |  |  | Kinga |  | 3 | 1 | 92048
2 | 1.00 | 25 | P/Final | 2024-11-18 | 15:58 | 2024-11-18 | 14:18 | DORINA | 4 | 1.01 | 0.96 | / | / | 0.522 | 6.102 |  |  | 0.26 | 132 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 26 | P/Final | 2024-11-18 | 15:58 | 2024-11-18 | 14:18 | DORINA | 4 | 0.96 | 0.95 | / | / | 0.497 | 5.940 |  |  | 0.20 | 121 |  | Brigitta P |  | 3 | 2
3 | 4.00 | 27 | P/Final | 2024-11-18 | 15:59 | 2024-11-18 | 14:18 | DORINA | 4 | 4.04 | 4.06 | / | / | 1.916 | 5.969 |  |  | 0.29 | 111 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 28 | P/Final | 2024-11-18 | 15:59 | 2024-11-18 | 14:18 | DORINA | 4 | 4.10 | 4.14 | / | / | 1.956 | 5.969 |  |  | 0.41 | 130 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 29 | P/Final | 2024-11-18 | 16:00 | 2024-11-18 | 14:18 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.68 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 30 | P/Final | 2024-11-18 | 16:00 | 2024-11-18 | 14:18 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.68 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.98 mg/L | 6 | 12 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4.09 mg/L | 6 | 12 | 4.09 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.09 | YES
Validation Date | by