## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0858 | HI93701-0 | CP-R25 | W 49 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Erika | 2024-12-09 |  | 4HEAD |  |  | 0782
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2024-12-03 | 14:36 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.95 | 0.95 | / | / | 1.860 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 2 | 64827
3 | 4.00 | 2 | Old A | 2024-12-03 | 14:36 | 2024-12-03 | 14:12 | ERIKA | 4 | 3.95 | 3.89 | / | / | 1.870 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 3 | 64827
1 | 0.00 | 3 | Old A | 2024-12-03 | 14:37 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 1 | 64827
2 | 1.00 | 4 | Valid | 2024-12-03 | 14:40 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.95 | 0.95 | / | / | 0.495 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 2 | 64827
2 | 1.00 | 5 | Valid | 2024-12-03 | 14:41 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.96 | 0.97 | / | / | 0.487 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 2 | 64827
3 | 4.00 | 6 | Valid | 2024-12-03 | 14:42 | 2024-12-03 | 14:12 | ERIKA | 4 | 3.95 | 3.91 | / | / | 1.879 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 64827
3 | 4.00 | 7 | Valid | 2024-12-03 | 14:44 | 2024-12-03 | 14:12 | ERIKA | 4 | 3.87 | 3.93 | / | / | 1.801 |  |  |  | 1.32 |  |  | Kinga |  | 3 | 3 | 64827
1 | 0.00 | 8 | Valid | 2024-12-03 | 14:45 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.00 | 0.03 | / | / | 0.006 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 64827
1 | 0.00 | 9 | Valid | 2024-12-03 | 14:46 | 2024-12-03 | 14:12 | ERIKA | 4 | 0.00 | 0.03 | / | / | 0.003 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 1 | 64827
2 | 1.00 | 10 | P/Final | 2024-12-09 | 21:30 | 2024-12-09 | 21:25 | GIORGIANA | 4 | 0.96 | 0.97 | / | / | 0.487 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | 64827
2 | 1.00 | 11 | P/Final | 2024-12-09 | 21:35 | 2024-12-09 | 21:25 | GIORGIANA | 4 | 0.96 | 0.97 | / | / | 0.489 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 1 | 64827
3 | 4.00 | 12 | P/Final | 2024-12-09 | 21:35 | 2024-12-09 | 21:30 | GIORGIANA | 4 | 3.95 | 3.95 | / | / | 1.879 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1 | 64827
3 | 4.00 | 13 | P/Final | 2024-12-09 | 21:35 | 2024-12-09 | 21:30 | GIORGIANA | 4 | 3.95 | 3.95 | / | / | 1.879 |  |  |  | 0.32 |  |  | Brigitta P |  | 3 | 1 | 64827
1 | 0.00 | 14 | P/Final | 2024-12-09 | 21:35 | 2024-12-09 | 21:35 | GIORGIANA | 4 | 0.00 | 0.03 | / | / | 0.005 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 1 | 64827
1 | 0.00 | 15 | P/Final | 2024-12-09 | 21:35 | 2024-12-09 | 21:35 | GIORGIANA | 4 | 0.00 | 0.03 | / | / | 0.003 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1 | 64827
1 | 0.00 | 16 | P/Final | 2024-12-10 | 09:27 | 2024-12-10 | 07:18 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | P/Final | 2024-12-10 | 09:27 | 2024-12-10 | 07:18 | DORINA |  | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 18 | P/Final | 2024-12-10 | 09:29 | 2024-12-10 | 07:18 | DORINA |  | 1.00 | 1.05 | / | / | 0.521 |  |  |  | 0.19 | 86 |  | Kinga |  | 3 | 2
2 | 1.00 | 19 | P/Final | 2024-12-10 | 09:29 | 2024-12-10 | 07:18 | DORINA |  | 1.00 | 1.02 | / | / | 0.521 |  |  |  | 0.20 | 97 |  | Kinga |  | 3 | 2
2 | 1.00 | 20 | P/Final | 2024-12-10 | 09:30 | 2024-12-10 | 07:18 | DORINA |  | 1.04 | 1.05 | / | / | 0.541 |  |  |  | 0.18 | 95 |  | Kinga |  | 3 | 2
3 | 4.00 | 21 | P/Final | 2024-12-10 | 09:30 | 2024-12-10 | 07:18 | DORINA |  | 4.12 | 4.12 | / | / | 1.948 |  |  |  | 0.25 | 95 |  | Kinga |  | 3 | 3
3 | 4.00 | 22 | P/Final | 2024-12-10 | 09:31 | 2024-12-10 | 07:18 | DORINA |  | 4.09 | 4.12 | / | / | 1.936 |  |  |  | 0.28 | 99 |  | Kinga |  | 3 | 3
2 | 1.00 | 23 | P/Final | 2024-12-10 | 15:42 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 1.03 | 1.06 | / | / | 0.562 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 2 | 105748
2 | 1.00 | 24 | Old A | 0.5612024/12/10 | 15:47 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 0.97 | 1.02 | / | / | 0.505 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2 | 105748
3 | 4.00 | 25 | Old A | 0.5612024/12/10 | 15:48 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 4.10 | 4.13 | / | / | 1.941 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 105748
1 | 0.00 | 26 | Old A | 0.5612024/12/10 | 15:50 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1 | 105748
2 | 1.00 | 27 | P/Final | 0.5612024/12/10 | 15:52 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 0.97 | 1.02 | / | / | 0.505 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 2 | 105748
2 | 1.00 | 28 | P/Final | 0.5612024/12/10 | 15:53 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 1.04 | 1.05 | / | / | 0.540 | 5.772 |  |  | 0.22 |  |  | Kinga |  | 3 | 2 | 105748
1 | 0.00 | 29 | P/Final | 2024-12-10 | 15:59 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 105748
1 | 0.00 | 30 | P/Final | 2024-12-10 | 16:00 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 5.935 |  |  | 0.15 | 118 |  | Kinga |  | 3 | 1 | 105748
3 | 4.00 | 31 | P/Final | 2024-12-10 | 16:02 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 3.94 | 4.03 | / | / |  |  |  |  | 0.12 | 127 |  | Kinga |  | 3 | 3 | 105748
3 | 4.00 | 32 | P/Final | 2024-12-10 | 16:03 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 4.01 | 4.09 | / | / | 1.837 |  |  |  | 4.87 | 122 |  | Kinga |  | 3 | 3 | 105748
3 | 4.00 | 33 | P/Final | 2024-12-10 | 16:04 | 2024-12-10 | 14:34 | GIORGIANA | 4 | 3.85 | 3.92 | / | / | 1.841 | 5.996 |  |  | 0.58 | 91 |  | Kinga |  | 3 | 3 | 105748
3 | 4.00 | 34 | P/Final | 2024-12-11 | 12:30 | 2024-12-11 | 12:12 | DORINA | 4 | 4.05 | 4.06 | / | / | 1.921 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 105748
3 | 4.00 | 35 | P/Final | 2024-12-11 | 12:31 | 2024-12-11 | 12:12 | DORINA | 4 | 4.05 | 4.11 | / | / | 1.919 | 5.977 |  |  | 0.15 | 130 |  | Brigitta P |  | 3 | 3 | 105748
3 | 4.00 | 36 | P/Final | 2024-12-11 | 12:33 | 2024-12-11 | 12:12 | DORINA | 4 | 3.94 | 3.95 | / | / | 1.878 | 6.094 |  |  | 0.50 |  |  | Brigitta P |  | 3 | 3 | 105748
2 | 1.00 | 37 | P/Final | 2024-12-11 | 12:37 | 2024-12-11 | 12:12 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.516 | 5.977 |  |  | 0.18 | 120 |  | Brigitta P |  | 3 | 2 | 105748
2 | 1.00 | 38 | P/Final | 2024-12-11 | 12:37 | 2024-12-11 | 12:12 | DORINA | 4 | 1.02 | 1.02 | / | / | 0.542 | 6.004 |  |  | 0.20 |  |  | Brigitta P |  | 3 | 2 | 105748
2 | 1.00 | 39 | P/Final | 2024-12-11 | 12:38 | 2024-12-11 | 12:12 | DORINA | 4 | 1.05 | 1.03 | / | / | 0.542 | 5.949 |  |  | 0.18 | 103 |  | Brigitta P |  | 3 | 2 | 105748
1 | 0.00 | 40 | P/Final | 2024-12-11 | 12:40 | 2024-12-11 | 12:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 5.995 |  |  | 0.15 |  |  | Brigitta P |  | 3 | 2 | 105748
1 | 0.00 | 41 | P/Final | 2024-12-11 | 12:40 | 2024-12-11 | 12:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 5.901 |  |  | 0.13 | 125 |  | Brigitta P |  | 3 | 2 | 105748
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 1.01 mg/L | 11 | 22 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 4.01 mg/L | 10 | 20 | 4.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.01 mg/L | 8 | 16 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.01 | YES
Validation Date | by