## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0861 | HI93701-0 | CP-R25 | W 49 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | TABLET 18 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-12-17 | 2024-12-18 | 4 HEAD |  |  | 0784
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-833 | HI9711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
2 | 1.00 | 0.94 | 1.06
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Old A | 2024-12-04 | 15:14 | 2024-12-04 | 14:30 | ERIKA | 4 | 3.94 | 3.97 | / | / | 1.875 |  |  |  | 2.76 |  |  | Kinga |  | 3 | 3 | 64827
1 | 0.00 | 2 | Old A | 2024-12-04 | 15:17 | 2024-12-04 | 14:30 | ERIKA | 4 | 0.00 | 0.00 | / | / | -0.024 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 1 | 64827
1 | 0.00 | 3 | Valid | 2024-12-04 | 15:20 | 2024-12-04 | 14:30 | ERIKA | 4 | 0.00 | 0.00 | / | / | -0.025 | 6.005 |  |  | 1.17 |  |  | Kinga |  | 3 | 1 | 64827
1 | 0.00 | 4 | Valid | 2024-12-04 | 15:21 | 2024-12-04 | 14:30 | ERIKA | 4 | 0.00 | 0.00 | / | / | -0.022 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 1 | 64827
3 | 4.00 | 5 | Old A | 2024-12-04 | 15:44 | 2024-12-04 | 14:30 | ERIKA | 4 | 4.10 | 4.15 | / | / | 1.993 | 6.038 |  |  | 2.41 |  |  | Kinga |  | 3 | 3 | 32647
2 | 1.00 | 6 | Valid | 2024-12-04 | 15:47 | 2024-12-04 | 14:30 | ERIKA | 4 | 1.00 | 1.05 | / | / | 0.517 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 2 | 32647
2 | 1.00 | 7 | Valid | 2024-12-04 | 15:48 | 2024-12-04 | 14:30 | ERIKA | 4 | 1.00 | 1.05 | / | / | 0.518 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 2 | 32647
3 | 4.00 | 8 | Valid | 2024-12-04 | 15:51 | 2024-12-04 | 14:30 | ERIKA | 4 | 3.92 | 3.98 | / | / | 1.831 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 3 | 32647
3 | 4.00 | 9 | Valid | 2024-12-04 | 15:52 | 2024-12-04 | 14:30 | ERIKA | 4 | 4.12 | 4.13 | / | / | 1.969 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 3 | 32647
2 | 1.00 | 10 | Old A | 2024-12-18 | 08:24 | 2024-12-17 | 19:44 | DORINA | 4 | 1.03 | 0.98 | / | / | 0.532 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 11 | P/Final | 2024-12-18 | 08:25 | 2024-12-17 | 19:44 | DORINA | 4 | 4.12 | 4.15 | / | / | 1.999 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 12 | Old A | 2024-12-18 | 08:25 | 2024-12-17 | 19:44 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 13 | P/Final | 2024-12-18 | 08:29 | 2024-12-17 | 19:44 | DORINA | 4 | 1.03 | 0.98 | / | / | 0.533 | 6.081 |  |  | 0.97 | 110 |  | Kinga |  | 3 | 2
2 | 1.00 | 14 | P/Final | 2024-12-18 | 08:30 | 2024-12-17 | 19:44 | DORINA | 4 | 1.03 | 0.98 | / | / | 0.533 |  |  |  | 4.17 | 114 |  | Kinga |  | 3 | 2
3 | 4.00 | 15 | P/Final | 2024-12-18 | 08:33 | 2024-12-17 | 19:44 | DORINA | 4 | 4.12 | 4.14 | / | / | 1.955 | 6.048 |  |  | 0.17 | 130 |  | Kinga |  | 3 | 3
3 | 4.00 | 16 | P/Final | 2024-12-18 | 08:35 | 2024-12-17 | 19:44 | DORINA | 4 | 4.14 | 4.15 | / | / | 1.964 |  |  |  | 0.20 | 109 |  | Kinga |  | 3 | 3
1 | 0.00 | 17 | P/Final | 2024-12-18 | 08:36 | 2024-12-17 | 19:44 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 5.680 |  |  | 0.47 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | P/Final | 2024-12-18 | 08:37 | 2024-12-17 | 19:44 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.94 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 19 | P/Final | 2024-12-18 | 08:41 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 1.03 | 0.97 | / | / | 0.532 | 6.010 |  |  | 0.14 | 118 |  | Kinga |  | 3 | 2
2 | 1.00 | 20 | P/Final | 2024-12-18 | 08:42 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 1.04 | 0.99 | / | / | 0.537 |  |  |  | 0.20 | 115 |  | Kinga |  | 3 | 2
3 | 4.00 | 21 | P/Final | 2024-12-18 | 08:45 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 4.16 | 4.15 | / | / | 1.989 | 6.049 |  |  | 0.14 | 105 |  | Kinga |  | 3 | 3
3 | 4.00 | 22 | P/Final | 2024-12-18 | 08:46 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 4.13 | 4.15 | / | / | 1.969 |  |  |  | 0.12 | 102 |  | Kinga |  | 3 | 3
1 | 0.00 | 23 | P/Final | 2024-12-18 | 08:49 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.002 |  |  | 0.76 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 24 | P/Final | 2024-12-18 | 08:49 | 2024-12-18 | 06:46 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.00 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 4.14 mg/L | 5 | 10 | 4.14 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.01 mg/L | 4 | 8 | 1.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.14 | YES
Validation Date | by