## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0877 | HI93701-0 | CP-R25 | W 51/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-01-10 | 2025-01-12 | 1HEAD |  |  | 0861
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2024-12-19 | 10:19 | 2024-12-19 | 08:47 | ERIKA | 4 | 1.00 | 1.01 | / | / | 0.520 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2024-12-19 | 10:21 | 2024-12-19 | 08:47 | ERIKA | 4 | 4.06 | 4.10 | / | / | 1.926 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2024-12-19 | 10:22 | 2024-12-19 | 08:47 | ERIKA | 4 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | Valid | 2024-12-19 | 10:24 | 2024-12-19 | 08:47 | ERIKA | 4 | 0.98 | 0.98 | / | / | 0.507 | 6.291 |  |  | 0.65 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | Valid | 2024-12-19 | 10:25 | 2024-12-19 | 08:47 | ERIKA | 4 | 1.02 | 1.02 | / | / | 0.528 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | Valid | 2024-12-19 | 10:27 | 2024-12-19 | 08:47 | ERIKA | 4 | 4.02 | 4.09 | / | / | 1.908 | 6.175 |  |  | 2.06 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | Valid | 2024-12-19 | 10:28 | 2024-12-19 | 08:47 | ERIKA | 4 | 4.12 | 4.14 | / | / | 1.949 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2024-12-19 | 10:30 | 2024-12-19 | 08:47 | ERIKA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.156 |  |  | 0.88 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2024-12-19 | 10:30 | 2024-12-19 | 08:47 | ERIKA | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 3.44 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Final | 2025-01-10 | 14:05 | 2025-01-10 | 13:01 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.516 |  |  |  | 1.68 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Final | 2025-01-10 | 14:06 | 2025-01-10 | 13:01 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.523 | 5.978 |  |  | 0.40 | 121 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Final | 2025-01-10 | 14:16 | 2025-01-10 | 13:01 | DORINA | 4 | 4.15 | 4.15 | / | / | 1.961 |  |  |  | 0.13 | 118 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Final | 2025-01-10 | 14:17 | 2025-01-10 | 13:01 | DORINA | 4 | 4.12 | 4.14 | / | / | 1.950 | 5.996 |  |  | 0.13 | 143 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Final | 2025-01-10 | 14:18 | 2025-01-10 | 13:01 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.74 | 130 |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Final | 2025-01-10 | 14:18 | 2025-01-10 | 13:01 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.024 |  |  | 0.60 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 16 | P/FINAL | 2025-01-10 | 16:07 | 2025-01-10 | 14:27 | GIORGIANA | 4 | 1.03 | 1.02 | / | / | 0.536 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 17 | P/FINAL | 2025-01-10 | 16:07 | 2025-01-10 | 14:27 | GIORGIANA | 4 | 1.06 | 1.06 | / | / | 0.354 |  |  |  | 0.63 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 18 | P/FINAL | 2025-01-10 | 16:08 | 2025-01-10 | 14:27 | GIORGIANA | 4 | 3.94 | 4.00 | / | / | 1.876 |  |  |  | 1.95 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 19 | P/FINAL | 2025-01-10 | 16:08 | 2025-01-10 | 14:27 | GIORGIANA | 4 | 3.94 | 4.01 | / | / | 1.876 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 20 | P./FINAL | 2025-01-10 | 16:09 | 2025-01-10 | 14:27 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1
3 | 4.00 | 21 | Old A | 2025-01-13 | 08:57 | 2025-01-13 |  | GIORGIANA | 4 | 4.09 | 4.12 | / | / | 1.935 |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 3
2 | 1.00 | 22 | Old A | 2025-01-13 | 08:58 | 2025-01-13 |  | GIORGIANA | 4 | 1.03 | 1.03 | / | / | 0.535 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 23 | Old A | 2025-01-13 | 09:00 | 2025-01-13 |  | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1
3 | 4.00 | 24 | P/Prod | 2025-01-13 | 09:04 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 4.11 | 4.15 | / | / | 1.944 | 6.110 |  |  | 0.14 | 97 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 25 | P/Prod | 2025-01-13 | 09:06 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 4.05 | 4.11 | / | / | 0.10 |  |  |  | 1.921 | 103 |  | Brigitta P |  | 3 | 3
2 | 1.00 | 26 | P/Prod | 2025-01-13 | 09:10 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 1.04 | 1.03 | / | / | 0.540 | 6.115 |  |  | 0.15 | 111 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 27 | P/Prod | 2025-01-13 | 09:10 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 1.03 | 1.02 | / | / | 0.533 |  |  |  | 0.75 | 105 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 28 | P/Prod | 2025-01-13 | 09:11 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 1.03 | 1.03 | / | / | 0.536 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 29 | P/Prod | 2025-01-13 | 9:10 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.074 |  |  | 0.25 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 30 | P/Prod | 2025-01-13 | 9:10 | 2025-01-13 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 31 | P/Prod | 2025-01-13 | 15:20 | 2025-01-13 | 06:41 | DORINA | 4 | 1.02 | 1.01 | / | / | 0.526 |  |  |  | 0.53 | 118 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 32 | P/Prod | 2025-01-13 | 15:20 | 2025-01-13 | 06:41 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.526 |  |  |  | 0.21 | 114 |  | Brigitta P |  | 3 | 2
3 | 4.00 | 33 | P/Prod | 2025-01-13 | 15:25 | 2025-01-13 | 06:41 | DORINA | 4 | 4.04 | 4.08 | / | / | 1.915 |  |  |  | 0.13 | 117 |  | Brigitta P |  | 3 | 2
3 | 4.00 | 34 | P/Prod | 2025-01-13 | 15:25 | 2025-01-13 | 06:41 | DORINA | 4 | 3.98 | 4.02 | / | / | 1.893 |  |  |  | 0.20 | 119 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 35 | P/FINAL | 2025-01-14 | 08:50 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 1.05 | 1.04 | / | / | 0.542 |  |  |  | 0.47 | 114 |  | Kinga |  | 3 | 2
2 | 1.00 | 36 | P/FINAL | 2025-01-14 | 08:54 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 1.02 | 1.00 | / | / | 0.527 |  |  |  | 0.26 | 122 |  | Kinga |  | 3 | 2
2 | 1.00 | 37 | P/FINAL | 2025-01-14 | 08:55 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 1.02 | 1.03 | / | / | 0.531 |  |  |  | 0.29 | 105 |  | Kinga |  | 3 | 2
3 | 4.00 | 38 | P/FINAL | 2025-01-14 | 08:55 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 4.01 | 3.98 | / | / | 1.903 |  |  |  | 0.77 | 110 |  | Kinga |  | 3 | 3
3 | 4.00 | 39 | P/FINAL | 2025-01-14 | 08:56 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 3.98 | 4.04 | / | / | 1.893 |  |  |  | 2.57 | 112 |  | Kinga |  | 3 | 3
3 | 4.00 | 40 | P/FINAL | 2025-01-14 | 08:56 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 3.94 | 4.04 | / | / | 1.876 |  |  |  | 2.00 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 41 | P/FINAL | 2025-01-14 | 08:57 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 0.00 | 0.01 | / | / | 0.001 | 6.292 |  |  | 0.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 42 | P/FINAL | 2025-01-14 | 08:57 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 43 | Old A | 2025-01-14 | 08:58 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 1.05 | 1.05 | / | / | 0.540 | 6.109 |  |  | 2.48 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 44 | Old A | 2025-01-14 | 08:59 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 4.02 | 4.09 | / | / | 1.909 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 45 | Old A | 2025-01-14 | 08:59 | 2025-01-14 | 06:32 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.010 | 6.300 |  |  | 0.15 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 46 | P/FINAL | 2025-01-14 | 15:03 | 2025-01-14 | 14:18 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.24 | 101 |  | Kinga |  | 3 | 2
2 | 1.00 | 47 | P/FINAL | 2025-01-14 | 15:03 | 2025-01-14 | 14:18 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.18 | 90 |  | Kinga |  | 3 | 2
2 | 1.00 | 48 | P/FINAL | 2025-01-14 | 15:04 | 2025-01-14 | 14:18 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.517 | 5.898 |  |  | 0.34 | 117 |  | Kinga |  | 3 | 2
3 | 4.00 | 49 | P/FINAL | 2025-01-14 | 15:05 | 2025-01-14 | 14:18 | DORINA | 4 | 4.02 | 4.10 | / | / | 1.908 |  |  |  | 0.54 | 144 |  | Kinga |  | 3 | 3
3 | 4.00 | 50 | P/FINAL | 2025-01-14 | 15:05 | 2025-01-14 | 14:18 | DORINA | 4 | 4.05 | 4.14 | / | / | 1.922 | 6.084 |  |  | 0.24 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 51 | P/FINAL | 2025-01-14 | 15:06 | 2025-01-14 | 14:18 | DORINA | 4 | 4.02 | 4.10 | / | / | 1.908 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 52 | P/FINAL | 2025-01-14 | 15:07 | 2025-01-14 | 14:18 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.013 |  |  | 0.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 53 | P/FINAL | 2025-01-14 | 15:08 | 2025-01-14 | 14:18 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 1.02 mg/L | 15 | 30 | 1.02 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 4.05 mg/L | 14 | 28 | 4.05 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0 mg/L | 9 | 18 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.03 | YES
4.00 | 3.85 ÷ 4.15 | 4.07 | YES
Validation Date | by