## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0879 | HI93701-0 | CP-R25 | W 02/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0863
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-775 | HI97711 | CTO-633 | HI98703 | CTO-778
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 HI98703 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-01-08 | 15:01 | 2025-01-08 | 14:43 | ERIKA | 4 | 0.97 | 0.97 |  | / | 0.503 |  |  |  | 0.71 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Valid | 2025-01-08 | 15:01 | 2025-01-08 | 14:43 | ERIKA | 4 | 0.96 | 0.97 |  | / | 0.496 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 3 | Valid | 2025-01-08 | 15:02 | 2025-01-08 | 14:43 | ERIKA | 4 | 1.01 | 1.01 |  | / | 0.526 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 4 | Valid | 2025-01-08 | 15:07 | 2025-01-08 | 14:43 | ERIKA | 4 | 4.02 | 4.03 |  | / | 1.907 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 5 | Valid | 2025-01-08 | 15:08 | 2025-01-08 | 14:43 | ERIKA | 4 | 3.87 | 3.94 |  | / | 1.848 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 6 | Valid | 2025-01-08 | 15:08 | 2025-01-08 | 14:43 | ERIKA | 4 | 3.90 | 3.96 |  | / | 1.860 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 7 | Valid | 2025-01-08 | 15:09 | 2025-01-08 | 14:43 | ERIKA | 4 | 0.00 | 0.00 |  | / | 0.003 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 8 | Valid | 2025-01-08 | 15:09 | 2025-01-08 | 14:43 | ERIKA | 4 | 0.03 | 0.00 |  | / | 0.023 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/FINAL | 2025-01-16 | 08:55 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 0.00 | 0.00 |  | / | 0.002 |  |  |  | 0.23 | 156 |  | Kinga |  | 3 | 1
1 | 0.00 | 10 | P/FINAL | 2025-01-16 | 08:56 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 0.00 | 0.00 |  | / | 0.004 | 6.142 |  |  | 1.25 | 121 |  | Kinga |  | 3 | 1
2 | 1.00 | 11 | P/FINAL | 2025-01-16 | 08:59 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 1.04 | 1.04 |  | / | 0.552 |  |  |  | 0.21 | 95 |  | Kinga |  | 3 | 2
2 | 1.00 | 12 | P/FINAL | 2025-01-16 | 09:00 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 1.04 | 1.04 |  | / | 0.539 | 6.088 |  |  | 0.40 | 108 |  | Kinga |  | 3 | 2
3 | 4.00 | 13 | P/FINAL | 2025-01-16 | 09:03 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 3.94 | 4.00 |  | / | 1.875 | 6.302 |  |  | 0.13 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 14 | P/FINAL | 2025-01-16 | 09:07 | 2025-01-16 | 07:15 | GIORGIANA | 4 | 4.13 | 4.14 |  | / | 1.953 |  |  |  | 0.14 | 126 |  | Kinga |  | 3 | 3
2 | 1.00 | 15 | P/FINAL | 2025-01-16 | 15:17 | 2025-01-16 | 14:48 | DORINA | 4 | 1.03 | 1.02 |  | / | 0.533 |  |  |  | 0.15 | 115 |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | P/FINAL | 2025-01-16 | 15:18 | 2025-01-16 | 14:48 | DORINA | 4 | 1.03 | 1.02 |  | / | 0.532 | 5.935 |  |  | 0.38 | 116 |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | P/FINAL | 2025-01-16 | 15:20 | 2025-01-16 | 14:48 | DORINA | 4 | 3.96 | 4.04 |  | / | 1.886 |  |  |  | 0.16 | 117 |  | Kinga |  | 3 | 3
3 | 4.00 | 18 | P/FINAL | 2025-01-16 | 15:21 | 2025-01-16 | 14:48 | DORINA | 4 | 3.86 | 3.90 |  | / | 1.843 | 6.029 |  |  | 0.34 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | P/FINAL | 2025-01-16 | 15:23 | 2025-01-16 | 14:48 | DORINA | 4 | 0.00 | 0.00 |  | / | 0.002 | 6.091 |  |  | 0.79 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/FINAL | 2025-01-16 | 15:24 | 2025-01-16 | 14:48 | DORINA | 4 | 0.00 | 0.00 |  | / | -0.003 |  |  |  | 2.76 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 21 | Old A | 2025-01-17 | 08:20 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 1.00 | 0.98 |  | / | 0.517 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 22 | Old A | 2025-01-17 | 08:21 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 3.90 | 3.93 |  | / | 1.585 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 23 | Old A | 2025-01-17 | 08:22 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 |  | / | 0.008 |  |  |  | 7.60 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 24 | P/FINAL | 2025-01-17 | 08:26 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 1.03 | 1.02 |  | / | 0.536 |  |  |  | 1.40 | 130 |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-01-17 | 08:26 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 1.02 | 1.01 |  | / | 0.527 | 6.013 |  |  | 0.32 | 127 |  | Kinga |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2025-01-17 | 08:31 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 4.13 | 4.17 |  | / | 1.953 |  |  |  | 0.13 | 114 |  | Kinga |  | 3 | 3
3 | 4.00 | 27 | P/FINAL | 2025-01-17 | 08:31 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 4.12 | 4.16 |  | / | 1.953 | 6.046 |  |  | 0.24 | 128 |  | Kinga |  | 3 | 3
1 | 0.00 | 28 | P/FINAL | 2025-01-17 | 08:33 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 |  | / | 0.007 |  |  |  | 0.83 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 29 | P/FINAL | 2025-01-17 | 08:34 | 2025-01-17 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 |  | / | 0.004 | 6.131 |  |  | 0.30 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.03 mg/L | 6 | 12 | 1.03 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4.05 mg/L | 6 | 12 | 4.05 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.03 | YES
4.00 | 3.85 ÷ 4.15 | 4.05 | YES
Validation Date | by