## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0895 | HI93701-0 | CP-R25 | W 03/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0720
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-01-17 | 08:47 | 2025-01-17 | 06:52 | MARK |  | 1.04 | 1.02 | / | / | 0.538 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Valid | 2025-01-17 | 08:47 | 2025-01-17 | 06:52 | MARK |  | 1.00 | 0.99 | / | / | 0.520 | 6.349 |  |  | 0.25 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Valid | 2025-01-17 | 08:50 | 2025-01-17 | 06:52 | MARK |  | 3.87 | 3.93 | / | / | 1.845 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Valid | 2025-01-17 | 08:51 | 2025-01-17 | 06:52 | MARK |  | 4.02 | 4.06 | / | / | 1.909 | 6.121 |  |  | 0.39 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Valid | 2025-01-17 | 08:52 | 2025-01-17 | 06:52 | MARK |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-01-17 | 08:53 | 2025-01-17 | 06:52 | MARK |  | 0.00 | 0.00 | / | / | -0.002 | 6.129 |  |  | 0.40 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Old A | 2025-01-29 | 08:21 | 2025-01-28 | 21:45 | DORINA | 4 | 1.00 | 1.02 | / | / | 0.519 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 8 | Old A | 2025-01-29 | 08:23 | 2025-01-28 | 21:45 | DORINA | 4 | 4.03 | 4.07 | / | / | 1.967 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 9 | Old A | 2025-01-29 | 08:23 | 2025-01-28 | 21:45 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-01-29 | 08:27 | 2025-01-28 | 21:45 | DORINA | 4 | 1.00 | 1.01 | / | / | 0.521 |  |  |  | 18.2 | 97 |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Prod | 2025-01-29 | 08:27 | 2025-01-28 | 21:45 | DORINA | 4 | 0.98 | 1.00 | / | / | 0.510 | 6.262 |  |  | 2.36 | 99 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Prod | 2025-01-29 | 08:30 | 2025-01-28 | 21:45 | DORINA | 4 | 4.10 | 4.14 | / | / | 1.939 |  |  |  | 0.28 | 91 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Prod | 2025-01-29 | 08:31 | 2025-01-28 | 21:45 | DORINA | 4 | 4.13 | 4.15 | / | / | 1.963 | 6.099 |  |  | 0.39 | 101 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-01-29 | 08:33 | 2025-01-28 | 21:45 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.010 |  |  |  | 1.86 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-01-29 | 08:33 | 2025-01-28 | 21:45 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.201 |  |  | 0.58 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 16 | P/Prod | 2025-01-29 | 08:42 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.518 |  |  |  | 1.41 | 100 |  | Kinga |  | 3 | 2
2 | 1.00 | 17 | P/Prod | 2025-01-29 | 08:43 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 0.96 | 0.96 | / | / | 0.496 | 6.146 |  |  | 0.21 | 105 |  | Kinga |  | 3 | 2
3 | 4.00 | 18 | P/Prod | 2025-01-29 | 08:46 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 4.15 | 4.17 | / | / | 1.961 |  |  |  | 0.12 | 106 |  | Kinga |  | 3 | 3
3 | 4.00 | 19 | P/Prod | 2025-01-29 | 08:48 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 4.15 | 4.15 | / | / | 1.959 | 6.151 |  |  | 0.31 | 123 |  | Kinga |  | 3 | 3
1 | 0.00 | 20 | P/Prod | 2025-01-29 | 08:49 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.009 |  |  |  | 3.73 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 21 | P/Prod | 2025-01-29 | 08:50 | 2025-01-28 | 22:34 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.012 | 6.181 |  |  | 1.35 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 22 | P/Prod | 2025-01-29 | 09:02 | 2025-01-29 | 06:48 | ANA | 4 | 1.00 | 1.01 | / | / | 0.521 |  |  |  | 1.58 | 112 |  | Kinga |  | 3 | 2
2 | 1.00 | 23 | P/Prod | 2025-01-29 | 09:03 | 2025-01-29 | 06:48 | ANA | 4 | 1.00 | 1.00 | / | / | 0.517 | 6.230 |  |  | 0.19 | 105 |  | Kinga |  | 3 | 2
3 | 4.00 | 24 | P/Prod | 2025-01-29 | 09:05 | 2025-01-29 | 06:48 | ANA | 4 | 4.14 | 4.15 | / | / | 1.956 |  |  |  | 0.21 | 106 |  | Kinga |  | 3 | 3
3 | 4.00 | 25 | P/Prod | 2025-01-29 | 09:06 | 2025-01-29 | 06:48 | ANA | 4 | 4.05 | 4.12 | / | / | 1.922 | 6.277 |  |  | 0.14 | 123 |  | Kinga |  | 3 | 3
1 | 0.00 | 26 | P/Prod | 2025-01-29 | 09:08 | 2025-01-29 | 06:48 | ANA | 4 | 0.00 | 0.00 | / | / | -0.010 |  |  |  | 0.14 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 27 | P/Prod | 2025-01-29 | 09:08 | 2025-01-29 | 06:48 | ANA | 4 | 0.00 | 0.00 | / | / | -0.010 | 6.255 |  |  | 0.30 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 28 | P/Prod | 2025-01-29 | 15:06 | 2025-01-29 | 14:29 | DORINA | 4 | 0.98 | 0.96 | / | / | 0.509 |  |  |  | 0.10 | 96 |  | Kinga |  | 3 | 2
2 | 1.00 | 29 | P/Prod | 2025-01-29 | 15:06 | 2025-01-29 | 14:29 | DORINA | 4 | 1.00 | 0.97 | / | / | 0.518 | 6.117 |  |  | 0.23 | 111 |  | Kinga |  | 3 | 2
3 | 4.00 | 30 | P/Prod | 2025-01-29 | 15:07 | 2025-01-29 | 14:29 | DORINA | 4 | 4.10 | 4.15 | / | / | 1.942 |  |  |  | 0.23 | 115 |  | Kinga |  | 3 | 3
3 | 4.00 | 31 | P/Prod | 2025-01-29 | 15:08 | 2025-01-29 | 14:29 | DORINA | 4 | 3.95 | 4.02 | / | / | 1.881 | 6.116 |  |  | 0.15 | 110 |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/Prod | 2025-01-29 | 15:09 | 2025-01-29 | 14:29 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.011 |  |  |  | 4.26 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/Prod | 2025-01-29 | 15:09 | 2025-01-29 | 14:29 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.015 | 6.076 |  |  | 0.19 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 34 | Old A | 2025-01-30 | 08:26 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 1.03 | 0.99 | / | / | 0.532 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 35 | Old A | 2025-01-30 | 08:27 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 3.98 | 4.01 | / | / | 1.891 |  |  |  | 0.48 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 36 | Old A | 2025-01-30 | 08:27 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.41 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 37 | P/Prod | 2025-01-30 | 08:28 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 1.01 | 0.97 | / | / | 0.524 | 6.128 |  |  | 0.15 | 99 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 38 | P/Prod | 2025-01-30 | 08:28 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 1.00 | 0.96 | / | / | 0.518 |  |  |  | 0.49 | 89 |  | Brigitta P |  | 3 | 2
3 | 4.00 | 39 | P/Prod | 2025-01-30 | 08:28 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 4.08 | 4.15 | / | / | 1.901 | 6.203 |  |  | 0.22 | 117 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 40 | P/Prod | 2025-01-30 | 08:29 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 4.07 | 4.14 | / | / | 1.929 |  |  |  | 0.11 | 108 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 41 | P/Prod | 2025-01-30 | 08:29 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.005 | 6.113 |  |  | 1.29 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 42 | P/Prod | 2025-01-30 | 08:30 | 2025-01-29 | 22:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.33 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 43 | P/Prod | 2025-01-30 | 08:39 | 2025-01-30 | 06:32 | ANA | 4 | 1.00 | 0.96 | / | / | 0.521 |  |  |  | 0.32 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 44 | P/Prod | 2025-01-30 | 08:40 | 2025-01-30 | 06:32 | ANA | 4 | 1.01 | 0.98 | / | / | 0.524 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 45 | P/Prod | 2025-01-30 | 08:43 | 2025-01-30 | 06:32 | ANA | 4 | 4.10 | 4.15 | / | / | 1.940 |  |  |  | 0.12 | 90 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 46 | P/Prod | 2025-01-30 | 08:47 | 2025-01-30 | 06:32 | ANA | 4 | 4.03 | 4.15 | / | / | 1.974 |  |  |  | 0.57 | 88 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 47 | P/Prod | 2025-01-30 | 08:50 | 2025-01-30 | 06:32 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 6.33 | 98 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 48 | P/Prod | 2025-01-30 | 08:51 | 2025-01-30 | 06:32 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.77 | 97 |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.99 mg/L | 12 | 24 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 4.11 mg/L | 12 | 24 | 4.11 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.11 | YES
Validation Date | by