## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0909 | HI93701-0 | CP-R25 | W 05/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0782 | 0861
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2026-10-01 | 2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-01-30 | 12:35 | 2025-01-30 | 12:19 | ERIKA |  | 1.01 | 0.97 | / | / | 0.525 | 6.178 |  |  | 0.57 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Valid | 2025-01-30 | 12:35 | 2025-01-30 | 12:19 | ERIKA |  | 1.01 | 0.98 | / | / | 0.524 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Valid | 2025-01-30 | 12:38 | 2025-01-30 | 12:19 | ERIKA |  | 3.97 | 4.03 | / | / | 1.889 | 6.149 |  |  | 0.22 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Valid | 2025-01-30 | 12:39 | 2025-01-30 | 12:19 | ERIKA |  | 4.14 | 4.15 | / | / | 1.949 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Valid | 2025-01-30 | 12:41 | 2025-01-30 | 12:19 | ERIKA |  | 0.01 | 0.00 | / | / | 0.009 | 6.145 |  |  | 0.31 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-01-30 | 12:42 | 2025-01-30 | 12:19 | ERIKA |  | 0.00 | 0.00 | / | / | -0.009 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 7 | P/Prod | 2025-02-04 | 06:38 | 2025-02-04 | 02:27 | ROLAND: | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.052 |  |  | 0.14 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 8 | P/Prod | 2025-02-04 | 06:39 | 2025-02-04 | 02:27 | ROLAND: | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1
3 | 4.00 | 9 | P/Prod | 2025-02-04 | 06:41 | 2025-02-04 | 02:27 | ROLAND: | 4 | 4.12 | 4.21 | / | / | 1.948 |  |  |  | 0.24 | 117 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 10 | P/Prod | 2025-02-04 | 06:42 | 2025-02-04 | 02:27 | ROLAND: | 4 | 4.01 | 4.09 | / | / | 1.904 | 6.222 |  |  | 0.12 | 111 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 11 | P/Prod | 2025-02-04 | 06:43 | 2025-02-04 | 02:27 | ROLAND: | 4 | 4.01 | 4.00 | / | / | 1.906 | 6.119 |  |  | 1.93 | 130 |  | Brigitta P |  | 3 | 3
2 | 1.00 | 12 | P/Prod | 2025-02-04 | 06:46 | 2025-02-04 | 02:27 | ROLAND: | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.28 | 102 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 13 | P/Prod | 2025-02-04 | 06:47 | 2025-02-04 | 02:27 | ROLAND: | 4 | 0.99 | 0.99 | / | / | 0.512 |  |  |  | 0.13 | 109 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 14 | P/Prod | 2025-02-04 | 06:47 | 2025-02-04 | 02:27 | ROLAND: | 4 | 1.03 | 1.02 | / | / | 0.534 | 6.512 |  |  | 0.19 | 130 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 15 | Old B | 2025-02-04 | 06:51 | 2025-02-04 | 02:27 | ROLAND | 4 | 1.00 | 1.00 | / | / | 0.517 | 6.528 |  |  | 0.25 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 16 | Old B | 2025-02-04 | 06:52 | 2025-02-04 | 02:27 | ROLAND | 4 | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.93 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 17 | P/Prod | 2025-02-04 | 06:52 | 2025-02-04 | 02:27 | ROLAND | 4 | 4.02 | 3.98 | / | / | 1.907 |  |  |  | 045 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 18 | P/Prod | 2025-02-04 | 06:54 | 2025-02-04 | 02:27 | ROLAND | 4 | 3.86 | 3.89 | / | / | 1.844 |  |  |  | 0.62 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 19 | Old B | 2025-02-04 | 06:54 | 2025-02-04 | 02:27 | ROLAND | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 20 | Old B | 2025-02-04 | 06:54 | 2025-02-04 | 02:27 | ROLAND | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.01 mg/L | 3 | 6 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 4.02 mg/L | 5 | 10 | 4.02 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.02 | YES
Validation Date | by