## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0911 | HI93701-0 | CP-R25 | W 05/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0782
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI 801 | CTO-832 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI 801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Valid | 2025-01-30 | 15:57 | 2025-01-30 | 15:21 | ERIKA |  | 4.03 | 4.08 | / | / | 1.911 | 6.112 |  |  | 0.20 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 2 | Valid | 2025-01-30 | 15:58 | 2025-01-30 | 15:21 | ERIKA |  | 3.88 | 3.92 | / | / | 1.851 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 3 | Valid | 2025-01-30 | 16:00 | 2025-01-30 | 15:21 | ERIKA |  | 1.01 | 0.97 | / | / | 0.522 | 6.274 |  |  | 0.24 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 4 | Valid | 2025-01-30 | 16:01 | 2025-01-30 | 15:21 | ERIKA |  | 1.02 | 0.99 | / | / | 0.530 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 5 | Valid | 2025-01-30 | 16:02 | 2025-01-30 | 15:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 | 6.739 |  |  | 0.09 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-01-30 | 16:02 | 2025-01-30 | 15:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 3.83 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | P/Prod | 2025-02-05 | 08:22 | 2025-02-05 | 07:57 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.483 | 5.995 |  |  | 1.19 | 106 |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | P/Prod | 2025-02-05 | 08:22 | 2025-02-05 | 07:57 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 0.34 | 136 |  | Kinga |  | 3 | 2
3 | 4.00 | 9 | P/Prod | 2025-02-05 | 08:25 | 2025-02-05 | 07:57 | DORINA | 4 | 4.07 | 4.15 | / | / | 1.930 | 5.956 |  |  | 0.59 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 10 | P/Prod | 2025-02-05 | 08:26 | 2025-02-05 | 07:57 | DORINA | 4 | 4.11 | 4.14 | / | / | 1.944 |  |  |  | 6.42 | 102 |  | Kinga |  | 3 | 3
1 | 0.00 | 11 | P/Prod | 2025-02-05 | 08:28 | 2025-02-05 | 07:57 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 5.910 |  |  | 10.1 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 12 | P/Prod | 2025-02-05 | 08:28 | 2025-02-05 | 07:57 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 13 | P/FINAL | 2025-02-05 | 15:46 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 0.99 | 0.95 | / | / | 0.513 | 5.925 |  |  | 0.21 | 96 |  | Kinga |  | 3 | 2
2 | 1.00 | 14 | P/FINAL | 2025-02-05 | 15:47 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 0.99 | 0.97 | / | / | 0.513 |  |  |  | 0.52 | 128 |  | Kinga |  | 3 | 2
3 | 4.00 | 15 | P/FINAL | 2025-02-05 | 15:51 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 4.00 | 4.05 | / | / | 1.899 | 5.912 |  |  | 0.26 | 97 |  | Kinga |  | 3 | 3
3 | 4.00 | 16 | P/FINAL | 2025-02-05 | 15:52 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 3.97 | 4.03 | / | / | 1.888 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 17 | P/FINAL | 2025-02-05 | 15:52 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.011 | 5.945 |  |  | 0.27 | 90 |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | P/FINAL | 2025-02-05 | 15:53 | 2025-02-05 | 14:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 19 | P/Prod | 2025-02-06 | 06:59 | 2025-02-05 | 05:31 | ROLAND | 4 | 0.96 | 0.95 | / | / | 0.496 | 6.420 |  |  | 0.16 | 109 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 20 | P/Prod | 2025-02-06 | 07:00 | 2025-02-05 | 05:31 | ROLAND | 4 | 1.02 | 1.00 | / | / | 0.530 | 6.416 |  |  | 0.32 | 128 |  | Brigitta P |  | 3 | 2
2 | 1.00 | 21 | P/Prod | 2025-02-06 | 07:00 | 2025-02-05 | 05:31 | ROLAND | 4 | 0.99 | 0.98 | / | / | 0.514 | 6.409 |  |  | 0.25 | 109 |  | Brigitta P |  | 3 | 2
3 | 4.00 | 22 | P/Prod | 2025-02-06 | 07:01 | 2025-02-05 | 05:31 | ROLAND | 4 | 4.07 | 4.12 | / | / | 1.927 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 23 | P/Prod | 2025-02-06 | 07:01 | 2025-02-05 | 05:31 | ROLAND | 4 | 4.04 | 4.13 | / | / | 1.917 | 6.398 |  |  | 0.17 | 128 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 24 | P/Prod | 2025-02-06 | 07:02 | 2025-02-05 | 05:31 | ROLAND | 4 | 4.01 | 4.10 | / | / | 1.905 | 6.397 |  |  | 0.14 | 119 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 25 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 4.01 | 4.10 | / | / | 1.906 |  |  |  | 0.15 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 26 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 4.15 | 4.23 | / | / | 1.961 |  |  |  | 0.31 | 106 |  | Brigitta P |  | 3 | 3
3 | 4.00 | 27 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 4.13 | 4.19 | / | / | 1.953 |  |  |  | 0.45 | 126 |  | Brigitta P |  | 3 | 3
2 | 1.00 | 28 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.511 |  |  |  | 0.16 | 120 |  | Brigitta P |  | 3 | 3
2 | 1.00 | 29 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.511 |  |  |  | 0.20 | 112 |  | Brigitta P |  | 3 | 3
2 | 1.00 | 30 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 1.02 | 1.02 | / | / | 0.529 |  |  |  | 0.15 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 31 | P/Prod | 2025-02-06 | 7:30 | 2025-02-05 | 07:03 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 4.09 mg/L | 10 | 20 | 4.09 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.98 mg/L | 10 | 20 | 0.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.09 | YES
Validation Date | by