## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0915 | HI93701-0 | CP-R25 | W 06/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | [5 empty] | 0895
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-02-03 | 15:53 | 2025-02-03 | 15:44 | MARK |  | 1.00 | 1.00 | / | / | 0.521 | 6.365 |  |  | 0.25 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Valid | 2025-02-03 | 15:53 | 2025-02-03 | 15:44 | MARK |  | 1.00 | 0.99 | / | / | 0.517 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Valid | 2025-02-03 | 15:58 | 2025-02-03 | 15:44 | MARK |  | 3.97 | 4.04 | / | / | 1.890 | 6.177 |  |  | 0.23 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Valid | 2025-02-03 | 15:59 | 2025-02-03 | 15:44 | MARK |  | 3.97 | 4.04 | / | / | 1.890 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Valid | 2025-02-03 | 16:00 | 2025-02-03 | 15:44 | MARK |  | 0.00 | 0.00 | / | / | -0.001 | 6.216 |  |  | 4.72 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-02-03 | 16:00 | 2025-02-03 | 15:44 | MARK |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 7 | P/Prod | 2025-02-07 | 06:53 | 2025-02-07 | 05:37 | ROLAND | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.22 | 129 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 8 | P/Prod | 2025-02-07 | 06:54 | 2025-02-07 | 05:37 | ROLAND | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.17 | 114 |  | Brigitta P |  | 3 | 1 | DWA
3 | 4.00 | 9 | P/Prod | 2025-02-07 | 06:57 | 2025-02-07 | 05:37 | ROLAND | 4 | 3.82 | 3.85 | / | / | 1.862 | 6.362 |  |  | 0.25 | 131 |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 10 | P/Prod | 2025-02-07 | 06:58 | 2025-02-07 | 05:37 | ROLAND | 4 | 3.99 | 4.04 | / | / | 1.898 | 6.630 |  |  | 0.41 | 125 |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 11 | P/Prod | 2025-02-07 | 06:58 | 2025-02-07 | 05:37 | ROLAND | 4 | 3.94 | 4.01 | / | / | 1.875 |  |  |  | 0.28 | 126 |  | Brigitta P |  | 3 | 3 | 62245
2 | 1.00 | 12 | P/Prod | 2025-02-07 | 06:59 | 2025-02-07 | 05:37 | ROLAND | 4 | 0.97 | 0.97 | / | / | 0.506 | 6.227 |  |  | 0.35 |  |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 13 | P/Prod | 2025-02-07 | 06:59 | 2025-02-07 | 05:37 | ROLAND | 4 | 0.96 | 0.98 | / | / | 0.497 | 6.486 |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 14 | P/Prod | 2025-02-07 | 07:00 | 2025-02-07 | 05:37 | ROLAND | 4 | 1.03 | 1.00 | / | / | 0.533 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 15 | P/Prod | 2025-02-07 | 07:04 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 1.00 | 0.97 | / | / | 0.521 |  |  |  | 0.33 | 123 |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 16 | P/Prod | 2025-02-07 | 07:05 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 1.02 | 1.01 | / | / | 0.531 | 6.235 |  |  | 0.22 | 112 |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 17 | P/Prod | 2025-02-07 | 07:05 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 0.97 | 0.97 | / | / | 0.503 | 6.265 |  |  | 0.27 | 112 |  | Brigitta P |  | 3 | 2 | 62245
3 | 4.00 | 18 | P/Prod | 2025-02-07 | 07:08 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 3.95 | 4.03 | / | / | 1.880 | 6.327 |  |  | 0.21 | 116 |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 19 | P/Prod | 2025-02-07 | 07:09 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 3.85 | 3.90 | / | / | 1.829 | 6.211 |  |  | 0.21 | 128 |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 20 | P/Prod | 2025-02-07 | 07:09 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 3.95 | 4.00 | / | / | 1.879 |  |  |  | 0.34 |  |  | Brigitta P |  | 3 | 3 | 62245
1 | 0.00 | 21 | P/Prod | 2025-02-07 | 07:10 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 22 | P/Prod | 2025-02-07 | 07:10 | 2025-02-06 | 17:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | DWA
2 | 1.00 | 23 | Old A | 2025-02-07 | 07:17 | 2025-02-06 |  |  | 4 | 0.98 | 0.99 | / | / | 0.510 | 6.265 |  |  | 0.42 |  |  | Brigitta P |  | 3 | 2 | DWA
2 | 1.00 | 24 | Old A | 2025-02-07 | 07:17 | 2025-02-06 |  |  | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.78 |  |  | Brigitta P |  | 3 | 2 | DWA
3 | 4.00 | 25 | Old A | 2025-02-07 | 07:18 | 2025-02-06 |  |  | 4 | 4.15 | 4.24 | / | / | 1.960 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 26 | Old A | 2025-02-07 | 07:19 | 2025-02-06 |  |  | 4 | 4.14 | 4.23 | / | / | 1.958 |  |  |  | 0.32 |  |  | Brigitta P |  | 3 | 3 | DWA
1 | 0.00 | 27 | Old A | 2025-02-07 | 07:19 | 2025-02-06 |  |  | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1 | DWA
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.99 mg/L | 6 | 12 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.94 mg/L | 6 | 12 | 3.94 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.94 | YES
Validation Date | by