## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0919 | HI93701-0 | CP-R25 | W06/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA |  |  | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2025-02-05 | 07:11 | 2025-02-04 |  | ERIKA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 2 | Valid | 2025-02-05 | 07:11 | 2025-02-04 |  | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 3 | Valid | 2025-02-05 | 07:15 | 2025-02-04 |  | ERIKA |  | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 4 | Valid | 2025-02-05 | 07:15 | 2025-02-04 |  | ERIKA |  | 1.01 | 1.01 | / | / | 0.523 |  |  |  | 0.18 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-02-05 | 07:15 | 2025-02-04 |  | ERIKA |  | 1.01 | 1.01 | / | / | 0.523 |  |  |  | 0.48 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 6 | Valid | 2025-02-05 | 07:16 | 2025-02-04 |  | ERIKA |  | 4.01 | 4.01 | / | / | 1.903 |  |  |  | 0.77 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 7 | Valid | 2025-02-05 | 07:16 | 2025-02-04 |  | ERIKA |  | 4.01 | 4.08 | / | / | 1.901 |  |  |  | 0.67 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 8 | Valid | 2025-02-05 | 07:16 | 2025-02-04 |  | ERIKA |  | 3.93 | 4.01 | / | / | 1.874 |  |  |  | 0.12 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 9 | P/Prod | 2025-02-13 | 06:54 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.850 |  |  | 0.16 | 113 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 10 | P/Prod | 2025-02-13 | 06:54 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.937 |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | DWA
2 | 1.00 | 11 | P/Prod | 2025-02-13 | 06:55 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 1.04 | 1.00 | / | / | 0.538 | 6.827 |  |  | 0.25 |  |  | Brigitta P |  | 3 | 2 | 50952
2 | 1.00 | 12 | P/Prod | 2025-02-13 | 06:55 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 1.00 | 0.99 | / | / | 0.518 | 7.007 |  |  | 0.57 | 99 |  | Brigitta P |  | 3 | 2 | 50952
2 | 1.00 | 13 | P/Prod | 2025-02-13 | 06:56 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 1.01 | 1.01 | / | / | 0.524 | 6.812 |  |  | 0.23 | 101 |  | Brigitta P |  | 3 | 2 | 50952
3 | 4.00 | 14 | P/Prod | 2025-02-13 | 07:01 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 3.91 | 3.98 | / | / | 1.863 | 6.812 |  |  | 0.17 |  |  | Brigitta P |  | 3 | 3 | 50952
3 | 4.00 | 15 | P/Prod | 2025-02-13 | 07:01 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 3.89 | 3.96 | / | / | 1.856 | 6.806 |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3 | 50952
3 | 4.00 | 16 | P/Prod | 2025-02-13 | 07:02 | 2025-02-13 | 03:40 | GIORGIANA | 4 | 3.88 | 3.97 | / | / | 1.852 | 6.664 |  |  | 0.18 | 111 |  | Brigitta P |  | 3 | 3 | 50952
1 | 0.00 | 17 | P/Prod | 2025-02-13 | 07:08 | 2025-02-13 | 06:13 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.659 |  |  | 0.20 | 116 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 18 | P/Prod | 2025-02-13 | 07:08 | 2025-02-13 | 06:13 | ANA | 4 | 0.00 | 0.00 | / | / | 0.992 | 6.644 |  |  | 0.17 | 105 |  | Brigitta P |  | 3 | 1 | DWA
2 | 1.00 | 19 | P/Prod | 2025-02-13 | 07:09 | 2025-02-13 | 06:13 | ANA | 4 | 0.99 | 0.99 | / | / | 0.516 | 6.894 |  |  | 0.77 | 124 |  | Brigitta P |  | 3 | 2 | 59952
2 | 1.00 | 20 | P/Prod | 2025-02-13 | 07:10 | 2025-02-13 | 06:13 | ANA | 4 | 1.02 | 1.02 | / | / | 0.530 | 6.653 |  |  | 0.15 | 130 |  | Brigitta P |  | 3 | 2 | 59952
2 | 1.00 | 21 | P/Prod | 2025-02-13 | 07:10 | 2025-02-13 | 06:13 | ANA | 4 | 0.99 | 1.02 | / | / | 0.516 |  |  |  | 0.60 |  |  | Brigitta P |  | 3 | 2 | 59952
3 | 4.00 | 22 | P/Prod | 2025-02-13 | 07:14 | 2025-02-13 | 06:13 | ANA | 4 | 3.88 | 3.87 | / | / | 1.851 | 6.765 |  |  | 0.41 |  |  | Brigitta P |  | 3 | 3 | 59952
3 | 4.00 | 23 | P/Prod | 2025-02-13 | 07:14 | 2025-02-13 | 06:13 | ANA | 4 | 3.94 | 4.01 | / | / | 1.877 | 6.710 |  |  | 0.97 |  |  | Brigitta P |  | 3 | 3 | 59952
3 | 4.00 | 24 | P/Prod | 2025-02-13 | 07:14 | 2025-02-13 | 06:13 | ANA | 4 | 3.91 | 4.01 | / | / | 1.865 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 3 | 59952
3 | 4.00 | 25 | Old A | 2025-02-13 | 07:22 | 2025-02-13 | 06:13 | ANA | 4 | 3.85 | 3.92 | / | / | 1.838 | 6.710 |  |  | 0.38 |  |  | Brigitta P |  | 3 | 3 | 59952
2 | 1.00 | 26 | Old A | 2025-02-13 | 07:22 | 2025-02-13 | 06:13 | ANA | 4 | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 2 | 59952
1 | 0.00 | 27 | Old A | 2025-02-13 | 07:23 | 2025-02-13 | 06:13 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.59 |  |  | Brigitta P |  | 3 | 1 | 59952
2 | 1.00 | 28 | P/Prod | 2025-02-13 | 16:10 | 2025-02-13 | 14:20 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.516 |  |  |  | 0.28 | 102 |  | Kinga |  | 3 | 2
2 | 1.00 | 29 | P/Prod | 2025-02-13 | 16:11 | 2025-02-13 | 14:20 | DORINA | 4 | 1.02 | 1.01 | / | / | 0.527 |  |  |  | 1.38 | 110 |  | Kinga |  | 3 | 2
3 | 4.00 | 30 | P/Prod | 2025-02-13 | 16:12 | 2025-02-13 | 14:20 | DORINA | 4 | 3.95 | 4.02 | / | / | 1.881 |  |  |  | 0.39 | 125 |  | Kinga |  | 3 | 3
3 | 4.00 | 31 | P/Prod | 2025-02-13 | 16:13 | 2025-02-13 | 14:20 | DORINA | 4 | 3.98 | 4.03 | / | / | 1.891 |  |  |  | 0.20 | 125 |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/Prod | 2025-02-13 | 16:15 | 2025-02-13 | 14:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/Prod | 2025-02-13 | 16:16 | 2025-02-13 | 14:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 1.01 mg/L | 8 | 16 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 3.95 mg/L | 8 | 16 | 3.95 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 3.95 | YES
Validation Date | by