## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0923 | HI93701-0 | CP-R25 | W 07/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | [5 empty] | 0858
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
2 | 1.00 | 0.94 | 1.06
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2025-02-10 | 16:35 | 2025-02-10 | 16:10 | MARK |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.73 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Valid | 2025-02-10 | 16:38 | 2025-02-10 | 16:10 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0. |  |  | Kinga |  | 3 | 1
3 | 4.00 | 3 | Valid | 2025-02-10 | 16:40 | 2025-02-10 | 16:10 | MARK |  | 3.85 | 3.89 | / | / | 1.841 | 6.477 |  |  | 0.34 |  |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 4 | Valid | 2025-02-10 | 16:41 | 2025-02-10 | 16:10 | MARK |  | 4.00 | 4.09 | / | / | 1.899 |  |  |  | 0.55 |  |  | Brigitta P |  | 3 | 3 | 62245
3 | 4.00 | 5 | Valid | 2025-02-10 | 16:42 | 2025-02-10 | 16:10 | MARK |  | 4.03 | 4.00 | / | / | 1.911 | 6.526 |  |  | 4.37 |  |  | Brigitta P |  | 3 | 3 | 62245
2 | 1.00 | 6 | Valid | 2025-02-10 | 16:53 | 2025-02-10 | 16:10 | MARK |  | 0.99 | 0.98 | / | / | 0.512 | 6.517 |  |  | 0.29 |  |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 7 | Valid | 2025-02-10 | 16:54 | 2025-02-10 | 16:10 | MARK |  | 0.98 | 0.98 | / | / | 0.509 |  |  |  | 0.51 |  |  | Brigitta P |  | 3 | 2 | 62245
2 | 1.00 | 8 | Valid | 2025-02-10 | 16:55 | 2025-02-10 | 16:10 | MARK |  | 0.98 | 0.97 | / | / | 0.511 | 6.420 |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 62245
1 | 0.00 | 9 | Old A | 2025-02-17 | 08:31 | 2025-02-14 | 17:33 | DORINA | 4 | 0.02 | 0.00 | / | / | 0.15 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | Old A | 2025-02-17 | 08:34 | 2025-02-14 | 17:33 | DORINA | 4 | 1.03 | 1.01 | / | / | 0.532 |  |  |  | 2.81 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 11 | Old A | 2025-02-17 | 08:35 | 2025-02-14 | 17:33 | DORINA | 4 | 4.02 | 4.05 | / | / | 1.908 |  |  |  | 1.24 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 12 | P/Prod | 2025-02-17 | 08:41 | 2025-02-14 | 17:33 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.519 | 6.153 |  |  | 0.91 | 125 |  | Kinga |  | 3 | 2
2 | 1.00 | 13 | P/Prod | 2025-02-17 | 08:41 | 2025-02-14 | 17:33 | DORINA | 4 | 0.99 | 0.97 | / | / | 0.512 |  |  |  | 0.53 | 102 |  | Kinga |  | 3 | 2
3 | 4.00 | 14 | P/Prod | 2025-02-17 | 08:44 | 2025-02-14 | 17:33 | DORINA | 4 | 3.99 | 4.04 | / | / | 1.896 | 6.356 |  |  | 0.96 | 110 |  | Kinga |  | 3 | 3
3 | 4.00 | 15 | P/Prod | 2025-02-17 | 08:45 | 2025-02-14 | 17:33 | DORINA | 4 | 3.85 | 3.89 | / | / | 1.838 |  |  |  | 1.41 | 100 |  | Kinga |  | 3 | 3
1 | 0.00 | 16 | P/Prod | 2025-02-17 | 08:46 | 2025-02-14 | 17:33 | DORINA | 4 | 0.02 | 0.00 | / | / | 0.014 | 6.045 |  |  | 1.10 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | P/Prod | 2025-02-17 | 08:47 | 2025-02-14 | 17:33 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 4.12 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 18 | P/Prod | 2025-02-17 | 08:55 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 1.03 | 1.02 | / | / | 0.535 | 6.092 |  |  | 2.51 | 131 |  | Kinga |  | 3 | 2
2 | 1.00 | 19 | P/Prod | 2025-02-17 | 08:56 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 1.00 | 0.99 | / | / | 0.518 |  |  |  | 0.58 | 105 |  | Kinga |  | 3 | 2
3 | 4.00 | 20 | P/Prod | 2025-02-17 | 08:59 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 3.93 | 3.90 | / | / | 1.870 | 6.316 |  |  | 1.38 | 105 |  | Kinga |  | 3 | 3
3 | 4.00 | 21 | P/Prod | 2025-02-17 | 09:00 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 3.90 | 3.95 | / | / | 1.860 |  |  |  | 1.03 | 118 |  | Kinga |  | 3 | 3
1 | 0.00 | 22 | P/Prod | 2025-02-17 | 09:02 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.010 | 6.470 |  |  | 0.45 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 23 | P/Prod | 2025-02-17 | 09:03 | 2025-02-14 | 22:42 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 24 | P/Prod | 2025-02-17 | 09:11 | 2025-02-17 | 07:16 | DORINA | 4 | 0.96 | 0.95 | / | / | 0.501 | 6.339 |  |  | 1.78 | 106 |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/Prod | 2025-02-17 | 09:12 | 2025-02-17 | 07:16 | DORINA | 4 | 1.03 | 0.99 | / | / | 0.533 |  |  |  | 0.28 | 98 |  | Kinga |  | 3 | 2
3 | 4.00 | 26 | P/Prod | 2025-02-17 | 09:14 | 2025-02-17 | 07:16 | DORINA | 4 | 3.86 | 3.89 | / | / | 1.842 | 6.527 |  |  | 0.31 | 111 |  | Kinga |  | 3 | 3
3 | 4.00 | 27 | P/Prod | 2025-02-17 | 09:15 | 2025-02-17 | 07:16 | DORINA | 4 | 3.89 | 3.89 | / | / | 1.855 |  |  |  | 0.86 | 131 |  | Kinga |  | 3 | 3
1 | 0.00 | 28 | P/Prod | 2025-02-17 | 09:16 | 2025-02-17 | 07:16 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 | 6.167 |  |  | 3.50 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 29 | P/Prod | 2025-02-17 | 09:17 | 2025-02-17 | 07:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.24 |  |  | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.92 mg/L | 6 | 12 | 3.92 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.99 mg/L | 6 | 12 | 0.99 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.92 | YES
Validation Date | by