## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0927 | HI93701-0 | CP-R25 | W 07/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-03-18 | 2025-03-19 | 4HEAD |  |  | 0881
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-02-12 | 08:53 | 2025-02-12 | 08:14 | MARK | 4 | 1.02 | 1.01 | / | / | 0.529 |  |  |  | 0.99 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Valid | 2025-02-12 | 08:55 | 2025-02-12 | 08:14 | MARK | 4 | 1.03 | 1.03 | / | / | 0.536 | 6.386 |  |  | 0.43 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Valid | 2025-02-12 | 08:57 | 2025-02-12 | 08:14 | MARK | 4 | 4.02 | 4.08 | / | / | 1.907 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Valid | 2025-02-12 | 08:59 | 2025-02-12 | 08:14 | MARK | 4 | 3.91 | 3.95 | / | / | 1.863 | 6.571 |  |  | 0.62 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | P/Prod | 2025-02-12 | 09:02 | 2025-02-12 | 08:14 | MARK | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Valid | 2025-02-12 | 09:02 | 2025-02-12 | 08:14 | MARK | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.626 |  |  | 0.42 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Old A | 2025-02-19 | 08:31 | 2025-02-18 | 22:31 | ANA | 4 | 0.98 | 1.01 | / | / | 0.531 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 8 | Old A | 2025-02-19 | 08:32 | 2025-02-18 | 22:31 | ANA | 4 | 4.15 | 4.14 | / | / | 1.868 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 9 | Old A | 2025-02-19 | 08:33 | 2025-02-18 | 22:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-02-19 | 08:35 | 2025-02-18 | 22:31 | ANA | 4 | 1.02 | 1.01 | / | / | 0.550 | 6.614 |  |  | 2.65 | 125 |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Prod | 2025-02-19 | 08:36 | 2025-02-18 | 22:31 | ANA | 4 | 0.99 | 1.03 | / | / | 0.535 |  |  |  | 0.31 | 134 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Prod | 2025-02-19 | 08:38 | 2025-02-18 | 22:31 | ANA | 4 | 4.05 | 4.04 | / | / | 1.899 | 6.601 |  |  | 0.31 | 118 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Prod | 2025-02-19 | 08:39 | 2025-02-18 | 22:31 | ANA | 4 | 3.89 | 3.90 | / | / | 1.839 |  |  |  | 0.22 | 101 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-02-19 | 08:41 | 2025-02-18 | 22:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-02-19 | 08:41 | 2025-02-18 | 22:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 16 | P/Prod | 2025-02-19 | 14:32 | 2025-02-19 | 13:16 | DORINA | 4 | 0.95 | 0.94 | / | / | 0.492 | 6.587 |  |  | 0.30 | 103 |  | Kinga |  | 3 | 2
2 | 1.00 | 17 | P/Prod | 2025-02-19 | 14:33 | 2025-02-19 | 13:16 | DORINA | 4 | 0.98 | 0.96 | / | / | 0.507 |  |  |  | 0.20 | 111 |  | Kinga |  | 3 | 2
3 | 4.00 | 18 | P/Prod | 2025-02-19 | 14:36 | 2025-02-19 | 13:16 | DORINA | 4 | 3.99 | 4.05 | / | / | 1.896 | 6.621 |  |  | 0.25 | 108 |  | Kinga |  | 3 | 3
3 | 4.00 | 19 | P/Prod | 2025-02-19 | 14:37 | 2025-02-19 | 13:16 | DORINA | 4 | 3.96 | 4.01 | / | / | 1.886 |  |  |  | 0.27 | 106 |  | Kinga |  | 3 | 3
1 | 0.00 | 20 | P/Prod | 2025-02-19 | 14:38 | 2025-02-19 | 13:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0006 | 6.612 |  |  | 3.43 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 21 | P/Prod | 2025-02-19 | 14:39 | 2025-02-19 | 13:16 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 22 | P/Prod | 2025-02-19 | 14:46 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 0.94 | 0.94 | / | / | 0.490 |  |  |  | 1.13 | 113 |  | Kinga |  | 3 | 2
2 | 1.00 | 23 | P/Prod | 2025-02-19 | 14:47 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 0.96 | 0.95 | / | / | 0.499 |  |  |  | 0.27 | 114 |  | Kinga |  | 3 | 2
3 | 4.00 | 24 | P/Prod | 2025-02-19 | 14:48 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 4.00 | 4.08 | / | / | 1.900 | 6.023 |  |  | 0.33 | 111 |  | Kinga |  | 3 | 3
3 | 4.00 | 25 | P/Prod | 2025-02-19 | 14:50 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 4.03 | 4.05 | / | / | 1.890 |  |  |  | 0.31 | 114 |  | Kinga |  | 3 | 3
1 | 0.00 | 26 | P/Prod | 2025-02-19 | 14:51 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 | 5.963 |  |  | 2.89 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 27 | P/Prod | 2025-02-19 | 14:52 | 2025-02-19 | 14:18 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 28 | Old A | 2025-02-20 | 08:25 | 2025-02-19 | 22:44 | ANA | 4 | 0.96 | 0.97 | / | / | 0.485 |  |  |  | 1.33 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 29 | Old A | 2025-02-20 | 08:26 | 2025-02-19 | 22:44 | ANA | 4 | 3.92 | 4.01 | / | / | 1.867 |  |  |  | 1.23 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 30 | P/Prod | 2025-02-20 | 08:31 | 2025-02-19 | 22:44 | ANA | 4 | 0.95 | 0.94 | / | / | 0.483 | 6.169 |  |  | 0.34 | 114 |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/Prod | 2025-02-20 | 08:33 | 2025-02-19 | 22:44 | ANA | 4 | 0.97 | 0.98 | / | / | 0.532 |  |  |  | 2.04 | 116 |  | Kinga |  | 3 | 2
3 | 4.00 | 32 | P/Prod | 2025-02-20 | 08:36 | 2025-02-19 | 22:44 | ANA | 4 | 4.09 | 4.12 | / | / | 1.938 | 6.395 |  |  | 0.63 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 33 | P/Prod | 2025-02-20 | 08:37 | 2025-02-19 | 22:44 | ANA | 4 | 3.98 | 4.00 | / | / | 1.870 |  |  |  | 0.53 | 119 |  | Kinga |  | 3 | 3
1 | 0.00 | 34 | P/Prod | 2025-02-20 | 08:38 | 2025-02-19 | 22:44 | ANA | 4 | 0.00 | 0.00 | / | / | -0.021 | 6.212 |  |  | 2.86 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | P/Prod | 2025-02-20 | 08:39 | 2025-02-19 | 22:44 | ANA | 4 | 0.00 | 0.00 | / | / | -0.018 |  |  |  | 1.49 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 1.01 mg/L | 2 | 4 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 3.97 mg/L | 2 | 4 | 3.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by