## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0943 | HI93701-0 | CP-R25 | W 08/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0858
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-02-24 | 09:15 | 2025-02-24 | 08:15 | ERIKA | 4 | 1.01 | 1.02 | / | / | 0.584 |  |  |  | 4.72 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2025-02-24 | 09:16 | 2025-02-24 | 08:15 | ERIKA | 4 | 3.97 | 4.05 | / | / | 1.890 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-24 | 09:17 | 2025-02-24 | 08:15 | ERIKA | 4 | 0.01 | 0.00 | / | / | 0.033 |  |  |  | 3.88 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | Valid | 2025-02-24 | 09:20 | 2025-02-24 | 08:15 | ERIKA | 4 | 1.00 | 0.97 | / | / | 0.520 | 6.477 |  |  | 7.72 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-02-24 | 09:21 | 2025-02-24 | 08:15 | ERIKA | 4 | 1.00 | 0.99 | / | / | 0.524 |  |  |  | 2.63 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | Valid | 2025-02-24 | 09:23 | 2025-02-24 | 08:15 | ERIKA | 4 | 4.01 | 4.08 | / | / | 1.906 | 6.408 |  |  | 0.95 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | Valid | 2025-02-24 | 09:24 | 2025-02-24 | 08:15 | ERIKA | 4 | 4.03 | 4.06 | / | / | 1.912 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-02-24 | 09:26 | 2025-02-24 | 08:15 | ERIKA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.360 |  |  | 0.66 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-02-24 | 09:26 | 2025-02-24 | 08:15 | ERIKA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-02-28 | 07:42 | 2025-02-28 | 21:20 | DORINA | 4 | 0.96 | 0.98 | / | / | 0.501 |  |  |  | 0.76 |  |  | Brigitta P |  | 3 | 2 | 25056
2 | 1.00 | 11 | P/Prod | 2025-02-28 | 07:43 | 2025-02-28 | 21:20 | DORINA | 4 | 0.99 | 0.96 | / | / | 0.514 | 6.135 |  |  | 0.98 |  |  | Brigitta P |  | 3 | 2 | 25056
3 | 4.00 | 12 | P/Prod | 2025-02-28 | 07:44 | 2025-02-28 | 21:20 | DORINA | 4 | 3.85 | 3.91 | / | / | 1.85 |  |  |  | 0.80 |  |  | Brigitta P |  | 3 | 3 | 25056
3 | 4.00 | 13 | P/Prod | 2025-02-28 | 07:44 | 2025-02-28 | 21:20 | DORINA | 4 | 3.83 | 3.88 | / | / | 1.830 | 6.539 |  |  | 0.54 |  |  | Brigitta P |  | 3 | 3 | 25056
1 | 0.00 | 14 | P/Prod | 2025-02-28 | 07:46 | 2025-02-28 | 21:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 1 | 25056
2 | 1.00 | 15 | P/Prod | 2025-02-28 | 07:53 | 2025-02-28 | 05:18 | ROLI | 4 | 0.96 | 0.96 | / | / |  | 6.174 |  |  | 0.85 |  |  | Brigitta P |  | 3 | 2 | 25056
2 | 1.00 | 16 | P/Prod | 2025-02-28 | 07:54 | 2025-02-28 | 05:18 | ROLI | 4 | 0.97 | 0.95 | / | / | 0.502 |  |  |  | 0.48 |  |  | Brigitta P |  | 3 | 2 | 25056
3 | 4.00 | 17 | P/Prod | 2025-02-28 | 07:54 | 2025-02-28 | 05:18 | ROLI | 4 | 3.90 | 3.93 | / | / |  | 6.251 |  |  | 0.58 |  |  | Brigitta P |  | 3 | 3 | 25056
3 | 4.00 | 18 | P/Prod | 2025-02-28 | 07:55 | 2025-02-28 | 05:18 | ROLI | 4 | 3.83 | 3.92 | / | / | 1.830 |  |  |  | 1.42 |  |  | Brigitta P |  | 3 | 3 | 25056
1 | 0.00 | 19 | P/Prod | 2025-02-28 | 07:56 | 2025-02-28 | 05:18 | ROLI | 4 | 0.02 | 0.00 | / | / | 0.015 | 6.465 |  |  | 0.18 |  |  | Brigitta P |  | 3 | 1 | 25056
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.97 mg/L | 4 | 8 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3.88 mg/L | 4 | 8 | 3.88 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 3.88 | YES
Validation Date | by