## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0945 | HI93701-0 | CP-R25 | W09/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-03-24 | 2025-03-04 | 4 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-02-24 | 16:46 | 2025-02-24 | 16:07 | MARK |  | 0.97 | 0.97 | / | / | 0.503 | 6.494 |  |  | 0.45 |  |  | Brigitta P |  | 3 | 2 | 83533
2 | 1.00 | 2 | Valid | 2025-02-24 | 16:47 | 2025-02-24 | 16:07 | MARK |  | 0.95 | 0.94 | / | / | 0.493 | 6.447 |  |  | 0.48 |  |  | Brigitta P |  | 3 | 2 | 83533
2 | 1.00 | 3 | Valid | 2025-02-24 | 16:48 | 2025-02-24 | 16:07 | MARK |  | 0.92 | 0.89 | / | / | 0.478 | 6.508 |  |  | 0.69 |  |  | Brigitta P |  | 3 | 2 | 83533
3 | 4.00 | 4 | Valid | 2025-02-24 | 16:50 | 2025-02-24 | 16:07 | MARK |  | 3.88 | 3.88 | / | / | 1.825 | 6.430 |  |  | 0.92 |  |  | Brigitta P |  | 3 | 3 | 83533
3 | 4.00 | 5 | Valid | 2025-02-24 | 16:51 | 2025-02-24 | 16:07 | MARK |  | 3.89 | 3.88 | / | / | 1.855 | 6.495 |  |  | 0.32 |  |  | Brigitta P |  | 3 | 3 | 83533
3 | 4.00 | 6 | Valid | 2025-02-24 | 16:52 | 2025-02-24 | 16:07 | MARK |  | 3.83 | 3.87 | / | / | 1.832 | 6.629 |  |  | 0.38 |  |  | Brigitta P |  | 3 | 3 | 83533
1 | 0.00 | 7 | Valid | 2025-02-24 | 16:55 | 2025-02-24 | 16:07 | MARK |  | 0.00 | 0.00 | / | / | 0.005 | 6.636 |  |  | 0.36 |  |  | Brigitta P |  | 3 | 1 | 83533
1 | 0.00 | 8 | Valid | 2025-02-24 | 16:55 | 2025-02-24 | 16:07 | MARK |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.15 |  |  | Brigitta P |  | 3 | 1 | 83533
2 | 1.00 | 9 | P/Prod | 2025-03-03 | 14:43 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 0.95 | 0.94 | / | / | 0.490 |  |  |  | 0.63 | 118 |  | Kinga |  | 3 | 2 | 25056
2 | 1.00 | 10 | P/Prod | 2025-03-03 | 14:44 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 0.98 | 0.95 | / | / | 0.507 | 6.545 |  |  | 1.13 | 116 |  | Kinga |  | 3 | 2 | 25056
3 | 4.00 | 11 | P/Prod | 2025-03-03 | 14:46 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 3.96 | 3.97 | / | / | 1.885 |  |  |  | 0.60 | 118 |  | Kinga |  | 3 | 3 | 25056
3 | 4.00 | 12 | P/Prod | 2025-03-03 | 14:47 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 3.92 | 3.98 | / | / | 1.866 | 6.618 |  |  | 0.22 | 143 |  | Kinga |  | 3 | 3 | 25056
1 | 0.00 | 13 | P/Prod | 2025-03-03 | 14:49 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 2.07 |  |  | Kinga |  | 3 | 1 | 25056
1 | 0.00 | 14 | P/Prod | 2025-03-03 | 14:50 | 2025-03-03 | 14:16 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.429 |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 25056
2 | 1.00 | 15 | Old A | 2025-03-04 | 08:20 | 2025-03-03 | 22:37 | ANA | 4 | 0.94 | 0.97 | / | / | 0.484 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 16 | Old A | 2025-03-04 | 08:21 | 2025-03-03 | 22:37 | ANA | 4 | 3.97 | 3.98 | / | / | 1.867 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 17 | Old A | 2025-03-04 | 08:23 | 2025-03-03 | 22:37 | ANA | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 18 | P/Prod | 2025-03-04 | 08:27 | 2025-03-03 | 22:37 | ANA | 4 | 1.04 | 1.03 | / | / | 0.537 |  |  |  | 0.35 | 125 |  | Kinga |  | 3 | 2 | 81901
2 | 1.00 | 19 | P/Prod | 2025-03-04 | 08:28 | 2025-03-03 | 22:37 | ANA | 4 | 1.02 | 1.01 | / | / | 0.530 | 6.251 |  |  | 0.62 | 114 |  | Kinga |  | 3 | 2 | 81901
1 | 0.00 | 20 | P/Prod | 2025-03-04 | 08:33 | 2025-03-03 | 22:37 | ANA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.60 | 127 |  | Kinga |  | 3 | 1 | 81901
1 | 0.00 | 21 | P/Prod | 2025-03-04 | 08:34 | 2025-03-03 | 22:37 | ANA |  | 0.01 | 0.00 | / | / | 0.011 | 6.483 |  |  | 0.43 | 108 |  | Kinga |  | 3 | 1 | 81901
3 | 4.00 | 22 | P/Prod | 2025-03-04 | 08:36 | 2025-03-03 | 22:37 | ANA |  | 4.03 | 4.06 | / | / | 1.913 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 3 | 81901
3 | 4.00 | 23 | P/Prod | 2025-03-04 | 08:38 | 2025-03-03 | 22:37 | ANA |  | 4.02 | 4.04 | / | / | 1.923 | 6.246 |  |  | 0.43 |  |  | Kinga |  | 3 | 3 | 81901
2 | 1.00 | 24 | P/Prod | 2025-03-04 | 08:49 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 1.04 | 1.04 | / | / | 0.538 |  |  |  | 0.58 | 115 |  | Kinga |  | 3 | 2 | 81901
2 | 1.00 | 25 | P/Prod | 2025-03-04 | 08:50 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 1.01 | 1.01 | / | / | 0.523 | 6.176 |  |  | 0.33 | 130 |  | Kinga |  | 3 | 2 | 81901
3 | 4.00 | 26 | P/Prod | 2025-03-04 | 08:53 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 3.92 | 3.90 | / | / | 1.868 |  |  |  | 1.06 | 120 |  | Kinga |  | 3 | 3 | 81901
3 | 4.00 | 27 | P/Prod | 2025-03-04 | 08:54 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 3.92 | 3.85 | / | / | 1.868 | 6.404 |  |  | 0.35 | 114 |  | Kinga |  | 3 | 3 | 81901
1 | 0.00 | 28 | P/Prod | 2025-03-04 | 08:55 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 16.0 |  |  | Kinga |  | 3 | 1 | 81901
1 | 0.00 | 29 | P/Prod | 2025-03-04 | 08:55 | 2025-03-04 | 06:21 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.426 |  |  | 10.9 |  |  | Kinga |  | 3 | 1 | 81901
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1 mg/L | 6 | 12 | 1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.96 mg/L | 6 | 12 | 3.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.00 | YES
4.00 | 3.85 ÷ 4.15 | 3.96 | YES
Validation Date | by