## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0947 | HI93701-0 | CP-R25 | W 09/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-25 | 2025-03-05 | 4 HEAD |  |  | 0784 |  | 4 HEAD44
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-02-25 | 14:33 | 2025-02-25 | 14:16 | ERIKA |  | 0.98 | 0.96 | / | / | 0.511 |  |  |  | 2.26 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2025-02-25 | 14:35 | 2025-02-25 | 14:16 | ERIKA |  | 4.00 | 4.06 | / | / | 1.899 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-25 | 14:36 | 2025-02-25 | 14:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | Valid | 2025-02-25 | 14:58 | 2025-02-25 | 14:16 | ERIKA |  | 1.00 | 1.00 | / | / | 0.519 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-02-25 | 14:59 | 2025-02-25 | 14:16 | ERIKA |  | 1.00 | 1.01 | / | / | 0.521 | 6.363 |  |  | 0.27 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | Valid | 2025-02-25 | 15:02 | 2025-02-25 | 14:16 | ERIKA |  | 3.98 | 4.09 | / | / | 1.895 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | Valid | 2025-02-25 | 15:03 | 2025-02-25 | 14:16 | ERIKA |  | 4.01 | 4.12 | / | / | 1.905 | 6.437 |  |  | 0.55 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-02-25 | 15:05 | 2025-02-25 | 14:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-02-25 | 15:06 | 2025-02-25 | 14:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.002 | 6.358 |  |  | 0.29 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | Old A | 2025-03-05 | 08:28 | 2025-03-05 | 06:38 | DORINA | 4 | 0.99 | 1.01 | / | / | 0.516 |  |  |  | 3.11 |  |  | Kinga |  | 3 | 2 | 81901
3 | 4.00 | 11 | Old A | 2025-03-05 | 08:29 | 2025-03-05 | 06:38 | DORINA | 4 | 4.03 | 4.00 | / | / | 1.987 |  |  |  | 3.0 |  |  | Kinga |  | 3 | 3 | 81901
1 | 0.00 | 12 | Old A | 2025-03-05 | 08:30 | 2025-03-05 | 06:38 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.54 | 109 |  | Kinga |  | 3 | 1 | 81901
2 | 1.00 | 13 | P/Prod | 2025-03-05 | 08:34 | 2025-03-05 | 06:38 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 | 6.311 |  |  | 0.61 | 110 |  | Kinga |  | 3 | 2 | 81901
2 | 1.00 | 14 | P/Prod | 2025-03-05 | 08:35 | 2025-03-05 | 06:38 | Dorina | 4 | 0.98 | 0.99 | / | / | 0.509 |  |  |  | 0.63 | 91 |  | Kinga |  | 3 | 2 | 81901
3 | 4.00 | 15 | P/Prod | 2025-03-05 | 08:37 | 2025-03-05 | 06:38 | DORINA | 4 | 3.90 | 3.93 | / | / | 1.860 | 6.320 |  |  | 4.68 | 103 |  | Kinga |  | 3 | 3 | 81901
3 | 4.00 | 16 | P/Prod | 2025-03-05 | 08:38 | 2025-03-05 | 06:38 | DORINA | 4 | 3.99 | 4.00 | / | / | 1.897 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 3 | 81901
1 | 0.00 | 17 | P/Prod | 2025-03-05 | 08:39 | 2025-03-05 | 06:38 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.007 | 6.305 |  |  | 4.33 |  |  | Kinga |  | 3 | 1 | 81901
2 | 1.00 | 18 | P/FINAL | 2025-03-05 | 15:06 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 0.96 | 0.96 | / | / |  |  |  |  | 0.520 |  |  | Brigitta P |  | 3 | 2 | 81901
2 | 1.00 | 19 | P/FINAL | 2025-03-05 | 15:07 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 0.97 | 0.97 | / | / | 0.520 | 5.989 |  |  | 1.44 | 119 |  | Brigitta P |  | 3 | 2 | 81901
3 | 4.00 | 20 | P/FINAL | 2025-03-05 | 15:05 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 3.99 | 4.00 | / | / | 1.897 |  |  |  | 0.17 | 115 |  | Brigitta P |  | 3 | 2 | 81901
3 | 4.00 | 21 | P/FINAL | 2025-03-05 | 15:05 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 3.99 | 4.00 | / | / | 1.897 | 6.170 |  |  | 0.25 | 110 |  | Brigitta P |  | 3 | 2 | 81901
3 | 4.00 | 22 | P/FINAL | 2025-03-05 | 15:05 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 4.01 | 4.01 | / | / | 1.905 |  |  |  | 0.14 | 94 |  | Brigitta P |  | 3 | 2 | 81901
1 | 0.00 | 23 | P/FINAL | 2025-03-05 | 15:10 | 2025-03-05 | 14:18 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.214 |  |  | 0.17 |  |  | Brigitta P |  | 3 | 2 | 81901
2 | 1.00 | 24 | P/Prod | 2025-03-06 | 08:22 | 2025-03-05 | 22:41 | ANA | 4 | 0.96 | 0.95 | / | / | 0.500 |  |  |  | 0.83 | 91 |  | Kinga |  | 3 | 2 | 81901
2 | 1.00 | 25 | P/Prod | 2025-03-06 | 08:23 | 2025-03-05 | 22:41 | ANA | 4 | 0.95 | 0.95 | / | / | 0.491 | 6.342 |  |  | 0.58 | 112 |  | Kinga |  | 3 | 2 | 81901
3 | 4.00 | 26 | P/Prod | 2025-03-06 | 08:24 | 2025-03-05 | 22:41 | ANA | 4 | 4.04 | 4.00 | / | / | 1.916 |  |  |  | 2.08 | 111 |  | Kinga |  | 3 | 3 | 81901
3 | 4.00 | 27 | P/Prod | 2025-03-06 | 08:25 | 2025-03-05 | 22:41 | ANA | 4 | 4.01 | 4.06 | / | / | 1.906 | 6.336 |  |  | 1.86 | 107 |  | Kinga |  | 3 | 3 | 81901
1 | 0.00 | 28 | P/Prod | 2025-03-06 | 08:27 | 2025-03-05 | 22:41 | ANA | 4 | 0.02 | 0.00 | / | / | 0014 |  |  |  | 3.42 |  |  | Kinga |  | 3 | 1 | 81901
1 | 0.00 | 29 | P/Prod | 2025-03-06 | 08:27 | 2025-03-05 | 22:41 | ANA | 4 | 0.01 | 0.00 | / | / | 0.011 | 6.401 |  |  | 0.82 |  |  | Kinga |  | 3 | 1 | 81901
2 | 1.00 | 30 | P/Prod | 2025-03-06 | 08:36 | 2025-03-06 | 06:30 | DORINA | 4 | 0.99 | 0.96 | / | / | 0.515 |  |  |  | 13.2 | 101 |  | Kinga |  | 3 | 2 | 81901
2 | 1.00 | 31 | P/Prod | 2025-03-06 | 08:38 | 2025-03-06 | 06:30 | DORINA | 4 | 0.95 | 0.96 | / | / | 0.495 | 6.363 |  |  | 1.42 | 117 |  | Kinga |  | 3 | 2 | 81901
3 | 4.00 | 32 | P/Prod | 2025-03-06 | 08:39 | 2025-03-06 | 06:30 | DORINA | 4 | 4.07 | 4.09 | / | / | 1.927 |  |  |  | 1.61 | 109 |  | Kinga |  | 3 | 3 | 81901
3 | 4.00 | 33 | P/Prod | 2025-03-06 | 08:40 | 2025-03-06 | 06:30 | DORINA | 4 | 4.03 | 4.07 | / | / | 1.914 | 6.349 |  |  | 0.49 | 114 |  | Kinga |  | 3 | 3 | 81901
1 | 0.00 | 34 | P/Prod | 2025-03-06 | 08:42 | 2025-03-06 | 06:30 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 81901
1 | 0.00 | 35 | P/Prod | 2025-03-06 | 08:43 | 2025-03-06 | 06:30 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.167 |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 81901
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.97 mg/L | 8 | 16 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.01 mg/L | 9 | 18 | 4.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 4.01 | YES
Validation Date | by