## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0969 | HI93701-0 | CP-R25 | W 12/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-03-18 | 2025-03-25 | 4 HEAD |  |  | 0858
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-03-18 | 16:08 | 2025-03-18 | 15:50 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 2 | Old A | 2025-03-18 | 16:10 | 2025-03-18 | 15:50 | MARK |  | 1.02 | 1.01 | / | / | 0.529 |  |  |  | 1.04 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-03-18 | 16:11 | 2025-03-18 | 15:50 | MARK |  | 4.00 | 4.04 | / | / | 1.914 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 3
2 | 1.00 | 4 | Valid | 2025-03-18 | 16:12 | 2025-03-18 | 15:50 | MARK |  | 1.04 | 1.02 | / | / | 0.539 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-03-18 | 16:13 | 2025-03-18 | 15:50 | MARK |  | 0.98 | 0.98 | / | / | 0.511 | 6.542 |  |  | 0.51 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 6 | Valid | 2025-03-18 | 16:14 | 2025-03-18 | 15:50 | MARK |  | 4.07 | 4.15 | / | / | 1.927 | 6.252 |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 7 | Valid | 2025-03-18 | 16:15 | 2025-03-18 | 15:50 | MARK |  | 3.85 | 3.89 | / | / | 1.840 |  |  |  | 3.83 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-03-18 | 16:17 | 2025-03-18 | 15:50 | MARK |  | 0.00 | 0.00 | / | / | 0.006 | 6.453 | [5 empty] | Brigitta P |  | 3 | 1
2 | 1.00 | 9 | Old A | 2025-03-24 | 08:57 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 1.03 | 1.04 | / | / | 0.536 |  |  |  | 0.79 |  |  | Kinga |  | 3 | 2 | 82614
3 | 4.00 | 10 | Old A | 2025-03-24 | 09:00 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 4.10 | 4.11 | / | / | 1.941 |  |  |  | 1.04 |  |  | Kinga |  | 3 | 3 | 82614
1 | 0.00 | 11 | Old A | 2025-03-24 | 09:06 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.86 |  |  | Kinga |  | 3 | 1 | 82614
2 | 1.00 | 12 | P/Prod | 2025-03-24 | 09:09 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 1.00 | 1.01 | / | / | 0.519 | 6.479 |  |  | 0.18 | 122 |  | Kinga |  | 3 | 2 | 82614
2 | 1.00 | 13 | P/Prod | 2025-03-24 | 09:10 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 1.05 | 1.04 | / | / | 0.545 | 4.485 |  |  | 0.24 | 107 |  | Kinga |  | 3 | 2 | 82614
3 | 4.00 | 14 | P/Prod | 2025-03-24 | 09:12 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 4.06 | 4.06 | / | / | 1.924 | 6.700 |  |  | 0.45 | 113 |  | Kinga |  | 3 | 3 | 82614
3 | 4.00 | 15 | P/Prod | 2025-03-24 | 09:12 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 3.98 | 4.01 | / | / | 1.892 | 6.515 |  |  | 0.22 | 111 |  | Kinga |  | 3 | 3 | 82614
1 | 0.00 | 16 | P/Prod | 2025-03-24 | 09:14 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.446 |  |  | 2.32 |  |  | Kinga |  | 3 | 1 | 82614
1 | 0.00 | 17 | P/Prod | 2025-03-24 | 09:15 | 2025-03-24 | 06:49 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.265 |  |  | 0.20 |  |  | Kinga |  | 3 | 1 | 82614
2 | 1.00 | 18 | P/Prod | 2025-03-24 | 15:36 | 2025-03-24 | 14:33 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.495 |  |  |  | 2.60 | 103 |  | Kinga |  | 3 | 2 | 82614
2 | 1.00 | 19 | P/Prod | 2025-03-24 | 15:37 | 2025-03-24 | 14:33 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.509 | 6.264 |  |  | 0.16 | 120 |  | Kinga |  | 3 | 2 | 82614
3 | 4.00 | 20 | P/Prod | 2025-03-24 | 15:37 | 2025-03-24 | 14:33 | DORINA | 4 | 3.96 | 4.02 | / | / | 1.883 |  |  |  | 0.17 | 94 |  | Kinga |  | 3 | 3 | 82614
3 | 4.00 | 21 | P/Prod | 2025-03-24 | 15:38 | 2025-03-24 | 14:33 | DORINA | 4 | 3.90 | 3.97 | / | / | 1.881 | 6.350 |  |  | 0.19 | 98 |  | Kinga |  | 3 | 3 | 82614
1 | 0.00 | 22 | P/Prod | 2025-03-24 | 15:39 | 2025-03-24 | 14:33 | DORINA | 4 | 0.01 | 0.01 | / | / | 0.011 |  |  |  | 3.88 |  |  | Kinga |  | 3 | 1 | 82614
1 | 0.00 | 23 | P/Prod | 2025-03-24 | 15:39 | 2025-03-24 | 14:33 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.391 |  |  | 0.19 |  |  | Kinga |  | 3 | 1 | 82614
2 | 1.00 | 24 | Old A | 2025-03-25 | 08:09 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 0.99 | 0.98 | / | / | 0.514 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 2 | 92430
3 | 4.00 | 25 | Old A | 2025-03-25 | 08:09 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 4.05 | 4.10 | / | / | 1.920 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 3 | 92430
1 | 0.00 | 26 | Old A | 2025-03-25 | 08:12 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.01 |  |  | Kinga |  | 3 | 1 | 92430
2 | 1.00 | 27 | P/Prod | 2025-03-25 | 08:14 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 1.06 | 0.99 | / | / | 0.556 | 6.200 |  |  | 2.10 | 118 |  | Kinga |  | 3 | 2 | 92430
2 | 1.00 | 28 | P/Prod | 2025-03-25 | 08:15 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 0.96 | 0.95 | / | / | 0.498 |  |  |  | 0.51 | 104 |  | Kinga |  | 3 | 2 | 92430
3 | 4.00 | 29 | P/Prod | 2025-03-25 | 08:18 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 3.94 | 3.96 | / | / | 1.875 | 6.240 |  |  | 0.50 | 101 |  | Kinga |  | 3 | 3 | 92430
3 | 4.00 | 30 | P/Prod | 2025-03-25 | 08:19 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 4.06 | 4.08 | / | / | 1.923 |  |  |  | 7.68 | 116 |  | Kinga |  | 3 | 3 | 92430
1 | 0.00 | 31 | P/Prod | 2025-03-25 | 08:21 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.338 |  |  | 0.69 |  |  | Kinga |  | 3 | 1 | 92430
1 | 0.00 | 32 | P/Prod | 2025-03-25 | 08:22 | 2025-03-25 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 1 | 92430
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.99 mg/L | 6 | 12 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4 mg/L | 6 | 12 | 4 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.00 | YES
Validation Date | by