## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0971 | HI93701-0 | CP-R25 | W 12/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-01 | 2025-04-02 | 4HEAD |  |  | 0661
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-03-20 | 08:21 | 2025-03-19 | 15:47 | ERIKA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.11 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 2 | Old A | 2025-03-20 | 08:24 | 2025-03-19 | 15:47 | ERIKA |  | 1.02 | 1.00 | / | / | 0.529 |  |  |  | 1.66 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-03-20 | 08:25 | 2025-03-19 | 15:47 | ERIKA |  | 4.12 | 4.15 | / | / | 1.965 |  |  |  | 2.58 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 4 | Valid | 2025-03-20 | 08:26 | 2025-03-19 | 15:47 | ERIKA |  | 0.99 | 0.99 | / | / | 0.513 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 2 | 92430
2 | 1.00 | 5 | Valid | 2025-03-20 | 08:28 | 2025-03-19 | 15:47 | ERIKA |  | 1.00 | 0.99 | / | / | 0.517 | 6.689 |  |  | 0.57 |  |  | Kinga |  | 3 | 2 | 92430
3 | 4.00 | 6 | Valid | 2025-03-20 | 08:31 | 2025-03-19 | 15:47 | ERIKA |  | 3.98 | 4.03 | / | / | 1.894 |  |  |  | 1.02 |  |  | Kinga |  | 3 | 3 | 92430
3 | 4.00 | 7 | Valid | 2025-03-20 | 08:32 | 2025-03-19 | 15:47 | ERIKA |  | 3.96 | 4.02 | / | / | 1.883 | 6.637 |  |  | 0.35 |  |  | Kinga |  | 3 | 3 | 92430
1 | 0.00 | 8 | Valid | 2025-03-20 | 08:34 | 2025-03-19 | 15:47 | ERIKA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 92430
1 | 0.00 | 9 | Valid | 2025-03-20 | 08:34 | 2025-03-19 | 15:47 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 6.721 |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 92430
2 | 1.00 | 10 | P/FINAL | 2025-04-01 | 09:08 | 2025-04-01 | 07:58 | DORINA | 4 | 0.94 | 0.95 | / | / |  |  |  |  | 0.41 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 11 | P/FINAL | 2025-04-01 | 09:09 | 2025-04-01 | 07:58 | DORINA | 4 | 0.94 | 0.94 | / | / | 0.486 |  |  |  | 0.44 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 12 | P/FINAL | 2025-04-01 | 09:09 | 2025-04-01 | 07:58 | DORINA | 4 | 3.85 | 3.89 | / | / | 1.838 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 13 | P/FINAL | 2025-04-01 | 09:10 | 2025-04-01 | 07:58 | DORINA | 4 | 3.89 | 3.89 | / | / |  |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 14 | P/FINAL | 2025-04-01 | 09:11 | 2025-04-01 | 07:58 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 15 | P/FINAL | 2025-04-01 | 09:11 | 2025-04-01 | 07:58 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-04-01 | 09:48 | 2025-04-01 | 09:19 | DORINA | 4 | 0.00 | 0.00 | / | / |  |  |  |  | 0.41 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 17 | P/FINAL | 2025-04-01 | 09:48 | 2025-04-01 | 09:19 | DORINA | 4 | 0.00 | 0.00 | / | / |  |  |  |  | 0.93 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 18 | P/FINAL | 2025-04-01 | 15:44 | 2025-04-01 | 14:25 | ANA | 4 | 0.96 | 0.95 | / | / | 0.497 |  |  |  | 0.25 | 125 |  | Kinga |  | 3 | 2 | 242449
2 | 1.00 | 19 | P/FINAL | 2025-04-01 | 15:45 | 2025-04-01 | 14:25 | ANA | 4 | 0.94 | 0.94 | / | / | 0.490 | 6.225 |  |  | 1.62 | 102 |  | Kinga |  | 3 | 2 | 242449
3 | 4.00 | 20 | P/FINAL | 2025-04-01 | 15:46 | 2025-04-01 | 14:25 | ANA | 4 | 3.96 | 3.88 | / | / | 1.884 |  |  |  | 0.90 | 108 |  | Kinga |  | 3 | 3 | 242449
3 | 4.00 | 21 | P/FINAL | 2025-04-01 | 15:47 | 2025-04-01 | 14:25 | ANA | 4 | 3.85 | 3.85 | / | / | 1.822 | 6.369 |  |  | 2.30 | 131 |  | Kinga |  | 3 | 3 | 242449
1 | 0.00 | 22 | P/FINAL | 2025-04-01 | 15:51 | 2025-04-01 | 14:25 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.66 |  |  | Kinga |  | 3 | 1 | 242449
1 | 0.00 | 23 | P/FINAL | 2025-04-01 | 15:51 | 2025-04-01 | 14:25 | ANA | 4 | 0.01 | 0.00 | / | / | 0.011 | 6.146 |  |  | 1.33 |  |  | Kinga |  | 3 | 1 | 242449
1 | 0.00 | 24 | Old A | 2025-04-02 | 08:58 | 2025-04-02 |  | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.07 |  |  | Brigitta P |  | 3 | 1 | 24249
3 | 4.00 | 25 | Old A | 2025-04-02 | 08:58 | 2025-04-02 |  | DORINA | 4 | 3.85 | 3.94 | / | / | 1.839 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 3 | 24249
2 | 1.00 | 26 | Old A | 2025-04-02 | 08:59 | 2025-04-02 |  | DORINA | 4 | 0.94 | 0.91 | / | / |  |  |  |  | 1.26 |  |  | Brigitta P |  | 3 | 2 | 24249
2 | 1.00 | 27 | P/FINAL | 2025-04-02 | 09:02 | 2025-04-02 | 07:06 | DORINA | 4 | 0.99 | 0.94 | / | / | 0.516 | 6.388 |  |  | 0.43 | 116 |  | Brigitta P |  | 3 | 2 | 24249
2 | 1.00 | 28 | P/FINAL | 2025-04-02 | 09:03 | 2025-04-02 | 07:06 | DORINA | 4 | 0.94 | 0.93 | / | / | 0.486 |  |  |  | 0.22 | 121 |  | Brigitta P |  | 3 | 2 | 24249
3 | 4.00 | 29 | P/FINAL | 2025-04-02 | 09:06 | 2025-04-02 | 07:06 | DORINA | 4 | 4.06 | 4.12 | / | / | 1.925 | 6.388 |  |  | 0.54 | 130 |  | Brigitta P |  | 3 | 3 | 24249
3 | 4.00 | 30 | P/FINAL | 2025-04-02 | 09:07 | 2025-04-02 | 07:06 | DORINA | 4 | 4.04 | 4.08 | / | / | 1.915 |  |  |  | 0.15 | 135 |  | Brigitta P |  | 3 | 3 | 24249
3 | 4.00 | 31 | P/FINAL | 2025-04-02 | 09:09 | 2025-04-02 | 07:06 | DORINA | 4 | 3.95 | 4.03 | / | / | 1.882 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 3 | 24249
1 | 0.00 | 32 | P/FINAL | 2025-04-02 | 09:09 | 2025-04-02 | 07:06 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.400 |  |  | 0.37 |  |  | Brigitta P |  | 3 | 1 | 24249
1 | 0.00 | 33 | P/FINAL | 2025-04-02 | 09:11 | 2025-04-02 | 07:06 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 1 | 24249
2 | 1.00 | 34 | P/FINAL | 2025-04-02 | 14:56 | 2025-04-02 | 14:09 | ANA | 4 | 0.94 | 0.95 | / | / | 0.488 |  |  |  | 0.78 | 135 |  | Kinga |  | 3 | 2
2 | 1.00 | 35 | P/FINAL | 2025-04-02 | 14:57 | 2025-04-02 | 14:09 | ANA | 4 | 0.94 | 0.94 | / | / | 0.489 | 6.329 |  |  | 0.46 | 127 |  | Kinga |  | 3 | 2
3 | 4.00 | 36 | P/FINAL | 2025-04-02 | 14:58 | 2025-04-02 | 14:09 | ANA | 4 | 4.12 | 4.06 | / | / | 1.949 |  |  |  | 0.46 | 110 |  | Kinga |  | 3 | 3
3 | 4.00 | 37 | P/FINAL | 2025-04-02 | 14:59 | 2025-04-02 | 14:09 | ANA | 4 | 4.01 | 4.03 | / | / | 1.906 | 6.552 |  |  | 0.86 | 121 |  | Kinga |  | 3 | 3
1 | 0.00 | 38 | P/FINAL | 2025-04-02 | 15:01 | 2025-04-02 | 14:09 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 1 | 24249
1 | 0.00 | 39 | P/FINAL | 2025-04-02 | 15:01 | 2025-04-02 | 14:09 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.548 |  |  | 1.21 |  |  | Kinga |  | 3 | 1 | 24249
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.95 mg/L | 8 | 16 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 3.98 mg/L | 9 | 18 | 3.98 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.95 | YES
4.00 | 3.85 ÷ 4.15 | 3.98 | YES
Validation Date | by