## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1003/N | HI93701-0 | CP-R25 | W15_2025 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | Tab 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2025-04-14 | 2025-04-15 | 4 head
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | P/FINAL | 2025-04-14 | 15:05 | 2025-04-14 | 14:35 | Giorgiana | 4 | 0.97 | 0.96 | / | / | 0.504 | 6.492 |  |  | 0.26 | 117 |  | Brigitta P |  | 3 | 2 | 81533
2 | 1.00 | 2 | P/FINAL | 2025-04-14 | 15:06 | 2025-04-14 | 14:35 | Giorgiana | 4 | 1.00 | 0.99 | / | / | 0.517 |  |  |  | 0.20 | 132 |  | Brigitta P |  | 3 | 2 | 81533
1 | 0.00 | 3 | P/FINAL | 2025-04-14 | 15:06 | 2025-04-14 | 14:35 | Giorgiana | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.314 |  |  | 1.12 | 138 |  | Brigitta P |  | 3 | 1 | 81533
3 | 4.00 | 4 | P/FINAL | 2025-04-14 | 15:07 | 2025-04-14 | 14:35 | Giorgiana | 4 | 3.93 | 3.96 | / | / | 1.874 | 6.282 |  |  | 0.79 | 103 |  | Brigitta P |  | 3 | 3 | 81533
3 | 4.00 | 5 | P/FINAL | 2025-04-14 | 15:09 | 2025-04-14 | 14:35 | Giorgiana | 4 | 3.97 | 4.04 | / | / | 1.887 |  |  |  | 0.26 | 118 |  | Brigitta P |  | 3 | 3 | 81533
2 | 1.00 | 6 | Old A | 2025-04-15 | 08:36 | 2025-04-15 | 07:37 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.520 |  |  |  | 3.70 |  |  | Kinga |  | 3 | 2 | 81533
3 | 4.00 | 7 | Old A | 2025-04-15 | 08:37 | 2025-04-15 | 07:37 | DORINA | 4 | 4.00 | 4.03 | / | / | 1.899 |  |  |  | 1.52 |  |  | Kinga |  | 3 | 3 | 81533
1 | 0.00 | 8 | Old A | 2025-04-15 | 08:38 | 2025-04-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.13 |  |  | Kinga |  | 3 | 1 | 81533
2 | 1.00 | 9 | P/FINAL | 2025-04-15 | 08:41 | 2025-04-15 | 07:37 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.516 | 6.362 |  |  | 0.67 | 104 |  | Kinga |  | 3 | 2 | 81533
2 | 1.00 | 10 | P/FINAL | 2025-04-15 | 08:41 | 2025-04-15 | 07:37 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.523 |  |  |  | 0.75 | 107 |  | Kinga |  | 3 | 2 | 81533
3 | 4.00 | 11 | P/FINAL | 2025-04-15 | 08:43 | 2025-04-15 | 07:37 | DORINA | 4 | 3.95 | 3.94 | / | / | 1.881 | 6.391 |  |  | 3.62 | 121 |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 12 | P/FINAL | 2025-04-15 | 08:44 | 2025-04-15 | 07:37 | DORINA | 4 | 3.99 | 4.00 | / | / | 1.895 |  |  |  | 3.62 | 96 |  | Kinga |  | 3 | 3 | 81533
1 | 0.00 | 13 | P/FINAL | 2025-04-15 | 08:47 | 2025-04-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.595 |  |  | 0.75 | 86 |  | Kinga |  | 3 | 1 | 81533
1 | 0.00 | 14 | P/FINAL | 2025-04-15 | 08:48 | 2025-04-15 | 07:37 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 3.57 | 113 |  | Kinga |  | 3 | 1 | 81533
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.99 mg/L | 4 | 8 | 0.99 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3.97 mg/L | 4 | 8 | 3.97 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by