## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1005 | HI93701-0 | CP-R25 | W15/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MAEK | 2025-04-11 | 2025-04-22 | 4 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Valid | 2025-04-11 | 11:58 | 2025-04-11 |  | ERIKA/MARK |  | 4.01 | 4.08 | / | / | 1.905 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 3 | 113042
2 | 1.00 | 2 | Valid | 2025-04-11 | 11:59 | 2025-04-11 |  | ERIKA/MARK |  | 0.97 | 0.98 | / | / | 0.505 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 2 | 113042
2 | 1.00 | 3 | Valid | 2025-04-11 | 11:59 | 2025-04-11 |  | ERIKA/MARK |  | 0.97 | 0.97 | / | / |  | 6.680 |  |  | 0.22 |  |  | Brigitta P |  | 3 | 2 | 113042
2 | 1.00 | 4 | Valid | 2025-04-11 | 11:59 | 2025-04-11 |  | ERIKA/MARK |  | 0.96 | 0.99 | / | / | 0.496 |  |  |  | 0.80 |  |  | Brigitta P |  | 3 | 2 | 113042
3 | 4.00 | 5 | Valid | 2025-04-11 | 12:00 | 2025-04-11 |  | ERIKA |  | 3.91 | 4.00 | / | / | 1.863 |  |  |  | 0.44 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 6 | Valid | 2025-04-11 | 12:02 | 2025-04-11 |  | ERIKA |  | 4.08 | 4.16 | / | / | 1.934 | 6.338 |  |  | 0.26 |  |  | Brigitta P |  | 3 | 3 | 113042
1 | 0.00 | 7 | Valid | 2025-04-11 | 12:03 | 2025-04-11 |  | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 | 6.795 |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 8 | Valid | 2025-04-11 | 12:03 | 2025-04-11 |  | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.46 |  |  | Brigitta P |  | 3 | 1 | DWA
2 | 1.00 | 9 | Old A | 2025-04-17 | 11:12 | 2025-04-17 | 09:48 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 1.39 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Old A | 2025-04-17 | 11:13 | 2025-04-17 | 09:48 | DORINA | 4 | 3.91 | 3.90 | / | / | 1.862 |  |  |  | 0.92 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 11 | Old A | 2025-04-17 | 11:14 | 2025-04-17 | 09:48 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.11 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 12 | P/FINAL | 2025-04-17 | 11:19 | 2025-04-17 | 09:48 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.514 | 6.176 |  |  | 0.23 | 98 |  | Kinga |  | 3 | 2
2 | 1.00 | 13 | P/FINAL | 2025-04-17 | 11:21 | 2025-04-17 | 09:48 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.510 |  |  |  | 0.21 | 110 |  | Kinga |  | 3 | 2
3 | 4.00 | 14 | P/FINAL | 2025-04-17 | 11:21 | 2025-04-17 | 09:48 | DORINA | 4 | 3.87 | 4.00 | / | / | 1.849 | 6.171 |  |  | 1.49 | 114 |  | Kinga |  | 3 | 3
3 | 4.00 | 15 | P/FINAL | 2025-04-17 | 11:22 | 2025-04-17 | 09:48 | DORINA | 4 | 3.85 | 3.94 | / | / | 1.840 |  |  |  | 0.29 | 98 |  | Kinga |  | 3 | 3
1 | 0.00 | 16 | P/FINAL | 2025-04-17 | 11:24 | 2025-04-17 | 09:48 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.104 |  |  | 0.44 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | P/FINAL | 2025-04-17 | 11:25 | 2025-04-17 | 09:48 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 18 | P/FINAL | 2025-04-17 | 15:26 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 0.99 | 0.98 | / | / | 0.512 | 6.313 |  |  | 0.58 | 106 |  | Kinga |  | 3 | 2
2 | 1.00 | 19 | P/FINAL | 2025-04-17 | 15:27 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.58 | 113 |  | Kinga |  | 3 | 2
3 | 4.00 | 20 | P/FINAL | 2025-04-17 | 15:28 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 4.00 | 4.03 | / | / | 1.913 | 6.279 |  |  | 0.62 | 116 |  | Kinga |  | 3 | 3
3 | 4.00 | 21 | P/FINAL | 2025-04-17 | 15:30 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 3.85 | 3.89 | / | / | 1.835 |  |  |  | 0.34 | 114 |  | Kinga |  | 3 | 3
1 | 0.00 | 22 | P/FINAL | 2025-04-17 | 15:31 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 0.01 | 0.03 | / | / | 0.009 | 6.418 |  |  | 0.30 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-04-17 | 15:31 | 2025-04-17 | 14:47 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 24 | P/FINAL | 2025-04-22 | 07:21 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.45 | 108 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 25 | P/FINAL | 2025-04-22 | 07:23 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.301 |  |  | 0.28 | 120 |  | Brigitta P |  | 3 | 1 | DWA
2 | 1.00 | 26 | P/FINAL | 2025-04-22 | 07:24 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 1.01 | 0.97 | / | / | 0.526 |  |  |  | 1.88 | 120 |  | Brigitta P |  | 3 | 2 | DWA
2 | 1.00 | 27 | P/FINAL | 2025-04-22 | 07:24 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 0.96 | 0.96 | / | / | 0.499 |  |  |  | 0.29 | 102 |  | Brigitta P |  | 3 | 2 | DWA
2 | 1.00 | 28 | P/FINAL | 2025-04-22 | 07:25 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 1.04 | 0.99 | / | / | 0.539 | 6.271 |  |  | 2.23 | 109 |  | Brigitta P |  | 3 | 2 | DWA
3 | 4.00 | 29 | P/FINAL | 2025-04-22 | 07:27 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 3.96 | 4.03 | / | / | 1.884 |  |  |  | 0.81 | 118 |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 30 | P/FINAL | 2025-04-22 | 07:28 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 3.91 | 3.93 | / | / | 1.865 |  |  |  | 0.89 |  |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 31 | P/FINAL | 2025-04-22 | 07:28 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 3.99 | 4.04 | / | / | 1.896 | 6.257 |  |  | 1.35 |  |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 32 | Old A | 2025-04-22 | 7:30 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 4.00 | 4.05 | / | / | 1.913 |  |  |  | 2.04 |  |  | Brigitta P |  | 3 | 3 | DWA
2 | 1.00 | 33 | Old A | 2025-04-22 | 7:30 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 1.01 | 0.97 | / | / | 0.525 |  |  |  | 0.92 |  |  | Brigitta P |  | 3 | 3 | DWA
1 | 0.00 | 34 | Old A | 2025-04-22 | 7:30 | 2025-04-22 | 06:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3 | DWA
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 3.95 mg/L | 7 | 14 | 3.95 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.99 mg/L | 7 | 14 | 0.99 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.95 | YES
Validation Date | by