## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1009 | HI93701-0 | CP-R25 | W 16/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-24 | 2025-04-25 | 4 HEAD |  |  | 0967
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI 801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI 801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-04-15 | 09:00 | 2025-04-15 | 08:17 | MARK |  | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 2 | 81533
3 | 4.00 | 2 | Old A | 2025-04-15 | 09:01 | 2025-04-15 | 08:17 | MARK |  | 4.01 | 4.05 | / | / | 1.903 |  |  |  | 2.07 |  |  | Kinga |  | 3 | 3 | 81533
1 | 0.00 | 3 | Old A | 2025-04-15 | 09:04 | 2025-04-15 | 08:17 | MARK |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.23 |  |  | Kinga |  | 3 | 1 | 81533
2 | 1.00 | 4 | Valid | 2025-04-15 | 09:05 | 2025-04-15 | 08:17 | MARK |  | 1.02 | 1.01 | / | / | 0.528 |  |  |  | 4.72 |  |  | Kinga |  | 3 | 2 | 81533
2 | 1.00 | 5 | Valid | 2025-04-15 | 09:06 | 2025-04-15 | 08:17 | MARK |  | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 2 | 81533
2 | 1.00 | 6 | Valid | 2025-04-15 | 09:06 | 2025-04-15 | 08:17 | MARK |  | 1.05 | 1.02 | / | / | 0.545 |  |  |  | 1.78 |  |  | Kinga |  | 3 | 2 | 81533
3 | 4.00 | 7 | Valid | 2025-04-15 | 09:11 | 2025-04-15 | 08:17 | MARK |  | 4.04 | 4.08 | / | / | 1.911 | 6.199 |  |  | 0.37 |  |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 8 | Valid | 2025-04-15 | 09:12 | 2025-04-15 | 08:17 | MARK |  | 4.12 | 4.15 | / | / | 1.960 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 9 | Valid | 2025-04-15 | 09:14 | 2025-04-15 | 08:17 | MARK |  | 4.00 | 4.06 | / | / | 1.899 | 6.444 |  |  | 0.50 |  |  | Kinga |  | 3 | 3 | 81533
1 | 0.00 | 10 | Valid | 2025-04-15 | 09:15 | 2025-04-15 | 08:17 | MARK |  | 0.02 | 0.00 | / | / | 0.014 |  |  |  | 6.27 |  |  | Kinga |  | 3 | 1 | 81533
1 | 0.00 | 11 | Valid | 2025-04-15 | 09:16 | 2025-04-15 | 08:17 | MARK |  | 0.00 | 0.00 | / | / | 0.001 | 6.496 |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 81533
1 | 0.00 | 12 | P/FINAL | 2025-04-24 | 07:47 | 2025-04-23 | 20:33 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 1 | 60925
1 | 0.00 | 13 | P/FINAL | 2025-04-24 | 07:48 | 2025-04-23 | 20:33 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 1 | 60925
3 | 4.00 | 14 | P/FINAL | 2025-04-24 | 07:48 | 2025-04-23 | 20:33 | DORINA | 4 | 3.90 | 3.98 | / | / | 1.860 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 60925
3 | 4.00 | 15 | P/FINAL | 2025-04-24 | 07:49 | 2025-04-23 | 20:33 | DORINA | 4 | 3.93 | 4.04 | / | / | 1.874 |  |  |  | 0.68 |  |  | Brigitta P |  | 3 | 3 | 60925
2 | 1.00 | 16 | P/FINAL | 2025-04-24 | 07:49 | 2025-04-23 | 20:33 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 2.55 |  |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 17 | P/FINAL | 2025-04-24 | 07:49 | 2025-04-23 | 20:33 | DORINA | 4 | 1.01 | 1.03 | / | / | 0.525 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 18 | P/FINAL | 2025-04-24 | 07:53 | 2025-04-23 | 06:51 | GIORGIANA | 4 | 1.04 | 1.03 | / | / | 0.538 |  |  |  | 0.15 |  |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 19 | P/FINAL | 2025-04-24 | 07:54 | 2025-04-23 | 06:51 | GIORGIANA | 4 | 1.00 | 1.01 | / | / | 0.520 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 2 | 60925
1 | 0.00 | 20 | P/FINAL | 2025-04-24 | 07:57 | 2025-04-23 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 1 | 60925
3 | 4.00 | 21 | P/FINAL | 2025-04-24 | 7:55 | 2025-04-23 | 06:51 | GIORGIANA | 4 | 4.06 | 4.14 | / | / | 1.924 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 1 | 60925
3 | 4.00 | 22 | P/FINAL | 2025-04-24 | 7:55 | 2025-04-23 | 06:51 | GIORGIANA | 4 | 3.94 | 4.05 | / | / | 1.875 |  |  |  | 0.56 |  |  | Brigitta P |  | 3 | 1 | 60925
2 | 1.00 | 23 | P/FINAL | 2025-04-24 | 14:54 | 2025-04-24 | 14:21 | DORINA | 4 | 0.98 | 0.98 | / | / | 0.509 |  |  |  | 0.30 | 97 |  | Kinga |  | 3 | 2 | 60925
2 | 1.00 | 24 | P/FINAL | 2025-04-24 | 14:54 | 2025-04-24 | 14:21 | DORINA | 4 | 1.03 | 1.03 | / | / | 0.535 | 6.549 |  |  | 0.47 | 122 |  | Kinga |  | 3 | 2 | 60925
3 | 4.00 | 25 | P/FINAL | 2025-04-24 | 14:55 | 2025-04-24 | 14:21 | DORINA | 4 | 3.90 | 4.04 | / | / | 1.858 |  |  |  | 0.33 | 98 |  | Kinga |  | 3 | 3 | 60925
3 | 4.00 | 26 | P/FINAL | 2025-04-24 | 14:56 | 2025-04-24 | 14:21 | DORINA | 4 | 3.89 | 3.92 | / | / | 1.841 | 6.380 |  |  | 0.16 | 101 |  | Kinga |  | 3 | 3 | 60925
1 | 0.00 | 27 | P/FINAL | 2025-04-24 | 14:57 | 2025-04-24 | 14:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 6.70 | 107 |  | Kinga |  | 3 | 1 | 60925
1 | 0.00 | 28 | P/FINAL | 2025-04-24 | 14:58 | 2025-04-24 | 14:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.351 |  |  | 6.23 | 103 |  | Kinga |  | 3 | 1 | 60925
2 | 1.00 | 29 | P/FINAL | 2025-04-25 | 07:13 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 1.02 | 1.00 | / | / | 0.529 |  |  |  | 0.99 |  |  | Brigitta P |  | 3 | 2 | 609225
2 | 1.00 | 30 | P/FINAL | 2025-04-25 | 07:13 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.519 | 6.120 |  |  | 0.21 |  |  | Brigitta P |  | 3 | 2 | 609225
2 | 1.00 | 31 | P/FINAL | 2025-04-25 | 07:13 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.98 |  |  | Brigitta P |  | 3 | 2 | 609225
1 | 0.00 | 32 | P/FINAL | 2025-04-25 | 07:14 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.342 |  |  | 0.18 |  |  | Brigitta P |  | 3 | 1 | 609225
1 | 0.00 | 33 | P/FINAL | 2025-04-25 | 07:14 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | 609225
3 | 4.00 | 34 | P/FINAL | 2025-04-25 | 07:14 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 3.86 | 3.88 | / | / | 1.842 | 6.190 |  |  | 1.09 |  |  | Brigitta P |  | 3 | 3 | 609225
3 | 4.00 | 35 | P/FINAL | 2025-04-25 | 07:15 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 3.98 | 4.04 | / | / | 1.892 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 3 | 609225
3 | 4.00 | 36 | P/FINAL | 2025-04-25 | 07:15 | 2025-04-25 | 06:37 | GIORGIANA | 4 | 3.95 | 3.98 | / | / | 1.879 |  |  |  | 1.39 |  |  | Brigitta P |  | 3 | 3 | 609225
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 1.01 mg/L | 9 | 18 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 3.97 mg/L | 9 | 18 | 3.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0 mg/L | 7 | 14 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by