## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1011 | HI93701-0 | CP-R25 | W 16/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | [5 empty] | 0967
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-04-15 | 16:01 | 2025-04-15 | 15:42 | MARK |  | 0.98 | 0.97 | / | / | 0.508 |  |  |  | 0.99 |  |  | Kinga |  | 3 | 2 | 81533
1 | 0.00 | 2 | Old A | 2025-04-15 | 16:03 | 2025-04-15 | 15:42 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 1 | 81533
3 | 4.00 | 3 | Old A | 2025-04-15 | 16:04 | 2025-04-15 | 15:42 | MARK |  | 4.13 | 4.15 | / | / | 1.953 |  |  |  | 1.04 |  |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 4 | Valid | 2025-04-15 | 16:04 | 2025-04-15 | 15:42 | MARK |  | 4.11 | 4.15 | / | / | 1.945 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 5 | Valid | 2025-04-15 | 16:06 | 2025-04-15 | 15:42 | MARK |  | 4.10 | 4.13 | / | / | 1.942 | 6.336 |  |  | 0.33 |  |  | Kinga |  | 3 | 3 | 81533
3 | 4.00 | 6 | Valid | 2025-04-15 | 16:07 | 2025-04-15 | 15:42 | MARK |  | 4.14 | 4.15 | / | / | 1.966 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 3 | 81533
2 | 1.00 | 7 | P/FINAL | 2025-04-15 | 16:09 | 2025-04-15 | 15:42 | MARK |  | 0.99 | 0.96 | / | / | 0.515 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 2 | 81533
2 | 1.00 | 8 | Valid | 2025-04-15 | 16:09 | 2025-04-15 | 15:42 | MARK |  | 0.99 | 0.99 | / | / | 0.514 | 6.347 |  |  | 0.35 |  |  | Kinga |  | 3 | 2 | 81533
2 | 1.00 | 9 | Valid | 2025-04-15 | 16:10 | 2025-04-15 | 15:42 | MARK |  | 0.98 | 0.99 | / | / | 0.512 |  |  |  | 0.22 |  |  | Kinga |  | 3 | 2 | 81533
1 | 0.00 | 10 | Valid | 2025-04-15 | 16:12 | 2025-04-15 | 15:42 | MARK |  | 0.00 | 0.00 | / | / | 0.002 | 6.419 |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 81533
1 | 0.00 | 11 | Valid | 2025-04-15 | 16:12 | 2025-04-15 | 15:42 | MARK |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 81533
1 | 0.00 | 12 | P/FINAL | 2025-04-29 | 08:20 | 2025-04-28 | 16:42 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 1 | 60925
1 | 0.00 | 13 | P/FINAL | 2025-04-29 | 08:21 | 2025-04-28 | 16:42 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.45 | 129 |  | Brigitta P |  | 3 | 1 | 60925
1 | 0.00 | 14 | P/FINAL | 2025-04-29 | 08:21 | 2025-04-29 | 07:28 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.33 | 136 |  | Brigitta P |  | 3 | 1 | 60925
1 | 0.00 | 15 | P/FINAL | 2025-04-29 | 8:20 | 2025-04-29 | 07:28 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.147 |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | 60925
2 | 1.00 | 16 | P/FINAL | 2025-04-29 | 08:25 | 2025-04-28 | 16:45 | ANA | 4 | 0.97 | 0.99 | / | / | 0.502 |  |  |  | 0.45 | 119 |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 17 | P/FINAL | 2025-04-29 | 08:25 | 2025-04-28 | 16:45 | ANA | 4 | 0.96 | 0.96 | / | / | 0.501 |  |  |  | 0.27 | 114 |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 18 | P/FINAL | 2025-04-29 | 08:26 | 2025-04-29 | 07:28 | D0RINA | 4 | 0.98 | 0.97 | / | / | 0.507 |  |  |  | 0.41 | 101 |  | Brigitta P |  | 3 | 2 | 60925
2 | 1.00 | 19 | P/FINAL | 2025-04-29 | 8:25 | 2025-04-29 | 07:28 | D0RINA | 4 | 1.02 | 1.01 | / | / | 0.527 | 6.427 |  |  | 0.19 | 122 |  | Brigitta P |  | 3 | 2 | 60925
3 | 4.00 | 20 | P/FINAL | 2025-04-29 | 08:30 | 2025-04-28 | 16:42 | ANA | 4 | 4.00 | 4.00 | / | / | 1.900 |  |  |  | 0.25 | 115 |  | Brigitta P |  | 3 | 3 | 60925
3 | 4.00 | 21 | P/FINAL | 2025-04-29 | 08:31 | 2025-04-28 | 16:42 | ANA | 4 | 3.97 | 4.00 | / | / | 1.890 | 6.616 |  |  | 0.28 |  |  | Brigitta P |  | 3 | 3 | 60925
3 | 4.00 | 22 | P/FINAL | 2025-04-29 | 08:32 | 2025-04-28 | 97:28 | DORINA | 4 | 4.04 | 4.10 | / | / | 1.916 |  |  |  | 0.35 | 125 |  | Brigitta P |  | 3 | 3 | 60925
3 | 4.00 | 23 | P/FINAL | 2025-04-29 | 08:33 | 2025-04-28 | 97:28 | DORINA | 4 | 4.03 | 4.06 | / | / | 1.911 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 3 | 60925
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.98 mg/L | 5 | 10 | 0.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 4.03 mg/L | 4 | 8 | 4.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.03 | YES
Validation Date | by