## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1013 | HI93701-0 | CP-R25 | W 17/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-05 | 2025-05-05 | 4HEAD |  |  | 1009
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-04-24 | 09:03 | 2025-04-24 | 08:55 | ERIKA |  | 1.03 | 1.04 | / | / | 0.532 | 6.666 |  |  | 1.00 |  |  | Kinga |  | 3 | 2 | 60925
2 | 1.00 | 2 | Valid | 2025-04-24 | 09:03 | 2025-04-24 | 08:55 | ERIKA |  | 1.02 | 1.04 | / | / | 0.530 | 6.617 |  |  | 0.41 |  |  | Kinga |  | 3 | 2 | 60925
2 | 1.00 | 3 | Valid | 2025-04-24 | 09:04 | 2025-04-24 | 08:55 | ERIKA |  | 1.04 | 1.04 | / | / | 0.537 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 2 | 60925
3 | 4.00 | 4 | Valid | 2025-04-24 | 09:06 | 2025-04-24 | 08:55 | ERIKA |  | 3.92 | 4.00 | / | / | 1.867 | 6.537 |  |  | 2.37 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 5 | Valid | 2025-04-24 | 09:07 | 2025-04-24 | 08:55 | ERIKA |  | 4.04 | 4.00 | / | / | 1.918 | 6.795 |  |  | 2.37 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 6 | Valid | 2025-04-24 | 09:07 | 2025-04-24 | 08:55 | ERIKA |  | 4.09 | 4.12 | / | / | 1.937 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 7 | Valid | 2025-04-24 | 09:10 | 2025-04-24 | 08:55 | ERIKA |  | 0.00 | 0.00 | / | / | -0.004 | 6.773 |  |  | 0.24 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 8 | Valid | 2025-04-24 | 09:10 | 2025-04-24 | 08:55 | ERIKA |  | 0.00 | 0.00 | / | / | -0.005 | 6.778 |  |  | 0.12 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 9 | P/FINAL | 2025-05-01 | 11:18 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 1.01 | 1.00 | / | / | 0.522 |  |  |  | 0.73 | 118 |  | Kinga |  | 3 | 2 | 91808
2 | 1.00 | 10 | P/FINAL | 2025-05-01 | 11:19 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 1.02 | 1.01 | / | / | 0.539 | 6.101 |  |  | 1.29 | 115 |  | Kinga |  | 3 | 2 | 91808
3 | 4.00 | 11 | P/FINAL | 2025-05-01 | 11:20 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 3.92 | 3.94 | / | / | 1.867 |  |  |  | 1.70 | 119 |  | Kinga |  | 3 | 3 | 91808
3 | 4.00 | 12 | P/FINAL | 2025-05-01 | 11:21 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 3.98 | 4.01 | / | / | 1.887 | 6.210 |  |  | 0.27 | 98 |  | Kinga |  | 3 | 3 | 91808
1 | 0.00 | 13 | P/FINAL | 2025-05-01 | 11:23 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.73 | 115 |  | Kinga |  | 3 | 1 | 91808
1 | 0.00 | 14 | P/FINAL | 2025-05-01 | 11:23 | 2025-05-01 | 10:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.558 |  |  | 0.70 |  |  | Kinga |  | 3 | 1 | 91808
2 | 1.00 | 15 | P/FINAL | 2025-05-01 | 15:04 | 2025-05-01 | 14:17 | ANA | 4 | 0.96 | 0.95 | / | / | 0.498 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | P/FINAL | 2025-05-01 | 15:04 | 2025-05-01 | 14:17 | ANA | 4 | 0.98 | 0.97 | / | / | 0.507 | 6.419 |  |  | 3.67 | 109 |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | P/FINAL | 2025-05-01 | 15:05 | 2025-05-01 | 14:17 | ANA | 4 | 3.92 | 3.94 | / | / | 1.867 |  |  |  | 0.22 | 132 |  | Kinga |  | 3 | 3
3 | 4.00 | 18 | P/FINAL | 2025-05-01 | 15:06 | 2025-05-01 | 14:17 | ANA | 4 | 3.92 | 4.00 | / | / | 1.867 | 6.428 |  |  | 0.20 | 136 |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | P/FINAL | 2025-05-01 | 15:07 | 2025-05-01 | 14:17 | ANA | 4 | 0.00 | 0.00 | / | / | -0.014 |  |  |  | 0.18 | 95 |  | Kinga |  | 3 | 1 |  | BLINKING
1 | 0.00 | 20 | P/FINAL | 2025-05-01 | 15:07 | 2025-05-01 | 14:17 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.372 |  |  | 0.21 | 99 |  | Kinga |  | 3 | 1
2 | 1.00 | 21 | Old A | 2025-05-05 | 08:21 | 2025-05-05 | 06:53 | ANA | 4 | 1.04 | 1.01 | / | / | 0.541 |  |  |  | 4.71 |  |  | Kinga |  | 3 | 2 | 91808
3 | 4.00 | 22 | Old A | 2025-05-05 | 08:22 | 2025-05-05 | 06:53 | ANA | 4 | 3.99 | 4.02 | / | / | 1.895 |  |  |  | 4.26 |  |  | Kinga |  | 3 | 3 | 91808
1 | 0.00 | 23 | Old A | 2025-05-05 | 08:23 | 2025-05-05 | 06:53 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.58 |  |  | Kinga |  | 3 | 1 | 91808
2 | 1.00 | 24 | P/FINAL | 2025-05-05 | 08:26 | 2025-05-05 | 06:53 | ANA | 4 | 1.01 | 0.99 | / | / | 0.524 |  |  |  | 1.91 | 94 |  | Kinga |  | 3 | 2 | 91808
2 | 1.00 | 25 | P/FINAL | 2025-05-05 | 08:27 | 2025-05-05 | 06:53 | ANA | 4 | 1.01 | 1.04 | / | / | 0.524 | 6.261 |  |  | 8.16 | 108 |  | Kinga |  | 3 | 2 | 91808
3 | 4.00 | 26 | P/FINAL | 2025-05-05 | 08:28 | 2025-05-05 | 06:53 | ANA | 4 | 4.06 | 4.06 | / | / | 1.926 |  |  |  | 12.3 | 139 |  | Kinga |  | 3 | 3 | 91808
3 | 4.00 | 27 | P/FINAL | 2025-05-05 | 08:29 | 2025-05-05 | 06:53 | ANA | 4 | 4.00 | 4.05 | / | / | 1.901 | 6.231 |  |  | 0.25 | 117 |  | Kinga |  | 3 | 3 | 91808
1 | 0.00 | 28 | P/FINAL | 2025-05-05 | 08:30 | 2025-05-05 | 06:53 | ANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.24 | 127 |  | Kinga |  | 3 | 1 | 91808
1 | 0.00 | 29 | P/FINAL | 2025-05-05 | 08:30 | 2025-05-05 | 06:53 | ANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 5.943 |  |  | 0.21 | 122 |  | Kinga |  | 3 | 1 | 91808
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1 mg/L | 6 | 12 | 1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.98 mg/L | 6 | 12 | 3.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.00 | YES
4.00 | 3.85 ÷ 4.15 | 3.98 | YES
Validation Date | by