## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1015 | HI93701-0 | CP-R25 | W17/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-05-08 | 2025-05-09 | 4HEAD |  |  | 1009
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-04-24 | 15:31 | 2025-04-24 | 15:16 | MARK |  | 1.06 | 1.05 | / | / | 0.547 |  |  |  | 1.74 |  |  | Kinga |  | 3 | 2 | 60952
3 | 4.00 | 2 | Old A | 2025-04-24 | 15:32 | 2025-04-24 | 15:16 | MARK |  | 3.98 | 4.04 | / | / | 1.893 |  |  |  | 1.08 |  |  | Kinga |  | 3 | 3 | 60952
1 | 0.00 | 3 | Old A | 2025-04-24 | 15:32 | 2025-04-24 | 15:16 | MARK |  | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 1.08 |  |  | Kinga |  | 3 | 1 | 60952
2 | 1.00 | 4 | Valid | 2025-04-24 | 15:33 | 2025-04-24 | 15:16 | MARK |  | 1.05 | 1.05 | / | / | 0.544 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 2 | 60952
2 | 1.00 | 5 | Valid | 2025-04-24 | 15:33 | 2025-04-24 | 15:16 | MARK |  | 0.99 | 0.99 | / | / | 0.544 | 6.389 |  |  | 0.56 |  |  | Kinga |  | 3 | 2 | 60952
2 | 1.00 | 6 | Valid | 2025-04-24 | 15:34 | 2025-04-24 | 15:16 | MARK |  | 1.05 | 1.05 | / | / | 0.544 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 2 | 60952
3 | 4.00 | 7 | Valid | 2025-04-24 | 15:36 | 2025-04-24 | 15:16 | MARK |  | 3.94 | 4.05 | / | / | 1.876 | 6.398 |  |  | 1.02 |  |  | Kinga |  | 3 | 3 | 60952
3 | 4.00 | 8 | Valid | 2025-04-24 | 15:36 | 2025-04-24 | 15:16 | MARK |  | 3.85 | 3.92 | / | / | 1.839 |  |  |  | 1.34 |  |  | Kinga |  | 3 | 3 | 60952
3 | 4.00 | 9 | Valid | 2025-04-24 | 15:37 | 2025-04-24 | 15:16 | MARK |  | 3.94 | 4.01 | / | / | 1.876 | 6.445 |  |  | 1.08 |  |  | Kinga |  | 3 | 3 | 60952
1 | 0.00 | 10 | Valid | 2025-04-24 | 15:38 | 2025-04-24 | 15:16 | MARK |  | 0.02 | 0.00 | / | / | 0.018 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 1 | 60952
1 | 0.00 | 11 | Valid | 2025-04-24 | 15:38 | 2025-04-24 | 15:16 | MARK |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 60952
2 | 1.00 | 12 | P/FINAL | 2025-05-08 | 12:07 | 2025-05-08 | 11:55 | ANA | 4 | 0.94 | 0.95 | / | / | 0.488 |  |  |  | 11.7 |  |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 13 | P/FINAL | 2025-05-08 | 12:08 | 2025-05-08 | 11:55 | ANA | 4 | 0.95 | 0.97 | / | / | 0.496 |  |  |  | 10.7 |  |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 14 | P/FINAL | 2025-05-08 | 12:09 | 2025-05-08 | 11:55 | ANA | 4 | 0.97 | 0.95 | / | / | 0.500 | 6.213 |  |  | 0.94 | 125 |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 15 | P/FINAL | 2025-05-08 | 12:14 | 2025-05-08 | 11:55 | ANA | 4 | 3.91 | 3.87 | / | / | 1.865 |  |  |  | 0.35 | 121 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 16 | P/FINAL | 32025/05/08 | 12:15 | 2025-05-08 | 11:55 | ANA | 4 | 3.95 | 3.90 | / | / | 1.817 |  |  |  | 1.80 | 111 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 17 | P/FINAL | 32025/05/08 | 12:17 | 2025-05-08 | 11:55 | ANA | 4 | 3.95 | 4.01 | / | / | 1.881 | 6.544 |  |  | 0.72 | 142 |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 18 | P/FINAL | 32025/05/08 | 12:19 | 2025-05-08 | 11:55 | ANA | 4 | 0.00 | 0.00 | / | / | -0.014 |  |  |  | 0.72 | 121 |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 19 | P/FINAL | 32025/05/08 | 12:20 | 2025-05-08 | 11:55 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.249 |  |  | 3.20 | 117 |  | Kinga |  | 3 | 1 | 82203
2 | 1.00 | 20 | P/FINAL | 2025-05-08 | 14:37 | 2025-05-08 | 14:20 | DORINA | 4 | 0.97 | 0.96 | / | / | 0.506 |  |  |  | 0.44 | 124 |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 21 | P/FINAL | 2025-05-08 | 14:37 | 2025-05-08 | 14:20 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.508 | 6.460 |  |  | 1.75 | 141 |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 22 | P/FINAL | 2025-05-08 | 14:42 | 2025-05-08 | 14:20 | DORINA | 4 | 3.90 | 3.85 | / | / | 1.854 |  |  |  | 2.30 | 100 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 23 | P/FINAL | 2025-05-08 | 14:44 | 2025-05-08 | 14:20 | DORINA | 4 | 4.00 | 4.02 | / | / | 1.912 | 6.387 |  |  | 0.32 | 121 |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 24 | P/FINAL | 2025-05-08 | 14:45 | 2025-05-08 | 14:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 5.93 | 119 |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 25 | P/FINAL | 2025-05-08 | 14:46 | 2025-05-08 | 14:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.253 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 82203
2 | 1.00 | 26 | P/FINAL | 2025-05-09 | 08:17 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 0.96 | 0.96 | / | / | 0.501 |  |  |  | 1.41 | 116 |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 27 | P/FINAL | 2025-05-09 | 08:17 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 1.06 | 1.01 | / | / | 0.549 | 6.604 |  |  | 4.30 | 97 |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 28 | P/FINAL | 2025-05-09 | 08:19 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 3.94 | 3.85 | / | / | 1.878 |  |  |  | 5.61 | 116 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 29 | P/FINAL | 2025-05-09 | 08:21 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 4.09 | 4.14 | / | / | 1.938 | 6.402 |  |  | 1.28 | 125 |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 30 | P/FINAL | 2025-05-09 | 08:23 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 5.63 | 119 |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 31 | P/FINAL | 2025-05-09 | 08:23 | 2025-05-08 | 23:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.399 |  |  | 0.32 | 121 |  | Kinga |  | 3 | 1 | 82203
2 | 1.00 | 32 | P/FINAL | 2025-05-09 | 08:38 | 2025-05-09 | 06:43 | ANA | 4 | 1.00 | 0.97 | / | / | 0.521 |  |  |  | 2.15 | 100 |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 33 | P/FINAL | 2025-05-09 | 08:38 | 2025-05-09 | 06:43 | ANA | 4 | 1.03 | 0.98 | / | / | 0.533 |  |  |  | 10.0 | 137 |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 34 | P/FINAL | 2025-05-09 | 08:43 | 2025-05-09 | 06:43 | ANA | 4 | 4.00 | 4.03 | / | / | 1.934 | 6.401 |  |  | 1.19 | 120 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 35 | P/FINAL | 2025-05-09 | 08:43 | 2025-05-09 | 06:43 | ANA | 4 | 4.11 | 4.09 | / | / | 1.945 |  |  |  | 1.19 | 124 |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 36 | P/FINAL | 2025-05-09 | 08:46 | 2025-05-09 | 06:43 | ANA | 4 | 0.00 | 0.01 | / | / | 0.004 |  |  |  | 11.8 | 130 |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 37 | P/FINAL | 2025-05-09 | 08:46 | 2025-05-09 | 06:43 | ANA | 4 | 0.00 | 0.01 | / | / | 0.002 | 6.463 |  |  | 10.3 |  |  | Kinga |  | 3 | 1 | 82203
2 | 1.00 | 38 | P/FINAL | 2025-05-12 | 06:41 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 1.03 | 1.02 | / | / | 0.532 |  |  |  | 0.88 |  |  | Brigitta P |  | 3 | 2 | 82203
2 | 1.00 | 39 | P/FINAL | 2025-05-12 | 06:42 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 1.02 | 1.01 | / | / | 0.527 |  |  |  | 0.43 |  |  | Brigitta P |  | 3 | 2 | 82203
2 | 1.00 | 40 | P/FINAL | 2025-05-12 | 06:42 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 1.01 | 1.01 | / | / | 0.518 | 6.260 |  |  | 0.45 | 123 |  | Brigitta P |  | 3 | 2 | 82203
3 | 4.00 | 41 | P/FINAL | 2025-05-12 | 06:43 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 4.00 | 3.95 | / | / | 1.934 |  |  |  | 1.34 | 114 |  | Brigitta P |  | 3 | 3 | 82203
3 | 4.00 | 42 | P/FINAL | 2025-05-12 | 06:44 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 4.00 | 3.99 | / | / | 1.934 |  |  |  | 1.45 | 120 |  | Brigitta P |  | 3 | 3 | 82203
3 | 4.00 | 43 | P/FINAL | 2025-05-12 | 06:44 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 3.98 | 3.98 | / | / | 1.893 | 6.253 |  |  | 2.71 | 130 |  | Brigitta P |  | 3 | 3 | 82203
1 | 0.00 | 44 | P/FINAL | 2025-05-12 | 6:45 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.43 | 103 |  | Brigitta P |  | 3 | 3 | DWA
1 | 0.00 | 45 | P/FINAL | 2025-05-12 | 6:45 | 2025-05-09 | 22:20 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.498 |  |  | 0.71 |  |  | Brigitta P |  | 3 | 3 | DWA
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.99 mg/L | 12 | 24 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 3.98 mg/L | 12 | 24 | 3.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.98 | YES
Validation Date | by