## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1037 | HI93701-0 | CP-R25 | W19 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-10 | 2025-05-13 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
2 | 1.00 | 0.94 | 1.06
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | P/FINAL | 2025-05-12 | 07:02 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.43 | 127 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 2 | P/FINAL | 2025-05-12 | 07:02 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.40 | 141 |  | Brigitta P |  | 3 | 1 | DWA
3 | 4.00 | 3 | P/FINAL | 2025-05-12 | 07:03 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 3.85 | 3.90 | / | / | 1.838 |  |  |  | 0.86 |  |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 4 | P/FINAL | 2025-05-12 | 07:03 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 4.04 | 4.01 | / | / | 1.915 |  |  |  | 1.07 | 123 |  | Brigitta P |  | 3 | 3 | DWA
3 | 4.00 | 5 | P/FINAL | 2025-05-12 | 07:03 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 4.00 | 4.01 | / | / | 1.900 |  |  |  | 0.38 | 106 |  | Brigitta P |  | 3 | 3 | DWA
2 | 1.00 | 6 | P/FINAL | 2025-05-12 | 07:04 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 0.99 | 0.97 | / | / | 0.513 |  |  |  | 0.39 |  |  | Brigitta P |  | 3 | 2 | DWA
2 | 1.00 | 7 | P/FINAL | 2025-05-12 | 07:04 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 0.98 | 0.98 | / | / | 0.511 |  |  |  | 1.06 | 115 |  | Brigitta P |  | 3 | 2 | DWA
2 | 1.00 | 8 | P/FINAL | 2025-05-12 | 07:05 | 2025-05-10 | 02:59 | GIORGIANA | 4 | 1.03 | 0.99 | / | / | 0.532 |  |  |  | 0.94 |  |  | Brigitta P |  | 3 | 2 | DWA
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 3.97 mg/L | 3 | 6 | 3.97 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.99 mg/L | 3 | 6 | 0.99 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by