## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1041 | HI93701-0 | CP-R25 | W 19/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-09 | 2025-05-21 | 4 HEAD |  |  | 0985
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Label17 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2025-05-09 | 12:31 | 2025-05-09 |  | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 | 6.474 |  |  | 0.34 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Valid | 2025-05-09 | 12:31 | 2025-05-09 |  | ERIKA |  | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 3 | Old A | 2025-05-09 | 12:32 | 2025-05-09 |  | ERIKA |  | 0.00 | 0.01 | / | / | 0.001 |  |  |  | 3.46 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | Valid | 2025-05-09 | 12:34 | 2025-05-09 | 12:21 | ERIKA |  | 0.98 | 0.98 | / | / | 0.508 | 6.609 |  |  | 0.28 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-05-09 | 12:34 | 2025-05-09 | 12:21 | ERIKA |  | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 6 | Valid | 2025-05-09 | 12:34 | 2025-05-09 | 12:21 | ERIKA |  | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 7 | Old A | 2025-05-09 | 12:35 | 2025-05-09 | 12:21 | ERIKA |  | 0.98 | 0.98 | / | / | 0.511 | 6.219 |  |  | 0.73 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 8 | Old A | 2025-05-09 | 12:36 | 2025-05-09 | 12:21 | ERIKA |  | 4.09 | 4.15 | / | / | 1.937 | 6.923 |  |  | 0.60 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 9 | Valid | 2025-05-09 | 12:37 | 2025-05-09 | 12:21 | ERIKA |  | 3.91 | 3.98 | / | / | 1.864 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 10 | Valid | 2025-05-09 | 12:38 | 2025-05-09 | 12:21 | ERIKA |  | 3.89 | 3.95 | / | / | 1.857 |  |  |  | 0.66 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2025-05-09 | 12:38 | 2025-05-09 | 12:21 | ERIKA |  | 3.86 | 3.94 | / | / | 1.845 | 6.560 |  |  | 0.58 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | P/FINAL | 2025-05-20 | 07:58 | 2025-05-20 | 07:04 | ANA | 4 | 3.88 | 3.96 | / | / | 1.850 | 5.772 |  |  | 0.35 | 129 |  | Brigitta P |  | 3 | 3 | 64229
3 | 4.00 | 13 | P/FINAL | 2025-05-20 | 07:58 | 2025-05-20 | 07:04 | ANA | 4 | 3.86 | 3.96 | / | / | 1.845 |  |  |  | 1.88 | 131 |  | Brigitta P |  | 3 | 3 | 64229
2 | 1.00 | 14 | P/FINAL | 2025-05-20 | 07:59 | 2025-05-20 | 07:04 | ANA | 4 | 1.00 | 1.03 | / | / | 0.520 | 5.895 |  |  | 1.32 | 135 |  | Brigitta P |  | 3 | 2 | 64229
2 | 1.00 | 15 | P/FINAL | 2025-05-20 | 07:59 | 2025-05-20 | 07:04 | ANA | 4 | 1.04 | 1.03 | / | / | 0.538 |  |  |  | 0.91 | 133 |  | Brigitta P |  | 3 | 2 | 64229
1 | 0.00 | 16 | P/FINAL | 2025-05-20 | 08:00 | 2025-05-20 | 07:04 | ANA | 4 | 0.01 | 0.00 | / | / | 0.009 | 6.072 |  |  | 0.33 | 129 |  | Brigitta P |  | 3 | 1 | 64229
3 | 4.00 | 17 | Old A | 2025-05-20 | 08:04 | 2025-05-20 | 07:04 | ANA | 4 | 3.89 | 3.97 | / | / | 1.855 | 6.072 |  |  | 1.21 | 131 |  | Brigitta P |  | 3 | 3 | 64229
2 | 1.00 | 18 | Old A | 2025-05-20 | 08:05 | 2025-05-20 | 07:04 | ANA | 4 | 0.98 | 1.01 | / | / | 0.511 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 2 | 64229
1 | 0.00 | 19 | Old A | 2025-05-20 | 08:05 | 2025-05-20 | 07:04 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 1 | 64229
2 | 1.00 | 20 | P/FINAL | 2025-05-20 | 15:06 | 2025-05-20 | 14:21 | DORINA | 4 | 1.00 | 0.98 | / | / | 0.517 | 6.197 |  |  | 0.19 | 105 |  | Kinga |  | 3 | 2 | 64229
2 | 1.00 | 21 | P/FINAL | 2025-05-20 | 15:07 | 2025-05-20 | 14:21 | DORINA | 4 | 0.99 | 0.97 | / | / | 0.513 |  |  |  | 2.75 | 126 |  | Kinga |  | 3 | 2 | 64229
3 | 4.00 | 22 | P/FINAL | 2025-05-20 | 15:08 | 2025-05-20 | 14:21 | DORINA | 4 | 3.85 | 3.87 | / | / | 1.841 | 6.206 |  |  | 0.28 | 121 |  | Kinga |  | 3 | 3 | 64229
3 | 4.00 | 23 | P/FINAL | 2025-05-20 | 15:09 | 2025-05-20 | 14:21 | DORINA | 4 | 3.99 | 4.00 | / | / | 1.867 |  |  |  | 0.18 | 120 |  | Kinga |  | 3 | 3 | 64229
1 | 0.00 | 24 | P/FINAL | 2025-05-20 | 15:10 | 2025-05-20 | 14:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.273 |  |  | 0.29 | 117 |  | Kinga |  | 3 | 1 | 64229
1 | 0.00 | 25 | P/FINAL | 2025-05-20 | 15:11 | 2025-05-20 | 14:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1 | 64229
2 | 1.00 | 26 | P/FINAL | 2025-05-21 | 08:30 | 2025-05-21 | 07:24 | ANA | 4 | 0.96 | 0.97 | / | / | 0.499 |  |  |  | 0.58 | 95 |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 27 | P/FINAL | 2025-05-21 | 08:30 | 2025-05-21 | 07:24 | ANA | 4 | 1.01 | 1.00 | / | / | 0.524 |  |  |  | 3.39 | 115 |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 28 | P/FINAL | 2025-05-21 | 08:32 | 2025-05-21 | 07:24 | ANA | 4 | 4.04 | 4.10 | / | / | 1.915 |  |  |  | 0.35 | 117 |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 29 | P/FINAL | 2025-05-21 | 08:33 | 2025-05-21 | 07:24 | ANA | 4 | 4.04 | 4.13 | / | / | 1.919 |  |  |  | 2.56 | 110 |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 30 | P/FINAL | 2025-05-21 | 08:34 | 2025-05-21 | 07:24 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.24 | 106 |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 31 | P/FINAL | 2025-05-21 | 08:34 | 2025-05-21 | 07:24 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 1 | 82203
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1 mg/L | 6 | 12 | 1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.97 mg/L | 6 | 12 | 3.97 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.00 | YES
4.00 | 3.85 ÷ 4.15 | 3.97 | YES
Validation Date | by