## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1043 | HI93701-0 | CP-R25 | W 20/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-26 | 2025-05-26 | 4HEAD |  |  | 1003
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-05-12 | 14:32 | 2025-05-12 | 14:22 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 6.517 |  |  | 0.53 |  |  | Kinga |  | 3 | 1 | 82203
2 | 1.00 | 2 | Old A | 2025-05-12 | 14:33 | 2025-05-12 | 14:22 | ERIKA |  | 0.98 | 0.95 | / | / | 0.508 | 6.325 |  |  | 0.52 |  |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 3 | Old A | 2025-05-12 | 14:33 | 2025-05-12 | 14:22 | ERIKA |  | 3.98 | 3.96 | / | / | 1.889 | 6.517 |  |  | 1.02 |  |  | Kinga |  | 3 | 3 | 82203
2 | 1.00 | 4 | Valid | 2025-05-12 | 14:34 | 2025-05-12 | 14:22 | ERIKA |  | 1.00 | 0.99 | / | / | 0.518 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 5 | Valid | 2025-05-12 | 14:35 | 2025-05-12 | 14:22 | ERIKA |  | 1.00 | 0.99 | / | / | 0.521 | 6.467 |  |  | 0.21 |  |  | Kinga |  | 3 | 2 | 82203
2 | 1.00 | 6 | Valid | 2025-05-12 | 14:35 | 2025-05-12 | 14:22 | ERIKA |  | 1.00 | 0.98 | / | / | 0.521 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2 | 82203
3 | 4.00 | 7 | Valid | 2025-05-12 | 14:39 | 2025-05-12 | 14:22 | ERIKA |  | 3.90 | 3.94 | / | / | 1.858 | 6.514 |  |  | 0.39 |  |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 8 | Valid | 2025-05-12 | 14:39 | 2025-05-12 | 14:22 | ERIKA |  | 3.89 | 3.93 | / | / | 1.853 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 3 | 82203
3 | 4.00 | 9 | Valid | 2025-05-12 | 14:40 | 2025-05-12 | 14:22 | ERIKA |  | 3.94 | 4.04 | / | / | 1.877 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 3 | 82203
1 | 0.00 | 10 | Valid | 2025-05-12 | 14:41 | 2025-05-12 | 14:22 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 | 6.562 |  |  | 0.86 |  |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 11 | Valid | 2025-05-12 | 14:41 | 2025-05-12 | 14:22 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 82203
1 | 0.00 | 12 | P/FINAL | 2025-05-27 | 08:34 | 2025-05-26 | 22:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.423 |  |  | 0.23 | 99 |  | Brigitta P |  | 3 | 1 | 82004
1 | 0.00 | 13 | P/FINAL | 2025-05-27 | 08:34 | 2025-05-26 | 22:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.14 | 123 |  | Brigitta P |  | 3 | 1 | 82004
3 | 4.00 | 14 | P/FINAL | 2025-05-27 | 08:38 | 2025-05-26 | 22:31 | ANA | 4 | 3.85 | 3.85 | / | / | 1.840 | 6.579 |  |  | 0.15 | 100 |  | Brigitta P |  | 3 | 3 | 82004
3 | 4.00 | 15 | P/FINAL | 2025-05-27 | 08:38 | 2025-05-26 | 22:31 | ANA | 4 | 3.88 | 3.87 | / | / | 1.852 | 6.501 |  |  | 1.96 | 109 |  | Brigitta P |  | 3 | 3 | 82004
2 | 1.00 | 16 | P/FINAL | 2025-05-27 | 08:48 | 2025-05-26 | 22:31 | ANA | 4 | 1.04 | 1.04 | / | / | 0.537 |  |  |  | 0.19 | 113 |  | Brigitta P |  | 3 | 2 | 82004
2 | 1.00 | 17 | P/FINAL | 2025-05-27 | 08:48 | 2025-05-26 | 22:31 | ANA | 4 | 1.03 | 1.03 | / | / | 0.534 |  |  |  | 0.14 | 105 |  | Brigitta P |  | 3 | 2 | 82004
2 | 1.00 | 18 | P/FINAL | 2025-05-27 | 08:55 | 2025-05-26 | 22:31 | ANA | 4 | 1.03 | 1.03 | / | / | 0.534 | 6.310 |  |  | 0.78 | 119 |  | Brigitta P |  | 3 | 2 | 82004
2 | 1.00 | 19 | P/FINAL | 2025-05-27 | 08:55 | 2025-05-26 | 22:31 | ANA | 4 | 1.03 | 1.03 | / | / | 0.534 | 6.241 |  |  | 0.16 | 111 |  | Brigitta P |  | 3 | 2 | 82004
3 | 4.00 | 20 | P/FINAL | 2025-05-27 | 08:56 | 2025-05-26 | 22:31 | ANA | 4 | 3.84 | 3.88 | / | / | 1.835 |  |  |  | 3.36 | 97 |  | Brigitta P |  | 3 | 3 | 82004
3 | 4.00 | 21 | P/FINAL | 2025-05-27 | 08:58 | 2025-05-26 | 22:31 | ANA | 4 | 3.89 | 4.05 | / | / | 1.855 |  |  |  | 2.90 | 118 |  | Brigitta P |  | 3 | 3 | 82004
3 | 4.00 | 22 | P/FINAL | 2025-05-27 | 08:59 | 2025-05-26 | 22:31 | ANA | 4 | 3.89 | 3.96 | / | / | 1.857 |  |  |  | 0.22 | 117 |  | Brigitta P |  | 3 | 3 | 82004
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.03 mg/L | 4 | 8 | 1.03 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 3.9 mg/L | 5 | 10 | 3.9 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.03 | YES
4.00 | 3.85 ÷ 4.15 | 3.90 | YES
Validation Date | by