## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1055 | HI93701-0 | CP-R25 | W21/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-27 | 2025-05-29 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | P/FINAL | 2025-05-28 | 10:31 | 2025-05-28 | 08:51 | DORINA | 4 | 1.01 | 0.99 | / | / | 0.522 |  |  |  | 0.33 | 115 |  | Kinga |  | 3 | 2 | 82004
2 | 1.00 | 2 | P/FINAL | 2025-05-28 | 10:31 | 2025-05-28 | 08:51 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.524 |  |  |  | 0.28 | 120 |  | Kinga |  | 3 | 2 | 82004
2 | 1.00 | 3 | P/FINAL | 2025-05-28 | 10:33 | 2025-05-28 | 08:51 | DORINA | 4 | 1.02 | 1.01 | / | / | 0.526 | 6.061 |  |  | 0.29 | 132 |  | Kinga |  | 3 | 2 | 82004
3 | 4.00 | 4 | P/FINAL | 2025-05-28 | 10:34 | 2025-05-28 | 08:51 | DORINA | 4 | 3.85 | 3.92 | / | / | 1.841 |  |  |  | 0.32 | 111 |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 5 | P/FINAL | 2025-05-28 | 10:35 | 2025-05-28 | 08:51 | DORINA | 4 | 3.87 | 3.91 | / | / | 1.846 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 6 | P/FINAL | 2025-05-28 | 10:37 | 2025-05-28 | 08:51 | DORINA | 4 | 3.94 | 3.97 | / | / | 1.875 | 6.358 |  |  | 0.63 |  |  | Kinga |  | 3 | 3 | 82004
1 | 0.00 | 7 | P/FINAL | 2025-05-28 | 10:39 | 2025-05-28 | 08:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 1 | 82004
1 | 0.00 | 8 | P/FINAL | 2025-05-28 | 10:41 | 2025-05-28 | 08:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.087 |  |  | 1.66 |  |  | Kinga |  | 3 | 1 | 82004
2 | 1.00 | 9 | P/FINAL | 2025-05-28 | 15:06 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 1.04 | 1.00 | / | / | 0.538 | 6.252 |  |  | 0.18 | 108 |  | Kinga |  | 3 | 2
2 | 1.00 | 10 | P/FINAL | 2025-05-28 | 15:06 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 1.00 | 1.01 | / | / | 0.512 |  |  |  | 0.19 | 110 |  | Kinga |  | 3 | 2
3 | 4.00 | 11 | P/FINAL | 2025-05-28 | 15:08 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 3.88 | 3.93 | / | / | 1.851 | 6.360 |  |  | 0.23 | 114 |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 12 | P/FINAL | 2025-05-28 | 15:08 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 3.93 | 3.96 | / | / | 1.871 |  |  |  | 0.26 | 97 |  | Kinga |  | 3 | 3 | 82004
1 | 0.00 | 13 | P/FINAL | 2025-05-28 | 15:11 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 0.02 | 0.00 | / | / | 0.016 |  |  |  | 0.62 | 104 |  | Kinga |  | 3 | 1 | 82004
1 | 0.00 | 14 | P/FINAL | 2025-05-28 | 15:12 | 2025-05-28 | 14:31 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.009 | 6.337 |  |  | 0.16 |  |  | Kinga |  | 3 | 1 | 82004
2 | 1.00 | 15 | P/FINAL | 2025-05-29 | 08:25 | 2025-05-28 | 22:21 | ANA | 4 | 1.01 | 1.01 | / | / | 0.525 |  |  |  | 3.35 | 99 |  | Kinga |  | 3 | 2 | 82004
2 | 1.00 | 16 | P/FINAL | 2025-05-29 | 08:25 | 2025-05-28 | 22:21 | ANA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 1.03 | 85 |  | Kinga |  | 3 | 2 | 82004
2 | 1.00 | 17 | P/FINAL | 2025-05-29 | 08:26 | 2025-05-28 | 22:21 | ANA | 4 | 1.03 | 1.02 | / | / | 0.527 | 6.310 |  |  | 1.12 | 95 |  | Kinga |  | 3 | 2 | 82004
3 | 4.00 | 18 | P/FINAL | 2025-05-29 | 08:26 | 2025-05-28 | 22:21 | ANA | 4 | 3.86 | 3.94 | / | / | 1.842 |  |  |  | 0.53 | 92 |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 19 | P/FINAL | 2025-05-29 | 08:28 | 2025-05-28 | 22:21 | ANA | 4 | 3.99 | 4.01 | / | / | 1.914 | 6.369 |  |  | 2.09 | 97 |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 20 | P/FINAL | 2025-05-29 | 08:28 | 2025-05-28 | 22:21 | ANA | 4 | 3.92 | 4.01 | / | / | 1.912 |  |  |  | 1.98 | 117 |  | Kinga |  | 3 | 3 | 82004
1 | 0.00 | 21 | P/FINAL | 2025-05-29 | 08:30 | 2025-05-28 | 22:21 | ANA | 4 | 0.02 | 0.00 | / | / | 0.017 | 6.325 |  |  | 2.14 |  |  | Kinga |  | 3 | 1 | 82004
1 | 0.00 | 22 | P/FINAL | 2025-05-29 | 08:30 | 2025-05-28 | 22:21 | ANA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 2.14 |  |  | Kinga |  | 3 | 1 | 82004
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 1.01 mg/L | 8 | 16 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 3.93 mg/L | 8 | 16 | 3.93 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.01 mg/L | 6 | 12 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 3.93 | YES
Validation Date | by