## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1071 | HI93701-0 | CP-R25 | W23_2025 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-06-01 | L57 Powder |  |  | Laboratory | TAB.3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1071
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | [5 empty] | 1055
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-06-04 | 15:46 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.95 | 0.96 | / | / | 0.494 | 6.363 |  |  | 0.41 |  | 1 | Salome |  | 3 | 2 | 81317
2 | 1.00 | 2 | Valid | 2025-06-04 | 15:47 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.97 | 0.98 | / | / | 0.504 | 6.541 |  |  | 0.14 |  | 1 | Salome |  | 3 | 2 | 81317
2 | 1.00 | 3 | Valid | 2025-06-04 | 15:48 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.96 | 0.97 | / | / | 0.497 | 6.715 |  |  | 0.33 |  | 1 | Salome |  | 3 | 2 | 81317
2 | 1.00 | 4 | Valid | 2025-06-04 | 15:48 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.95 | 0.95 | / | / | 0.493 | 6.643 |  |  | 0.18 |  | 1 | Salome |  | 3 | 2 | 81317
3 | 4.00 | 5 | Old A | 2025-06-04 | 15:50 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 3.73 | 3.71 | / | / | 1.792 | 6.413 |  |  | 0.61 |  | 1 | Salome |  | 3 | 3 | 81317
3 | 4.00 | 6 | Valid | 2025-06-04 | 15:50 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 3.85 | 3.89 | / | / | 1.838 | 6.333 |  |  | 0.49 |  | 1 | Salome |  | 3 | 3 | 81317
3 | 4.00 | 7 | Valid | 2025-06-04 | 15:51 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 3.64 | 3.64 | / | / | 1.751 | 6.268 |  |  | 0.18 |  | 1 | Salome |  | 3 | 3 | 81317
3 | 4.00 | 8 | Valid | 2025-06-04 | 15:51 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 3.41 | 3.42 | / | / | 1.656 | 6.398 |  |  | 0.55 |  | 1 | Salome |  | 3 | 3 | 81317
1 | 0.00 | 9 | Valid | 2025-06-04 | 15:52 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.00 | 0.00 | / | / | -0.003 | 6.631 |  |  | 0.21 |  | 1 | Salome |  | 3 | 1 | 81317
1 | 0.00 | 10 | Valid | 2025-06-04 | 15:52 | 2025-06-04 | 14:35 | MARK/ERIKA |  | 0.00 | 0.00 | / | / | 0.003 | 6.473 |  |  | 0.38 |  | 1 | Salome |  | 3 | 1 | 81317
2 | 1.00 | 11 | Old A | 2025-06-11 | 14:11 | 2025-06-11 | 13:20 | DORINA | 4 | 1.02 | 1.00 | / | / | 0.531 |  |  |  | 0.26 |  | 1 | Violeta |  | 3 | 2 | 95448
2 | 1.00 | 12 | Old A | 2025-06-11 | 14:15 | 2025-06-11 | 13:20 | DORINA | 4 | 1.03 | 1.01 | / | / | 0.532 |  |  |  | 0.47 |  | 1 | Violeta |  | 3 | 2 | 95448
2 | 1.00 | 13 | P/FINAL | 2025-06-11 | 14:19 | 2025-06-11 | 13:20 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.522 | 6.724 |  |  | 0.75 | 103 | 1 | Violeta |  | 3 | 2 | 95448
2 | 1.00 | 14 | P/FINAL | 2025-06-11 | 14:20 | 2025-06-11 | 13:20 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.525 |  |  |  | 0.13 | 108 | 1 | Violeta |  | 3 | 2 | 95448
3 | 4.00 | 15 | Old A | 2025-06-11 | 14:24 | 2025-06-11 | 13:20 | DORINA | 4 | 3.85 | 3.88 | / | / | 1.831 |  |  |  | 0.43 |  | 1 | Violeta |  | 3 | 3 | 95448
3 | 4.00 | 16 | Old A | 2025-06-11 | 14:29 | 2025-06-11 | 13:20 | DORINA | 4 | 3.89 | 3.88 | / | / | 2.026 |  |  |  | 0.24 |  | 1 | Violeta |  | 3 | 3 | 95448
3 | 4.00 | 17 | P/FINAL | 2025-06-11 | 14:33 | 2025-06-11 | 13:20 | DORINA | 4 | 4.13 | 4.12 | / | / | 1.952 | 6.670 |  |  | 0.13 | 97 | 1 | Violeta |  | 3 | 3 | 95448
3 | 4.00 | 18 | P/FINAL | 2025-06-11 | 14:37 | 2025-06-11 | 13:20 | DORINA | 4 | 4.00 | 4.04 | / | / | 1.900 |  |  |  | 0.08 | 92 | 1 | Violeta |  | 3 | 3 | 95448
1 | 0.00 | 19 | Old A | 2025-06-11 | 14:40 | 2025-06-11 | 13:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.23 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 20 | Old A | 2025-06-11 | 14:41 | 2025-06-11 | 13:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.18 | 113 | 1 | Violeta |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2025-06-11 | 14:44 | 2025-06-11 | 13:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.643 |  |  | 0.14 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-06-11 | 14:45 | 2025-06-11 | 13:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.09 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-06-11 | 15:01 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 0.00 | 0.00 | / | / | -0.017 | 6.545 |  |  | 0.11 |  | 1 | Csilla |  | 3 | 1
1 | 0.00 | 24 | P/FINAL | 02025/06/11 | 15:02 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 0.00 | 0.00 | / | / | -0.019 |  |  |  | 0.13 |  | 1 | Csilla |  | 3 | 1
2 | 1.00 | 25 | P/FINAL | 02025/06/11 | 15:05 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 0.95 | 0.94 | / | / | 0.495 | 6.527 |  |  | 0.12 | 85 | 1 | Csilla |  | 3 | 2
2 | 1.00 | 26 | P/FINAL | 02025/06/11 | 15:07 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 0.96 | 0.94 | / | / | 0.496 |  |  |  | 0.14 | 99 | 1 | Csilla |  | 3 | 2
3 | 4.00 | 27 | P/FINAL | 02025/06/11 | 15:11 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 3.89 | 3.92 | / | / | 1.852 | 6.404 |  |  | 0.11 | 102 | 1 | Csilla |  | 3 | 3 | 95448
3 | 4.00 | 28 | P/FINAL | 02025/06/11 | 15:11 | 2025-06-11 | 14:19 | GEORGIANA | 4 | 4.05 | 4.11 | / | / | 1.922 |  |  |  | 0.10 | 102 | 1 | Csilla |  | 3 | 3 | 95448
2 | 1.00 | 29 | P/FINAL | 2025-06-12 | 08:42 | 2025-06-12 | 07:01 | Dorina |  | 1.00 | 1.01 | / | / | 0.520 |  |  |  | 0.12 | 104 | 1 | Brigitta T | 6.839 | 3 | 2
2 | 1.00 | 30 | P/FINAL | 2025-06-12 | 08:46 | 2025-06-12 | 07:01 | Dorina |  | 1.01 | 1.02 | / | / | 0.525 |  |  |  | 0.17 | 110 | 1 | Brigitta T | 6.658 | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2025-06-12 | 08:49 | 2025-06-12 | 07:01 | Dorina |  | 1.00 | 1.01 | / | / | 0.521 |  |  |  | 0.16 |  | 1 | Brigitta T |  | 3 | 2
3 | 4.00 | 32 | P/FINAL | 2025-06-12 | 08:53 | 2025-06-12 | 07:01 | Dorina |  | 4.15 | 4.20 | / | / | 1.962 |  |  |  | 0.22 | 128 | 1 | Brigitta T |  | 3 | 3
3 | 4.00 | 33 | P/FINAL | 2025-06-12 | 08:57 | 2025-06-12 | 07:01 | Dorina |  | 3.88 | 3.91 | / | / | 1.853 |  |  |  | 0.37 | 114 | 1 | Brigitta T | 6.550 | 3 | 3
3 | 4.00 | 34 | P/FINAL | 2025-06-12 | 08:59 | 2025-06-12 | 07:01 | Dorina |  | 4.11 | 4.13 | / | / | 1.945 |  |  |  | 0.14 |  | 1 | Brigitta T | 6.732 | 3 | 3
1 | 0.00 | 35 | P/FINAL | 2025-06-12 | 09:03 | 2025-06-12 | 07:01 | Dorina |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.11 | 130 | 1 | Brigitta T | 6.679 | 3 | 1
1 | 0.00 | 36 | P/FINAL | 2025-06-12 | 09:05 | 2025-06-12 | 07:01 | Dorina |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.19 |  | 1 | Brigitta T | 6.689 | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.99 mg/L | 7 | 14 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 4.05 mg/L | 7 | 14 | 4.05 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.05 | YES
Validation Date | by