## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1095 | HI93701-0 | CP-R25 | W27/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2025-06-30 | 2025-06-04 | 4 HEAD |  |  | 0935
[6 empty] | Expiration A | Expiration B | Expiration D
2027-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.03
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-06-30 | 16:06 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.98 | 1.02 | / | / | 0.510 |  |  |  | 2.88 |  |  | Andrea V |  | 3 | 2 | 82953
2 | 1.00 | 2 | Old A | 2025-06-30 | 16:06 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 1.02 | 0.97 | / | / | 0.529 |  |  |  | 6.81 |  |  | Andrea V |  | 3 | 2 | 82953
1 | 0.00 | 3 | Old A | 2025-06-30 | 16:08 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 0.69 |  |  | Andrea V |  | 3 | 1 | 82953
1 | 0.00 | 4 | Old A | 2025-06-30 | 16:08 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 1 | 82953
2 | 1.00 | 5 | Valid | 2025-06-30 | 16:09 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.95 | 0.94 | / | / | 0.491 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 2 | 82953
2 | 1.00 | 6 | Valid | 2025-06-30 | 16:09 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 1.05 | 0.99 | / | / | 0.556 |  |  |  | 5.68 |  |  | Andrea V |  | 3 | 2 | 82953
2 | 1.00 | 7 | Valid | 2025-06-30 | 16:10 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 1.01 | 0.97 | / | / | 0.524 | 6.769 |  |  | 4.44 |  |  | Andrea V |  | 3 | 2 | 82953
3 | 4.00 | 8 | Valid | 2025-06-30 | 16:11 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 4.04 | 4.14 | / | / | 1.916 |  |  |  | 9.83 |  |  | Andrea V |  | 3 | 3 | 82953
3 | 4.00 | 9 | Valid | 2025-06-30 | 16:12 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 3.99 | 4.14 | / | / | 1.897 | 6.696 |  |  | 5.89 |  |  | Andrea V |  | 3 | 3 | 82953
3 | 4.00 | 10 | Valid | 2025-06-30 | 16:12 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 4.09 | 4.14 | / | / | 1.936 |  |  |  | 2.14 |  |  | Andrea V |  | 3 | 3 | 82953
3 | 4.00 | 11 | Old A | 2025-06-30 | 16:13 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 4.11 | 4.14 | / | / | 1.943 |  |  |  | 2.35 |  |  | Andrea V |  | 3 | 3 | 82953
1 | 0.00 | 12 | Valid | 2025-06-30 | 16:13 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.003 | 6.222 |  |  | 0.56 |  |  | Andrea V |  | 3 | 1 | 82953
1 | 0.00 | 13 | Valid | 2025-06-30 | 16:14 | 2025-06-30 | 15:47 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 1 | 82953
1 | 0.00 | 14 | Old A | 2025-07-07 | 08:36 | 2025-04-07 | 17:01 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.40 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 15 | Old A | 2025-07-07 | 08:36 | 2025-04-07 | 17:01 | DORINA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.68 |  |  | Andrea V |  | 3 | 1
3 | 4.00 | 16 | Old A | 2025-07-07 | 08:43 | 2025-04-07 | 17:01 | DORINA |  | 3.89 | 3.98 | / | / | 1.856 |  |  |  | 2.53 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 17 | Old A | 2025-07-07 | 08:44 | 2025-04-07 | 17:01 | DORINA |  | 3.87 | 3.92 | / | / | 1.846 |  |  |  | 1.72 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 18 | P/FINAL | 2025-07-07 | 08:47 | 2025-04-07 | 17:01 | DORINA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 1 | 91515
1 | 0.00 | 19 | P/FINAL | 2025-07-07 | 08:48 | 2025-04-07 | 17:01 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 | 6.645 |  |  | 0.22 |  |  | Andrea V |  | 3 | 1 | 91515
3 | 4.00 | 20 | Old A | 2025-07-07 | 08:50 | 2025-04-07 | 17:01 | DORINA |  | 4.01 | 4.06 | / | / | 1.903 |  |  |  | 0.64 |  |  | Andrea V |  | 3 | 3 | 91515
3 | 4.00 | 21 | P/FINAL | 2025-07-07 | 08:51 | 2025-04-07 | 17:01 | DORINA |  | 4.08 | 4.11 | / | / | 1.932 | 6.640 |  |  | 0.33 | 116 |  | Andrea V |  | 3 | 3 | 91515
3 | 4.00 | 22 | P/FINAL | 2025-07-07 | 08:52 | 2025-04-07 | 17:01 | DORINA |  | 3.96 | 4.00 | / | / | 1.885 |  |  |  | 1.72 | 125 |  | Andrea V |  | 3 | 3 | 91515
2 | 1.00 | 23 | Old A | 2025-07-07 | 08:59 | 2025-04-07 | 17:01 | DORINA |  | 0.97 | 0.96 | / | / | 0.504 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 24 | Old A | 2025-07-07 | 09:00 | 2025-04-07 | 17:01 | DORINA |  | 1.01 | 0.99 | / | / | 0.523 |  |  |  | 0.69 |  |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 25 | P/FINAL | 2025-07-07 | 09:02 | 2025-04-07 | 17:01 | DORINA |  | 1.01 | 0.99 | / | / | 0.526 | 7.012 |  |  | 0.47 | 138 |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 26 | P/FINAL | 2025-07-07 | 09:03 | 2025-04-07 | 17:01 | DORINA |  | 1.04 | 1.00 | / | / | 0.539 |  |  |  | 0.97 | 132 |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 27 | P/FINAL | 2025-07-07 | 09:04 | 2025-04-07 | 17:01 | DORINA |  | 1.03 | 1.01 | / | / | 0.536 |  |  |  | 0.50 | 111 |  | Andrea V |  | 3 | 2 | 91515
1 | 0.00 | 28 | P/FINAL | 2025-07-07 | 09:11 | 2025-07-07 | 07.16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.19 |  |  | Andrea V |  | 3 | 1 | 91515
1 | 0.00 | 29 | P/FINAL | 2025-07-07 | 09:12 | 2025-07-07 | 07.16 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.513 |  |  | 0.17 |  |  | Andrea V |  | 3 | 1 | 91515
2 | 1.00 | 30 | P/FINAL | 2025-07-07 | 09:13 | 2025-07-07 | 07.16 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 8.22 | 139 |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 31 | P/FINAL | 2025-07-07 | 09:15 | 2025-07-07 | 07.16 | DORINA | 4 | 1.02 | 1.00 | / | / | 0.529 | 6.908 |  |  | 4.14 | 133 |  | Andrea V |  | 3 | 2 | 91515
2 | 1.00 | 32 | P/FINAL | 2025-07-07 | 09:16 | 2025-07-07 | 07.16 | DORINA | 4 | 0.98 | 0.96 | / | / | 0.510 |  |  |  | 1.68 | 141 |  | Andrea V |  | 3 | 2 | 91515
3 | 4.00 | 33 | P/FINAL | 2025-07-07 | 09:17 | 2025-07-07 | 07.16 | DORINA | 4 | 4.05 | 4.09 | / | / | 1.920 | 6.593 |  |  | 0.27 | 134 |  | Andrea V |  | 3 | 3 | 91515
3 | 4.00 | 34 | P/FINAL | 2025-07-07 | 09:19 | 2025-07-07 | 07.16 | DORINA | 4 | 4.06 | 4.13 | / | / | 1.925 |  |  |  | 0.28 | 133 |  | Andrea V |  | 3 | 3 | 91515
3 | 4.00 | 35 | P/FINAL | 2025-07-07 | 09:20 | 2025-07-07 | 07.16 | DORINA | 4 | 3.91 | 4.00 | / | / | 1.863 |  |  |  | 0.23 | 118 |  | Andrea V |  | 3 | 3 | 91515
2 | 1.00 | 36 | P/FINAL | 2025-07-07 | 15:50 | 2025-07-07 | 14:33 | ANA |  | 0.96 | 0.99 | / | / | 0.497 |  |  |  | 14.4 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 37 | P/FINAL | 2025-07-07 | 15:51 | 2025-07-07 | 14:33 | ANA |  | 0.97 | 0.95 | / | / | 0.503 | 6.342 |  |  | 3.17 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 38 | P/FINAL | 2025-07-07 | 15:51 | 2025-07-07 | 14:33 | ANA |  | 0.98 | 0.93 | / | / | 0.512 |  |  |  | 2.44 | 108 |  | Kinga |  | 3 | 2
3 | 4.00 | 39 | P/FINAL | 2025-07-07 | 15:54 | 2025-07-07 | 14:33 | ANA |  | 4.06 | 3.96 | / | / | 1.923 |  |  |  | 8.20 | 91 |  | Kinga |  | 3 | 3 | 91515
3 | 4.00 | 40 | P/FINAL | 2025-07-07 | 15:55 | 2025-07-07 | 14:33 | ANA |  | 3.85 | 3.88 | / | / | 1.841 | 6.532 |  |  | 7.88 | 87 |  | Kinga |  | 3 | 3 | 91515
3 | 4.00 | 41 | P/FINAL | 2025-07-07 | 15:57 | 2025-07-07 | 14:33 | ANA |  | 4.03 | 3.98 | / | / | 1.927 |  |  |  | 7.81 | 116 |  | Kinga |  | 3 | 3 | 91515
1 | 0.00 | 42 | P/FINAL | 2025-07-07 | 15:58 | 2025-07-07 | 14:33 | ANA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.09 | 116 |  | Kinga |  | 3 | 1 | 91515
1 | 0.00 | 43 | P/FINAL | 2025-07-07 | 15:59 | 2025-07-07 | 14:33 | ANA |  | 0.02 | 0.00 | / | / | 0.016 | 6.236 |  |  | 1.45 | 97 |  | Kinga |  | 3 | 1 | 91515
2 | 1.00 | 44 | Old A | 2025-07-08 | 08:59 | 2025-07-08 | 07:22 | DORINA | 4 | 1.06 | 0.96 | / | / | 0.550 |  |  |  | 10.7 |  |  | Kinga |  | 3 | 2 | 91515
2 | 1.00 | 45 | Old A | 2025-07-08 | 08:59 | 2025-07-08 | 07:22 | DORINA | 4 | 1.02 | 0.98 | / | / | 0.543 |  |  |  | 10.1 |  |  | Kinga |  | 3 | 2 | 91515
3 | 4.00 | 46 | Old A | 2025-07-08 | 09:00 | 2025-07-08 | 07:22 | DORINA | 4 | 3.85 | 3.96 | / | / | 1.834 |  |  |  | 9.26 |  |  | Kinga |  | 3 | 3 | 91515
3 | 4.00 | 47 | Old A | 2025-07-08 | 09:01 | 2025-07-08 | 07:22 | DORINA | 4 | 3.88 | 3.98 | / | / | 1.852 |  |  |  | 9.12 |  |  | Kinga |  | 3 | 3 | 91515
1 | 0.00 | 48 | Old A | 2025-07-08 | 09:01 | 2025-07-08 | 07:22 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.70 |  |  | Kinga |  | 3 | 1 | 91515
1 | 0.00 | 49 | Old A | 2025-07-08 | 09:02 | 2025-07-08 | 07:22 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 1 | 91515
2 | 1.00 | 50 | P/FINAL | 2025-07-08 | 09:04 | 2025-07-08 | 07:22 | DORINA | 4 | 1.06 | 0.96 | / | / | 0.544 |  |  |  | 1.35 |  |  | Kinga |  | 3 | 2 | 91515
2 | 1.00 | 51 | P/FINAL | 2025-07-08 | 09:05 | 2025-07-08 | 07:22 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 6.85 |  |  | Kinga |  | 3 | 2 | 91515
2 | 1.00 | 52 | P/FINAL | 2025-07-08 | 09:06 | 2025-07-08 | 07:22 | DORINA | 4 | 0.94 | 0.93 | / | / | 0.482 | 6.409 |  |  | 6.38 | 109 |  | Kinga |  | 3 | 2 | 91515
3 | 4.00 | 53 | P/FINAL | 2025-07-08 | 09:08 | 2025-07-08 | 07:22 | DORINA | 4 | 3.96 | 3.95 | / | / | 1.885 |  |  |  | 3.42 | 111 |  | Kinga |  | 3 | 3 | 91515
3 | 4.00 | 54 | P/FINAL | 2025-07-08 | 09:09 | 2025-07-08 | 07:22 | DORINA | 4 | 4.00 | 3.98 | / | / | 1.901 | 6.387 |  |  | 0.54 | 120 |  | Kinga |  | 3 | 3 | 91515
3 | 4.00 | 55 | P/FINAL | 2025-07-08 | 09:10 | 2025-07-08 | 07:22 | DORINA | 4 | 4.02 | 4.05 | / | / | 1.908 |  |  |  | 2.61 | 110 |  | Kinga |  | 3 | 3 | 91515
1 | 0.00 | 56 | P/FINAL | 2025-07-08 | 09:11 | 2025-07-08 | 07:22 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 2.46 | 112 |  | Kinga |  | 3 | 1 | 91515
1 | 0.00 | 57 | P/FINAL | 2025-07-08 | 09:11 | 2025-07-08 | 07:22 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.012 | 6.279 |  |  | 0.80 | 106 |  | Kinga |  | 3 | 1 | 91515
2 | 1.00 | 58 | P/FINAL | 2025-07-08 | 16:07 | 2025-07-08 | 14:17 | ANA |  | 1.00 | 1.00 | / | / | 0.519 |  |  |  | 0.47 | 94 |  | Andrea V |  | 3 | 2 | 93059
2 | 1.00 | 59 | P/FINAL | 2025-07-08 | 16:07 | 2025-07-08 | 14:17 | ANA |  | 1.00 | 0.99 | / | / | 0.517 | 6.706 |  |  | 0.70 | 98 |  | Andrea V |  | 3 | 2 | 93059
2 | 1.00 | 60 | P/FINAL | 2025-07-08 | 16:08 | 2025-07-08 | 14:17 | ANA |  | 0.98 | 0.99 | / | / | 0.510 |  |  |  | 0.88 | 110 |  | Andrea V |  | 3 | 2 | 93059
3 | 4.00 | 61 | P/FINAL | 2025-07-08 | 16:09 | 2025-07-08 | 14:17 | ANA |  | 3.96 | 4.01 | / | / | 1.885 | 6.415 |  |  | 1.20 | 80 |  | Andrea V |  | 3 | 3 | 93059
3 | 4.00 | 62 | P/FINAL | 2025-07-08 | 16:09 | 2025-07-08 | 14:17 | ANA |  | 3.88 | 4.01 | / | / | 1.852 |  |  |  | 2.83 | 92 |  | Andrea V |  | 3 | 3 | 93059
3 | 4.00 | 63 | P/FINAL | 2025-07-08 | 16:09 | 2025-07-08 | 14:17 | ANA |  | 4.01 | 4.03 | / | / | 1.904 |  |  |  | 3.48 | 116 |  | Andrea V |  | 3 | 3 | 93059
1 | 0.00 | 64 | P/FINAL | 2025-07-08 | 16:10 | 2025-07-08 | 14:17 | ANA |  | 0.00 | 0.00 | / | / | 0.007 | 6.238 |  |  | 0.42 |  |  | Andrea V |  | 3 | 1 | 93059
1 | 0.00 | 65 | P/FINAL | 2025-07-08 | 16:10 | 2025-07-08 | 14:17 | ANA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 1 | 93059
1 | 0.00 | 66 | Old A | 2025-07-09 | 08:20 | 2025-07-09 | 06:54 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 1 | 93059
1 | 0.00 | 67 | Old A | 2025-07-09 | 08:21 | 2025-07-09 | 06:54 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.76 |  |  | Andrea V |  | 3 | 1 | 93059
2 | 1.00 | 68 | Old A | 2025-07-09 | 08:22 | 2025-07-09 | 06:54 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.523 |  |  |  | 1.85 |  |  | Andrea V |  | 3 | 2 | 93059
2 | 1.00 | 69 | Old A | 2025-07-09 | 08:23 | 2025-07-09 | 06:54 | DORINA | 4 | 1.03 | 1.03 | / | / | 0.535 |  |  |  | 1.86 |  |  | Andrea V |  | 3 | 2 | 93059
3 | 4.00 | 70 | Old A | 2025-07-09 | 08:26 | 2025-07-09 | 06:54 | DORINA | 4 | 3.95 | 3.98 | / | / | 1.879 |  |  |  | 0.95 |  |  | Andrea V |  | 3 | 3 | 93059
3 | 4.00 | 71 | Old A | 2025-07-09 | 08:26 | 2025-07-09 | 06:54 | DORINA | 4 | 3.91 | 3.97 | / | / | 1.864 |  |  |  | 1.93 |  |  | Andrea V |  | 3 | 3 | 93059
1 | 0.00 | 72 | P/FINAL | 2025-07-09 | 08:27 | 2025-07-09 | 06:54 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.300 |  |  | 0.49 |  |  | Andrea V |  | 3 | 1 | 93059
1 | 0.00 | 73 | P/FINAL | 2025-07-09 | 08:28 | 2025-07-09 | 06:54 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 93059
2 | 1.00 | 74 | P/FINAL | 2025-07-09 | 08:31 | 2025-07-09 | 06:54 | DORINA | 4 | 1.00 | 1.02 | / | / | 0.521 |  |  |  | 0.77 | 121 |  | Andrea V |  | 3 | 2 | 93059
2 | 1.00 | 75 | P/FINAL | 2025-07-09 | 08:32 | 2025-07-09 | 06:54 | DORINA | 4 | 1.00 | 1.01 | / | / | 0.519 | 6.490 |  |  | 1.74 | 97 |  | Andrea V |  | 3 | 2 | 93059
2 | 1.00 | 76 | P/FINAL | 2025-07-09 | 08:32 | 2025-07-09 | 06:54 | DORINA | 4 | 0.99 | 1.05 | / | / | 0.515 |  |  |  | 1.22 | 113 |  | Andrea V |  | 3 | 2 | 93059
3 | 4.00 | 77 | P/FINAL | 2025-07-09 | 08:35 | 2025-07-09 | 06:54 | DORINA | 4 | 4.00 | 4.09 | / | / | 1.899 | 6.770 |  |  | 0.28 | 96 |  | Andrea V |  | 3 | 3 | 93059
3 | 4.00 | 78 | P/FINAL | 2025-07-09 | 08:36 | 2025-07-09 | 06:54 | DORINA | 4 | 4.05 | 4.13 | / | / | 1.920 |  |  |  | 0.17 | 112 |  | Andrea V |  | 3 | 3 | 93059
3 | 4.00 | 79 | P/FINAL | 2025-07-09 | 08:37 | 2025-07-09 | 06:54 | DORINA | 4 | 4.06 | 4.14 | / | / | 1.924 |  |  |  | 0.32 | 115 |  | Andrea V |  | 3 | 3 | 93059
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.99 mg/L | 18 | 36 | 0.99 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 4.01 mg/L | 17 | 34 | 4.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.01 | YES
Validation Date | by