## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1111 | HI93701-0 | CP-R25 | W 28/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-07-14 | 2025-07-25 | 4 HEAD |  |  | 1087
[6 empty] | Expiration A | Expiration B | Expiration D
2027-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-07-14 | 08:54 | 2025-07-14 | 08:21 | ERIKA |  | 1.00 | 1.03 | / | / | 0.513 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-07-14 | 08:57 | 2025-07-14 | 08:21 | ERIKA |  | 1.00 | 1.02 | / | / | 0.519 |  |  |  | 14.7 |  |  | Kinga |  | 3 | 2 | 93059
3 | 4.00 | 3 | Old A | 2025-07-14 | 08:58 | 2025-07-14 | 08:21 | ERIKA |  | 3.87 | 3.98 | / | / | 1.846 |  |  |  | 17.9 |  |  | Kinga |  | 3 | 3 | 93059
3 | 4.00 | 4 | Old A | 2025-07-14 | 08:59 | 2025-07-14 | 08:21 | ERIKA |  | 3.87 | 4.01 | / | / | 1.849 |  |  |  | 5.63 |  |  | Kinga |  | 3 | 3 | 93059
1 | 0.00 | 5 | P/FINAL | 2025-07-14 | 09:00 | 2025-07-14 | 08:21 | ERIKA |  | 0.04 | 0.00 | / | / | 0.024 |  |  |  | 1.69 |  |  | Kinga |  | 3 | 1 | 93059
2 | 1.00 | 6 | Valid | 2025-07-14 | 09:03 | 2025-07-14 | 08:21 | ERIKA |  | 1.00 | 1.00 | / | / | 0.518 |  |  |  | 1.50 |  |  | Kinga |  | 3 | 2 | 93059
2 | 1.00 | 7 | Valid | 2025-07-14 | 09:04 | 2025-07-14 | 08:21 | ERIKA |  | 1.01 | 1.02 | / | / | 0.525 |  |  |  | 1.53 |  |  | Kinga |  | 3 | 2 | 93059
2 | 1.00 | 8 | Valid | 2025-07-14 | 09:05 | 2025-07-14 | 08:21 | ERIKA |  | 0.96 | 0.99 | / | / | 0.501 | 6.277 |  |  | 7.74 |  |  | Kinga |  | 3 | 2 | 93059
3 | 4.00 | 9 | Valid | 2025-07-14 | 09:06 | 2025-07-14 | 08:21 | ERIKA |  | 4.03 | 4.12 | / | / | 1.913 |  |  |  | 2.48 |  |  | Kinga |  | 3 | 3 | 93059
3 | 4.00 | 10 | Valid | 2025-07-14 | 09:08 | 2025-07-14 | 08:21 | ERIKA |  | 4.00 | 4.08 | / | / | 1.900 |  |  |  | 0.80 |  |  | Kinga |  | 3 | 3 | 93059
3 | 4.00 | 11 | Valid | 2025-07-14 | 09:09 | 2025-07-14 | 08:21 | ERIKA |  | 3.92 | 3.99 | / | / | 1.869 | 6.253 |  |  | 0.55 |  |  | Kinga |  | 3 | 3 | 93059
1 | 0.00 | 12 | Valid | 2025-07-14 | 09:11 | 2025-07-14 | 08:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 1 | 93059
1 | 0.00 | 13 | Valid | 2025-07-14 | 09:12 | 2025-07-14 | 08:21 | ERIKA |  | 0.02 | 0.00 | / | / | 0.017 | 6.201 |  |  | 0.71 |  |  | Kinga |  | 3 | 1 | 93059
1 | 0.00 | 14 | P/FINAL | 2025-07-22 | 12:36 | 2025-07-22 | 08:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 2.98 |  |  | Kinga |  | 3 | 1 | 30003
1 | 0.00 | 15 | P/FINAL | 2025-07-22 | 12:36 | 2025-07-22 | 08:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.326 |  |  | 0.30 |  |  | Kinga |  | 3 | 1 | 30003
2 | 1.00 | 16 | P/FINAL | 2025-07-22 | 12:37 | 2025-07-22 | 08:53 | DORINA | 4 | 0.98 | 0.98 | / | / | 0.509 | 6.872 |  |  | 1.29 | 121 |  | Kinga |  | 3 | 2 | 30003
2 | 1.00 | 17 | P/FINAL | 2025-07-22 | 12:37 | 2025-07-22 | 08:53 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.519 |  |  |  | 0.64 | 111 |  | Kinga |  | 3 | 2 | 30003
2 | 1.00 | 18 | P/FINAL | 2025-07-22 | 12:38 | 2025-07-22 | 08:53 | DORINA | 4 | 0.95 | 0.96 | / | / | 0.494 |  |  |  | 2.71 | 118 |  | Kinga |  | 3 | 2 | 30003
3 | 4.00 | 19 | P/FINAL | 2025-07-22 | 12:38 | 2025-07-22 | 08:53 | DORINA | 4 | 3.97 | 4.01 | / | / | 1.888 | 6.410 |  |  | 10.4 | 120 |  | Kinga |  | 3 | 3 | 30003
3 | 4.00 | 20 | P/FINAL | 2025-07-22 | 12:39 | 2025-07-22 | 08:53 | DORINA | 4 | 4.11 | 4.14 | / | / | 1.945 |  |  |  | 11.6 | 117 |  | Kinga |  | 3 | 3 | 30003
3 | 4.00 | 21 | P/FINAL | 2025-07-22 | 12:40 | 2025-07-22 | 08:53 | DORINA | 4 | 4.06 | 4.13 | / | / | 1.926 |  |  |  | 0.64 |  |  | Kinga |  | 3 | 3 | 30003
1 | 0.00 | 22 | Old A | 2025-07-22 | 12:45 | 2025-07-22 | 08:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 1 | 30003
1 | 0.00 | 23 | Old A | 2025-07-22 | 12:46 | 2025-07-22 | 08:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 30003
2 | 1.00 | 24 | Old A | 2025-07-22 | 12:46 | 2025-07-22 | 08:53 | DORINA | 4 | 1.01 | 1.03 | / | / | 0.526 |  |  |  | 3.11 |  |  | Kinga |  | 3 | 2 | 30003
2 | 1.00 | 25 | Old A | 2025-07-22 | 12:46 | 2025-07-22 | 08:53 | DORINA | 4 | 1.01 | 0.99 | / | / | 0.515 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 30003
3 | 4.00 | 26 | Old A | 2025-07-22 | 12:47 | 2025-07-22 | 08:53 | DORINA | 4 | 3.91 | 3.92 | / | / | 1.864 |  |  |  | 1.12 |  |  | Kinga |  | 3 | 3 | 30003
3 | 4.00 | 27 | Old A | 2025-07-22 | 12:47 | 2025-07-22 | 08:53 | DORINA | 4 | 4.03 | 4.13 | / | / | 1.914 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 3 | 30003
1 | 0.00 | 28 | P/FINAL | 2025-07-22 | 15:27 | 2025-07-22 | 14:48 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.20 | 89 |  | Kinga |  | 3 | 1
1 | 0.00 | 29 | P/FINAL | 2025-07-22 | 15:27 | 2025-07-22 | 14:48 | ANA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 0.23 | 84 |  | Kinga |  | 3 | 1
2 | 1.00 | 30 | P/FINAL | 2025-07-22 | 15:28 | 2025-07-22 | 14:48 | ANA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.29 | 83 |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2025-07-22 | 15:28 | 2025-07-22 | 14:48 | ANA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.29 | 93 |  | Kinga |  | 3 | 2
2 | 1.00 | 32 | P/FINAL | 2025-07-22 | 15:29 | 2025-07-22 | 14:48 | ANA | 4 | 1.01 | 1.00 | / | / | 0.524 |  |  |  | 0.19 | 77 |  | Kinga |  | 3 | 2
3 | 4.00 | 33 | P/FINAL | 2025-07-22 | 15:30 | 2025-07-22 | 14:48 | ANA | 4 | 4.03 | 4.10 | / | / | 1.914 |  |  |  | 0.38 | 107 |  | Kinga |  | 3 | 3
3 | 4.00 | 34 | P/FINAL | 2025-07-22 | 15:30 | 2025-07-22 | 14:48 | ANA | 4 | 3.87 | 3.88 | / | / | 1.848 |  |  |  | 0.69 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 35 | P/FINAL | 2025-07-22 | 15:31 | 2025-07-22 | 14:48 | ANA | 4 | 3.96 | 4.01 | / | / | 1.883 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 36 | Old A | 2025-07-23 | 08:55 | 2025-07-23 | 06:55 | DORINA | 4 | 1.01 | 1.00 | / | / | 0.523 |  |  |  | 4.25 |  |  | Kinga |  | 3 | 2 | 83428
2 | 1.00 | 37 | Old A | 2025-07-23 | 08:55 | 2025-07-23 | 06:55 | DORINA | 4 | 0.96 | 0.95 | / | / | 0.496 |  |  |  | 4.67 |  |  | Kinga |  | 3 | 2 | 83428
3 | 4.00 | 38 | Old A | 2025-07-23 | 08:58 | 2025-07-23 | 06:55 | DORINA | 4 | 3.93 | 4.00 | / | / | 1.874 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 39 | Old A | 2025-07-23 | 08:58 | 2025-07-23 | 06:55 | DORINA | 4 | 3.88 | 3.93 | / | / | 1.853 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 3 | 83428
1 | 0.00 | 40 | Old A | 2025-07-23 | 09:00 | 2025-07-23 | 06:55 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 2.34 |  |  | Kinga |  | 3 | 1 | 83428
1 | 0.00 | 41 | Old A | 2025-07-23 | 09:01 | 2025-07-23 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 1 | 83428
2 | 1.00 | 42 | P/FINAL | 2025-07-23 | 09:06 | 2025-07-23 | 06:55 | DORINA | 4 | 0.94 | 0.94 | / | / | 0.490 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 2 | 83428
2 | 1.00 | 43 | P/FINAL | 2025-07-23 | 09:06 | 2025-07-23 | 06:55 | DORINA | 4 | 0.97 | 0.98 | / | / | 0.506 | 6.294 |  |  | 0.91 | 116 |  | Kinga |  | 3 | 2 | 83428
2 | 1.00 | 44 | P/FINAL | 2025-07-23 | 09:07 | 2025-07-23 | 06:55 | DORINA | 4 | 0.96 | 0.94 | / | / | 0.495 |  |  |  | 0.37 | 97 |  | Kinga |  | 3 | 2 | 83428
3 | 4.00 | 45 | P/FINAL | 2025-07-23 | 09:09 | 2025-07-23 | 06:55 | DORINA | 4 | 4.09 | 4.14 | / | / | 1.938 |  |  |  | 0.67 | 106 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 46 | P/FINAL | 2025-07-23 | 09:10 | 2025-07-23 | 06:55 | DORINA | 4 | 3.89 | 3.93 | / | / | 1.855 | 6.344 |  |  | 0.37 | 105 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 47 | P/FINAL | 2025-07-23 | 09:12 | 2025-07-23 | 06:55 | DORINA | 4 | 4.06 | 4.12 | / | / | 1.923 |  |  |  | 0.28 | 117 |  | Kinga |  | 3 | 3 | 83428
1 | 0.00 | 48 | P/FINAL | 2025-07-23 | 09:12 | 2025-07-23 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.60 | 109 |  | Kinga |  | 3 | 1 | 83428
1 | 0.00 | 49 | P/FINAL | 2025-07-23 | 09:13 | 2025-07-23 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.239 |  |  | 0.43 |  |  | Kinga |  | 3 | 1 | 83428
2 | 1.00 | 50 | P/FINAL | 2025-07-23 | 15:17 | 2025-07-23 | 14:28 | ANA | 4 | 0.99 | 0.96 | / | / | 0.515 |  |  |  | 7.31 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 51 | P/FINAL | 2025-07-23 | 15:18 | 2025-07-23 | 14:28 | ANA | 4 | 1.05 | 1.00 | / | / | 0.553 |  |  |  | 0.37 | 91 |  | Kinga |  | 3 | 2
2 | 1.00 | 52 | P/FINAL | 2025-07-23 | 15:19 | 2025-07-23 | 14:28 | ANA | 4 | 0.98 | 0.95 | / | / | 0.504 | 6.351 |  |  | 0.61 | 103 |  | Kinga |  | 3 | 2
3 | 4.00 | 53 | P/FINAL | 2025-07-23 | 15:22 | 2025-07-23 | 14:28 | ANA | 4 | 3.87 | 3.91 | / | / | 1.847 |  |  |  | 3.57 | 121 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 54 | P/FINAL | 2025-07-23 | 15:24 | 2025-07-23 | 14:28 | ANA | 4 | 4.12 | 4.15 | / | / | 1.947 | 6.361 |  |  | 10.8 | 127 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 55 | P/FINAL | 2025-07-23 | 15:26 | 2025-07-23 | 14:28 | ANA | 4 | 4.08 | 4.14 | / | / | 1.933 |  |  |  | 0.46 | 104 |  | Kinga |  | 3 | 3 | 83428
1 | 0.00 | 56 | P/FINAL | 2025-07-23 | 15:27 | 2025-07-23 | 14:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.57 | 115 |  | Kinga |  | 3 | 1 | 83426
1 | 0.00 | 57 | P/FINAL | 2025-07-23 | 15:27 | 2025-07-23 | 14:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.249 |  |  | 0.24 |  |  | Kinga |  | 3 | 1 | 83426
1 | 0.00 | 58 | Old A | 2025-07-24 | 08:16 | 2025-07-24 | 06:54 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 0.63 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 59 | P/FINAL | 2025-07-24 | 08:16 | 2025-07-24 | 06:54 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 1.24 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 60 | Old A | 2025-07-24 | 08:17 | 2025-07-24 | 06:54 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.513 |  |  |  | 6.05 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 61 | Old A | 2025-07-24 | 08:18 | 2025-07-24 | 06:54 | DORINA | 4 | 0.97 | 0.98 | / | / | 0.505 |  |  |  | 2.88 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 62 | Old A | 2025-07-24 | 08:20 | 2025-07-24 | 06:54 | DORINA | 4 | 3.86 | 3.87 | / | / | 1.843 |  |  |  | 4.74 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 63 | Old A | 2025-07-24 | 08:21 | 2025-07-24 | 06:54 | DORINA | 4 | 3.89 | 3.91 | / | / | 1.833 |  |  |  | 1.35 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 64 | P/FINAL | 2025-07-24 | 08:25 | 2025-07-24 | 06:54 | DORINA | 4 | 0.95 | 0.94 | / | / | 0.494 |  |  |  | 3.99 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 65 | P/FINAL | 2025-07-24 | 08:26 | 2025-07-24 | 06:54 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.491 |  |  |  | 1.24 | 112 |  | Kinga |  | 3 | 2
2 | 1.00 | 66 | P/FINAL | 2025-07-24 | 08:27 | 2025-07-24 | 06:54 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.519 | 6.389 |  |  | 5.64 | 86 |  | Kinga |  | 3 | 2
3 | 4.00 | 67 | P/FINAL | 2025-07-24 | 08:29 | 2025-07-24 | 06:54 | DORINA | 4 | 4.02 | 4.09 | / | / | 1.909 |  |  |  | 3.62 | 111 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 68 | P/FINAL | 2025-07-24 | 08:30 | 2025-07-24 | 06:54 | DORINA | 4 | 4.04 | 4.11 | / | / | 1.916 |  |  |  | 0.60 | 115 |  | Kinga |  | 3 | 3 | 83428
3 | 4.00 | 69 | P/FINAL | 2025-07-24 | 08:30 | 2025-07-24 | 06:54 | DORINA | 4 | 4.08 | 4.15 | / | / | 1.934 | 6.392 |  |  | 1.70 |  |  | Kinga |  | 3 | 3 | 83428
1 | 0.00 | 70 | P/FINAL | 2025-07-24 | 08:32 | 2025-07-24 | 06:54 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 1 | 83428
1 | 0.00 | 71 | P/FINAL | 2025-07-24 | 08:33 | 2025-07-24 | 06:54 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.375 |  |  | 0.58 |  |  | Kinga |  | 3 | 1 | 83428
2 | 1.00 | 72 | P/FINAL | 2025-07-24 | 16:18 | 2025-07-24 | 14:36 | ANA | 4 | 1.00 | 0.99 | / | / | 0.521 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 73 | P/FINAL | 2025-07-24 | 16:18 | 2025-07-24 | 14:36 | ANA | 4 | 0.99 | 0.98 | / | / | 0.514 |  |  |  | 0.22 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 74 | P/FINAL | 2025-07-24 | 16:19 | 2025-07-24 | 14:36 | ANA | 4 | 0.95 | 0.96 | / | / | 0.496 | 6.374 |  |  | 0.99 | 80 |  | Kinga |  | 3 | 2
3 | 4.00 | 75 | P/FINAL | 2025-07-24 | 16:19 | 2025-07-24 | 14:36 | ANA | 4 | 4.09 | 4.15 | / | / | 1.935 |  |  |  | 0.24 | 114 |  | Kinga |  | 3 | 3
3 | 4.00 | 76 | P/FINAL | 2025-07-24 | 16:20 | 2025-07-24 | 14:36 | ANA | 4 | 4.10 | 4.15 | / | / | 1.939 |  |  |  | 0.19 | 99 |  | Kinga |  | 3 | 3
3 | 4.00 | 77 | P/FINAL | 2025-07-24 | 16:20 | 2025-07-24 | 14:36 | ANA | 4 | 4.06 | 4.12 | / | / | 1.925 | 6.421 |  |  | 0.24 | 97 |  | Kinga |  | 3 | 3
1 | 0.00 | 78 | P/FINAL | 2025-07-24 | 16:20 | 2025-07-24 | 14:36 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.17 | 115 |  | Kinga |  | 3 | 1
1 | 0.00 | 79 | P/FINAL | 2025-07-24 | 16:21 | 2025-07-24 | 14:36 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.511 |  |  | 0.22 | 117 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.98 mg/L | 18 | 36 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 4.05 mg/L | 18 | 36 | 4.05 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 0 mg/L | 14 | 28 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.05 | YES
Validation Date | by