## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1131 | HI93701-0 | CP-R25 | W 30/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-07-28 | 2025-08-14 | 4 HEAD |  |  | 1111
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI93711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI93711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-28 | 09:38 | 2025-07-28 | 08:49 | MARK |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-07-28 | 09:39 | 2025-07-28 | 08:49 | MARK |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-07-28 | 09:39 | 2025-07-28 | 08:49 | MARK |  | 1.01 | 1.00 | / | / | 0.524 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 4 | Old A | 2025-07-28 | 09:40 | 2025-07-28 | 08:49 | MARK |  | 1.01 | 0.99 | / | / | 0.523 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 5 | Old A | 2025-07-28 | 09:43 | 2025-07-28 | 08:49 | MARK |  | 3.94 | 4.02 | / | / | 1.878 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 6 | Old A | 2025-07-28 | 09:43 | 2025-07-28 | 08:49 | MARK |  | 3.91 | 3.99 | / | / | 1.865 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 7 | Valid | 2025-07-28 | 09:44 | 2025-07-28 | 08:49 | MARK |  | 0.00 | 0.00 | / | / | 0.008 | 6.282 |  |  | 0.39 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 8 | Valid | 2025-07-28 | 09:45 | 2025-07-28 | 08:49 | MARK |  | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 1.12 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 9 | Valid | 2025-07-28 | 09:47 | 2025-07-28 | 08:49 | MARK |  | 1.02 | 1.01 | / | / | 0.528 | 6.254 |  |  | 0.93 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 10 | Valid | 2025-07-28 | 09:48 | 2025-07-28 | 08:49 | MARK |  | 0.98 | 0.98 | / | / | 0.508 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 11 | Valid | 2025-07-28 | 09:49 | 2025-07-28 | 08:49 | MARK |  | 0.99 | 0.99 | / | / | 0.514 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 12 | Valid | 2025-07-28 | 09:51 | 2025-07-28 | 08:49 | MARK |  | 3.96 | 4.04 | / | / | 1.886 | 6.271 |  |  | 0.51 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 13 | Valid | 2025-07-28 | 09:52 | 2025-07-28 | 08:49 | MARK |  | 3.94 | 4.03 | / | / | 1.877 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 14 | Valid | 2025-07-28 | 09:52 | 2025-07-28 | 08:49 | MARK |  | 3.93 | 4.00 | / | / | 1.873 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 15 | Old A | 2025-08-14 | 11:38 | 2025-08-14 | 07:47 | ANA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.48 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2025-08-14 | 11:38 | 2025-08-14 | 07:47 | ANA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 17 | Old A | 2025-08-14 | 11:39 | 2025-08-14 | 07:47 | ANA |  | 0.97 | 0.96 | / | / | 0.506 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 18 | Old A | 2025-08-14 | 11:40 | 2025-08-14 | 07:47 | ANA |  | 0.98 | 0.96 | / | / | 0.508 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 19 | Old A | 2025-08-14 | 11:40 | 2025-08-14 | 07:47 | ANA |  | 4.04 | 4.08 | / | / | 1.915 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 20 | Old A | 2025-08-14 | 11:41 | 2025-08-14 | 07:47 | ANA |  | 4.07 | 4.13 | / | / | 1.928 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 21 | Old A | 2025-08-14 | 11:41 | 2025-08-14 | 07:47 | ANA |  | 4.08 | 4.14 | / | / | 1.933 |  |  |  | 0.12 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 22 | P/FINAL | 2025-08-14 | 11:42 | 2025-08-14 | 07:47 | ANA |  | 0.00 | 0.00 | / | / | -0.001 | 6.256 |  |  | 0.23 | 110 |  | Andrea V |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-08-14 | 11:42 | 2025-08-14 | 07:47 | ANA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.18 | 79 |  | Andrea V |  | 3 | 1
2 | 1.00 | 24 | P/FINAL | 2025-08-14 | 11:44 | 2025-08-14 | 07:47 | ANA |  | 0.96 | 0.96 | / | / | 0.500 | 6.202 |  |  | 0.27 | 122 |  | Andrea V |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-08-14 | 11:45 | 2025-08-14 | 07:47 | ANA |  | 0.97 | 0.96 | / | / | 0.502 |  |  |  | 0.12 | 111 |  | Andrea V |  | 3 | 2
2 | 1.00 | 26 | P/FINAL | 2025-08-14 | 11:46 | 2025-08-14 | 07:47 | ANA |  | 0.98 | 0.98 | / | / | 0.510 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 27 | P/FINAL | 2025-08-14 | 11:46 | 2025-08-14 | 07:47 | ANA |  | 0.98 | 0.99 | / | / | 0.508 |  |  |  | 0.38 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 28 | P/FINAL | 2025-08-14 | 11:50 | 2025-08-14 | 07:47 | ANA |  | 3.87 | 3.92 | / | / | 1.846 | 6.245 |  |  | 0.17 | 107 |  | Andrea V |  | 3 | 3
3 | 4.00 | 29 | P/FINAL | 2025-08-14 | 11:51 | 2025-08-14 | 07:47 | ANA |  | 4.10 | 4.15 | / | / | 1.939 |  |  |  | 0.13 | 108 |  | Andrea V |  | 3 | 3
3 | 4.00 | 30 | P/FINAL | 2025-08-14 | 11:55 | 2025-08-14 | 07:47 | ANA |  | 4.13 | 4.19 | / | / | 1.951 |  |  |  | 0.13 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 31 | P/FINAL | 2025-08-14 | 11:55 | 2025-08-14 | 07:47 | ANA |  | 3.95 | 4.01 | / | / | 1.881 |  |  |  | 0.13 |  |  | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.97 mg/L | 4 | 8 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 4.04 mg/L | 4 | 8 | 4.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 4.04 | YES
Validation Date | by