## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1153 | HI93701-0 | CP-R25 | W 35/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-27 | 2025-09-04 | 4 HEAD |  |  | 1133
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-802
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Valid | 2025-08-27 | 13:56 | 2025-08-27 | 13:30 | ERIKA |  | 1.01 | 1.02 | / | / | 0.523 |  |  |  | 0.95 |  |  | Andrea V |  | 3 | 2 | 81844
2 | 1.00 | 2 | Valid | 2025-08-27 | 13:56 | 2025-08-27 | 13:30 | ERIKA |  | 1.04 | 1.05 | / | / | 0.540 | 6.282 |  |  | 0.68 |  |  | Andrea V |  | 3 | 2 | 81844
2 | 1.00 | 3 | Valid | 2025-08-27 | 13:59 | 2025-08-27 | 13:30 | ERIKA |  | 1.01 | 1.02 | / | / | 0.525 |  |  |  | 1.19 |  |  | Andrea V |  | 3 | 2 | 81844
3 | 4.00 | 4 | Valid | 2025-08-27 | 14:02 | 2025-08-27 | 13:30 | ERIKA |  | 3.92 | 3.95 | / | / | 1.869 | 6.222 |  |  | 1.49 |  |  | Andrea V |  | 3 | 3 | 81844
3 | 4.00 | 5 | Valid | 2025-08-27 | 14:03 | 2025-08-27 | 13:30 | ERIKA |  | 3.85 | 3.88 | / | / | 1.841 |  |  |  | 1.22 |  |  | Andrea V |  | 3 | 3 | 81844
3 | 4.00 | 6 | Valid | 2025-08-27 | 14:05 | 2025-08-27 | 13:30 | ERIKA |  | 3.89 | 3.92 | / | / | 1.856 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 3 | 81844
1 | 0.00 | 7 | Valid | 2025-08-27 | 14:08 | 2025-08-27 | 13:30 | ERIKA |  | 0.00 | 0.00 | / | / | 0.002 | 6.260 |  |  | 0.38 |  |  | Andrea V |  | 3 | 1 | 81844
1 | 0.00 | 8 | Valid | 2025-08-27 | 14:09 | 2025-08-27 | 13:30 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 81844
1 | 0.00 | 9 | Old A | 2025-08-27 | 14:12 | 2025-08-27 | 13:30 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 1 | 81844
1 | 0.00 | 10 | Old A | 2025-08-27 | 14:12 | 2025-08-27 | 13:30 | ERIKA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 1 | 81844
2 | 1.00 | 11 | Old A | 2025-08-27 | 14:12 | 2025-08-27 | 13:30 | ERIKA |  | 1.03 | 1.03 | / | / | 0.536 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 2 | 81844
2 | 1.00 | 12 | Old A | 2025-08-27 | 14:13 | 2025-08-27 | 13:30 | ERIKA |  | 1.03 | 1.04 | / | / | 0.534 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 2 | 81844
3 | 4.00 | 13 | Old A | 2025-08-27 | 14:13 | 2025-08-27 | 13:30 | ERIKA |  | 3.96 | 3.99 | / | / | 1.886 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 3 | 81844
3 | 4.00 | 14 | Old A | 2025-08-27 | 14:13 | 2025-08-27 | 13:30 | ERIKA |  | 4.00 | 4.02 | / | / | 1.901 |  |  |  | 0.97 |  |  | Andrea V |  | 3 | 3 | 81844
2 | 1.00 | 15 | Old A | 2025-09-03 | 10:25 | 2025-09-03 | 08:41 | DORINA | 4 | 1.00 | 0.96 | / | / | 0.585 |  |  |  | 2.14 |  |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 16 | Old A | 2025-09-03 | 10:25 | 2025-09-03 | 08:41 | DORINA | 4 | 1.03 | 0.94 | / | / | 0.534 |  |  |  | 2.30 |  |  | Kinga |  | 3 | 2 | 94731
1 | 0.00 | 17 | Old A | 2025-09-03 | 10:26 | 2025-09-03 | 08:41 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 18 | Old A | 2025-09-03 | 10:26 | 2025-09-03 | 08:41 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 1 | 94731
3 | 4.00 | 19 | Old A | 2025-09-03 | 10:27 | 2025-09-03 | 08:41 | DORINA | 4 | 3.90 | 4.00 | / | / | 1.860 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 20 | Old A | 2025-09-03 | 10:27 | 2025-09-03 | 08:41 | DORINA | 4 | 3.85 | 3.90 | / | / | 1.839 |  |  |  | 1.55 |  |  | Kinga |  | 3 | 3 | 94731
1 | 0.00 | 21 | P/FINAL | 2025-09-03 | 10:31 | 2025-09-03 | 08:41 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 22 | P/FINAL | 2025-09-03 | 10:32 | 2025-09-03 | 08:41 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.175 |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 94731
2 | 1.00 | 23 | P/FINAL | 2025-09-03 | 10:40 | 2025-09-03 | 08:41 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.491 |  |  |  | 0.31 | 110 |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 24 | P/FINAL | 2025-09-03 | 10:41 | 2025-09-03 | 08:41 | DORINA | 4 | 0.95 | 0.94 | / | / | 0.494 | 6.241 |  |  | 0.35 | 110 |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 25 | P/FINAL | 2025-09-03 | 10:42 | 2025-09-03 | 08:41 | DORINA | 4 | 0.99 | 0.95 | / | / | 0.516 |  |  |  | 0.27 | 100 |  | Kinga |  | 3 | 2 | 94731
3 | 4.00 | 26 | P/FINAL | 2025-09-03 | 10:45 | 2025-09-03 | 08:41 | DORINA | 4 | 3.90 | 3.85 | / | / | 1.858 |  |  |  | 0.39 | 105 |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 27 | P/FINAL | 2025-09-03 | 10:45 | 2025-09-03 | 08:41 | DORINA | 4 | 3.92 | 3.90 | / | / | 1.867 | 6.217 |  |  | 0.78 | 123 |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 28 | P/FINAL | 2025-09-03 | 10:48 | 2025-09-03 | 08:41 | DORINA | 4 | 4.06 | 4.05 | / | / | 1.926 |  |  |  | 0.65 | 118 |  | Kinga |  | 3 | 3 | 94731
1 | 0.00 | 29 | P/FINAL | 2025-09-03 | 15:13 | 2025-09-03 | 14:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.90 |  |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 30 | P/FINAL | 2025-09-03 | 15:14 | 2025-09-03 | 14:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.223 |  |  | 0.32 | 104 |  | Kinga |  | 3 | 1 | 94731
2 | 1.00 | 31 | P/FINAL | 2025-09-03 | 15:16 | 2025-09-03 | 14:27 | ANA | 4 | 1.00 | 0.96 | / | / | 0.595 |  |  |  | 0.39 | 104 |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 32 | P/FINAL | 2025-09-03 | 15:16 | 2025-09-03 | 14:27 | ANA | 4 | 0.98 | 0.95 | / | / | 0.510 | 6.220 |  |  | 0.43 | 113 |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 33 | P/FINAL | 2025-09-03 | 15:17 | 2025-09-03 | 14:27 | ANA | 4 | 0.98 | 0.96 | / | / | 0.562 |  |  |  | 0.41 | 115 |  | Kinga |  | 3 | 2 | 94731
3 | 4.00 | 34 | P/FINAL | 2025-09-03 | 15:19 | 2025-09-03 | 14:27 | ANA | 4 | 4.00 | 3.96 | / | / | 1.899 |  |  |  | 1.03 | 105 |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 35 | P/FINAL | 2025-09-03 | 15:19 | 2025-09-03 | 14:27 | ANA | 4 | 4.01 | 4.06 | / | / | 1.905 |  |  |  | 0.36 | 109 |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 36 | P/FINAL | 2025-09-03 | 15:20 | 2025-09-03 | 14:27 | ANA | 4 | 3.98 | 4.05 | / | / | 1.891 | 6.246 |  |  | 0.47 |  |  | Kinga |  | 3 | 3 | 94731
1 | 0.00 | 37 | Old A | 2025-09-04 | 10:56 | 2025-09-04 | 07:34 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 38 | Old A | 2025-09-04 | 10:56 | 2025-09-04 | 07:34 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 39 | Old A | 2025-09-04 | 10:57 | 2025-09-04 | 07:34 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.516 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 40 | Old A | 2025-09-04 | 10:57 | 2025-09-04 | 07:34 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.518 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 41 | Old A | 2025-09-04 | 10:58 | 2025-09-04 | 07:34 | DORINA | 4 | 3.91 | 3.93 | / | / | 1.864 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 42 | Old A | 2025-09-04 | 10:58 | 2025-09-04 | 07:34 | DORINA | 4 | 4.03 | 4.08 | / | / | 1.914 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 43 | P/FINAL | 2025-09-04 | 10:59 | 2025-09-04 | 07:34 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.436 |  |  | 0.27 | 113 |  | Kinga |  | 3 | 1
1 | 0.00 | 44 | P/FINAL | 2025-09-04 | 10:59 | 2025-09-04 | 07:34 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.21 | 109 |  | Kinga |  | 3 | 1
2 | 1.00 | 45 | P/FINAL | 2025-09-04 | 10:59 | 2025-09-04 | 07:34 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.518 |  |  |  | 0.22 | 114 |  | Kinga |  | 3 | 2
2 | 1.00 | 46 | P/FINAL | 2025-09-04 | 11:00 | 2025-09-04 | 07:34 | DORINA | 4 | 1.00 | 1.01 | / | / | 0.521 |  |  |  | 0.19 | 107 |  | Kinga |  | 3 | 2
2 | 1.00 | 47 | P/FINAL | 2025-09-04 | 11:00 | 2025-09-04 | 07:34 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 | 6.343 |  |  | 0.21 | 95 |  | Kinga |  | 3 | 2
3 | 4.00 | 48 | P/FINAL | 2025-09-04 | 11:01 | 2025-09-04 | 07:34 | DORINA | 4 | 4.00 | 4.03 | / | / | 1.901 |  |  |  | 0.19 | 108 |  | Kinga |  | 3 | 3
3 | 4.00 | 49 | P/FINAL | 2025-09-04 | 11:01 | 2025-09-04 | 07:34 | DORINA | 4 | 4.05 | 4.07 | / | / | 1.921 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 50 | P/FINAL | 2025-09-04 | 11:01 | 2025-09-04 | 07:34 | DORINA | 4 | 3.93 | 3.96 | / | / | 1.873 | 6.385 |  |  | 0.29 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 51 | P/FINAL | 2025-09-04 | 15:49 | 2025-09-04 | 14:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.216 |  |  | 0.22 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 52 | P/FINAL | 2025-09-04 | 15:49 | 2025-09-04 | 14:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.25 | 112 |  | Kinga |  | 3 | 1
2 | 1.00 | 53 | P/FINAL | 2025-09-04 | 15:49 | 2025-09-04 | 14:23 | ANA | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.29 | 110 |  | Kinga |  | 3 | 2
2 | 1.00 | 54 | P/FINAL | 2025-09-04 | 15:50 | 2025-09-04 | 14:23 | ANA | 4 | 1.01 | 1.01 | / | / | 0.524 | 6.216 |  |  | 0.34 | 111 |  | Kinga |  | 3 | 2
2 | 1.00 | 55 | P/FINAL | 2025-09-04 | 15:50 | 2025-09-04 | 14:23 | ANA | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.24 | 106 |  | Kinga |  | 3 | 2
3 | 4.00 | 56 | P/FINAL | 2025-09-04 | 15:51 | 2025-09-04 | 14:23 | ANA | 4 | 4.09 | 4.12 | / | / | 1.935 | 6.339 |  |  | 0.19 | 117 |  | Kinga |  | 3 | 3
3 | 4.00 | 57 | P/FINAL | 2025-09-04 | 15:51 | 2025-09-04 | 14:23 | ANA | 4 | 4.11 | 4.15 | / | / | 1.945 |  |  |  | 0.20 | 112 |  | Kinga |  | 3 | 3
3 | 4.00 | 58 | P/FINAL | 2025-09-04 | 15:51 | 2025-09-04 | 14:23 | ANA | 4 | 4.08 | 4.10 | / | / | 1.931 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.98 mg/L | 12 | 24 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 4.02 mg/L | 12 | 24 | 4.02 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.02 | YES
Validation Date | by