## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1155 | HI93701-0 | CP-R25 | W 35/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-28 | 2025-09-08 | 4 HEAD |  |  | 1133
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-08-28 | 10:30 | 2025-08-28 | 09:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.000 |  |  |  | 2.48 |  |  | Kinga |  | 3 | 1 | 81844
1 | 0.00 | 2 | Old A | 2025-08-28 | 10:31 | 2025-08-28 | 09:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 1 | 81844
2 | 1.00 | 3 | Old A | 2025-08-28 | 10:33 | 2025-08-28 | 09:16 | ERIKA |  | 0.99 | 1.01 | / | / | 0.515 |  |  |  | 3.64 |  |  | Kinga |  | 3 | 2 | 81844
2 | 1.00 | 4 | Old A | 2025-08-28 | 10:33 | 2025-08-28 | 09:16 | ERIKA |  | 1.01 | 1.03 | / | / | 0.522 |  |  |  | 2.20 |  |  | Kinga |  | 3 | 2 | 81844
3 | 4.00 | 5 | Old A | 2025-08-28 | 10:34 | 2025-08-28 | 09:16 | ERIKA |  | 3.94 | 3.97 | / | / | 1.878 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 3 | 81844
3 | 4.00 | 6 | Old A | 2025-08-28 | 10:34 | 2025-08-28 | 09:16 | ERIKA |  | 3.89 | 3.85 | / | / | 1.834 |  |  |  | 0.80 |  |  | Kinga |  | 3 | 3 | 81844
2 | 1.00 | 7 | Valid | 2025-08-28 | 10:37 | 2025-08-28 | 09:16 | ERIKA |  | 1.02 | 1.02 | / | / | 0.527 |  |  |  | 5.01 |  |  | Kinga |  | 3 | 2 | 81844
2 | 1.00 | 8 | Valid | 2025-08-28 | 10:37 | 2025-08-28 | 09:16 | ERIKA |  | 0.98 | 1.00 | / | / | 0.511 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 2 | 81844
2 | 1.00 | 9 | Valid | 2025-08-28 | 10:38 | 2025-08-28 | 09:16 | ERIKA |  | 1.01 | 1.02 | / | / | 0.509 | 6.230 |  |  | 1.17 |  |  | Kinga |  | 3 | 2 | 81844
3 | 4.00 | 10 | Valid | 2025-08-28 | 10:41 | 2025-08-28 | 09:16 | ERIKA |  | 4.20 | 4.26 | / | / | 1.981 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 3 | 81844
3 | 4.00 | 11 | Valid | 2025-08-28 | 10:42 | 2025-08-28 | 09:16 | ERIKA |  | 3.85 | 3.86 | / | / | 1.826 |  |  |  | 0.15 |  |  | Kinga |  | 3 | 3 | 81844
3 | 4.00 | 12 | Valid | 2025-08-28 | 10:43 | 2025-08-28 | 09:16 | ERIKA |  | 3.97 | 4.00 | / | / | 1.890 | 6.236 |  |  | 0.33 |  |  | Kinga |  | 3 | 3 | 81844
3 | 4.00 | 13 | Valid | 2025-08-28 | 10:44 | 2025-08-28 | 09:16 | ERIKA |  | 3.97 | 3.99 | / | / | 1.889 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 3 | 81844
1 | 0.00 | 14 | Valid | 2025-08-28 | 10:45 | 2025-08-28 | 09:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 81844
1 | 0.00 | 15 | Valid | 2025-08-28 | 10:46 | 2025-08-28 | 09:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 | 6.231 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 81844
1 | 0.00 | 16 | Old A | 2025-09-08 | 14:10 | 2025-09-05 | 16:51 | ANA | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | Old A | 2025-09-08 | 14:10 | 2025-09-05 | 16:51 | ANA | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 18 | Old A | 2025-09-08 | 14:10 | 2025-09-05 | 16:51 | ANA | 2 | 1.02 | 1.02 | / | / | 0.587 |  |  |  | 4.62 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 19 | Old A | 2025-09-08 | 14:11 | 2025-09-05 | 16:51 | ANA | 2 | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 20 | Old A | 2025-09-08 | 14:11 | 2025-09-05 | 16:51 | ANA | 2 | 4.04 | 4.05 | / | / | 1.915 |  |  |  | 1.16 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 21 | Old A | 2025-09-08 | 14:12 | 2025-09-05 | 16:51 | ANA | 2 | 3.89 | 3.88 | / | / | 1.855 |  |  |  | 3.36 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 22 | P/FINAL | 2025-09-08 | 14:12 | 2025-09-05 | 16:51 | ANA | 2 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-09-08 | 14:12 | 2025-09-05 | 16:51 | ANA | 2 | 0.00 | 0.00 | / | / | 0.018 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 24 | P/FINAL | 2025-09-08 | 14:13 | 2025-09-05 | 16:51 | ANA | 2 | 0.99 | 0.99 | / | / | 0.512 |  |  |  | 2.10 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-09-08 | 14:13 | 2025-09-05 | 16:51 | ANA | 2 | 1.00 | 1.00 | / | / | 0.512 | 6.145 |  |  | 0.88 | 111 |  | Kinga |  | 3 | 2
2 | 1.00 | 26 | P/FINAL | 2025-09-08 | 14:14 | 2025-09-05 | 16:51 | ANA | 2 | 1.01 | 1.01 | / | / | 0.526 |  |  |  | 0.92 | 116 |  | Kinga |  | 3 | 2
3 | 4.00 | 27 | P/FINAL | 2025-09-08 | 14:15 | 2025-09-05 | 16:51 | ANA |  | 4.13 | 4.15 | / | / | 1.953 |  |  |  | 0.99 | 111 |  | Kinga |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2025-09-08 | 14:15 | 2025-09-05 | 16:51 | ANA |  | 4.01 | 4.01 | / | / | 1.905 |  |  |  | 1.79 | 125 |  | Kinga |  | 3 | 3
3 | 4.00 | 29 | P/FINAL | 2025-09-08 | 14:15 | 2025-09-05 | 16:51 | ANA |  | 4.02 | 4.01 | / | / | 1.902 |  |  |  | 1.24 | 125 |  | Kinga |  | 3 | 3
1 | 0.00 | 30 | P/FINAL | 2025-09-08 | 14:16 | 2025-09-08 | 06:47 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 31 | P/FINAL | 2025-09-08 | 14:17 | 2025-09-08 | 06:47 | ANA | 4 | 0.01 | 0.00 | / | / | 0.010 | 6.198 |  |  | 0.32 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 32 | P/FINAL | 2025-09-08 | 14:17 | 2025-09-08 | 06:47 | ANA | 4 | 0.97 | 0.97 | / | / | 0.505 |  |  |  | 0.35 | 78 |  | Kinga |  | 3 | 2
2 | 1.00 | 33 | P/FINAL | 2025-09-08 | 14:17 | 2025-09-08 | 06:47 | ANA | 4 | 0.97 | 0.97 | / | / | 0.505 |  |  |  | 0.35 | 121 |  | Kinga |  | 3 | 2
2 | 1.00 | 34 | P/FINAL | 2025-09-08 | 14:18 | 2025-09-08 | 06:47 | ANA | 4 | 0.97 | 0.97 | / | / | 0.502 |  |  |  | 0.48 | 94 |  | Kinga |  | 3 | 2
3 | 4.00 | 35 | P/FINAL | 2025-09-08 | 14:18 | 2025-09-08 | 06:47 | ANA | 4 | 3.94 | 3.93 | / | / | 1.828 | 6.186 |  |  | 0.48 | 103 |  | Kinga |  | 3 | 3
3 | 4.00 | 36 | P/FINAL | 2025-09-08 | 14:19 | 2025-09-08 | 06:47 | ANA | 4 | 3.89 | 3.88 | / | / | 1.855 |  |  |  | 0.43 | 109 |  | Kinga |  | 3 | 3
3 | 4.00 | 37 | P/FINAL | 2025-09-08 | 14:19 | 2025-09-08 | 06:47 | ANA | 4 | 3.89 | 3.89 | / | / | 1.855 |  |  |  | 0.31 | 97 |  | Kinga |  | 3 | 3
1 | 0.00 | 38 | Old A | 2025-09-09 | 08:51 | 2025-09-08 | 15:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 113522
1 | 0.00 | 39 | Old A | 2025-09-09 | 08:51 | 2025-09-08 | 15:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1 | 113522
2 | 1.00 | 40 | Old A | 2025-09-09 | 08:53 | 2025-09-08 | 15:12 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.507 |  |  |  | 0.69 |  |  | Andrea V |  | 3 | 2 | 113522
2 | 1.00 | 41 | Old A | 2025-09-09 | 08:53 | 2025-09-08 | 15:12 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 2 | 113522
3 | 4.00 | 42 | Old A | 2025-09-09 | 08:54 | 2025-09-08 | 15:12 | DORINA | 4 | 3.93 | 3.96 | / | / | 1.871 |  |  |  | 1.33 |  |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 43 | Old A | 2025-09-09 | 08:55 | 2025-09-08 | 15:12 | DORINA | 4 | 3.97 | 3.97 | / | / | 1.889 |  |  |  | 1.83 |  |  | Andrea V |  | 3 | 3 | 113522
2 | 1.00 | 44 | P/FINAL | 2025-09-09 | 08:58 | 2025-09-08 | 15:12 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 | 6.280 |  |  | 0.51 |  |  | Andrea V |  | 3 | 2 | 113522
2 | 1.00 | 45 | P/FINAL | 2025-09-09 | 08:59 | 2025-09-08 | 15:12 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.52 | 104 |  | Andrea V |  | 3 | 2 | 113522
2 | 1.00 | 46 | P/FINAL | 2025-09-09 | 09:00 | 2025-09-08 | 15:12 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.56 | 94 |  | Andrea V |  | 3 | 2 | 113522
3 | 4.00 | 47 | P/FINAL | 2025-09-09 | 09:01 | 2025-09-08 | 15:12 | DORINA | 4 | 3.99 | 4.00 | / | / | 1.898 | 6.360 |  |  | 0.26 | 117 |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 48 | P/FINAL | 2025-09-09 | 09:02 | 2025-09-08 | 15:12 | DORINA | 4 | 3.90 | 3.91 | / | / | 1.861 |  |  |  | 0.16 | 105 |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 49 | P/FINAL | 2025-09-09 | 09:03 | 2025-09-08 | 15:12 | DORINA | 4 | 4.10 | 4.11 | / | / | 1.941 |  |  |  | 0.22 | 111 |  | Andrea V |  | 3 | 3 | 113522
1 | 0.00 | 50 | P/FINAL | 2025-09-09 | 09:04 | 2025-09-08 | 15:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.265 |  |  | 0.32 | 110 |  | Andrea V |  | 3 | 1 | 113522
1 | 0.00 | 51 | P/FINAL | 2025-09-09 | 09:04 | 2025-09-08 | 15:12 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 1 | 113522
2 | 1.00 | 52 | P/FINAL | 2025-09-09 | 09:06 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 0.96 | 0.96 | / | / | 0.496 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 2 | 113522
2 | 1.00 | 53 | P/FINAL | 2025-09-09 | 09:07 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 0.96 | 0.95 | / | / | 0.497 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2 | 113522
2 | 1.00 | 54 | P/FINAL | 2025-09-09 | 09:09 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 1.00 | 1.00 | / | / | 0.521 | 6.444 |  |  | 0.40 | 114 |  | Andrea V |  | 3 | 2 | 113522
3 | 4.00 | 55 | P/FINAL | 2025-09-09 | 09:12 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 4.06 | 4.06 | / | / | 1.924 | 6.407 |  |  | 0.22 | 109 |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 56 | P/FINAL | 2025-09-09 | 09:13 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 4.18 | 4.20 | / | / | 1.973 |  |  |  | 0.22 | 117 |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 57 | P/FINAL | 2025-09-09 | 09:16 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 4.12 | 4.12 | / | / | 1.950 |  |  |  | 0.24 | 99 |  | Andrea V |  | 3 | 3 | 113522
3 | 4.00 | 58 | P/FINAL | 2025-09-09 | 09:18 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 4.11 | 4.11 | / | / | 1.943 |  |  |  | 0.35 | 110 |  | Andrea V |  | 3 | 3 | 113522
1 | 0.00 | 59 | P/FINAL | 2025-09-09 | 09:19 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.24 | 85 |  | Andrea V |  | 3 | 1 | 113522
1 | 0.00 | 60 | P/FINAL | 2025-09-09 | 09:20 | 2025-09-08 | 06:31 | GIORGEANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.348 |  |  | 0.21 |  |  | Andrea V |  | 3 | 1 | 113522
2 | 1.00 | 61 | P/FINAL | 2025-09-09 | 15:12 | 2025-09-09 | 14:45 | DORINA | 4 | 1.02 | 0.98 | / | / | 0.530 |  |  |  | 9.03 |  |  | Kinga |  | 3 | 2 | 113522
2 | 1.00 | 62 | P/FINAL | 2025-09-09 | 15:13 | 2025-09-09 | 14:45 | DORINA | 4 | 0.99 | 1.04 | / | / | 0.515 |  |  |  | 5.16 | 103 |  | Kinga |  | 3 | 2 | 113522
2 | 1.00 | 63 | P/FINAL | 2025-09-09 | 15:13 | 2025-09-09 | 14:45 | DORINA | 4 | 1.03 | 1.00 | / | / | 0.536 | 6.176 |  |  | 3.78 | 121 |  | Kinga |  | 3 | 2 | 113522
1 | 0.00 | 64 | P/FINAL | 2025-09-09 | 15:14 | 2025-09-09 | 14:45 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.62 | 112 |  | Kinga |  | 3 | 1 | 113522
1 | 0.00 | 65 | P/FINAL | 2025-09-09 | 15:15 | 2025-09-09 | 14:45 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.291 |  |  | 0.59 | 107 |  | Kinga |  | 3 | 1 | 113522
3 | 4.00 | 66 | P/FINAL | 2025-09-09 | 15:17 | 2025-09-09 | 14:45 | DORINA | 4 | 4.03 | 4.04 | / | / | 1.914 |  |  |  | 0.22 | 122 |  | Kinga |  | 3 | 3 | 110005
3 | 4.00 | 67 | P/FINAL | 2025-09-09 | 15:18 | 2025-09-09 | 14:45 | DORINA | 4 | 4.00 | 4.02 | / | / | 1.903 | 6.257 |  |  | 0.21 | 113 |  | Kinga |  | 3 | 3 | 110005
3 | 4.00 | 68 | P/FINAL | 2025-09-09 | 15:19 | 2025-09-09 | 14:45 | DORINA | 4 | 4.13 | 4.15 | / | / | 1.954 |  |  |  | 4.08 |  |  | Kinga |  | 3 | 3 | 110005
1 | 0.00 | 69 | Old A | 2025-09-10 | 08:18 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 1 | 110005
1 | 0.00 | 70 | Old A | 2025-09-10 | 08:18 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 1 | 110005
2 | 1.00 | 71 | Old A | 2025-09-10 | 08:19 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.97 | 1.01 | / | / | 0.504 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 2 | 110005
2 | 1.00 | 72 | Old A | 2025-09-10 | 08:19 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.99 | 1.00 | / | / | 0.509 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2 | 110005
3 | 4.00 | 73 | P/FINAL | 2025-09-10 | 08:20 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 4.02 | 4.02 | / | / | 1.907 |  |  |  | 1.27 |  |  | Kinga |  | 3 | 3 | 110005
3 | 4.00 | 74 | Old A | 2025-09-10 | 08:21 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 4.00 | 4.03 | / | / | 1.907 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 3 | 110005
1 | 0.00 | 75 | P/FINAL | 2025-09-10 | 08:22 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.013 | 5.571 |  |  | 0.62 | 126 |  | Kinga |  | 3 | 1 | 110005
2 | 1.00 | 76 | P/FINAL | 2025-09-10 | 08:23 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 0.96 | 0.99 | / | / | 0.501 |  |  |  | 0.58 | 94 |  | Kinga |  | 3 | 2 | 110005
2 | 1.00 | 77 | P/FINAL | 2025-09-10 | 08:23 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 1.01 | 0.99 | / | / | 0.525 |  |  |  | 1.17 | 107 |  | Kinga |  | 3 | 2 | 110005
2 | 1.00 | 78 | P/FINAL | 2025-09-10 | 08:24 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 1.04 | 0.99 | / | / | 0.525 | 6.307 |  |  | 1.10 | 108 |  | Kinga |  | 3 | 2 | 110005
3 | 4.00 | 79 | P/FINAL | 2025-09-10 | 08:26 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 4.12 | 4.05 | / | / | 1.947 |  |  |  | 1.76 | 103 |  | Kinga |  | 3 | 3 | 110005
3 | 4.00 | 80 | P/FINAL | 2025-09-10 | 08:27 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 4.00 | 4.03 | / | / | 1.902 |  |  |  | 0.55 | 100 |  | Kinga |  | 3 | 3 | 110005
3 | 4.00 | 81 | P/FINAL | 2025-09-10 | 08:27 | 2025-09-10 | 06:39 | GIORGIANA | 4 | 4.03 | 4.09 | / | / | 1.912 | 6.225 |  |  | 0.59 |  |  | Kinga |  | 3 | 3 | 110005
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0 mg/L | 11 | 22 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.99 mg/L | 18 | 36 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 40 | 4.04 mg/L | 20 | 40 | 4.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.04 | YES
Validation Date | by