## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1157 | HI93701-0 | CP-R25 | W 35/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-28 | 2025-09-11 | 4 HEAD |  |  | 1097
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-08-28 | 13:49 | 2025-08-28 | 13:07 | ERIKA |  | 0.96 | 0.97 | / | / | 0.498 |  |  |  | 17.1 |  |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 2 | Old A | 2025-08-28 | 13:50 | 2025-08-28 | 13:07 | ERIKA |  | 0.94 | 0.95 | / | / | 0.487 |  |  |  | 1.52 |  |  | Kinga |  | 3 | 2 | 83009
3 | 4.00 | 3 | Old A | 2025-08-28 | 13:51 | 2025-08-28 | 13:07 | ERIKA |  | 4.04 | 4.08 | / | / | 1.917 |  |  |  | 4.92 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 4 | Old A | 2025-08-28 | 13:51 | 2025-08-28 | 13:07 | ERIKA |  | 4.08 | 4.05 | / | / | 1.934 |  |  |  | 1.83 | 102 |  | Kinga |  | 3 | 3 | 83009
1 | 0.00 | 5 | Old A | 2025-08-28 | 13:54 | 2025-08-28 | 13:07 | ERIKA |  | 0.02 | 0.01 | / | / | 0.016 |  |  |  | 0.80 | 112 |  | Kinga |  | 3 | 1 | 83009
1 | 0.00 | 6 | Old A | 2025-08-28 | 13:55 | 2025-08-28 | 13:07 | ERIKA |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.65 | 119 |  | Kinga |  | 3 | 1 | 83009
1 | 0.00 | 7 | Valid | 2025-08-28 | 13:57 | 2025-08-28 | 13:07 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.40 | 114 |  | Kinga |  | 3 | 1 | 83009
1 | 0.00 | 8 | Valid | 2025-08-28 | 13:57 | 2025-08-28 | 13:07 | ERIKA |  | 0.00 | 0.00 | / | / | -0.006 | 6.230 |  |  | 0.29 | 119 |  | Kinga |  | 3 | 1 | 83009
2 | 1.00 | 9 | Valid | 2025-08-28 | 13:59 | 2025-08-28 | 13:07 | ERIKA |  | 0.98 | 0.98 | / | / | 0.507 |  |  |  | 0.95 | 108 |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 10 | Valid | 2025-08-28 | 13:59 | 2025-08-28 | 13:07 | ERIKA |  | 0.98 | 0.99 | / | / | 0.507 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 11 | Valid | 2025-08-28 | 14:00 | 2025-08-28 | 13:07 | ERIKA |  | 1.00 | 0.99 | / | / | 0.510 | 6.281 |  |  | 1.11 | - |  | Kinga |  | 3 | 2 | 83009
3 | 4.00 | 12 | Valid | 2025-08-28 | 14:01 | 2025-08-28 | 13:07 | ERIKA |  | 3.88 | 3.88 | / | / | 1.852 |  |  |  | 4.96 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 13 | Valid | 2025-08-28 | 14:02 | 2025-08-28 | 13:07 | ERIKA |  | 3.88 | 3.89 | / | / | 1.845 |  |  |  | 4.95 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 14 | Valid | 2025-08-28 | 14:03 | 2025-08-28 | 13:07 | ERIKA |  | 3.94 | 3.96 | / | / | 1.877 |  |  |  | 2.50 | - |  | Kinga |  | 3 | 3 | 83009
2 | 1.00 | 15 | P/FINAL | 2025-09-10 | 10:55 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 0.98 | 0.95 | / | / | 0.507 | 6.192 |  |  | 0.21 | 105 |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | P/FINAL | 2025-09-10 | 10:56 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 0.96 | 0.94 | / | / | 0.499 |  |  |  | 0.19 | 92 |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | P/FINAL | 2025-09-10 | 11:02 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 4.12 | 4.13 | / | / | 1.950 | 6.114 |  |  | 0.23 | 120 |  | Kinga |  | 3 | 3 | 942025
3 | 4.00 | 18 | P/FINAL | 2025-09-10 | 11:04 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 4.13 | 4.14 | / | / | 1.951 |  |  |  | 0.27 | 100 |  | Kinga |  | 3 | 3 | 942025
3 | 4.00 | 19 | P/FINAL | 2025-09-10 | 11:05 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 4.04 | 4.09 | / | / | 1.915 |  |  |  | 0.21 | 110 |  | Kinga |  | 3 | 3 | 942025
2 | 1.00 | 20 | P/FINAL | 2025-09-10 | 11:08 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 0.95 | 0.94 | / | / | 0.492 |  |  |  | 0.19 | 92 |  | Kinga |  | 3 | 2 | 110005
1 | 0.00 | 21 | P/FINAL | 2025-09-10 | 11:14 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.007 | 5.589 |  |  | 0.29 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-09-10 | 11:15 | 2025-09-10 | 09:39 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 0.42 | 88 |  | Kinga |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-09-10 | 16:06 | 2025-09-10 | 14:33 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.253 |  |  | 0.18 | 121 |  | Andrea V |  | 3 | 1 | 35204
1 | 0.00 | 24 | P/FINAL | 2025-09-10 | 16:07 | 2025-09-10 | 14:33 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.25 | 95 |  | Andrea V |  | 3 | 1 | 35204
2 | 1.00 | 25 | P/FINAL | 2025-09-10 | 16:07 | 2025-09-10 | 14:33 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.525 |  |  |  | 0.21 | 115 |  | Andrea V |  | 3 | 2 | 35204
2 | 1.00 | 26 | P/FINAL | 2025-09-10 | 16:09 | 2025-09-10 | 14:33 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.518 | 6.246 |  |  | 0.29 | 104 |  | Andrea V |  | 3 | 2 | 35204
2 | 1.00 | 27 | P/FINAL | 2025-09-10 | 16:09 | 2025-09-10 | 14:33 | DORINA | 4 | 1.02 | 1.02 | / | / | 0.529 |  |  |  | 0.15 | 117 |  | Andrea V |  | 3 | 2 | 35204
3 | 4.00 | 28 | P/FINAL | 2025-09-10 | 16:13 | 2025-09-10 | 14:33 | DORINA | 4 | 4.11 | 4.10 | / | / | 1.945 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 35204
3 | 4.00 | 29 | P/FINAL | 2025-09-10 | 16:14 | 2025-09-10 | 14:33 | DORINA | 4 | 4.12 | 4.13 | / | / | 1.949 | 6.259 |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 35204
3 | 4.00 | 30 | P/FINAL | 2025-09-10 | 16:14 | 2025-09-10 | 14:33 | DORINA | 4 | 3.93 | 3.92 | / | / | 1.871 |  |  |  | 0.19 |  |  | Andrea V |  | 3 | 3 | 35204
2 | 1.00 | 31 | Old A | 2025-09-11 | 08:21 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 1.06 | 1.06 | / | / | 0.550 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 32 | Old A | 2025-09-11 | 08:22 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 1.04 | 0.99 | / | / | 0.541 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 2 | 35204
1 | 0.00 | 33 | Old A | 2025-09-11 | 08:23 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 1 | 35204
3 | 4.00 | 34 | Old A | 2025-09-11 | 08:26 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 4.12 | 4.09 | / | / | 1.972 |  |  |  | 1.55 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 35 | Old A | 2025-09-11 | 08:27 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 3.99 | 4.00 | / | / | 1.895 |  |  |  | 0.94 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 36 | P/FINAL | 2025-09-11 | 08:30 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 3.91 | 3.86 | / | / | 1.863 | 6.334 |  |  | 4.22 | 112 |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 37 | P/FINAL | 2025-09-11 | 08:31 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 3.96 | 3.97 | / | / | 1.885 |  |  |  | 0.34 | 119 |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 38 | P/FINAL | 2025-09-11 | 08:33 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 3.94 | 3.94 | / | / | 1.878 |  |  |  | 7.03 | 119 |  | Kinga |  | 3 | 3 | 35204
2 | 1.00 | 39 | P/FINAL | 2025-09-11 | 08:36 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 1.01 | 0.99 | / | / | 0.523 |  |  |  | 3.21 | 107 |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 40 | P/FINAL | 2025-09-11 | 08:37 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 1.00 | 1.02 | / | / | 0.519 | 6.368 |  |  | 1.32 | 109 |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 41 | P/FINAL | 2025-09-11 | 08:38 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.519 |  |  |  | 8.19 | 98 |  | Kinga |  | 3 | 2 | 35204
1 | 0.00 | 42 | P/FINAL | 2025-09-11 | 08:39 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1 | 35204
1 | 0.00 | 43 | P/FINAL | 2025-09-11 | 08:39 | 2025-09-11 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.306 |  |  | 0.26 |  |  | Kinga |  | 3 | 1 | 35204
3 | 4.00 | 44 | P/FINAL | 2025-09-11 | 15:01 | 2025-09-11 | 14:28 | DORINA | 4 | 3.91 | 3.99 | / | / | 1.864 |  |  |  | 1.17 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 45 | P/FINAL | 2025-09-11 | 15:02 | 2025-09-11 | 14:28 | DORINA | 4 | 3.85 | 3.89 | / | / | 1.834 | 6.182 |  |  | 2.07 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 46 | P/FINAL | 2025-09-11 | 15:02 | 2025-09-11 | 14:28 | DORINA | 4 | 3.99 | 3.89 | / | / | 1.897 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 3 | 35204
2 | 1.00 | 47 | P/FINAL | 2025-09-11 | 15:06 | 2025-09-11 | 14:28 | DORINA | 4 | 1.00 | 0.95 | / | / | 0.519 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 48 | P/FINAL | 2025-09-11 | 15:07 | 2025-09-11 | 14:28 | DORINA | 4 | 1.00 | 0.95 | / | / | 0.521 | 6.189 |  |  | 2.80 |  |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 49 | P/FINAL | 2025-09-11 | 15:07 | 2025-09-11 | 14:28 | DORINA | 4 | 0.98 | 0.94 | / | / | 0.509 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 2 | 35204
1 | 0.00 | 50 | P/FINAL | 2025-09-11 | 15:09 | 2025-09-11 | 14:28 | DORINA | 4 | 0.03 | 0.00 | / | / | 0.020 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 1 | 35204
1 | 0.00 | 51 | P/FINAL | 2025-09-11 | 15:10 | 2025-09-11 | 14:28 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.206 |  |  | 0.54 |  |  | Kinga |  | 3 | 1 | 35204
2 | 1.00 | 52 | Old A | 2025-09-12 | 08:17 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 1.02 | 0.95 | / | / | 0.529 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 53 | Old A | 2025-09-12 | 08:18 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 1.05 | 0.95 | / | / | 0.558 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 2 | 35204
3 | 4.00 | 54 | Old A | 2025-09-12 | 08:22 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 4.04 | 4.06 | / | / | 1.918 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 55 | Old A | 2025-09-12 | 08:22 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 4.03 | 4.09 | / | / | 1.914 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 3 | 35204
1 | 0.00 | 56 | Old A | 2025-09-12 | 08:23 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 35204
1 | 0.00 | 57 | Old A | 2025-09-12 | 08:24 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 35204
1 | 0.00 | 58 | P/FINAL | 2025-09-12 | 08:24 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.298 |  |  | 0.39 |  |  | Kinga |  | 3 | 1 | 35204
1 | 0.00 | 59 | P/FINAL | 2025-09-12 | 08:25 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.76 | 86 |  | Kinga |  | 3 | 1 | 35204
2 | 1.00 | 60 | P/FINAL | 2025-09-12 | 08:30 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 1.03 | 0.94 | / | / | 0.535 |  |  |  | 0.50 | 122 |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 61 | P/FINAL | 2025-09-12 | 08:31 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.99 | 0.94 | / | / | 0.516 | 6.257 |  |  | 1.33 | 113 |  | Kinga |  | 3 | 2 | 35204
2 | 1.00 | 62 | P/FINAL | 2025-09-12 | 08:31 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 0.96 | 0.97 | / | / | 0.499 |  |  |  | 0.85 | 109 |  | Kinga |  | 3 | 2 | 35204
3 | 4.00 | 63 | P/FINAL | 2025-09-12 | 08:35 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 4.05 | 4.04 | / | / | 1.921 |  |  |  | 2.59 | 113 |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 64 | P/FINAL | 2025-09-12 | 08:36 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 3.96 | 3.92 | / | / | 1.883 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 3 | 35204
3 | 4.00 | 65 | P/FINAL | 2025-09-12 | 08:36 | 2025-09-12 | 06:28 | GIORGIANA | 4 | 4.07 | 4.01 | / | / | 1.930 | 6.256 |  |  | 1.27 |  |  | Kinga |  | 3 | 3 | 35204
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.98 mg/L | 15 | 30 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 4 mg/L | 15 | 30 | 4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.00 | YES
Validation Date | by
2025-09-18 | Eugenia