## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1161 | HI93701-0 | CP-R25 | W 36/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-09-03 | 2025-09-17 | 4 HEAD |  |  | 1153
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI 801 | CTO-618 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI 801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-03 | 14:50 | 2025-09-03 | 14:32 | MARK |  | 0.00 | 0.00 | / | / | 0004 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-03 | 14:50 | 2025-09-03 | 14:32 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-09-03 | 14:51 | 2025-09-03 | 14:32 | MARK |  | 0.97 | 0.95 | / | / | 0.505 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 4 | Old A | 2025-09-03 | 14:51 | 2025-09-03 | 14:32 | MARK |  | 0.97 | 0.95 | / | / | 0.507 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 5 | Old A | 2025-09-03 | 14:52 | 2025-09-03 | 14:32 | MARK |  | 4.03 | 4.09 | / | / | 1.914 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 6 | Old A | 2025-09-03 | 14:52 | 2025-09-03 | 14:32 | MARK |  | 3.96 | 4.01 | / | / | 1.884 |  |  |  | 3.70 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 7 | Valid | 2025-09-03 | 14:56 | 2025-09-03 | 14:32 | MARK |  | 1.02 | 0.95 | / | / | 0.528 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2025-09-03 | 14:57 | 2025-09-03 | 14:32 | MARK |  | 1.01 | 1.00 | / | / | 0.526 | 6.185 |  |  | 0.53 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 9 | Valid | 2025-09-03 | 14:57 | 2025-09-03 | 14:32 | MARK |  | 0.98 | 0.94 | / | / | 0.510 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Valid | 2025-09-03 | 15:00 | 2025-09-03 | 14:32 | MARK |  | 3.93 | 4.05 | / | / | 1.873 |  |  |  | 3.55 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2025-09-03 | 15:01 | 2025-09-03 | 14:32 | MARK |  | 3.98 | 4.05 | / | / | 1.891 | 6.178 |  |  | 0.50 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | Valid | 2025-09-03 | 15:02 | 2025-09-03 | 14:32 | MARK |  | 3.95 | 4.04 | / | / | 1.882 |  |  |  | 0.32 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2025-09-03 | 15:03 | 2025-09-03 | 14:32 | MARK |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 14 | Valid | 2025-09-03 | 15:04 | 2025-09-03 | 14:32 | MARK |  | 0.00 | 0.00 | / | / | 0.003 | 6.182 |  |  | 0.29 |  |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 15 | P/FINAL | 2025-09-16 | 15:53 | 2025-09-16 | 15:13 | ANA |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.24 | 116 |  | Andrea V |  | 3 | 1 | 24209
1 | 0.00 | 16 | P/FINAL | 2025-09-16 | 15:54 | 2025-09-16 | 15:13 | ANA |  | 0.00 | 0.00 | / | / | -0.001 | 5.989 |  |  | 0.26 | 116 |  | Andrea V |  | 3 | 1 | 24209
2 | 1.00 | 17 | P/FINAL | 2025-09-16 | 15:55 | 2025-09-16 | 15:13 | ANA | 4 | 0.99 | 1.00 | / | / | 0.515 |  |  |  | 0.14 | 116 |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 18 | P/FINAL | 2025-09-16 | 15:56 | 2025-09-16 | 15:13 | ANA | 4 | 0.97 | 0.99 | / | / | 0.505 |  |  |  | 0.14 | 117 |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 19 | P/FINAL | 2025-09-16 | 15:57 | 2025-09-16 | 15:13 | ANA | 4 | 0.97 | 0.99 | / | / | 0.506 | 6.129 |  |  | 0.19 | 103 |  | Andrea V |  | 3 | 2 | 24209
3 | 4.00 | 20 | P/FINAL | 2025-09-16 | 16:00 | 2025-09-16 | 15:13 | ANA | 4 | 4.11 | 4.15 | / | / | 1.944 |  |  |  | 0.19 | 113 |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 21 | P/FINAL | 2025-09-16 | 16:02 | 2025-09-16 | 15:13 | ANA | 4 | 4.08 | 4.11 | / | / | 1.932 | 6.066 |  |  | 0.14 |  |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 22 | P/FINAL | 2025-09-16 | 16:04 | 2025-09-16 | 15:13 | ANA | 4 | 4.12 | 4.15 | / | / | 1.950 |  |  |  | 0.11 |  |  | Andrea V |  | 3 | 3 | 24209
1 | 0.00 | 23 | Old A | 2025-09-17 | 10:17 | 2025-09-17 | 07:44 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.00 |  |  | Brigitta P |  | 3 | 1 | 24209
1 | 0.00 | 24 | Old A | 2025-09-17 | 10:18 | 2025-09-17 | 07:44 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 1 | 24209
2 | 1.00 | 25 | Old A | 2025-09-17 | 10:20 | 2025-09-17 | 07:44 | DORINA | 4 | 0.98 | 1.00 | / | / | 0.511 | 6.071 |  |  | 1.67 |  |  | Brigitta P |  | 3 | 2 | 24209
2 | 1.00 | 26 | Old A | 2025-09-17 | 10:21 | 2025-09-17 | 07:44 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.514 |  |  |  | 0.63 |  |  | Brigitta P |  | 3 | 2 | 24209
3 | 4.00 | 27 | Old A | 2025-09-17 | 10:21 | 2025-09-17 | 07:44 | DORINA | 4 | 3.99 | 3.98 | / | / | 1.897 |  |  |  | 0.78 |  |  | Brigitta P |  | 3 | 3 | 24209
3 | 4.00 | 28 | Old A | 2025-09-17 | 10:22 | 2025-09-17 | 07:44 | DORINA | 4 | 3.88 | 3.95 | / | / | 1.853 |  |  |  | 0.65 |  |  | Brigitta P |  | 3 | 3 | 24209
2 | 1.00 | 29 | P/FINAL | 2025-09-17 | 10:26 | 2025-09-17 | 07:44 | DORINA | 4 | 1.01 | 1.04 | / | / | 0.523 | 6.112 |  |  | 0.50 |  |  | Brigitta P |  | 3 | 2 | 24209
2 | 1.00 | 30 | P/FINAL | 2025-09-17 | 10:27 | 2025-09-17 | 07:44 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.509 |  |  |  | 0.22 | 110 |  | Brigitta P |  | 3 | 2 | 24209
2 | 1.00 | 31 | P/FINAL | 2025-09-17 | 10:28 | 2025-09-17 | 07:44 | DORINA | 4 | 1.05 | 0.99 | / | / | 0.512 |  |  |  | 0.27 | 106 |  | Brigitta P |  | 3 | 2 | 24209
3 | 4.00 | 32 | P/FINAL | 2025-09-17 | 10:30 | 2025-09-17 | 07:44 | DORINA | 4 | 4.09 | 4.11 | / | / | 1.936 |  |  |  | 0.70 | 121 |  | Brigitta P |  | 3 | 3 | 24209
3 | 4.00 | 33 | P/FINAL | 2025-09-17 | 10:31 | 2025-09-17 | 07:44 | DORINA | 4 | 4.08 | 4.13 | / | / | 1.934 |  |  |  | 0.54 | 126 |  | Brigitta P |  | 3 | 3 | 24209
3 | 4.00 | 34 | P/FINAL | 2025-09-17 | 10:31 | 2025-09-17 | 07:44 | DORINA | 4 | 4.06 | 4.10 | / | / | 1.924 | 6.108 |  |  | 0.21 |  |  | Brigitta P |  | 3 | 3 | 24209
1 | 0.00 | 35 | P/FINAL | 2025-09-17 | 10:32 | 2025-09-17 | 07:44 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | 24209
1 | 0.00 | 36 | P/FINAL | 2025-09-17 | 10:32 | 2025-09-17 | 07:44 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | 24209
1 | 0.00 | 37 | P/FINAL | 2025-09-17 | 15:18 | 2025-09-17 | 14:28 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.039 |  |  | 0.27 | 111 |  | Andrea V |  | 3 | 1
1 | 0.00 | 38 | P/FINAL | 2025-09-17 | 15:19 | 2025-09-17 | 14:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.28 | 122 |  | Andrea V |  | 3 | 1
2 | 1.00 | 39 | P/FINAL | 2025-09-17 | 15:20 | 2025-09-17 | 14:28 | ANA | 4 | 0.99 | 0.98 | / | / | 0.514 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 40 | P/FINAL | 2025-09-17 | 15:21 | 2025-09-17 | 14:28 | ANA | 4 | 0.97 | 0.98 | / | / | 0.505 | 6.105 |  |  | 0.36 | 118 |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 41 | P/FINAL | 2025-09-17 | 15:23 | 2025-09-17 | 14:28 | ANA | 4 | 1.01 | 1.02 | / | / | 0.524 |  |  |  | 0.37 | 125 |  | Andrea V |  | 3 | 2 | 24209
3 | 4.00 | 42 | P/FINAL | 2025-09-17 | 15:24 | 2025-09-17 | 14:28 | ANA | 4 | 4.03 | 4.02 | / | / | 1.911 | 6.184 |  |  | 0.36 | 111 |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 43 | P/FINAL | 2025-09-17 | 15:34 | 2025-09-17 | 14:28 | ANA | 4 | 4.15 | 4.14 | / | / | 1.961 |  |  |  | 0.36 | 119 |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 44 | P/FINAL | 2025-09-17 | 15:35 | 2025-09-17 | 14:28 | ANA | 4 | 4.13 | 4.13 | / | / | 1.952 |  |  |  | 0.19 |  |  | Andrea V |  | 3 | 3 | 24209
1 | 0.00 | 45 | Old A | 2025-09-18 | 08:27 | 2025-09-18 | 06:55 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.004 |  |  |  | 0.82 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 46 | Old A | 2025-09-18 | 08:27 | 2025-09-18 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.44 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 47 | Old A | 2025-09-18 | 08:28 | 2025-09-18 | 06:55 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.513 |  |  |  | 0.83 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 48 | Old A | 2025-09-18 | 08:29 | 2025-09-18 | 06:55 | DORINA | 4 | 0.96 | 0.97 | / | / | 0.501 |  |  |  | 0.86 |  |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 49 | Old A | 2025-09-18 | 08:29 | 2025-09-18 | 06:55 | DORINA | 4 | 4.10 | 4.10 | / | / | 1.941 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 50 | Old A | 2025-09-18 | 08:30 | 2025-09-18 | 06:55 | DORINA | 4 | 3.91 | 3.90 | / | / | 1.862 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 3 | 65122
2 | 1.00 | 51 | P/FINAL | 2025-09-18 | 08:37 | 2025-09-18 | 06:55 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 52 | P/FINAL | 2025-09-18 | 08:37 | 2025-09-18 | 06:55 | DORINA | 4 | 0.98 | 0.97 | / | / | 0.507 | 6.869 |  |  | 0.27 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 53 | P/FINAL | 2025-09-18 | 08:38 | 2025-09-18 | 06:55 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.42 | 120 |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 54 | P/FINAL | 2025-09-18 | 08:40 | 2025-09-18 | 06:55 | DORINA | 4 | 3.88 | 3.85 | / | / | 1.850 |  |  |  | 0.38 | 101 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 55 | P/FINAL | 2025-09-18 | 08:41 | 2025-09-18 | 06:55 | DORINA | 4 | 4.09 | 4.07 | / | / | 1.936 |  |  |  | 0.38 | 125 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 56 | P/FINAL | 2025-09-18 | 08:41 | 2025-09-18 | 06:55 | DORINA | 4 | 4.03 | 4.01 | / | / | 1.935 | 6.546 |  |  | 0.36 | 115 |  | Kinga |  | 3 | 3 | 65122
1 | 0.00 | 57 | P/FINAL | 2025-09-18 | 08:44 | 2025-09-18 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.40 | 116 |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 58 | P/FINAL | 2025-09-18 | 08:45 | 2025-09-18 | 06:55 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.875 |  |  | 0.51 | 116 |  | Kinga |  | 3 | 1 | 65122
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.99 mg/L | 12 | 24 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 4.08 mg/L | 12 | 24 | 4.08 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.08 | YES
Validation Date | by