## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1171 | HI93701-0 | CP-R25 | W 38/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-16 | 2025-09-22 | 4 HEAD |  |  | 1157
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-16 | 14:19 | 2025-09-16 | 13:36 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.39 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-16 | 14:20 | 2025-09-16 | 13:36 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-09-16 | 14:21 | 2025-09-16 | 13:36 | ERIKA |  | 1.01 | 1.01 | / | / | 0.526 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 4 | Old A | 2025-09-16 | 14:30 | 2025-09-16 | 13:36 | ERIKA |  | 1.01 | 1.02 | / | / | 0.526 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 2 | 35204
3 | 4.00 | 5 | Old A | 2025-09-16 | 14:34 | 2025-09-16 | 13:36 | ERIKA |  | 4.11 | 4.14 | / | / | 1.945 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 3 | 35204
3 | 4.00 | 6 | Old A | 2025-09-16 | 15:00 | 2025-09-16 | 13:36 | ERIKA |  | 4.03 | 4.05 | / | / | 1.912 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 3 | 24209
1 | 0.00 | 7 | Valid | 2025-09-16 | 15:03 | 2025-09-16 | 13:36 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 | 5.920 |  |  | 0.28 |  |  | Andrea V |  | 3 | 1 | 24209
1 | 0.00 | 8 | Valid | 2025-09-16 | 15:04 | 2025-09-16 | 13:36 | ERIKA |  | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 1 | 24209
2 | 1.00 | 9 | Valid | 2025-09-16 | 15:05 | 2025-09-16 | 13:36 | ERIKA |  | 0.96 | 0.97 | / | / | 0.499 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 10 | Valid | 2025-09-16 | 15:06 | 2025-09-16 | 13:36 | ERIKA |  | 0.96 | 0.96 | / | / | 0.498 | 6.116 |  |  | 0.25 |  |  | Andrea V |  | 3 | 2 | 24209
2 | 1.00 | 11 | Valid | 2025-09-16 | 15:06 | 2025-09-16 | 13:36 | ERIKA |  | 1.00 | 1.00 | / | / | 0.517 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 2 | 24209
3 | 4.00 | 12 | Valid | 2025-09-16 | 15:07 | 2025-09-16 | 13:36 | ERIKA |  | 4.09 | 4.11 | / | / | 1.938 | 6.135 |  |  | 0.18 |  |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 13 | Valid | 2025-09-16 | 15:08 | 2025-09-16 | 13:36 | ERIKA |  | 3.85 | 3.86 | / | / | 1.841 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 24209
3 | 4.00 | 14 | Valid | 2025-09-16 | 15:09 | 2025-09-16 | 13:36 | ERIKA |  | 4.05 | 4.08 | / | / | 1.922 |  |  |  | 0.13 |  |  | Andrea V |  | 3 | 3 | 24209
1 | 0.00 | 15 | Old A | 2025-09-18 | 11:47 | 2025-09-18 | 10:41 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.82 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 16 | Old A | 2025-09-18 | 11:48 | 2025-09-18 | 10:41 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.513 |  |  |  | 0.83 |  |  | Kinga |  | 3 | 1 | 65122
2 | 1.00 | 17 | Old A | 2025-09-18 | 11:48 | 2025-09-18 | 10:41 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.513 |  |  |  | 0.83 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 18 | Old A | 2025-09-18 | 11:49 | 2025-09-18 | 10:41 | DORINA | 4 | 0.96 | 0.97 | / | / | 0.501 |  |  |  | 0.86 |  |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 19 | Old A | 2025-09-18 | 11:49 | 2025-09-18 | 10:41 | DORINA | 4 | 4.10 | 4.10 | / | / | 1.941 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 20 | Old A | 2025-09-18 | 11:50 | 2025-09-18 | 10:41 | DORINA | 4 | 3.91 | 3.90 | / | / | 1.862 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3 | 65122
2 | 1.00 | 21 | P/FINAL | 2025-09-18 | 11:54 | 2025-09-18 | 10:41 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.511 |  |  |  | 1.31 | 118 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 22 | P/FINAL | 2025-09-18 | 11:55 | 2025-09-18 | 10:41 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.506 | 6.280 |  |  | 0.46 | 121 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 23 | P/FINAL | 2025-09-18 | 11:56 | 2025-09-18 | 10:41 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 0.22 |  |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 24 | P/FINAL | 2025-09-18 | 12:00 | 2025-09-18 | 10:41 | DORINA | 4 | 4.05 | 4.06 | / | / | 1.920 |  |  |  | 0.26 | 123 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 25 | P/FINAL | 2025-09-18 | 12:01 | 2025-09-18 | 10:41 | DORINA | 4 | 4.07 | 4.09 | / | / | 1.929 | 6.214 |  |  | 0.28 |  |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 26 | P/FINAL | 2025-09-18 | 12:05 | 2025-09-18 | 10:41 | DORINA | 4 | 3.91 | 3.95 | / | / | 1.864 |  |  |  | 0.38 | 115 |  | Kinga |  | 3 | 3 | 65122
1 | 0.00 | 27 | P/FINAL | 2025-09-18 | 12:07 | 2025-09-18 | 10:41 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.283 |  |  | 0.28 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 28 | P/FINAL | 2025-09-18 | 12:09 | 2025-09-18 | 10:41 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 65122
2 | 1.00 | 29 | P/FINAL | 2025-09-18 | 14:45 | 2025-09-18 | 14:21 | ANA | 4 | 1.01 | 0.98 | / | / | 0.522 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 30 | P/FINAL | 2025-09-18 | 14:45 | 2025-09-18 | 14:21 | ANA | 4 | 0.97 | 0.99 | / | / | 0.504 | 6.195 |  |  | 0.75 | 123 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 31 | P/FINAL | 2025-09-18 | 14:46 | 2025-09-18 | 14:21 | ANA | 4 | 0.99 | 0.99 | / | / | 0.514 |  |  |  | 0.65 | 120 |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 32 | P/FINAL | 2025-09-18 | 14:49 | 2025-09-18 | 14:21 | ANA | 4 | 3.91 | 3.89 | / | / | 1.865 |  |  |  | 7.00 | 119 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 33 | P/FINAL | 2025-09-18 | 14:50 | 2025-09-18 | 14:21 | ANA | 4 | 3.98 | 3.89 | / | / | 1.871 |  |  |  | 2.13 | 132 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 34 | P/FINAL | 2025-09-18 | 14:50 | 2025-09-18 | 14:21 | ANA | 4 | 4.01 | 4.06 | / | / | 1.899 | 6.211 |  |  | 2.19 |  |  | Kinga |  | 3 | 3 | 65122
1 | 0.00 | 35 | P/FINAL | 2025-09-18 | 14:51 | 2025-09-18 | 14:21 | ANA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 36 | P/FINAL | 2025-09-18 | 14:51 | 2025-09-18 | 14:21 | ANA | 4 | 0.01 | 0.00 | / | / | 0.012 | 6.176 |  |  | 0.19 |  |  | Kinga |  | 3 | 1 | 65122
2 | 1.00 | 37 | Old A | 2025-09-19 | 09:13 | 2025-09-19 | 06:32 | DORINA | 4 | 0.97 | 0.99 | / | / | 0.505 |  |  |  | 2.50 |  |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 38 | Old A | 2025-09-19 | 09:14 | 2025-09-19 | 06:32 | DORINA | 4 | 0.98 | 0.96 | / | / | 0.507 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 39 | Old A | 2025-09-19 | 09:17 | 2025-09-19 | 06:32 | DORINA | 4 | 3.96 | 3.98 | / | / | 1.882 |  |  |  | 5.33 |  |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 40 | Old A | 2025-09-19 | 09:18 | 2025-09-19 | 06:32 | DORINA | 4 | 3.89 | 3.89 | / | / | 1.857 |  |  |  | 1.02 |  |  | Kinga |  | 3 | 3 | 65122
1 | 0.00 | 41 | Old A | 2025-09-19 | 09:18 | 2025-09-19 | 06:32 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 42 | Old A | 2025-09-19 | 09:19 | 2025-09-19 | 06:32 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.312 |  |  | 0.59 |  |  | Kinga |  | 3 | 1 | 65122
2 | 1.00 | 43 | P/FINAL | 2025-09-19 | 09:27 | 2025-09-19 | 06:32 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.498 |  |  |  | 2.62 | 93 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 44 | P/FINAL | 2025-09-19 | 09:30 | 2025-09-19 | 06:32 | DORINA | 4 | 1.01 | 1.05 | / | / | 0.522 |  |  |  | 17.0 | 102 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 45 | P/FINAL | 2025-09-19 | 09:31 | 2025-09-19 | 06:32 | DORINA | 4 | 0.94 | 0.97 | / | / | 0.487 | 6.207 |  |  | 0.80 | 104 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 46 | P/FINAL | 2025-09-19 | 09:32 | 2025-09-19 | 06:32 | DORINA | 4 | 0.97 | 0.98 | / | / | 0.502 |  |  |  | 0.91 | 98 |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 47 | P/FINAL | 2025-09-19 | 09:34 | 2025-09-19 | 06:32 | DORINA | 4 | 4.13 | 4.11 | / | / | 1.954 |  |  |  | 5.31 | 113 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 48 | P/FINAL | 2025-09-19 | 09:35 | 2025-09-19 | 06:32 | DORINA | 4 | 4.11 | 4.08 | / | / | 1.945 |  |  |  | 0.58 | 111 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 49 | P/FINAL | 2025-09-19 | 09:37 | 2025-09-19 | 06:32 | DORINA | 4 | 4.11 | 4.12 | / | / | 1.946 | 6.238 |  |  | 0.46 |  |  | Kinga |  | 3 | 3 | 65122
2 | 1.00 | 50 | P/FINAL | 2025-09-19 | 14:34 | 2025-09-19 | 14:23 | ANA | 4 | 1.05 | 1.05 | / | / | 0.553 | 6.559 |  |  | 3.08 | 117 |  | Kinga |  | 3 | 2 | 102704
2 | 1.00 | 51 | P/FINAL | 2025-09-19 | 14:35 | 2025-09-19 | 14:23 | ANA | 4 | 1.00 | 0.99 | / | / | 0.517 |  |  |  | 0.88 | 114 |  | Kinga |  | 3 | 2 | 102704
2 | 1.00 | 52 | P/FINAL | 2025-09-19 | 14:36 | 2025-09-19 | 14:23 | ANA | 4 | 1.02 | 1.02 | / | / | 0.528 |  |  |  | 1.46 | 123 |  | Kinga |  | 3 | 2 | 102704
3 | 4.00 | 53 | P/FINAL | 2025-09-19 | 14:41 | 2025-09-19 | 14:23 | ANA | 4 | 3.99 | 4.00 | / | / | 1.897 | 6.543 |  |  | 0.53 | 131 |  | Kinga |  | 3 | 3 | 102704
3 | 4.00 | 54 | P/FINAL | 2025-09-19 | 14:41 | 2025-09-19 | 14:23 | ANA | 4 | 4.15 | 4.13 | / | / | 1.961 |  |  |  | 0.24 | 120 |  | Kinga |  | 3 | 3 | 102704
3 | 4.00 | 55 | P/FINAL | 2025-09-19 | 14:43 | 2025-09-19 | 14:23 | ANA | 4 | 4.01 | 3.97 | / | / | 1.905 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3 | 102704
1 | 0.00 | 56 | P/FINAL | 2025-09-19 | 14:44 | 2025-09-19 | 14:23 | ANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.560 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 102704
2 | 1.00 | 57 | Old A | 2025-09-22 | 08:17 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.99 | 1.00 | / | / | 0.514 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 2 | 102704
2 | 1.00 | 58 | Old A | 2025-09-22 | 08:17 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 1.00 | 1.01 | / | / | 0.519 | 6.145 |  |  | 2.06 |  |  | Kinga |  | 3 | 2 | 102704
3 | 4.00 | 59 | Old A | 2025-09-22 | 08:20 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 4.04 | 4.07 | / | / | 1.915 |  |  |  | 1.82 |  |  | Kinga |  | 3 | 3 | 102704
3 | 4.00 | 60 | Old A | 2025-09-22 | 08:21 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 3.86 | 3.93 | / | / | 1.845 |  |  |  | 0.95 |  |  | Kinga |  | 3 | 3 | 102704
1 | 0.00 | 61 | Old A | 2025-09-22 | 08:23 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.80 | 121 |  | Kinga |  | 3 | 1 | 102704
1 | 0.00 | 62 | Old A | 2025-09-22 | 08:24 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.013 | 6.195 |  |  | 0.81 | 118 |  | Kinga |  | 3 | 1 | 102704
1 | 0.00 | 63 | P/FINAL | 2025-09-22 | 08:28 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.28 | 125 |  | Kinga |  | 3 | 1 | 102704
1 | 0.00 | 64 | P/FINAL | 2025-09-22 | 08:29 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.59 | 110 |  | Kinga |  | 3 | 1 | 102704
3 | 4.00 | 65 | P/FINAL | 2025-09-22 | 08:57 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 4.00 | 3.92 | / | / | 1.899 | 6.189 |  |  | 0.42 | 130 |  | Kinga |  | 3 | 3 | 102704
3 | 4.00 | 66 | P/FINAL | 2025-09-22 | 08:59 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 4.13 | 4.13 | / | / | 1.976 |  |  |  | 0.39 | 100 |  | Kinga |  | 3 | 3 | 102704
3 | 4.00 | 67 | P/FINAL | 2025-09-22 | 09:05 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 4.15 | 4.15 | / | / | 1.972 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 3 | 102704
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0 mg/L | 7 | 14 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0.99 mg/L | 13 | 26 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 4.04 mg/L | 15 | 30 | 4.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.04 | YES
Validation Date | by