## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1177 | HI93701-0 | CP-R25 | W38 /3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-18 | 2025-09-30 | 4 HEAD |  |  | 1155
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-18 | 09:51 | 2025-09-18 | 09:42 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.82 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-18 | 09:51 | 2025-09-18 | 09:42 | ERIKA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-09-18 | 09:52 | 2025-09-18 | 09:42 | ERIKA |  | 0.99 | 0.99 | / | / | 0.513 |  |  |  | 0.83 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 4 | Old A | 2025-09-18 | 09:52 | 2025-09-18 | 09:42 | ERIKA |  | 0.97 | 0.97 | / | / | 0.501 |  |  |  | 0.86 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 5 | Old A | 2025-09-18 | 09:53 | 2025-09-18 | 09:42 | ERIKA |  | 4.10 | 4.10 | / | / | 1.941 |  |  |  | 0.44 | 107 |  | Kinga |  | 3 | 3
3 | 4.00 | 6 | Old A | 2025-09-18 | 09:53 | 2025-09-18 | 09:42 | ERIKA |  | 3.91 | 3.90 | / | / | 1.862 |  |  |  | 0.25 | 97 |  | Kinga |  | 3 | 3
2 | 1.00 | 7 | Valid | 2025-09-18 | 10:20 | 2025-09-18 | 09:42 | ERIKA |  | 0.99 | 1.02 | / | / | 0.512 |  |  |  | 1.95 | 108 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 8 | Valid | 2025-09-18 | 10:21 | 2025-09-18 | 09:42 | ERIKA |  | 0.98 | 1.01 | / | / | 0.511 | 6.198 |  |  | 0.54 | 104 |  | Kinga |  | 3 | 2 | 65122
2 | 1.00 | 9 | Valid | 2025-09-18 | 10:22 | 2025-09-18 | 09:42 | ERIKA |  | 0.96 | 1.02 | / | / | 0.497 |  |  |  | 4.63 | 118 |  | Kinga |  | 3 | 2 | 65122
3 | 4.00 | 10 | Valid | 2025-09-18 | 10:26 | 2025-09-18 | 09:42 | ERIKA |  | 3.98 | 3.92 | / | / | 1.891 |  |  |  | 1.44 | 114 |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 11 | Valid | 2025-09-18 | 10:27 | 2025-09-18 | 09:42 | ERIKA |  | 4.07 | 4.08 | / | / | 1.929 | 6.195 |  |  | 0.26 |  |  | Kinga |  | 3 | 3 | 65122
3 | 4.00 | 12 | Valid | 2025-09-18 | 10:28 | 2025-09-18 | 09:42 | ERIKA |  | 4.07 | 4.05 | / | / | 1.928 |  |  |  | 3.07 |  |  | Kinga |  | 3 | 3 | 65122
1 | 0.00 | 13 | Valid | 2025-09-18 | 10:31 | 2025-09-18 | 09:42 | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 14 | Valid | 2025-09-18 | 10:32 | 2025-09-18 | 09:42 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 | 6.144 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 65122
1 | 0.00 | 15 | P/FINAL | 2025-09-25 | 16:07 | 2025-09-25 | 15:48 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-09-25 | 16:07 | 2025-09-25 | 15:48 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.49 | 97 |  | Kinga |  | 3 | 1
2 | 1.00 | 17 | P/FINAL | 2025-09-25 | 16:08 | 2025-09-25 | 15:48 | DORINA | 4 | 1.00 | 1.04 | / | / | 0.518 |  |  |  | 0.54 | 139 |  | Kinga |  | 3 | 2
2 | 1.00 | 18 | P/FINAL | 2025-09-25 | 16:09 | 2025-09-25 | 15:48 | DORINA | 4 | 0.98 | 1.04 | / | / | 0.510 |  |  |  | 0.52 | 112 |  | Kinga |  | 3 | 2
2 | 1.00 | 19 | P/FINAL | 2025-09-25 | 16:09 | 2025-09-25 | 15:48 | DORINA | 4 | 1.00 | 1.02 | / | / | 0.518 |  |  |  | 0.44 | 99 |  | Kinga |  | 3 | 2
3 | 4.00 | 20 | P/FINAL | 2025-09-25 | 16:12 | 2025-09-25 | 15:48 | DORINA | 4 | 3.98 | 3.95 | / | / | 1.889 |  |  |  | 2.07 | 108 |  | Kinga |  | 3 | 3
3 | 4.00 | 21 | P/FINAL | 2025-09-25 | 16:12 | 2025-09-25 | 15:48 | DORINA | 4 | 3.99 | 4.04 | / | / | 1.898 |  |  |  | 1.21 | 103 |  | Kinga |  | 3 | 3
3 | 4.00 | 22 | P/FINAL | 2025-09-25 | 16:13 | 2025-09-25 | 15:48 | DORINA | 4 | 3.99 | 4.02 | / | / | 1.894 |  |  |  | 1.29 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 23 | Old A | 2025-09-26 | 09:04 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 1.05 | 1.05 | / | / | 0.545 |  |  |  | 8.0 |  |  | Kinga |  | 3 | 2 | 30634
2 | 1.00 | 24 | Old A | 2025-09-26 | 09:04 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 1.00 | 1.04 | / | / | 0.559 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 2 | 30634
1 | 0.00 | 25 | Old A | 2025-09-26 | 09:05 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.78 |  |  | Kinga |  | 3 | 1 | 30634
1 | 0.00 | 26 | Old A | 2025-09-26 | 09:05 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 0.90 |  |  | Kinga |  | 3 | 1 | 30634
3 | 4.00 | 27 | Old A | 2025-09-26 | 09:06 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 4.09 | 4.10 | / | / | 1.936 |  |  |  | 1.56 |  |  | Kinga |  | 3 | 3 | 30634
3 | 4.00 | 28 | Old A | 2025-09-26 | 09:06 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 4.07 | 4.13 | / | / | 1.928 |  |  |  | 1.84 |  |  | Kinga |  | 3 | 3 | 30634
2 | 1.00 | 29 | Old A | 2025-09-26 | 09:13 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 1.02 | 1.05 | / | / | 0.530 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 2 | 30634
2 | 1.00 | 30 | P/FINAL | 2025-09-26 | 09:14 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 1.00 | 1.03 | / | / | 0.521 | 6.109 |  |  | 0.98 |  |  | Kinga |  | 3 | 2 | 30634
2 | 1.00 | 31 | P/FINAL | 2025-09-26 | 09:14 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 1.02 | 1.04 | / | / | 0.528 |  |  |  | 0.53 | 113 |  | Kinga |  | 3 | 2 | 30634
1 | 0.00 | 32 | P/FINAL | 2025-09-26 | 09:17 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.31 | 106 |  | Kinga |  | 3 | 1 | 30634
1 | 0.00 | 33 | P/FINAL | 2025-09-26 | 09:17 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.170 |  |  | 0.26 | 127 |  | Kinga |  | 3 | 1 | 30634
3 | 4.00 | 34 | P/FINAL | 2025-09-26 | 09:21 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 4.10 | 4.15 | / | / | 1.940 |  |  |  | 1.06 | 121 |  | Kinga |  | 3 | 3 | 30634
3 | 4.00 | 35 | P/FINAL | 2025-09-26 | 09:22 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 4.08 | 4.13 | / | / | 1.931 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 30634
3 | 4.00 | 36 | P/FINAL | 2025-09-26 | 09:23 | 2025-09-26 | 06:55 | GIORGIANA | 4 | 4.04 | 4.10 | / | / | 1.915 | 6.048 |  |  | 1.11 |  |  | Kinga |  | 3 | 3 | 30634
2 | 1.00 | 37 | Old A | 2025-09-29 | 10:24 | 2025-09-26 | 14:31 | Dorina | 4 | 1.00 | 1.03 | / | / | 0.528 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 38 | Old A | 2025-09-29 | 10:24 | 2025-09-26 | 14:31 | Dorina | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 39 | Old A | 2025-09-29 | 10:24 | 2025-09-26 | 14:31 | Dorina | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 40 | Old A | 2025-09-29 | 10:25 | 2025-09-26 | 14:31 | Dorina | 4 | 3.98 | 3.98 | / | / | 1.894 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 41 | Old A | 2025-09-29 | 10:25 | 2025-09-26 | 14:31 | Dorina | 4 | 4.05 | 4.05 | / | / | 1.922 |  |  |  | 1.13 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 42 | Old A | 2025-09-29 | 10:26 | 2025-09-26 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 43 | Old A | 2025-09-29 | 10:26 | 2025-09-26 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 44 | P/FINAL | 2025-09-29 | 10:27 | 2025-09-26 | 14:31 | Dorina | 4 | 0.98 | 0.98 | / | / | 0.510 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 45 | P/FINAL | 2025-09-29 | 10:27 | 2025-09-26 | 14:31 | Dorina | 4 | 0.97 | 0.97 | / | / | 0.505 | 6.197 |  |  | 1.80 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 46 | P/FINAL | 2025-09-29 | 10:28 | 2025-09-26 | 14:31 | Dorina | 4 | 1.04 | 1.02 | / | / | 0.537 |  |  |  | 1.71 | 112 |  | Kinga |  | 3 | 2
3 | 4.00 | 47 | P/FINAL | 2025-09-29 | 10:29 | 2025-09-26 | 14:31 | Dorina | 4 | 3.85 | 3.86 | / | / | 1.838 |  |  |  | 1.07 | 108 |  | Kinga |  | 3 | 3
3 | 4.00 | 48 | P/FINAL | 2025-09-29 | 10:29 | 2025-09-26 | 14:31 | Dorina | 4 | 3.91 | 3.89 | / | / | 1.863 | 6.095 |  |  | 1.65 | 118 |  | Kinga |  | 3 | 3
3 | 4.00 | 49 | P/FINAL | 2025-09-29 | 10:29 | 2025-09-26 | 14:31 | Dorina | 4 | 3.85 | 3.86 | / | / | 1.843 |  |  |  | 0.67 | 114 |  | Kinga |  | 3 | 3
1 | 0.00 | 50 | P/FINAL | 2025-09-29 | 10:30 | 2025-09-26 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.004 | 6.137 |  |  | 0.16 | 116 |  | Kinga |  | 3 | 1
1 | 0.00 | 51 | P/FINAL | 2025-09-29 | 10:30 | 2025-09-26 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.16 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 52 | P/FINAL | 2025-09-29 | 10:30 | 2025-09-26 | 14:31 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 53 | P/FINAL | 2025-09-29 | 10:32 | 2025-09-26 | 07:15 | Dorina | 4 | 0.96 | 0.97 | / | / | 0.501 | 6.169 |  |  | 0.44 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 54 | P/FINAL | 2025-09-29 | 10:33 | 2025-09-26 | 07:15 | Dorina | 4 | 0.98 | 0.99 | / | / | 0.509 |  |  |  | 0.15 | 119 |  | Kinga |  | 3 | 2
2 | 1.00 | 55 | P/FINAL | 2025-09-29 | 10:33 | 2025-09-26 | 07:15 | Dorina | 4 | 0.99 | 0.99 | / | / | 0.513 |  |  |  | 0.59 | 108 |  | Kinga |  | 3 | 2
3 | 4.00 | 56 | P/FINAL | 2025-09-29 | 10:33 | 2025-09-26 | 07:15 | Dorina | 4 | 4.09 | 4.09 | / | / | 1.935 | 6.127 |  |  | 0.14 | 118 |  | Kinga |  | 3 | 3
3 | 4.00 | 57 | P/FINAL | 2025-09-29 | 10:34 | 2025-09-26 | 07:15 | Dorina | 4 | 4.14 | 4.15 | / | / | 1.959 |  |  |  | 1.37 | 114 |  | Kinga |  | 3 | 3
3 | 4.00 | 58 | P/FINAL | 2025-09-29 | 10:34 | 2025-09-26 | 07:15 | Dorina | 4 | 3.85 | 3.85 | / | / | 1.838 |  |  |  | 1.45 | 116 |  | Kinga |  | 3 | 3
1 | 0.00 | 59 | P/FINAL | 2025-09-29 | 10:35 | 2025-09-26 | 07:15 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.14 | 115 |  | Kinga |  | 3 | 1
1 | 0.00 | 60 | P/FINAL | 2025-09-29 | 10:36 | 2025-09-26 | 07:15 | Dorina | 4 | 0.00 | 0.00 | / | / | -0.003 | 6.126 |  |  | 0.15 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 61 | P/FINAL | 2025-09-29 | 15:40 | 2025-09-29 | 14:23 | ANA | 4 | 0.99 | 1.03 | / | / | 0.513 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 2 | `114015
2 | 1.00 | 62 | P/FINAL | 2025-09-29 | 15:40 | 2025-09-29 | 14:23 | ANA | 4 | 0.98 | 1.02 | / | / | 0.509 | 6.057 |  |  | 4.10 |  |  | Kinga |  | 3 | 2 | `114015
2 | 1.00 | 63 | P/FINAL | 2025-09-29 | 15:41 | 2025-09-29 | 14:23 | ANA | 4 | 1.00 | 1.05 | / | / | 0.518 |  |  |  | 2.73 |  |  | Kinga |  | 3 | 2 | `114015
3 | 4.00 | 64 | P/FINAL | 2025-09-29 | 15:43 | 2025-09-29 | 14:23 | ANA | 4 | 4.06 | 4.10 | / | / | 1.923 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 3 | `114015
3 | 4.00 | 65 | P/FINAL | 2025-09-29 | 15:44 | 2025-09-29 | 14:23 | ANA | 4 | 4.04 | 4.08 | / | / | 1.915 | 6.045 |  |  | 0.83 |  |  | Kinga |  | 3 | 3 | `114015
3 | 4.00 | 66 | P/FINAL | 2025-09-29 | 15:44 | 2025-09-29 | 14:23 | ANA | 4 | 4.12 | 4.15 | / | / | 1.948 |  |  |  | 1.49 |  |  | Kinga |  | 3 | 3 | `114015
1 | 0.00 | 67 | P/FINAL | 2025-09-29 | 15:47 | 2025-09-29 | 14:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 1 | `114015
1 | 0.00 | 68 | P/FINAL | 2025-09-29 | 15:47 | 2025-09-29 | 14:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 5.990 |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | `114015
2 | 1.00 | 69 | Old A | 2025-09-30 | 12:40 | 2025-09-30 | 07:16 | DORINA |  | 0.99 | 1.00 | / | / | 0.514 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 70 | Old A | 2025-09-30 | 12:40 | 2025-09-30 | 07:16 | DORINA |  | 1.01 | 1.00 | / | / | 0.522 |  |  |  | 1.19 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 71 | Old A | 2025-09-30 | 12:41 | 2025-09-30 | 07:16 | DORINA |  | 3.99 | 4.00 | / | / | 1.867 |  |  |  | 0.60 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 72 | Old A | 2025-09-30 | 12:42 | 2025-09-30 | 07:16 | DORINA |  | 3.98 | 4.02 | / | / | 1.869 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 73 | Old A | 2025-09-30 | 12:42 | 2025-09-30 | 07:16 | DORINA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 74 | Old A | 2025-09-30 | 12:43 | 2025-09-30 | 07:16 | DORINA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.14 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 75 | P/FINAL | 2025-09-30 | 12:43 | 2025-09-30 | 07:16 | DORINA |  | 0.99 | 1.00 | / | / | 0.514 |  |  |  | 0.25 | 97 |  | Kinga |  | 3 | 2
2 | 1.00 | 76 | P/FINAL | 2025-09-30 | 12:43 | 2025-09-30 | 07:16 | DORINA |  | 0.97 | 0.98 | / | / | 0.504 |  |  |  | 0.13 | 104 |  | Kinga |  | 3 | 2
2 | 1.00 | 77 | P/FINAL | 2025-09-30 | 12:44 | 2025-09-30 | 07:16 | DORINA |  | 0.99 | 1.00 | / | / | 0.513 |  |  |  | 0.17 | 116 |  | Kinga |  | 3 | 2
3 | 4.00 | 78 | P/FINAL | 2025-09-30 | 12:44 | 2025-09-30 | 07:16 | DORINA |  | 3.89 | 3.93 | / | / | 1.856 |  |  |  | 0.59 | 103 |  | Kinga |  | 3 | 3
3 | 4.00 | 79 | P/FINAL | 2025-09-30 | 12:45 | 2025-09-30 | 07:16 | DORINA |  | 3.85 | 3.86 | / | / | 1.822 |  |  |  | 0.21 | 116 |  | Kinga |  | 3 | 3
3 | 4.00 | 80 | P/FINAL | 2025-09-30 | 12:45 | 2025-09-30 | 07:16 | DORINA |  | 4.04 | 4.09 | / | / | 1.913 |  |  |  | 0.21 | 113 |  | Kinga |  | 3 | 3
1 | 0.00 | 81 | P/FINAL | 2025-09-30 | 12:45 | 2025-09-30 | 07:16 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.15 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 82 | P/FINAL | 2025-09-30 | 12:46 | 2025-09-30 | 07:16 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.14 |  |  | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0 mg/L | 13 | 26 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 1 mg/L | 17 | 34 | 1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 4 mg/L | 18 | 36 | 4 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.00 | YES
4.00 | 3.85 ÷ 4.15 | 4.00 | YES
Validation Date | by