## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1189 | HI93701-0 | CP-R25 | W 39/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-29 | 2025-10-06 | 4HEAD |  |  | 1171
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97104 | CTO-702
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-09-29 | 10:41 | 2025-09-29 | 10:16 | ERIKA |  | 1.02 | 1.03 | / | / | 0.528 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-09-29 | 10:41 | 2025-09-29 | 10:16 | ERIKA |  | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-09-29 | 10:42 | 2025-09-29 | 10:16 | ERIKA |  | 3.98 | 3.98 | / | / | 1.894 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Old A | 2025-09-29 | 10:42 | 2025-09-29 | 10:16 | ERIKA |  | 4.05 | 4.06 | / | / | 1.922 |  |  |  | 1.13 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old A | 2025-09-29 | 10:42 | 2025-09-29 | 10:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-09-29 | 10:43 | 2025-09-29 | 10:16 | ERIKA |  | 0.00 | 0.00 | / | / | -0001 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Valid | 2025-09-29 | 10:47 | 2025-09-29 | 10:16 | ERIKA |  | 1.02 | 1.05 | / | / | 0.530 | 6.167 |  |  | 0.75 |  |  | Kinga |  | 3 | 2 | 30634
2 | 1.00 | 8 | Valid | 2025-09-29 | 10:48 | 2025-09-29 | 10:16 | ERIKA |  | 1.03 | 1.04 | / | / | 0.569 |  |  |  | 4.28 |  |  | Kinga |  | 3 | 2 | 30634
2 | 1.00 | 9 | Valid | 2025-09-29 | 10:49 | 2025-09-29 | 10:16 | ERIKA |  | 1.05 | 1.06 | / | / | 0.546 |  |  |  | 13.3 |  |  | Kinga |  | 3 | 2 | 30634
3 | 4.00 | 10 | Valid | 2025-09-29 | 10:51 | 2025-09-29 | 10:16 | ERIKA |  | 4.07 | 4.03 | / | / | 1.929 | 6.209 |  |  | 5.24 |  |  | Kinga |  | 3 | 3 | 30634
3 | 4.00 | 11 | Valid | 2025-09-29 | 10:52 | 2025-09-29 | 10:16 | ERIKA |  | 4.03 | 4.03 | / | / | 1.912 |  |  |  | 5.26 |  |  | Kinga |  | 3 | 3 | 30634
3 | 4.00 | 12 | Valid | 2025-09-29 | 10:54 | 2025-09-29 | 10:16 | ERIKA |  | 3.99 | 4.02 | / | / | 1.898 |  |  |  | 5.35 |  |  | Kinga |  | 3 | 3 | 30634
1 | 0.00 | 13 | Valid | 2025-09-29 | 10:55 | 2025-09-29 | 10:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 | 6.141 |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 30634
1 | 0.00 | 14 | Valid | 2025-09-29 | 10:55 | 2025-09-29 | 10:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 30634
1 | 0.00 | 15 | P/FINAL | 2025-10-03 | 14:45 | 2025-10-03 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-10-03 | 14:45 | 2025-10-03 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.130 |  |  | 0.21 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 17 | P/FINAL | 2025-10-03 | 14:49 | 2025-10-03 | 06:56 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.504 |  |  |  | 0.65 | 110 |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 18 | P/FINAL | 2025-10-03 | 14:49 | 2025-10-03 | 06:56 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.506 |  |  |  | 0.55 | 106 |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 19 | P/FINAL | 2025-10-03 | 14:50 | 2025-10-03 | 06:56 | DORINA | 4 | 0.98 | 0.98 | / | / | 0.510 | 6.109 |  |  | 0.37 | 105 |  | Andrea V |  | 3 | 2 | 54944
3 | 4.00 | 20 | P/FINAL | 2025-10-03 | 14:53 | 2025-10-03 | 06:56 | DORINA | 4 | 4.14 | 4.13 | / | / | 1.956 |  |  |  | 0.31 | 121 |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 21 | P/FINAL | 2025-10-03 | 14:54 | 2025-10-03 | 06:56 | DORINA | 4 | 4.10 | 4.08 | / | / | 1.939 | 6.097 |  |  | 0.36 | 98 |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 22 | P/FINAL | 2025-10-03 | 14:58 | 2025-10-03 | 06:56 | DORINA | 4 | 4.14 | 4.11 | / | / | 1.958 |  |  |  | 0.19 | 118 |  | Andrea V |  | 3 | 3 | 54944
1 | 0.00 | 23 | Old A | 2025-10-03 | 15:00 | 2025-10-03 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 1 | 54944
1 | 0.00 | 24 | Old A | 2025-10-03 | 15:00 | 2025-10-03 | 06:56 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.42 |  |  | Andrea V |  | 3 | 1 | 54944
2 | 1.00 | 25 | Old A | 2025-10-03 | 15:00 | 2025-10-03 | 06:56 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.515 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 26 | Old A | 2025-10-03 | 15:01 | 2025-10-03 | 06:56 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 2 | 54944
3 | 4.00 | 27 | Old A | 2025-10-03 | 15:01 | 2025-10-03 | 06:56 | DORINA | 4 | 4.10 | 4.10 | / | / | 1.939 |  |  |  | 0.35 |  |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 28 | Old A | 2025-10-03 | 15:01 | 2025-10-03 | 06:56 | DORINA | 4 | 4.14 | 4.13 | / | / | 1.955 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 3 | 54944
2 | 1.00 | 29 | P/FINAL | 2025-10-03 | 15:51 | 2025-10-03 | 14:27 | ANA | 4 | 0.96 | 0.95 | / | / | 0.498 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 30 | P/FINAL | 2025-10-03 | 15:52 | 2025-10-03 | 14:27 | ANA | 4 | 0.95 | 0.95 | / | / | 0.494 |  |  |  | 0.64 |  |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 31 | P/FINAL | 2025-10-03 | 15:53 | 2025-10-03 | 14:27 | ANA | 4 | 0.96 | 0.95 | / | / | 0.499 | 6.108 |  |  | 0.30 | 87 |  | Andrea V |  | 3 | 2 | 54944
1 | 0.00 | 32 | P/FINAL | 2025-10-03 | 15:54 | 2025-10-03 | 14:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.30 | 106 |  | Andrea V |  | 3 | 1 | 54944
1 | 0.00 | 33 | P/FINAL | 2025-10-03 | 15:54 | 2025-10-03 | 14:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.090 |  |  | 0.24 | 111 |  | Andrea V |  | 3 | 1 | 54944
3 | 4.00 | 34 | P/FINAL | 2025-10-03 | 15:57 | 2025-10-03 | 14:27 | ANA | 4 | 4.14 | 4.13 | / | / | 1.958 |  |  |  | 0.32 | 99 |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 35 | P/FINAL | 2025-10-03 | 15:58 | 2025-10-03 | 14:27 | ANA | 4 | 4.11 | 4.10 | / | / | 1.945 | 6.121 |  |  | 0.28 | 108 |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 36 | P/FINAL | 2025-10-03 | 16:00 | 2025-10-03 | 14:27 | ANA | 4 | 4.13 | 4.12 | / | / | 1.951 |  |  |  | 0.22 | 104 |  | Andrea V |  | 3 | 3 | 54944
1 | 0.00 | 37 | P/FINAL | 2025-10-06 | 09:52 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.104 |  |  | 0.25 | 107 |  | Brigitta P |  | 3 | 1 | 82735
1 | 0.00 | 38 | P/FINAL | 2025-10-06 | 09:52 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.22 | 123 |  | Brigitta P |  | 3 | 1 | 82735
2 | 1.00 | 39 | P/FINAL | 2025-10-06 | 09:56 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 1.01 | 1.01 | / | / | 0.525 |  |  |  | 0.28 | 107 |  | Brigitta P |  | 3 | 2 | 82735
2 | 1.00 | 40 | P/FINAL | 2025-10-06 | 09:57 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 0.98 | 0.98 | / | / | 0.511 | 6.159 |  |  | 0.20 | 100 |  | Brigitta P |  | 3 | 2 | 82735
2 | 1.00 | 41 | P/FINAL | 2025-10-06 | 09:58 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 1.01 | 1.00 | / | / | 0.524 | 6.183 |  |  | 0.20 | 116 |  | Brigitta P |  | 3 | 2 | 82735
3 | 4.00 | 42 | P/FINAL | 2025-10-06 | 10:01 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 4.08 | 4.08 | / | / | 1.934 | 6.123 |  |  | 0.19 | 100 |  | Brigitta P |  | 3 | 3 | 82735
3 | 4.00 | 43 | P/FINAL | 2025-10-06 | 10:02 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 4.14 | 4.13 | / | / | 1.955 | 6.116 |  |  | 0.18 | 115 |  | Brigitta P |  | 3 | 3 | 82735
3 | 4.00 | 44 | P/FINAL | 2025-10-06 | 10:03 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 3.92 | 3.90 | / | / | 1.867 |  |  |  | 0.16 |  |  | Brigitta P |  | 3 | 3 | 82735
3 | 4.00 | 45 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 4.11 | 4.10 | / | / | 1.921 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 3 | 82735
3 | 4.00 | 46 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 4.12 | 4.12 | / | / | 1.924 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 3 | 82735
2 | 1.00 | 47 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 1.01 | 1.00 | / | / | 0.543 |  |  |  | 0.59 |  |  | Brigitta P |  | 3 | 3 | 82735
2 | 1.00 | 48 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 1.02 | 1.01 | / | / | 0.550 |  |  |  | 0.56 |  |  | Brigitta P |  | 3 | 3 | 82735
1 | 0.00 | 49 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.71 |  |  | Brigitta P |  | 3 | 3 | 82735
1 | 0.00 | 50 | Old A | 2025-10-06 | 11:10 | 2025-10-06 | 06:30 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.55 |  |  | Brigitta P |  | 3 | 3 | 82735
1 | 0.00 | 51 | Old A | 2025-10-07 | 08:19 | 2025-10-06 | 15:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.91 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 52 | Old A | 2025-10-07 | 08:20 | 2025-10-06 | 15:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 53 | Old A | 2025-10-07 | 08:21 | 2025-10-06 | 15:20 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.518 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 2 | 83007
2 | 1.00 | 54 | Old A | 2025-10-07 | 08:22 | 2025-10-06 | 15:20 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.512 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 2 | 83007
3 | 4.00 | 55 | Old A | 2025-10-07 | 08:23 | 2025-10-06 | 15:20 | DORINA | 4 | 4.13 | 4.13 | / | / | 1.952 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 56 | Old A | 2025-10-07 | 08:24 | 2025-10-06 | 15:20 | DORINA | 4 | 4.10 | 4.10 | / | / | 1.941 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 57 | P/FINAL | 2025-10-07 | 08:26 | 2025-10-06 | 15:20 | DORINA | 4 | 4.13 | 4.12 | / | / | 1.953 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 58 | P/FINAL | 2025-10-07 | 08:28 | 2025-10-06 | 15:20 | DORINA | 4 | 4.13 | 4.13 | / | / | 1.953 | 6.076 |  |  | 0.43 |  |  | Andrea V |  | 3 | 3 | 83007
2 | 1.00 | 59 | P/FINAL | 2025-10-07 | 08:32 | 2025-10-06 | 15:20 | DORINA | 4 | 1.00 | 1.02 | / | / | 0.521 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 2 | 83007
2 | 1.00 | 60 | P/FINAL | 2025-10-07 | 08:32 | 2025-10-06 | 15:20 | DORINA | 4 | 1.00 | 1.00 | / | / | 0.521 | 6.095 |  |  | 0.25 | 104 |  | Andrea V |  | 3 | 2 | 83007
2 | 1.00 | 61 | P/FINAL | 2025-10-07 | 08:33 | 2025-10-06 | 15:20 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 0.33 | 101 |  | Andrea V |  | 3 | 2 | 83007
3 | 4.00 | 62 | P/FINAL | 2025-10-07 | 08:35 | 2025-10-06 | 15:20 | DORINA | 4 | 4.25 | 4.25 | / | / | 2.001 | 6.098 |  |  | 0.34 | 96 |  | Andrea V |  | 3 | 3 | 83007
1 | 0.00 | 63 | P/FINAL | 2025-10-07 | 08:36 | 2025-10-06 | 15:20 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.003 |  |  |  | 1.09 | 105 |  | Andrea V |  | 3 | 1 | 83007
1 | 0.00 | 64 | P/FINAL | 2025-10-07 | 08:37 | 2025-10-06 | 15:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.151 |  |  | 0.34 | 109 |  | Andrea V |  | 3 | 1 | 83007
3 | 4.00 | 65 | P/FINAL | 2025-10-07 | 08:38 | 2025-10-06 | 15:20 | DORINA | 4 | 4.15 | 4.14 | / | / | 1.962 |  |  |  | 0.26 | 123 |  | Andrea V |  | 3 | 3 | 83007
1 | 0.00 | 66 | P/FINAL | 2025-10-07 | 08:45 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 1 | 83007
1 | 0.00 | 67 | P/FINAL | 2025-10-07 | 08:46 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.119 |  |  | 0.34 |  |  | Andrea V |  | 3 | 1 | 83007
2 | 1.00 | 68 | P/FINAL | 2025-10-07 | 08:46 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.521 |  |  |  | 0.21 | 100 |  | Andrea V |  | 3 | 2 | 83007
2 | 1.00 | 69 | P/FINAL | 2025-10-07 | 08:47 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 1.00 | 1.02 | / | / | 0.519 | 6.103 |  |  | 0.26 | 105 |  | Andrea V |  | 3 | 2 | 83007
2 | 1.00 | 70 | P/FINAL | 2025-10-07 | 08:48 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.519 |  |  |  | 0.27 | 138 |  | Andrea V |  | 3 | 2 | 83007
3 | 4.00 | 71 | P/FINAL | 2025-10-07 | 08:52 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 4.18 | 4.17 | / | / | 1.973 |  |  |  | 0.15 |  |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 72 | P/FINAL | 2025-10-07 | 09:04 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 4.14 | 4.11 | / | / | 1.957 |  |  |  | 0.13 | 121 |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 73 | P/FINAL | 2025-10-07 | 09:05 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 4.12 | 4.11 | / | / | 1.949 |  |  |  | 0.12 | 95 |  | Andrea V |  | 3 | 3 | 83007
3 | 4.00 | 74 | P/FINAL | 2025-10-07 | 09:08 | 2025-10-07 | 06:51 | GIORGIANA | 4 | 4.15 | 4.13 | / | / | 1.966 | 6.186 |  |  | 0.11 | 99 |  | Andrea V |  | 3 | 3 | 83007
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.99 mg/L | 15 | 30 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 4.12 mg/L | 17 | 34 | 4.12 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.12 | YES
Validation Date | by