## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1195 | HI93701-0 | CP-R25 | W40/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-02 | 2025-10-14 | 4 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.85 | 4.15 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | P/FINAL | 2025-10-02 | 13:57 | 2025-10-02 | 13:04 | ERIKA |  | 3.95 | 4.02 | / | / | 1.879 |  |  |  | 0.60 |  |  | Brigitta P |  | 3 | 3 | 41709
3 | 4.00 | 2 | P/FINAL | 2025-10-02 | 13:58 | 2025-10-02 | 13:04 | ERIKA |  | 3.92 | 3.99 | / | / | 1.867 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 3 | 41709
3 | 4.00 | 3 | P/FINAL | 2025-10-02 | 13:58 | 2025-10-02 | 13:04 | ERIKA |  | 4.05 | 4.12 | / | / | 1.921 |  |  |  | 0.47 |  |  | Brigitta P |  | 3 | 3 | 41709
3 | 4.00 | 4 | P/FINAL | 2025-10-02 | 13:59 | 2025-10-02 | 13:04 | ERIKA |  | 4.05 | 4.11 | / | / | 1.919 | 6.092 |  |  | 0.34 |  |  | Brigitta P |  | 3 | 3 | 41709
2 | 1.00 | 5 | P/FINAL | 2025-10-02 | 14:02 | 2025-10-02 | 13:04 | ERIKA |  | 0.94 | 0.94 | / | / | 0.490 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 41709
2 | 1.00 | 6 | P/FINAL | 2025-10-02 | 14:03 | 2025-10-02 | 13:04 | ERIKA |  | 0.94 | 0.99 | / | / | 0.490 |  |  |  | 0.34 |  |  | Brigitta P |  | 3 | 2 | 41709
2 | 1.00 | 7 | P/FINAL | 2025-10-02 | 14:05 | 2025-10-02 | 13:04 | ERIKA |  | 0.98 | 0.97 | / | / | 0.507 | 6.110 |  |  | 0.32 |  |  | Brigitta P |  | 3 | 2 | 41709
1 | 0.00 | 8 | P/FINAL | 2025-10-02 | 14:06 | 2025-10-02 | 13:04 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.93 |  |  | Brigitta P |  | 3 | 1 | 41709
1 | 0.00 | 9 | P/FINAL | 2025-10-02 | 14:06 | 2025-10-02 | 13:04 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 6.086 |  |  | 0.42 |  |  | Brigitta P |  | 3 | 1 | 41709
1 | 0.00 | 10 | Old A | 2025-10-02 | 19:24 | 2025-10-02 | 13:04 | ERIKA |  | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 11 | Old A | 2025-10-02 | 19:24 | 2025-10-02 | 13:04 | ERIKA |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1
3 | 4.00 | 12 | Old A | 2025-10-02 | 19:24 | 2025-10-02 | 13:04 | ERIKA |  | 4.10 | 4.14 | / | / | 1.940 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 13 | Old A | 2025-10-02 | 19:25 | 2025-10-02 | 13:04 | ERIKA |  | 4.08 | 4.13 | / | / | 1.931 |  |  |  | 0.38 |  |  | Andrea V |  | 3 | 3
2 | 1.00 | 14 | Old A | 2025-10-02 | 19:25 | 2025-10-02 | 13:04 | ERIKA |  | 0.98 | 1.02 | / | / | 0.511 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 15 | Old A | 2025-10-02 | 19:26 | 2025-10-02 | 13:04 | ERIKA |  | 0.96 | 0.94 | / | / | 0.497 |  |  |  | 0.53 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 16 | Old A | 2025-10-14 | 15:44 | 2025-10-14 | 08:33 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.008 |  |  |  | 0.49 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 17 | Old A | 2025-10-14 | 15:45 | 2025-10-14 | 08:33 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.007 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 18 | Old A | 2025-10-14 | 15:46 | 2025-10-14 | 08:33 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.508 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 19 | Old A | 2025-10-14 | 15:46 | 2025-10-14 | 08:33 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.513 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 20 | Old A | 2025-10-14 | 15:47 | 2025-10-14 | 08:33 | DORINA | 4 | 4.04 | 4.04 | / | / | 1.916 |  |  |  | 0.81 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 21 | Old A | 2025-10-14 | 15:47 | 2025-10-14 | 08:33 | DORINA | 4 | 4.11 | 4.10 | / | / | 1.944 |  |  |  | 0.55 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 22 | P/FINAL | 2025-10-14 | 15:48 | 2025-10-14 | 08:33 | DORINA | 4 | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 0.28 | 120 |  | Andrea V |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-10-14 | 15:49 | 2025-10-14 | 08:33 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.008 | 6.044 |  |  | 0.25 | 115 |  | Andrea V |  | 3 | 1
2 | 1.00 | 24 | P/FINAL | 2025-10-14 | 15:50 | 2025-10-14 | 08:33 | DORINA | 4 | 1.00 | 1.01 | / | / | 0.518 | 6.081 |  |  | 0.34 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-10-14 | 15:50 | 2025-10-14 | 08:33 | DORINA | 4 | 0.94 | 0.94 | / | / | 0.488 |  |  |  | 0.42 | 90 |  | Andrea V |  | 3 | 2
2 | 1.00 | 26 | P/FINAL | 2025-10-14 | 15:51 | 2025-10-14 | 08:33 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.494 |  |  |  | 0.53 | 113 |  | Andrea V |  | 3 | 2
3 | 4.00 | 27 | P/FINAL | 2025-10-14 | 15:52 | 2025-10-14 | 08:33 | DORINA | 4 | 3.95 | 3.97 | / | / | 1.880 | 6.167 |  |  | 0.42 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2025-10-14 | 15:53 | 2025-10-14 | 08:33 | DORINA | 4 | 3.92 | 3.91 | / | / | 1.866 |  |  |  | 0.63 | 108 |  | Andrea V |  | 3 | 3
3 | 4.00 | 29 | P/FINAL | 2025-10-14 | 15:54 | 2025-10-14 | 08:33 | DORINA | 4 | 3.94 | 3.94 | / | / | 1.880 | 6.167 |  |  | 0.42 | 86 |  | Andrea V |  | 3 | 3
1 | 0.00 | 30 | P/FINAL | 2025-10-14 | 16:02 | 2025-10-14 | 14:29 | ANA | 4 | 0.00 | 0.01 | / | / | 0.004 | 6.076 |  |  | 0.24 | 120 |  | Andrea V |  | 3 | 1
1 | 0.00 | 31 | P/FINAL | 2025-10-14 | 16:02 | 2025-10-14 | 14:29 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.20 | 122 |  | Andrea V |  | 3 | 1
2 | 1.00 | 32 | P/FINAL | 2025-10-14 | 16:03 | 2025-10-14 | 14:29 | ANA | 4 | 1.00 | 1.00 | / | / | 0.517 |  |  |  | 0.42 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 33 | P/FINAL | 2025-10-14 | 16:04 | 2025-10-14 | 14:29 | ANA | 4 | 0.99 | 1.01 | / | / | 0.514 | 6.078 |  |  | 0.83 | 107 |  | Andrea V |  | 3 | 2
2 | 1.00 | 34 | P/FINAL | 2025-10-14 | 16:04 | 2025-10-14 | 14:29 | ANA | 4 | 0.98 | 0.99 | / | / | 0.508 |  |  |  | 0.34 | 106 |  | Andrea V |  | 3 | 2
3 | 4.00 | 35 | P/FINAL | 2025-10-14 | 16:05 | 2025-10-14 | 14:29 | ANA | 4 | 4.19 | 4.21 | / | / | 1.975 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 36 | P/FINAL | 2025-10-14 | 16:06 | 2025-10-14 | 14:29 | ANA | 4 | 4.06 | 4.09 | / | / | 1.926 | 6.182 |  |  | 0.44 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 37 | P/FINAL | 2025-10-14 | 16:06 | 2025-10-14 | 14:29 | ANA | 4 | 3.84 | 3.85 | / | / | 1.837 |  |  |  | 0.59 | 111 |  | Andrea V |  | 3 | 3
3 | 4.00 | 38 | P/FINAL | 2025-10-14 | 16:07 | 2025-10-14 | 14:29 | ANA | 4 | 4.02 | 4.04 | / | / | 1.909 |  |  |  | 0.39 | 102 |  | Andrea V |  | 3 | 3
3 | 4.00 | 39 | P/FINAL | 2025-10-14 | 16:07 | 2025-10-14 | 14:29 | ANA | 4 | 3.92 | 3.93 | / | / | 1.868 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 4 mg/L | 11 | 21 | 3.99 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.97 mg/L | 9 | 18 | 0.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 3.99 | YES
Validation Date | by