## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1197 | HI93701-0 | CP-R25 | W 40/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-02 | 2025-10-22 | 4 HEAD |  |  | 1185
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-702
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-02 | 19:29 | 2025-10-02 | 15:53 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-02 | 19:30 | 2025-10-02 | 15:53 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-10-02 | 19:30 | 2025-10-02 | 15:53 | ERIKA |  | 0.98 | 0.97 | / | / | 0.511 |  |  |  | 0.48 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 4 | Old A | 2025-10-02 | 19:30 | 2025-10-02 | 15:53 | ERIKA |  | 0.99 | 0.98 | / | / | 0.513 |  |  |  | 0.40 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 5 | Old A | 2025-10-02 | 19:31 | 2025-10-02 | 15:53 | ERIKA |  | 4.08 | 4.14 | / | / | 1.934 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 6 | Old A | 2025-10-02 | 19:31 | 2025-10-02 | 15:53 | ERIKA |  | 4.09 | 4.13 | / | / | 1.936 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
2 | 1.00 | 7 | Valid | 2025-10-02 | 19:35 | 2025-10-02 | 15:53 | ERIKA |  | 0.96 | 0.96 | / | / | 0.500 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 8 | Valid | 2025-10-02 | 19:36 | 2025-10-02 | 15:53 | ERIKA |  | 0.95 | 0.95 | / | / | 0.492 |  |  |  | 0.42 |  |  | Andrea V |  | 3 | 2 | 54944
2 | 1.00 | 9 | Valid | 2025-10-02 | 19:38 | 2025-10-02 | 15:53 | ERIKA |  | 0.98 | 0.95 | / | / | 0.509 |  |  |  | 1.61 |  |  | Andrea V |  | 3 | 2 | 54944
3 | 4.00 | 10 | Valid | 2025-10-02 | 19:39 | 2025-10-02 | 15:53 | ERIKA |  | 3.98 | 3.99 | / | / | 1.893 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 11 | Valid | 2025-10-02 | 19:42 | 2025-10-02 | 15:53 | ERIKA |  | 3.90 | 3.93 | / | / | 1.861 |  |  |  | 4.76 |  |  | Andrea V |  | 3 | 3 | 54944
3 | 4.00 | 12 | Valid | 2025-10-02 | 19:44 | 2025-10-02 | 15:53 | ERIKA |  | 4.00 | 4.03 | / | / | 1.902 | 6.077 |  |  | 0.39 |  |  | Andrea V |  | 3 | 3 | 54944
1 | 0.00 | 13 | Valid | 2025-10-02 | 19:45 | 2025-10-02 | 15:53 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 1 | 54944
1 | 0.00 | 14 | Valid | 2025-10-02 | 19:47 | 2025-10-02 | 15:53 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 | 6.059 |  |  | 0.18 |  |  | Andrea V |  | 3 | 1 | 54944
2 | 1.00 | 15 | Old A | 2025-10-21 | 09:25 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.99 | 1.00 | / | / | 0.516 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | Old A | 2025-10-21 | 09:25 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.98 | 0.98 | / | / | 0.509 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | Old A | 2025-10-21 | 09:26 | 2025-10-21 | 06:58 | GIORGIANA |  | 4.05 | 4.04 | / | / | 1.921 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 18 | Old A | 2025-10-21 | 09:26 | 2025-10-21 | 06:58 | GIORGIANA |  | 4.10 | 4.09 | / | / | 1.939 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | Old A | 2025-10-21 | 09:27 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | Old A | 2025-10-21 | 09:27 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2025-10-21 | 09:28 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.00 | 0.01 | / | / | 0.001 |  |  |  | 0.16 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-10-21 | 09:29 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.002 | 6.198 |  |  | 0.30 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 23 | P/FINAL | 2025-10-21 | 09:29 | 2025-10-21 | 06:58 | GIORGIANA |  | 1.01 | 1.00 | / | / | 0.523 |  |  |  | 0.47 | 125 |  | Kinga |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2025-10-21 | 09:30 | 2025-10-21 | 06:58 | GIORGIANA |  | 1.01 | 1.00 | / | / | 0.522 | 6.241 |  |  | 0.21 | 103 |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-10-21 | 09:30 | 2025-10-21 | 06:58 | GIORGIANA |  | 0.99 | 0.99 | / | / | 0.515 | 6.245 |  |  | 0.21 | 116 |  | Kinga |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2025-10-21 | 09:31 | 2025-10-21 | 06:58 | GIORGIANA |  | 4.15 | 4.14 | / | / | 1.960 |  |  |  | 0.33 | 125 |  | Kinga |  | 3 | 3
3 | 4.00 | 27 | P/FINAL | 2025-10-21 | 09:32 | 2025-10-21 | 06:58 | GIORGIANA |  | 3.85 | 3.84 | / | / | 1.838 |  |  |  | 0.27 | 119 |  | Kinga |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2025-10-21 | 09:32 | 2025-10-21 | 06:58 | GIORGIANA |  | 3.99 | 3.98 | / | / | 1.896 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 29 | P/FINAL | 2025-10-21 | 09:33 | 2025-10-21 | 06:58 | GIORGIANA |  | 4.01 | 4.01 | / | / | 1.904 | 6.206 |  |  | 0.48 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 30 | P/FINAL | 2025-10-21 | 15:42 | 2025-10-21 | 14:23 | DORINA |  | 0.95 | 0.94 | / | / | 0.486 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2025-10-21 | 15:43 | 2025-10-21 | 14:23 | DORINA |  | 0.94 | 0.94 | / | / | 0.481 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 32 | P/FINAL | 2025-10-21 | 15:44 | 2025-10-21 | 14:23 | DORINA |  | 0.97 | 0.96 | / | / | 0.499 | 6.197 |  |  | 0.62 | 109 |  | Kinga |  | 3 | 2
3 | 4.00 | 33 | P/FINAL | 2025-10-21 | 15:48 | 2025-10-21 | 14:23 | DORINA |  | 3.90 | 3.89 | / | / | 1.860 |  |  |  | 0.47 | 98 |  | Kinga |  | 3 | 3
3 | 4.00 | 34 | P/FINAL | 2025-10-21 | 15:48 | 2025-10-21 | 14:23 | DORINA |  | 3.86 | 3.88 | / | / | 1.842 |  |  |  | 0.23 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 35 | P/FINAL | 2025-10-21 | 15:49 | 2025-10-21 | 14:23 | DORINA |  | 3.88 | 3.85 | / | / | 1.839 | 6.220 |  |  | 0.24 | 112 |  | Kinga |  | 3 | 3
1 | 0.00 | 36 | P/FINAL | 2025-10-21 | 15:50 | 2025-10-21 | 14:23 | DORINA |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2025-10-21 | 15:51 | 2025-10-21 | 14:23 | DORINA |  | 0.00 | 0.00 | / | / | 0.005 | 6.275 |  |  | 0.55 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 38 | Old A | 2025-10-22 | 10:27 | 2025-10-22 | 06:43 | GIORGIANA |  | 1.01 | 0.99 | / | / | 0.522 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 39 | Old A | 2025-10-22 | 10:27 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.95 | 0.94 | / | / | 0.494 |  |  |  | 0.96 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 40 | Old A | 2025-10-22 | 10:28 | 2025-10-22 | 06:43 | GIORGIANA |  | 3.97 | 3.91 | / | / | 1.888 |  |  |  | 2.73 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 41 | Old A | 2025-10-22 | 10:29 | 2025-10-22 | 06:43 | GIORGIANA |  | 3.93 | 3.92 | / | / | 1.871 |  |  |  | 2.51 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 42 | Old A | 2025-10-22 | 10:31 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 43 | Old A | 2025-10-22 | 10:32 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.01 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 44 | P/FINAL | 2025-10-22 | 10:35 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.98 | 0.96 | / | / | 0.507 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 45 | P/FINAL | 2025-10-22 | 10:36 | 2025-10-22 | 06:43 | GIORGIANA |  | 1.03 | 1.01 | / | / | 0.534 | 6.152 |  |  | 0.91 | 110 |  | Kinga |  | 3 | 2
2 | 1.00 | 46 | P/FINAL | 2025-10-22 | 10:37 | 2025-10-22 | 06:43 | GIORGIANA |  | 1.02 | 1.02 | / | / | 0.531 |  |  |  | 2.44 | 119 |  | Kinga |  | 3 | 2
3 | 4.00 | 47 | P/FINAL | 2025-10-22 | 10:40 | 2025-10-22 | 06:43 | GIORGIANA |  | 4.04 | 3.86 | / | / | 1.918 |  |  |  | 4.24 | 112 |  | Kinga |  | 3 | 3
3 | 4.00 | 48 | P/FINAL | 2025-10-22 | 10:40 | 2025-10-22 | 06:43 | GIORGIANA |  | 3.90 | 3.89 | / | / | 1.861 | 6.116 |  |  | 3.93 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 49 | P/FINAL | 2025-10-22 | 10:41 | 2025-10-22 | 06:43 | GIORGIANA |  | 4.12 | 4.09 | / | / | 1.947 |  |  |  | 4.56 | 105 |  | Kinga |  | 3 | 3
1 | 0.00 | 50 | P/FINAL | 2025-10-22 | 10:42 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.02 | 0.00 | / | / | 0.014 |  |  |  | 0.46 | 130 |  | Kinga |  | 3 | 1
1 | 0.00 | 51 | P/FINAL | 2025-10-22 | 10:43 | 2025-10-22 | 06:43 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.008 | 6.164 |  |  | 0.46 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 52 | P/FINAL | 2025-10-22 | 15:15 | 2025-10-22 | 14:20 | DORINA |  | 1.00 | 1.02 | / | / | 0.521 |  |  |  | 0.15 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 53 | P/FINAL | 2025-10-22 | 15:18 | 2025-10-22 | 14:20 | DORINA |  | 1.01 | 1.02 | / | / | 0.525 | 6.158 |  |  | 0.11 | 110 |  | Kinga |  | 3 | 2
2 | 1.00 | 54 | P/FINAL | 2025-10-22 | 15:20 | 2025-10-22 | 14:20 | DORINA |  | 1.01 | 1.03 | / | / | 0.526 |  |  |  | 0.22 | 90 |  | Kinga |  | 3 | 2
3 | 4.00 | 55 | P/FINAL | 2025-10-22 | 15:21 | 2025-10-22 | 14:20 | DORINA |  | 3.97 | 4.01 | / | / | 1.889 |  |  |  | 0.13 | 115 |  | Kinga |  | 3 | 3
3 | 4.00 | 56 | P/FINAL | 2025-10-22 | 15:25 | 2025-10-22 | 14:20 | DORINA |  | 4.08 | 4.13 | / | / | 1.934 | 6.215 |  |  | 0.12 | 120 |  | Kinga |  | 3 | 3
3 | 4.00 | 57 | P/FINAL | 2025-10-22 | 15:30 | 2025-10-22 | 14:20 | DORINA |  | 3.95 | 3.98 | / | / | 1.880 |  |  |  | 0.12 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 58 | P/FINAL | 2025-10-22 | 15:33 | 2025-10-22 | 14:20 | DORINA |  | 0.00 | 0.00 | / | / | 0.001 | 6.107 |  |  | 0.14 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 59 | P/FINAL | 2025-10-22 | 15:34 | 2025-10-22 | 14:20 | DORINA |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.11 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 60 | Old A | 2025-10-23 | 09:17 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.99 | 1.00 | / | / | 0.516 |  |  |  | 1.23 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 61 | Old A | 2025-10-23 | 09:18 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.99 | 1.01 | / | / | 0.514 |  |  |  | 1.25 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 62 | Old A | 2025-10-23 | 09:19 | 2025-10-23 | 06:31 | GIORGIANA |  | 3.89 | 3.89 | / | / | 1.854 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 63 | Old A | 2025-10-23 | 09:20 | 2025-10-23 | 06:31 | GIORGIANA |  | 3.86 | 3.88 | / | / | 1.842 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 64 | Old A | 2025-10-23 | 09:21 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 1.19 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 65 | Old A | 2025-10-23 | 09:22 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.30 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 66 | P/FINAL | 2025-10-23 | 09:25 | 2025-10-23 | 06:31 | GIORGIANA |  | 1.04 | 1.05 | / | / | 0.546 |  |  |  | 0.83 | 116 |  | Kinga |  | 3 | 2
2 | 1.00 | 67 | P/FINAL | 2025-10-23 | 09:26 | 2025-10-23 | 06:31 | GIORGIANA |  | 1.02 | 1.01 | / | / | 0.528 | 6.117 |  |  | 0.25 | 99 |  | Kinga |  | 3 | 2
2 | 1.00 | 68 | P/FINAL | 2025-10-23 | 09:27 | 2025-10-23 | 06:31 | GIORGIANA |  | 1.01 | 1.02 | / | / | 0.537 |  |  |  | 0.23 | 120 |  | Kinga |  | 3 | 2
3 | 4.00 | 69 | P/FINAL | 2025-10-23 | 09:27 | 2025-10-23 | 06:31 | GIORGIANA |  | 4.03 | 3.95 | / | / | 1.911 |  |  |  | 0.22 | 103 |  | Kinga |  | 3 | 3
3 | 4.00 | 70 | P/FINAL | 2025-10-23 | 09:29 | 2025-10-23 | 06:31 | GIORGIANA |  | 3.97 | 3.99 | / | / | 1.887 | 6.141 |  |  | 0.22 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 71 | P/FINAL | 2025-10-23 | 09:30 | 2025-10-23 | 06:31 | GIORGIANA |  | 4.09 | 4.09 | / | / | 1.938 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 72 | P/FINAL | 2025-10-23 | 09:30 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.02 | 0.01 | / | / | 0.015 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 73 | P/FINAL | 2025-10-23 | 09:31 | 2025-10-23 | 06:31 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.008 | 6.210 |  |  | 0.68 |  |  | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 1 mg/L | 15 | 30 | 1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 3.98 mg/L | 16 | 32 | 3.98 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.00 | YES
4.00 | 3.85 ÷ 4.15 | 3.98 | YES
Validation Date | by