## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1207 | HI93701-0 | CP-R25 | W 42/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-16 | 2025-10-27 | 4 HEAD |  |  | 1195
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-10-16 | 14:15 | 2025-10-16 | 13:00 | ERIKA |  | 0.99 | 1.00 | / | / | 0.512 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-10-16 | 14:15 | 2025-10-16 | 13:00 | ERIKA |  | 0.94 | 0.95 | / | / | 0.487 |  |  |  | 1.67 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-10-16 | 14:17 | 2025-10-16 | 13:00 | ERIKA |  | 4.18 | 4.18 | / | / | 1.972 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 4 | Old A | 2025-10-16 | 14:18 | 2025-10-16 | 13:00 | ERIKA |  | 3.91 | 3.92 | / | / | 1.862 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 3 | 14406
1 | 0.00 | 5 | Old A | 2025-10-16 | 14:21 | 2025-10-16 | 13:00 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 1 | 14406
1 | 0.00 | 6 | Old A | 2025-10-16 | 14:21 | 2025-10-16 | 13:00 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 1 | 14406
3 | 4.00 | 7 | Old A | 2025-10-16 | 14:22 | 2025-10-16 | 13:00 | ERIKA |  | 4.16 | 4.17 | / | / | 1.966 |  |  |  | 0.30 |  |  | Andrea V |  | 3 | 3 | 14406
2 | 1.00 | 8 | Valid | 2025-10-16 | 14:25 | 2025-10-16 | 13:00 | ERIKA |  | 0.97 | 0.97 | / | / | 0.503 |  |  |  | 0.48 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 9 | Valid | 2025-10-16 | 14:25 | 2025-10-16 | 13:00 | ERIKA |  | 0.94 | 0.94 | / | / | 0.490 |  |  |  | 1.63 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 10 | Valid | 2025-10-16 | 14:26 | 2025-10-16 | 13:00 | ERIKA |  | 0.92 | 0.91 | / | / | 0.479 | 6.068 |  |  | 0.87 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 11 | Valid | 2025-10-16 | 14:37 | 2025-10-16 | 13:00 | ERIKA |  | 0.96 | 0.97 | / | / | 0.501 |  |  |  | 0.52 |  |  | Andrea V |  | 3 | 2 | 14406
3 | 4.00 | 12 | Old A | 2025-10-16 | 14:38 | 2025-10-16 | 13:00 | ERIKA |  | 4.10 | 4.10 | / | / | 1.939 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 13 | Valid | 2025-10-16 | 14:40 | 2025-10-16 | 13:00 | ERIKA |  | 3.70 | 3.69 | / | / | 1.778 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 14 | Valid | 2025-10-16 | 14:44 | 2025-10-16 | 13:00 | ERIKA |  | 3.56 | 3.56 | / | / | 1.720 | 6.036 |  |  | 0.26 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 15 | Valid | 2025-10-16 | 15:31 | 2025-10-16 | 15:12 | ERIKA |  | 4.02 | 4.04 | / | / | 1.908 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 3 | 14406
2 | 1.00 | 16 | Valid | 2025-10-16 | 15:32 | 2025-10-16 | 15:12 | ERIKA |  | 1.00 | 1.01 | / | / | 0.520 | 6.161 |  |  | 0.25 |  |  | Andrea V |  | 3 | 2 | 14406
3 | 4.00 | 17 | Valid | 2025-10-16 | 15:35 | 2025-10-16 | 15:12 | ERIKA |  | 4.00 | 4.00 | / | / | 1.900 | 6.104 |  |  | 0.30 |  |  | Andrea V |  | 3 | 3 | 14406
2 | 1.00 | 18 | Valid | 2025-10-16 | 15:36 | 2025-10-16 | 15:12 | ERIKA |  | 0.94 | 0.95 | / | / | 0.488 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 19 | Valid | 2025-10-16 | 15:40 | 2025-10-16 | 15:12 | ERIKA |  | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 20 | P/FINAL | 2025-10-23 | 15:38 | 2025-10-23 | 14:47 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 2.37 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 21 | P/FINAL | 2025-10-23 | 15:39 | 2025-10-23 | 14:47 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.511 | 6.182 |  |  | 0.71 | 121 |  | Kinga |  | 3 | 2
2 | 1.00 | 22 | P/FINAL | 2025-10-23 | 15:40 | 2025-10-23 | 14:47 | DORINA | 4 | 1.01 | 0.98 | / | / | 0.512 |  |  |  | 0.76 | 122 |  | Kinga |  | 3 | 2
3 | 4.00 | 23 | P/FINAL | 2025-10-23 | 15:40 | 2025-10-23 | 14:47 | DORINA | 4 | 4.13 | 4.14 | / | / | 1.952 |  |  |  | 0.70 | 131 |  | Kinga |  | 3 | 3
3 | 4.00 | 24 | P/FINAL | 2025-10-23 | 15:41 | 2025-10-23 | 14:47 | DORINA | 4 | 4.05 | 4.09 | / | / | 1.929 | 6.296 |  |  | 0.22 | 115 |  | Kinga |  | 3 | 3
3 | 4.00 | 25 | P/FINAL | 2025-10-23 | 15:42 | 2025-10-23 | 14:47 | DORINA | 4 | 4.12 | 4.13 | / | / | 1.950 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 26 | P/FINAL | 2025-10-23 | 15:45 | 2025-10-23 | 14:47 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 27 | P/FINAL | 2025-10-23 | 15:46 | 2025-10-23 | 14:47 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.177 |  |  | 0.56 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 28 | Old A | 2025-10-27 | 08:21 | 2025-10-24 | 14:54 | DORINA |  | 1.04 | 1.04 | / | / | 0.551 |  |  |  | 18.4 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 29 | Old A | 2025-10-27 | 08:21 | 2025-10-24 | 14:54 | DORINA |  | 1.04 | 1.02 | / | / | 0.538 |  |  |  | 6.65 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 30 | Old A | 2025-10-27 | 08:22 | 2025-10-24 | 14:54 | DORINA |  | 4.07 | 4.08 | / | / | 1.928 |  |  |  | 12.0 | 100 |  | Andrea V |  | 3 | 3
3 | 4.00 | 31 | Old A | 2025-10-27 | 08:23 | 2025-10-24 | 14:54 | DORINA |  | 4.12 | 4.12 | / | / | 1.949 |  |  |  | 4.15 | 95 |  | Andrea V |  | 3 | 3
1 | 0.00 | 32 | Old A | 2025-10-27 | 08:26 | 2025-10-24 | 14:54 | DORINA |  | 0.03 | 0.00 | / | / | 0.019 |  |  |  | 0.93 | 125 |  | Andrea V |  | 3 | 1
1 | 0.00 | 33 | Old A | 2025-10-27 | 08:26 | 2025-10-24 | 14:54 | DORINA |  | 0.00 | 0.00 | / | / | 0.019 |  |  |  | 0.93 | 121 |  | Andrea V |  | 3 | 1
1 | 0.00 | 34 | P/FINAL | 2025-10-27 | 08:30 | 2025-10-24 | 14:54 | DORINA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 2.55 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 35 | P/FINAL | 2025-10-27 | 08:31 | 2025-10-24 | 14:54 | DORINA |  | 0.01 | 0.00 | / | / | 0.010 | 6.154 |  |  | 1.18 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 36 | P/FINAL | 2025-10-27 | 08:31 | 2025-10-24 | 14:54 | DORINA |  | 1.03 | 1.03 | / | / | 0.536 |  |  |  | 3.03 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 37 | P/FINAL | 2025-10-27 | 08:32 | 2025-10-24 | 14:54 | DORINA |  | 1.01 | 1.05 | / | / | 0.522 | 6.219 |  |  | 13.0 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 38 | P/FINAL | 2025-10-27 | 08:32 | 2025-10-24 | 14:54 | DORINA |  | 1.00 | 1.04 | / | / | 0.521 |  |  |  | 12.2 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 39 | P/FINAL | 2025-10-27 | 08:35 | 2025-10-24 | 14:54 | DORINA |  | 4.08 | 4.10 | / | / | 1.932 |  |  |  | 18.7 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 40 | P/FINAL | 2025-10-27 | 08:36 | 2025-10-24 | 14:54 | DORINA |  | 4.09 | 4.09 | / | / | 1.935 | 6.235 |  |  | 1.34 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 41 | P/FINAL | 2025-10-27 | 08:37 | 2025-10-24 | 14:54 | DORINA |  | 4.05 | 4.09 | / | / | 1.921 |  |  |  | 0.77 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 42 | P/FINAL | 2025-10-27 | 08:42 | 2025-10-27 | 06:59 | DORINA |  | 3.98 | 4.00 | / | / | 1.893 |  |  |  | 0.77 | 117 |  | Andrea V |  | 3 | 3
3 | 4.00 | 43 | P/FINAL | 2025-10-27 | 08:43 | 2025-10-27 | 06:59 | DORINA |  | 3.85 | 4.00 | / | / | 1.838 | 6.177 |  |  | 6.45 | 119 |  | Andrea V |  | 3 | 3
3 | 4.00 | 44 | P/FINAL | 2025-10-27 | 08:44 | 2025-10-27 | 06:59 | DORINA |  | 3.97 | 4.00 | / | / | 1.888 |  |  |  | 0.69 | 122 |  | Andrea V |  | 3 | 3
2 | 1.00 | 45 | P/FINAL | 2025-10-27 | 08:45 | 2025-10-27 | 06:59 | DORINA |  | 1.03 | 1.02 | / | / | 0.532 |  |  |  | 0.83 | 97 |  | Andrea V |  | 3 | 2
2 | 1.00 | 46 | P/FINAL | 2025-10-27 | 08:46 | 2025-10-27 | 06:59 | DORINA |  | 1.00 | 0.97 | / | / | 0.517 |  |  |  | 2.39 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 47 | P/FINAL | 2025-10-27 | 08:46 | 2025-10-27 | 06:59 | DORINA |  | 1.02 | 1.00 | / | / | 0.517 | 6.210 |  |  | 2.23 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 48 | P/FINAL | 2025-10-27 | 08:48 | 2025-10-27 | 06:59 | DORINA |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 49 | P/FINAL | 2025-10-27 | 08:49 | 2025-10-27 | 06:59 | DORINA |  | 0.00 | 0.00 | / | / | 0.008 | 6.196 |  |  | 0.95 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 50 | P/FINAL | 2025-10-27 | 15:10 | 2025-10-27 | 14:21 | ANA | 4 | 1.02 | 1.03 | / | / | 0.531 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 51 | P/FINAL | 2025-10-27 | 15:11 | 2025-10-27 | 14:21 | ANA | 4 | 1.02 | 1.02 | / | / | 0.529 | 6.222 |  |  | 0.16 | 120 |  | Andrea V |  | 3 | 2
2 | 1.00 | 52 | P/FINAL | 2025-10-27 | 15:11 | 2025-10-27 | 14:21 | ANA | 4 | 1.03 | 1.04 | / | / | 0.535 |  |  |  | 0.17 | 114 |  | Andrea V |  | 3 | 2
3 | 4.00 | 53 | P/FINAL | 2025-10-27 | 15:14 | 2025-10-27 | 14:21 | ANA | 4 | 4.25 | 4.26 | / | / | 2.000 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 54 | P/FINAL | 2025-10-27 | 15:17 | 2025-10-27 | 14:21 | ANA | 4 | 4.12 | 4.13 | / | / | 1.949 | 6.234 |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 55 | P/FINAL | 2025-10-27 | 15:18 | 2025-10-27 | 14:21 | ANA | 4 | 4.22 | 4.22 | / | / | 1.987 |  |  |  | 0.15 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 56 | P/FINAL | 2025-10-27 | 15:19 | 2025-10-27 | 14:21 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.24 | 107 |  | Andrea V |  | 3 | 1
1 | 0.00 | 57 | P/FINAL | 2025-10-27 | 15:20 | 2025-10-27 | 14:21 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.207 |  |  | 0.18 | 116 |  | Andrea V |  | 3 | 1
3 | 4.00 | 58 | P/FINAL | 2025-10-27 | 15:24 | 2025-10-27 | 14:21 | ANA | 4 | 4.27 | 4.29 | / | / | 2.008 |  |  |  | 0.14 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 59 | P/FINAL | 2025-10-27 | 15:26 | 2025-10-27 | 14:21 | ANA | 4 | 3.98 | 4.01 | / | / | 1.894 | 6.141 |  |  | 0.19 | 115 |  | Andrea V |  | 3 | 3
3 | 4.00 | 60 | P/FINAL | 2025-10-27 | 15:27 | 2025-10-27 | 14:21 | ANA | 4 | 4.16 | 4.20 | / | / | 1.964 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 61 | P/FINAL | 2025-10-27 | 15:29 | 2025-10-27 | 14:21 | ANA | 4 | 4.13 | 4.15 | / | / | 1.954 |  |  |  | 0.15 | 91 |  | Andrea V |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 1.01 mg/L | 12 | 24 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 4.1 mg/L | 16 | 32 | 4.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.10 | YES
Validation Date | by