## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1209 | HI93701-0 | CP-R25 | W 42/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-17 | 2025-10-29 | 4 HEAD |  |  | 1195
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-17 | 08:25 | 2025-10-17 | 06:57 | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-17 | 08:25 | 2025-10-17 | 06:57 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Old A | 2025-10-17 | 08:29 | 2025-10-17 | 06:57 | ERIKA |  | 0.96 | 0.98 | / | / | 0.498 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 4 | Old A | 2025-10-17 | 08:30 | 2025-10-17 | 06:57 | ERIKA |  | 0.99 | 1.02 | / | / | 0.515 |  |  |  | 0.51 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 5 | Valid | 2025-10-17 | 08:32 | 2025-10-17 | 06:57 | ERIKA |  | 0.99 | 1.01 | / | / | 0.512 |  |  |  | 0.59 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 6 | Valid | 2025-10-17 | 08:32 | 2025-10-17 | 06:57 | ERIKA |  | 0.98 | 1.00 | / | / | 0.511 | 6.071 |  |  | 0.49 |  |  | Andrea V |  | 3 | 2 | 14406
2 | 1.00 | 7 | Valid | 2025-10-17 | 08:33 | 2025-10-17 | 06:57 | ERIKA |  | 0.98 | 1.00 | / | / | 0.511 |  |  |  | 0.55 |  |  | Andrea V |  | 3 | 2 | 14406
3 | 4.00 | 8 | Old A | 2025-10-17 | 08:37 | 2025-10-17 | 06:57 | ERIKA |  | 4.09 | 4.13 | / | / | 1.936 |  |  |  | 0.38 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 9 | Old A | 2025-10-17 | 08:38 | 2025-10-17 | 06:57 | ERIKA |  | 4.06 | 4.10 | / | / | 1.925 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 10 | Valid | 2025-10-17 | 08:40 | 2025-10-17 | 06:57 | ERIKA |  | 3.59 | 3.68 | / | / | 1.733 |  |  |  | 0.99 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 11 | Valid | 2025-10-17 | 08:41 | 2025-10-17 | 06:57 | ERIKA |  | 3.78 | 3.79 | / | / | 1.811 |  |  |  | 1.01 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 12 | Valid | 2025-10-17 | 08:43 | 2025-10-17 | 06:57 | ERIKA |  | 3.87 | 3.92 | / | / | 1.848 | 6.120 |  |  | 1.24 |  |  | Andrea V |  | 3 | 3 | 14406
3 | 4.00 | 13 | Valid | 2025-10-17 | 08:46 | 2025-10-17 | 06:57 | ERIKA |  | 3.96 | 4.01 | / | / | 1.883 | 6.131 |  |  | 0.74 |  |  | Andrea V |  | 3 | 3 | 14406
1 | 0.00 | 14 | Valid | 2025-10-17 | 08:47 | 2025-10-17 | 06:57 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 | 6.118 |  |  | 0.25 |  |  | Andrea V |  | 3 | 1 | 14406
2 | 1.00 | 15 | Valid | 2025-10-17 | 11:29 | 2025-10-17 | 09:42 | ERIKA |  | 0.99 | 0.98 | / | / | 0.516 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 2 |  | MIXED MORE
2 | 1.00 | 16 | Valid | 2025-10-17 | 11:31 | 2025-10-17 | 09:42 | ERIKA |  | 0.96 | 0.95 | / | / | 0.500 | 6.232 |  |  | 0.41 |  |  | Andrea V |  | 3 | 2 |  | MIXED MORE
3 | 4.00 | 17 | Valid | 2025-10-17 | 11:33 | 2025-10-17 | 09:42 | ERIKA |  | 4.02 | 4.01 | / | / | 1.909 | 6.151 |  |  | 0.14 |  |  | Andrea V |  | 3 | 3 | 23044 | MIXED MORE
3 | 4.00 | 18 | Valid | 2025-10-17 | 11:34 | 2025-10-17 | 09:42 | ERIKA |  | 3.90 | 3.90 | / | / | 1.861 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 23044 | MIXED MORE
1 | 0.00 | 19 | Valid | 2025-10-17 | 11:36 | 2025-10-17 | 09:42 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 1 | 23044 | MIXED MORE
3 | 4.00 | 20 | Valid | 2025-10-17 | 11:47 | 2025-10-17 | 09:42 | ERIKA |  | 3.95 | 3.95 | / | / | 1.880 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3 | 23044 | MIXED MORE
3 | 4.00 | 21 | Valid | 2025-10-17 | 11:50 | 2025-10-17 | 09:42 | ERIKA |  | 4.02 | 4.01 | / | / | 1.909 | 6.169 |  |  | 0.38 |  |  | Andrea V |  | 3 | 3 | 23044 | MIXED MORE
2 | 1.00 | 22 | Old A | 2025-10-28 | 12:07 | 2025-10-28 | 08:49 | DORINA |  | 1.04 | 1.04 | / | / | 0.540 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 23 | Old A | 2025-10-28 | 12:07 | 2025-10-28 | 08:49 | DORINA |  | 1.04 | 1.05 | / | / | 0.541 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 24 | Old A | 2025-10-28 | 12:11 | 2025-10-28 | 08:49 | DORINA |  | 0.01 | 0.00 | / | / | 0.0089 |  |  |  | 0.35 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 25 | Old A | 2025-10-28 | 12:12 | 2025-10-28 | 08:49 | DORINA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 1
3 | 4.00 | 26 | Old A | 2025-10-28 | 12:12 | 2025-10-28 | 08:49 | DORINA |  | 4.20 | 4.20 | / | / | 1.980 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 27 | Old A | 2025-10-28 | 12:16 | 2025-10-28 | 08:49 | DORINA |  | 4.24 | 4.22 | / | / | 1.994 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3
2 | 1.00 | 28 | P/FINAL | 2025-10-28 | 12:18 | 2025-10-28 | 08:49 | DORINA |  | 1.04 | 1.03 | / | / | 0.537 |  |  |  | 0.24 | 90 |  | Andrea V |  | 3 | 2
2 | 1.00 | 29 | P/FINAL | 2025-10-28 | 12:18 | 2025-10-28 | 08:49 | DORINA |  | 1.02 | 1.02 | / | / | 0.529 | 6.279 |  |  | 0.18 | 129 |  | Andrea V |  | 3 | 2
2 | 1.00 | 30 | P/FINAL | 2025-10-28 | 12:19 | 2025-10-28 | 08:49 | DORINA |  | 1.04 | 1.04 | / | / | 0.539 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 31 | P/FINAL | 2025-10-28 | 12:22 | 2025-10-28 | 08:49 | DORINA |  | 0.00 | 0.01 | / | / | 0.008 |  |  |  | 0.23 | 110 |  | Andrea V |  | 3 | 1
1 | 0.00 | 32 | P/FINAL | 2025-10-28 | 12:23 | 2025-10-28 | 08:49 | DORINA |  | 0.00 | 0.01 | / | / | 0.008 | 6.261 |  |  | 0.23 | 117 |  | Andrea V |  | 3 | 1
3 | 4.00 | 33 | P/FINAL | 2025-10-28 | 12:25 | 2025-10-28 | 08:49 | DORINA |  | 4.14 | 4.12 | / | / | 1.956 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 34 | P/FINAL | 2025-10-28 | 12:28 | 2025-10-28 | 08:49 | DORINA |  | 4.23 | 4.21 | / | / | 1.992 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 35 | P/FINAL | 2025-10-28 | 12:30 | 2025-10-28 | 08:49 | DORINA |  | 4.15 | 4.12 | / | / | 1.962 | 6.206 |  |  | 0.15 |  |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 36 | P/FINAL | 2025-10-28 | 12:32 | 2025-10-28 | 08:49 | DORINA |  | 4.07 | 4.05 | / | / | 1.928 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 37 | Old A | 2025-10-28 | 12:33 | 2025-10-28 | 08:49 | DORINA |  | 3.91 | 3.91 | / | / | 1.862 |  |  |  | 0.24 | 114 |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 38 | Old A | 2025-10-28 | 12:40 | 2025-10-28 | 08:49 | DORINA |  | 4.14 | 4.14 | / | / | 1.958 |  |  |  | 0.22 | 111 |  | Kinga |  | 3 | 3
2 | 1.00 | 39 | P/FINAL | 2025-10-28 | 16:11 | 2025-10-28 | 14:33 | ANA |  | 1.01 | 1.01 | / | / | 0.524 |  |  |  | 0.36 | 85 |  | Andrea V |  | 3 | 2 | 115545
2 | 1.00 | 40 | P/FINAL | 2025-10-28 | 16:12 | 2025-10-28 | 14:33 | ANA |  | 1.02 | 1.03 | / | / | 0.531 |  |  |  | 0.21 | 118 |  | Andrea V |  | 3 | 2 | 115545
2 | 1.00 | 41 | P/FINAL | 2025-10-28 | 16:12 | 2025-10-28 | 14:33 | ANA |  | 1.02 | 1.02 | / | / | 0.530 | 6.201 |  |  | 0.32 | 95 |  | Andrea V |  | 3 | 2 | 115545
3 | 4.00 | 42 | P/FINAL | 2025-10-28 | 16:15 | 2025-10-28 | 14:33 | ANA |  | 4.13 | 4.15 | / | / | 1.962 | 6.201 |  |  | 0.17 | 107 |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 43 | P/FINAL | 2025-10-28 | 16:16 | 2025-10-28 | 14:33 | ANA |  | 4.15 | 4.15 | / | / | 1.961 | 6.295 |  |  | 0.19 | 104 |  | Andrea V |  | 3 | 3 | 115545
3 | 4.00 | 44 | P/FINAL | 2025-10-28 | 16:18 | 2025-10-28 | 14:33 | ANA |  | 3.98 | 3.99 | / | / | 1.891 |  |  |  | 0.40 |  |  | Andrea V |  | 3 | 3 | 115545
1 | 0.00 | 45 | P/FINAL | 2025-10-28 | 16:18 | 2025-10-28 | 14:33 | ANA |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 1 | 115545
1 | 0.00 | 46 | P/FINAL | 2025-10-28 | 16:19 | 2025-10-28 | 14:33 | ANA |  | 0.00 | 0.00 | / | / | 0.002 | 6.210 |  |  | 0.18 |  |  | Andrea V |  | 3 | 1 | 115545
2 | 1.00 | 47 | Old A | 2025-10-29 | 08:27 | 2025-10-29 | 07:00 | DORINA |  | 1.06 | 1.01 | / | / | 0.550 |  |  |  | 13.5 |  |  | Kinga |  | 3 | 2 | 115545
2 | 1.00 | 48 | Old A | 2025-10-29 | 08:27 | 2025-10-29 | 07:00 | DORINA |  | 1.03 | 0.99 | / | / | 0.532 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 2 | 115545
3 | 4.00 | 49 | Old A | 2025-10-29 | 08:28 | 2025-10-29 | 07:00 | DORINA |  | 4.15 | 4.11 | / | / | 1.927 |  |  |  | 7.75 |  |  | Kinga |  | 3 | 3 | 115545
3 | 4.00 | 50 | Old A | 2025-10-29 | 08:29 | 2025-10-29 | 07:00 | DORINA |  | 4.04 | 4.06 | / | / | 1.917 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3 | 115545
1 | 0.00 | 51 | Old A | 2025-10-29 | 08:32 | 2025-10-29 | 07:00 | DORINA |  | 0.03 | 0.01 | / | / | 0.021 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 1 | 115545
1 | 0.00 | 52 | Old A | 2025-10-29 | 08:35 | 2025-10-29 | 07:00 | DORINA |  | 0.03 | 0.00 | / | / | 0.020 |  |  |  | 1.01 |  |  | Kinga |  | 3 | 1 | 115545
2 | 1.00 | 53 | P/FINAL | 2025-10-29 | 08:36 | 2025-10-29 | 07:00 | DORINA |  | 1.01 | 1.03 | / | / | 0.524 |  |  |  | 3.34 | 113 |  | Kinga |  | 3 | 2 | 115545
2 | 1.00 | 54 | P/FINAL | 2025-10-29 | 08:36 | 2025-10-29 | 07:00 | DORINA |  | 1.02 | 1.01 | / | / | 0.530 | 6.216 |  |  | 6.57 | 113 |  | Kinga |  | 3 | 2 | 115545
2 | 1.00 | 55 | P/FINAL | 2025-10-29 | 08:37 | 2025-10-29 | 07:00 | DORINA |  | 1.01 | 1.03 | / | / | 0.526 |  |  |  | 1.79 | 122 |  | Kinga |  | 3 | 2 | 115545
3 | 4.00 | 56 | P/FINAL | 2025-10-29 | 08:39 | 2025-10-29 | 07:00 | DORINA |  | 4.04 | 3.95 | / | / | 1.916 |  |  |  | 2.13 | 112 |  | Kinga |  | 3 | 3 | 115545
3 | 4.00 | 57 | P/FINAL | 2025-10-29 | 08:40 | 2025-10-29 | 07:00 | DORINA |  | 4.15 | 4.10 | / | / | 1.960 | 6.324 |  |  | 0.67 |  |  | Kinga |  | 3 | 3 | 115545
3 | 4.00 | 58 | P/FINAL | 2025-10-29 | 08:42 | 2025-10-29 | 07:00 | DORINA |  | 4.02 | 3.99 | / | / | 1.910 |  |  |  | 4.73 |  |  | Kinga |  | 3 | 3 | 115545
1 | 0.00 | 59 | P/FINAL | 2025-10-29 | 08:43 | 2025-10-29 | 07:00 | DORINA |  | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 1.73 |  |  | Kinga |  | 3 | 1 | 115545
1 | 0.00 | 60 | P/FINAL | 2025-10-29 | 08:44 | 2025-10-29 | 07:00 | DORINA |  | 0.01 | 0.01 | / | / | 0.009 | 6.231 |  |  | 0.73 |  |  | Kinga |  | 3 | 1 | 115545
2 | 1.00 | 61 | Old A | 2025-11-03 | 12:00 | 2025-11-03 | 11:15 | ANA | 4 | 1.00 | 0.97 | / | / | 0.518 |  |  |  | 2.02 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 62 | Old A | 2025-11-03 | 12:01 | 2025-11-03 | 11:15 | ANA | 4 | 0.99 | 0.97 | / | / | 0.512 |  |  |  | 0.94 |  |  | Kinga |  | 3 | 2 | 114936
3 | 4.00 | 63 | Old A | 2025-11-03 | 12:03 | 2025-11-03 | 11:15 | ANA | 4 | 4.03 | 3.98 | / | / | 1.912 |  |  |  | 3.13 |  |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 64 | Old A | 2025-11-03 | 12:04 | 2025-11-03 | 11:15 | ANA | 4 | 4.02 | 3.97 | / | / | 1.909 |  |  |  | 1.66 |  |  | Kinga |  | 3 | 3 | 114936
1 | 0.00 | 65 | Old A | 2025-11-03 | 12:05 | 2025-11-03 | 11:15 | ANA | 4 | 0.02 | 0.00 | / | / | 0.015 |  |  |  | 1.54 |  |  | Kinga |  | 3 | 1 | 114936
1 | 0.00 | 66 | Old A | 2025-11-03 | 12:05 | 2025-11-03 | 11:15 | ANA | 4 | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 1 | 114936
2 | 1.00 | 67 | P/FINAL | 2025-11-03 | 12:08 | 2025-11-03 | 11:15 | ANA | 4 | 0.97 | 0.96 | / | / | 0.505 |  |  |  | 0.78 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 68 | P/FINAL | 2025-11-03 | 12:08 | 2025-11-03 | 11:15 | ANA | 4 | 1.01 | 0.99 | / | / | 0.522 | 6.162 |  |  | 0.63 | 100 |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 69 | P/FINAL | 2025-11-03 | 12:09 | 2025-11-03 | 11:15 | ANA | 4 | 0.99 | 0.98 | / | / | 0.514 |  |  |  | 0.48 | 106 |  | Kinga |  | 3 | 2 | 114936
3 | 4.00 | 70 | P/FINAL | 2025-11-03 | 12:12 | 2025-11-03 | 11:15 | ANA | 4 | 3.97 | 3.94 | / | / | 1.889 |  |  |  | 0.96 | 137 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 71 | P/FINAL | 2025-11-03 | 12:12 | 2025-11-03 | 11:15 | ANA | 4 | 3.97 | 3.92 | / | / | 1.888 | 6.172 |  |  | 1.84 | 122 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 72 | P/FINAL | 2025-11-03 | 12:13 | 2025-11-03 | 11:15 | ANA | 4 | 3.88 | 3.85 | / | / | 1.851 |  |  |  | 1.20 |  |  | Kinga |  | 3 | 3 | 114936
1 | 0.00 | 73 | P/FINAL | 2025-11-03 | 12:16 | 2025-11-03 | 11:15 | ANA | 4 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.84 |  |  | Kinga |  | 3 | 1 | 114936
1 | 0.00 | 74 | P/FINAL | 2025-11-03 | 12:17 | 2025-11-03 | 11:15 | ANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.176 |  |  | 0.81 |  |  | Kinga |  | 3 | 1 | 114936
2 | 1.00 | 75 | P/FINAL | 2025-11-03 | 15:23 | 2025-11-03 | 14:57 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.515 |  |  |  | 1.30 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 76 | P/FINAL | 2025-11-03 | 15:23 | 2025-11-03 | 14:57 | DORINA | 4 | 1.02 | 1.04 | / | / | 0.527 | 6.202 |  |  | 0.78 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 77 | P/FINAL | 2025-11-03 | 15:24 | 2025-11-03 | 14:57 | DORINA | 4 | 1.02 | 1.03 | / | / | 0.531 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 2 | 114936
1 | 0.00 | 78 | P/FINAL | 2025-11-03 | 15:29 | 2025-11-03 | 14:57 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.03 | 111 |  | Kinga |  | 3 | 1 | 114936
1 | 0.00 | 79 | P/FINAL | 2025-11-03 | 15:30 | 2025-11-03 | 14:57 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.146 |  |  | 0.88 | 108 |  | Kinga |  | 3 | 1 | 114936
3 | 4.00 | 80 | P/FINAL | 2025-11-03 | 15:32 | 2025-11-03 | 14:57 | DORINA | 4 | 4.03 | 4.04 | / | / | 1.912 |  |  |  | 0.48 | 115 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 81 | P/FINAL | 2025-11-03 | 15:33 | 2025-11-03 | 14:57 | DORINA | 4 | 4.14 | 4.11 | / | / | 1.956 |  |  |  | 0.53 | 104 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 82 | P/FINAL | 2025-11-03 | 15:33 | 2025-11-03 | 14:57 | DORINA | 4 | 4.09 | 4.07 | / | / | 1.935 | 6.128 |  |  | 0.41 | 93 |  | Kinga |  | 3 | 3 | 114936
2 | 1.00 | 83 | Old A | 2025-11-04 | 07:30 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 1.05 | 1.06 | / | / | 0.545 |  |  |  | 8.02 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 84 | Old A | 2025-11-04 | 07:31 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 1.06 | 1.05 | / | / | 0.548 |  |  |  | 2.64 |  |  | Kinga |  | 3 | 2 | 114936
3 | 4.00 | 85 | Old A | 2025-11-04 | 07:31 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 4.10 | 4.10 | / | / | 1.941 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 86 | Old A | 2025-11-04 | 07:32 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 4.09 | 4.09 | / | / | 1.936 |  |  |  | 1.79 |  |  | Kinga |  | 3 | 3 | 114936
1 | 0.00 | 87 | Old A | 2025-11-04 | 07:32 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 2.96 |  |  | Kinga |  | 3 | 1 | 114936
1 | 0.00 | 88 | Old A | 2025-11-04 | 07:33 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.00 | 0.02 | / | / | 0.005 |  |  |  | 0.92 |  |  | Kinga |  | 3 | 1 | 114936
2 | 1.00 | 89 | P/FINAL | 2025-11-04 | 07:36 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.98 | 0.98 | / | / | 0.509 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 90 | P/FINAL | 2025-11-04 | 07:37 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 1.02 | 1.01 | / | / | 0.527 | 6.173 |  |  | 1.79 | 119 |  | Kinga |  | 3 | 2 | 114936
2 | 1.00 | 91 | P/FINAL | 2025-11-04 | 07:37 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.97 | 0.96 | / | / | 0.503 |  |  |  | 1.05 | 119 |  | Kinga |  | 3 | 2 | 114936
3 | 4.00 | 92 | P/FINAL | 2025-11-04 | 07:38 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 3.95 | 3.93 | / | / | 1.880 |  |  |  | 1.05 | 122 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 93 | P/FINAL | 2025-11-04 | 07:39 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 3.96 | 3.94 | / | / | 1.889 | 6.169 |  |  | 1.53 | 131 |  | Kinga |  | 3 | 3 | 114936
3 | 4.00 | 94 | P/FINAL | 2025-11-04 | 07:40 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 4.11 | 4.12 | / | / | 1.946 |  |  |  | 1.29 |  |  | Kinga |  | 3 | 3 | 114936
1 | 0.00 | 95 | P/FINAL | 2025-11-04 | 07:41 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 114936
1 | 0.00 | 96 | P/FINAL | 2025-11-04 | 07:42 | 2025-11-04 | 06:31 | GIORGIANA | 4 | 0.02 | 0.01 | / | / | 0.015 | 5.952 |  |  | 2.31 |  |  | Kinga |  | 3 | 1 | 114936
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 1.01 mg/L | 18 | 36 | 1.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 4.05 mg/L | 19 | 38 | 4.05 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.01 | YES
4.00 | 3.85 ÷ 4.15 | 4.05 | YES
Validation Date | by