## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1227 | HI93701-0 | CP-R25 | W 45/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-06 | 2025-11-17 | 4 HEAD |  |  | 1211
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-710
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-11-06 | 08:33 | 2025-11-06 | 08:07 | ERIKA |  | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 1.12 |  |  | Kinga |  | 3 | 1 | 95656
1 | 0.00 | 2 | Old A | 2025-11-06 | 08:33 | 2025-11-06 | 08:07 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.19 |  |  | Kinga |  | 3 | 1 | 95656
2 | 1.00 | 3 | Old A | 2025-11-06 | 08:34 | 2025-11-06 | 08:07 | ERIKA |  | 1.04 | 1.05 | / | / | 0.536 |  |  |  | 1.39 |  |  | Kinga |  | 3 | 2 | 95656
2 | 1.00 | 4 | Old A | 2025-11-06 | 08:34 | 2025-11-06 | 08:07 | ERIKA |  | 1.04 | 1.03 | / | / | 0.538 |  |  |  | 5.88 |  |  | Kinga |  | 3 | 2 | 95656
3 | 4.00 | 5 | Old A | 2025-11-06 | 08:35 | 2025-11-06 | 08:07 | ERIKA |  | 4.08 | 4.13 | / | / | 1.931 |  |  |  | 17.5 |  |  | Kinga |  | 3 | 3 | 95656
3 | 4.00 | 6 | Old A | 2025-11-06 | 08:35 | 2025-11-06 | 08:07 | ERIKA |  | 3.89 | 3.86 | / | / | 1.856 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 3 | 95656
2 | 1.00 | 7 | Valid | 2025-11-06 | 08:39 | 2025-11-06 | 08:07 | ERIKA |  | 1.02 | 0.99 | / | / | 0.529 |  |  |  | 3.40 |  |  | Kinga |  | 3 | 2 | 95656
2 | 1.00 | 8 | Valid | 2025-11-06 | 08:39 | 2025-11-06 | 08:07 | ERIKA |  | 1.02 | 1.00 | / | / | 0.528 | 6.162 |  |  | 6.71 |  |  | Kinga |  | 3 | 2 | 95656
2 | 1.00 | 9 | Valid | 2025-11-06 | 08:40 | 2025-11-06 | 08:07 | ERIKA |  | 1.02 | 1.00 | / | / | 0.531 |  |  |  | 2.24 |  |  | Kinga |  | 3 | 2 | 95656
3 | 4.00 | 10 | Valid | 2025-11-06 | 08:42 | 2025-11-06 | 08:07 | ERIKA |  | 4.07 | 3.97 | / | / | 1.927 | 6.122 |  |  | 1.86 |  |  | Kinga |  | 3 | 3 | 95656
3 | 4.00 | 11 | Valid | 2025-11-06 | 08:43 | 2025-11-06 | 08:07 | ERIKA |  | 4.04 | 4.07 | / | / | 1.918 |  |  |  | 6.62 |  |  | Kinga |  | 3 | 3 | 95656
3 | 4.00 | 12 | Valid | 2025-11-06 | 08:44 | 2025-11-06 | 08:07 | ERIKA |  | 4.13 | 4.13 | / | / | 1.954 |  |  |  | 5.84 |  |  | Kinga |  | 3 | 3 | 95656
1 | 0.00 | 13 | Valid | 2025-11-06 | 08:46 | 2025-11-06 | 08:07 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 6.180 |  |  | 10.8 |  |  | Kinga |  | 3 | 1 | 95656
1 | 0.00 | 14 | Valid | 2025-11-06 | 08:46 | 2025-11-06 | 08:07 | ERIKA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.32 |  |  | Kinga |  | 3 | 1 | 95656
2 | 1.00 | 15 | Old A | 2025-11-14 | 17:51 | 2025-11-14 | 16:57 | ANA | 4 | 0.99 | 1.00 | / | / | 0.515 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 2 | 110957
2 | 1.00 | 16 | Old A | 2025-11-14 | 17:51 | 2025-11-14 | 16:57 | ANA | 4 | 0.98 | 0.99 | / | / | 0.511 |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 2 | 110957
3 | 4.00 | 17 | Old A | 2025-11-14 | 17:53 | 2025-11-14 | 16:57 | ANA | 4 | 4.14 | 4.13 | / | / | 1.956 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 3 | 110957
3 | 4.00 | 18 | Old A | 2025-11-14 | 17:54 | 2025-11-14 | 16:57 | ANA | 4 | 4.24 | 4.21 | / | / | 1.955 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 3 | 110957
1 | 0.00 | 19 | Old A | 2025-11-14 | 17:56 | 2025-11-14 | 16:57 | ANA | 4 | 0.00 | 0.02 | / | / | 0.008 |  |  |  | 0.72 |  |  | Andrea V |  | 3 | 1 | 110957
1 | 0.00 | 20 | Old A | 2025-11-14 | 17:56 | 2025-11-14 | 16:57 | ANA | 4 | 0.00 | 0.01 | / | / | 0.007 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 1 | 110957
2 | 1.00 | 21 | P/FINAL | 2025-11-14 | 18:00 | 2025-11-14 | 16:57 | ANA | 4 | 0.98 | 0.99 | / | / | 0.510 |  |  |  | 0.68 | 113 |  | Andrea V |  | 3 | 2 | 110957
2 | 1.00 | 22 | P/FINAL | 2025-11-14 | 18:01 | 2025-11-14 | 16:57 | ANA | 4 | 0.99 | 0.99 | / | / | 0.514 |  |  |  | 0.70 | 124 |  | Andrea V |  | 3 | 2 | 110957
2 | 1.00 | 23 | P/FINAL | 2025-11-14 | 18:02 | 2025-11-14 | 16:57 | ANA | 4 | 0.98 | 0.99 | / | / |  | 6.390 |  |  | 0.68 |  |  | Andrea V |  | 3 | 2 | 110957
1 | 0.00 | 24 | P/FINAL | 2025-11-14 | 18:02 | 2025-11-14 | 16:57 | ANA | 4 | 0.00 | 0.01 | / | / | 0.007 |  |  |  | 0.26 | 136 |  | Andrea V |  | 3 | 1 | 110957
1 | 0.00 | 25 | P/FINAL | 2025-11-14 | 18:03 | 2025-11-14 | 16:57 | ANA | 4 | 0.01 | 0.03 | / | / | 0.009 | 6.239 |  |  | 0.27 | 123 |  | Andrea V |  | 3 | 1 | 110957
3 | 4.00 | 26 | P/FINAL | 2025-11-14 | 18:08 | 2025-11-14 | 16:57 | ANA | 4 | 4.13 | 4.11 | / | / | 1.953 | 6.288 |  |  | 0.48 |  |  | Andrea V |  | 3 | 3 | 110957
3 | 4.00 | 27 | P/FINAL | 2025-11-14 | 18:09 | 2025-11-14 | 16:57 | ANA | 4 | 4.14 | 4.12 | / | / | 1.956 |  |  |  | 0.18 |  |  | Andrea V |  | 3 | 3 | 110957
3 | 4.00 | 28 | P/FINAL | 2025-11-14 | 18:11 | 2025-11-14 | 16:57 | ANA | 4 | 4.23 | 4.21 | / | / | 1.922 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 3 | 110957
3 | 4.00 | 29 | Old A | 2025-11-14 | 18:13 | 2025-11-14 | 16:57 | ANA | 4 | 4.07 | 4.05 | / | / | 1.929 |  |  |  | 0.29 | 131 |  | Andrea V |  | 3 | 3 | 110957
3 | 4.00 | 30 | P/FINAL | 2025-11-14 | 18:15 | 2025-11-14 | 16:57 | ANA | 4 | 4.13 | 4.12 | / | / | 1.954 |  |  |  | 0.15 | 123 |  | Andrea V |  | 3 | 3 | 110957
2 | 1.00 | 31 | Old A | 2025-11-17 | 09:38 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.97 | 0.95 | / | / | 0.498 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 32 | Old A | 2025-11-17 | 09:38 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 1.01 | 1.05 | / | / | 0.501 |  |  |  | 1.34 |  |  | Kinga |  | 3 | 2 | 110957
3 | 4.00 | 33 | Old A | 2025-11-17 | 09:39 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 4.03 | 3.99 | / | / | 1.914 |  |  |  | 2.33 |  |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 34 | Old A | 2025-11-17 | 09:40 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 3.95 | 3.91 | / | / | 1.883 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 3 | 110957
1 | 0.00 | 35 | Old A | 2025-11-17 | 09:42 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 2.28 |  |  | Kinga |  | 3 | 1 | 110957
1 | 0.00 | 36 | P/FINAL | 2025-11-17 | 09:42 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 2.28 |  |  | Kinga |  | 3 | 1 | 110957
2 | 1.00 | 37 | P/FINAL | 2025-11-17 | 09:46 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 1.02 | 1.00 | / | / | 0.531 |  |  |  | 7.29 |  |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 38 | P/FINAL | 2025-11-17 | 09:47 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.95 | 0.96 | / | / | 0.495 |  |  |  | 1.47 | 113 |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 39 | P/FINAL | 2025-11-17 | 09:49 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.98 | 0.97 | / | / | 0.509 | 6.072 |  |  | 1.58 | 119 |  | Kinga |  | 3 | 2 | 110957
3 | 4.00 | 40 | P/FINAL | 2025-11-17 | 09:52 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 4.02 | 4.02 | / | / | 1.909 |  |  |  | 2.68 | 118 |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 41 | P/FINAL | 2025-11-17 | 09:53 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 4.00 | 4.02 | / | / | 1.913 | 6.067 |  |  | 2.71 | 121 |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 42 | P/FINAL | 2025-11-17 | 09:53 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 4.14 | 4.15 | / | / | 1.955 |  |  |  | 2.74 |  |  | Kinga |  | 3 | 3 | 110957
1 | 0.00 | 43 | P/FINAL | 2025-11-17 | 09:54 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 1 | 110957
1 | 0.00 | 44 | P/FINAL | 2025-11-17 | 09:54 | 2025-11-17 | 06:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.135 |  |  | 0.73 |  |  | Kinga |  | 3 | 1 | 110957
2 | 1.00 | 45 | P/FINAL | 2025-11-17 | 15:45 | 2025-11-17 | 14:20 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.465 | 6.200 |  |  | 0.50 | 122 |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 46 | P/FINAL | 2025-11-17 | 15:46 | 2025-11-17 | 14:20 | DORINA | 4 | 0.92 | 0.94 | / | / | 0.480 |  |  |  | 0.59 | 126 |  | Kinga |  | 3 | 2 | 110957
3 | 4.00 | 47 | P/FINAL | 2025-11-17 | 15:47 | 2025-11-17 | 14:20 | DORINA | 4 | 3.85 | 3.85 | / | / | 1.838 |  |  |  | 0.63 | 117 |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 48 | P/FINAL | 2025-11-17 | 15:48 | 2025-11-17 | 14:20 | DORINA | 4 | 4.02 | 3.92 | / | / | 1.909 |  |  |  | 3.40 | 125 |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 49 | P/FINAL | 2025-11-17 | 15:50 | 2025-11-17 | 14:20 | DORINA | 4 | 4.06 | 4.05 | / | / | 1.924 | 6.239 |  |  | 1.73 |  |  | Kinga |  | 3 | 3 | 110957
1 | 0.00 | 50 | P/FINAL | 2025-11-17 | 15:53 | 2025-11-17 | 14:20 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 110957
1 | 0.00 | 51 | P/FINAL | 2025-11-17 | 15:54 | 2025-11-17 | 14:20 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.165 |  |  | 0.31 |  |  | Kinga |  | 3 | 1 | 110957
1 | 0.00 | 52 | Old A | 2025-11-18 | 09:06 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 0.01 | 0.01 | / | / | 0.013 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 1 | 110925
1 | 0.00 | 53 | Old A | 2025-11-18 | 09:07 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.29 |  |  | Kinga |  | 3 | 1 | 110925
2 | 1.00 | 54 | Old A | 2025-11-18 | 09:07 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 1.04 | 1.00 | / | / | 0.562 |  |  |  | 20.8 |  |  | Kinga |  | 3 | 2 | 110925
2 | 1.00 | 55 | Old A | 2025-11-18 | 09:08 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 1.05 | 1.02 | / | / | 0.552 |  |  |  | 18.5 |  |  | Kinga |  | 3 | 2 | 110925
3 | 4.00 | 56 | Old A | 2025-11-18 | 09:10 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 4.02 | 4.03 | / | / | 1.909 |  |  |  | 2.44 |  |  | Kinga |  | 3 | 3 | 110925
3 | 4.00 | 57 | Old A | 2025-11-18 | 09:10 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 4.00 | 4.01 | / | / | 1.909 |  |  |  | 2.13 | 111 |  | Kinga |  | 3 | 3 | 110925
2 | 1.00 | 58 | P/FINAL | 2025-11-18 | 09:13 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 1.04 | 0.98 | / | / | 0.543 |  |  |  | 5.61 | 110 |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 59 | P/FINAL | 2025-11-18 | 09:14 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 1.00 | 0.94 | / | / | 0.519 |  |  |  | 6.62 | 120 |  | Kinga |  | 3 | 2 | 110957
2 | 1.00 | 60 | P/FINAL | 2025-11-18 | 09:15 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 0.94 | 0.95 | / | / | 0.487 |  |  |  | 1.34 | 111 |  | Kinga |  | 3 | 2 | 110957
3 | 4.00 | 61 | P/FINAL | 2025-11-18 | 09:17 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 4.00 | 4.03 | / | / | 1.899 |  |  |  | 6.56 | 115 |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 62 | P/FINAL | 2025-11-18 | 09:18 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 4.08 | 4.06 | / | / | 1.931 |  |  |  | 19.0 |  |  | Kinga |  | 3 | 3 | 110957
3 | 4.00 | 63 | P/FINAL | 2025-11-18 | 09:19 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 4.05 | 4.08 | / | / | 1.921 |  |  |  | 18.3 |  |  | Kinga |  | 3 | 3 | 110957
1 | 0.00 | 64 | P/FINAL | 2025-11-18 | 09:20 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 2.75 |  |  | Kinga |  | 3 | 1 | 110957
1 | 0.00 | 65 | P/FINAL | 2025-11-18 | 09:20 | 2025-11-18 | 06:43 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.98 |  |  | Kinga |  | 3 | 1 | 110957
2 | 1.00 | 66 | P/FINAL | 2025-11-18 | 15:18 | 2025-11-18 | 14:27 | DORINA | 4 | 1.00 | 0.96 | / | / | 0.518 |  |  |  | 18.9 | 128 |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 67 | P/FINAL | 2025-11-18 | 15:19 | 2025-11-18 | 14:27 | DORINA | 4 | 1.01 | 0.96 | / | / | 0.522 | 6.147 |  |  | 5.96 | 127 |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 68 | P/FINAL | 2025-11-18 | 15:19 | 2025-11-18 | 14:27 | DORINA | 4 | 1.02 | 0.98 | / | / | 0.531 |  |  |  | 6.60 | 111 |  | Kinga |  | 3 | 2 | 93412
3 | 4.00 | 69 | P/FINAL | 2025-11-18 | 15:22 | 2025-11-18 | 14:27 | DORINA | 4 | 4.05 | 4.15 | / | / | 1.920 |  |  |  | 21.0 | 115 |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 70 | P/FINAL | 2025-11-18 | 15:24 | 2025-11-18 | 14:27 | DORINA | 4 | 4.01 | 4.05 | / | / | 1.906 | 6.112 |  |  | 1.37 |  |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 71 | P/FINAL | 2025-11-18 | 15:25 | 2025-11-18 | 14:27 | DORINA | 4 | 4.10 | 4.15 | / | / | 1.942 |  |  |  | 1.61 |  |  | Kinga |  | 3 | 3 | 93412
1 | 0.00 | 72 | P/FINAL | 2025-11-18 | 15:27 | 2025-11-18 | 14:27 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 1.33 |  |  | Kinga |  | 3 | 1 | 93412
1 | 0.00 | 73 | P/FINAL | 2025-11-18 | 15:28 | 2025-11-18 | 14:27 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.011 | 6.124 |  |  | 0.66 |  |  | Kinga |  | 3 | 1 | 93412
2 | 1.00 | 74 | Old A | 2025-11-21 | 08:51 | 2025-11-20 | 16:21 | DORINA | 4 | 1.05 | 0.98 | / | / | 0.544 |  |  |  | 19.0 |  |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 75 | Old A | 2025-11-21 | 08:52 | 2025-11-20 | 16:21 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.520 |  |  |  | 36.9 |  |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 76 | P/FINAL | 2025-11-21 | 08:52 | 2025-11-20 | 16:21 | DORINA | 4 | 1.05 | 0.97 | / | / | 0.543 |  |  |  | 24.6 |  |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 77 | P/FINAL | 2025-11-21 | 08:53 | 2025-11-20 | 16:21 | DORINA | 4 | 1.02 | 0.99 | / | / | 0.541 |  |  |  | 24.6 |  |  | Kinga |  | 3 | 2 | 93412
2 | 1.00 | 78 | P/FINAL | 2025-11-21 | 08:54 | 2025-11-20 | 16:21 | DORINA | 4 | 1.00 | 0.97 | / | / | 0.539 |  |  |  | 21.8 |  |  | Kinga |  | 3 | 2 | 93412
3 | 4.00 | 79 | Old A | 2025-11-21 | 08:55 | 2025-11-20 | 16:21 | DORINA | 4 | 3.97 | 3.98 | / | / | 1.888 | 6.092 |  |  | 16.7 |  |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 80 | Old A | 2025-11-21 | 08:56 | 2025-11-20 | 16:21 | DORINA | 4 | 4.08 | 4.06 | / | / | 1.934 |  |  |  | 15.8 | 115 |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 81 | P/FINAL | 2025-11-21 | 08:57 | 2025-11-20 | 16:21 | DORINA | 4 | 4.09 | 4.14 | / | / | 1.936 |  |  |  | 8.04 | 117 |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 82 | P/FINAL | 2025-11-21 | 08:58 | 2025-11-20 | 16:21 | DORINA | 4 | 4.15 | 4.15 | / | / | 1.968 |  |  |  | 19.6 | 110 |  | Kinga |  | 3 | 3 | 93412
3 | 4.00 | 83 | P/FINAL | 2025-11-21 | 08:59 | 2025-11-20 | 16:21 | DORINA | 4 | 4.08 | 4.13 | / | / | 1.933 | 6.081 |  |  | 0.50 | 119 |  | Kinga |  | 3 | 3 | 93412
1 | 0.00 | 84 | Old A | 2025-11-21 | 09:00 | 2025-11-20 | 16:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.30 | 129 |  | Kinga |  | 3 | 1 | 93412
1 | 0.00 | 85 | Old A | 2025-11-21 | 09:00 | 2025-11-20 | 16:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.29 | 123 |  | Kinga |  | 3 | 1 | 93412
1 | 0.00 | 86 | P/FINAL | 2025-11-21 | 09:01 | 2025-11-20 | 16:21 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 4.38 |  |  | Kinga |  | 3 | 1 | 93412
1 | 0.00 | 87 | P/FINAL | 2025-11-21 | 09:02 | 2025-11-20 | 16:21 | DORINA | 4 | 0.03 | 0.00 | / | / | 0.021 | 6.154 |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 93412
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0 mg/L | 13 | 26 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 0.98 mg/L | 17 | 34 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 4.07 mg/L | 19 | 38 | 4.07 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.07 | YES
Validation Date | by