## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1295 | HI93701-0 | CP-R25 | W 03/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2028-01-01 | L57 Powder |  |  | Laboratory | TABLET 3H | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-12 | 2026-01-16 | 4 HEAD |  |  | 1279
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-617 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2026-01-12 | 13:50 | 2026-01-12 | 13:37 | ERIKA |  | 1.01 | 0.98 | / | / | 0.524 |  |  |  | 7.33 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2026-01-12 | 13:51 | 2026-01-12 | 13:37 | ERIKA |  | 0.97 | 0.97 | / | / | 0.499 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2026-01-12 | 13:51 | 2026-01-12 | 13:37 | ERIKA |  | 3.85 | 3.89 | / | / | 1.840 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Old A | 2026-01-12 | 13:52 | 2026-01-12 | 13:37 | ERIKA |  | 4.14 | 4.12 | / | / | 1.956 |  |  |  | 12.6 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old A | 2026-01-12 | 13:52 | 2026-01-12 | 13:37 | ERIKA |  | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 2.01 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2026-01-12 | 13:52 | 2026-01-12 | 13:37 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Valid | 2026-01-12 | 13:58 | 2026-01-12 | 13:37 | ERIKA |  | 1.03 | 1.01 | / | / | 0.533 |  |  |  | 29.6 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2026-01-12 | 13:59 | 2026-01-12 | 13:37 | ERIKA |  | 1.05 | 0.97 | / | / | 0.551 | 6.264 |  |  | 1.27 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 9 | Valid | 2026-01-12 | 14:00 | 2026-01-12 | 13:37 | ERIKA |  | 0.96 | 0.97 | / | / | 0.500 |  |  |  | 1.71 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Valid | 2026-01-12 | 14:04 | 2026-01-12 | 13:37 | ERIKA |  | 4.11 | 4.14 | / | / | 1.946 |  |  |  | 2.92 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2026-01-12 | 14:04 | 2026-01-12 | 13:37 | ERIKA |  | 4.01 | 4.05 | / | / | 1.906 | 6.355 |  |  | 8.46 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | Valid | 2026-01-12 | 14:07 | 2026-01-12 | 13:37 | ERIKA |  | 4.06 | 4.13 | / | / | 1.926 |  |  |  | 2.92 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2026-01-12 | 14:10 | 2026-01-12 | 13:37 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | Valid | 2026-01-12 | 14:11 | 2026-01-12 | 13:37 | ERIKA |  | 0.01 | 0.00 | / | / | 0.011 | 6.271 |  |  | 0.50 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | Old A | 2026-01-16 | 08:39 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.01 | 0.02 | / | / | 0.010 |  |  |  | 3.41 |  |  | Kinga |  | 3 | 1 | 82537
1 | 0.00 | 16 | Old A | 2026-01-16 | 08:40 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 1 | 82537
2 | 1.00 | 17 | Old A | 2026-01-16 | 08:42 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 1.02 | 0.99 | / | / | 0.532 |  |  |  | 19.5 |  |  | Kinga |  | 3 | 2 | 82537
2 | 1.00 | 18 | Old A | 2026-01-16 | 08:42 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 1.00 | 0.98 | / | / | 0.529 |  |  |  | 17.9 |  |  | Kinga |  | 3 | 2 | 82537
3 | 4.00 | 19 | Old A | 2026-01-16 | 08:46 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 4.03 | 4.05 | / | / | 1.913 |  |  |  | 4.92 |  |  | Kinga |  | 3 | 3 | 82537
3 | 4.00 | 20 | Old A | 2026-01-16 | 08:47 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 3.91 | 3.94 | / | / | 1.864 |  |  |  | 9.07 |  |  | Kinga |  | 3 | 3 | 82537
1 | 0.00 | 21 | P/FINAL | 2026-01-16 | 08:51 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.011 |  |  |  | 1.25 |  |  | Kinga |  | 3 | 1 | 82537
1 | 0.00 | 22 | P/FINAL | 2026-01-16 | 08:52 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.013 | 6.180 |  |  | 4.40 |  |  | Kinga |  | 3 | 1 | 82537
2 | 1.00 | 23 | P/FINAL | 2026-01-16 | 08:56 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.95 | 0.95 | / | / | 0.491 |  |  |  | 23.0 | 115 |  | Kinga |  | 3 | 2 | 82537
2 | 1.00 | 24 | P/FINAL | 2026-01-16 | 08:56 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 1.03 | 0.98 | / | / | 0.535 | 6.186 |  |  | 21.1 | 112 |  | Kinga |  | 3 | 2 | 82537
2 | 1.00 | 25 | P/FINAL | 2026-01-16 | 08:57 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 0.96 | 1.04 | / | / | 0.501 |  |  |  | 11.9 | 125 |  | Kinga |  | 3 | 2 | 82537
3 | 4.00 | 26 | P/FINAL | 2026-01-16 | 08:59 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 4.13 | 4.15 | / | / | 1.954 |  |  |  | 7.00 | 121 |  | Kinga |  | 3 | 3 | 82537
3 | 4.00 | 27 | P/FINAL | 2026-01-16 | 09:00 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 4.12 | 4.13 | / | / | 1.950 | 6.436 |  |  | 3.86 |  |  | Kinga |  | 3 | 3 | 82537
3 | 4.00 | 28 | P/FINAL | 2026-01-16 | 09:03 | 2026-01-16 | 06:41 | GIORGIANA | 4 | 4.14 | 4.15 | / | / | 1.956 |  |  |  | 6.29 |  |  | Kinga |  | 3 | 3 | 82537
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.99 mg/L | 3 | 6 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.14 mg/L | 3 | 6 | 4.14 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.14 | YES
Validation Date | by