## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1297 | HI93701-0 | CP-R25 | W 03/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2028-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-13 | 2026-01-22 | 4 HEAD |  |  | 1279
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-783
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2026-01-13 | 09:24 | 2026-01-13 | 08:33 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 | 6.521 |  |  | 0.14 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Valid | 2026-01-13 | 09:25 | 2026-01-13 | 08:33 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.12 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Valid | 2026-01-13 | 09:27 | 2026-01-13 | 08:33 | ERIKA |  | 0.95 | 0.95 | / | / | 0.492 |  |  |  | 1.51 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 4 | Valid | 2026-01-13 | 09:28 | 2026-01-13 | 08:33 | ERIKA |  | 1.01 | 1.01 | / | / | 0.522 |  |  |  | 9.02 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 5 | Valid | 2026-01-13 | 09:28 | 2026-01-13 | 08:33 | ERIKA |  | 0.99 | 0.99 | / | / | 0.515 | 6.256 |  |  | 0.34 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 6 | Valid | 2026-01-13 | 09:31 | 2026-01-13 | 08:33 | ERIKA |  | 4.00 | 4.02 | / | / | 1.900 |  |  |  | 0.75 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 7 | Valid | 2026-01-13 | 09:34 | 2026-01-13 | 08:33 | ERIKA |  | 4.11 | 4.14 | / | / | 1.946 | 6.529 |  |  | 0.20 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 8 | Valid | 2026-01-13 | 09:35 | 2026-01-13 | 08:33 | ERIKA |  | 4.00 | 3.96 | / | / | 1.900 |  |  |  | 2.80 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 9 | Old A | 2026-01-13 | 11:55 | 2026-01-13 | 08:33 | ERIKA |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 10 | Old A | 2026-01-13 | 11:55 | 2026-01-13 | 08:33 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 11 | Old A | 2026-01-13 | 11:56 | 2026-01-13 | 08:33 | ERIKA |  | 0.96 | 0.96 | / | / | 0.499 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 12 | Old A | 2026-01-13 | 11:56 | 2026-01-13 | 08:33 | ERIKA |  | 0.97 | 0.97 | / | / | 0.505 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 13 | Old A | 2026-01-13 | 11:56 | 2026-01-13 | 08:33 | ERIKA |  | 4.06 | 4.09 | / | / | 1.952 |  |  |  | 1.30 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 14 | Old A | 2026-01-13 | 11:57 | 2026-01-13 | 08:33 | ERIKA |  | 4.03 | 4.06 | / | / | 1.913 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 3
2 | 1.00 | 15 | P/FINAL | 2026-01-21 | 14:51 | 2026-01-21 | 13:07 | DORINA | 4 | 1.00 | 1.05 | / | / | 0.519 |  |  |  | 2.11 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 16 | P/FINAL | 2026-01-21 | 14:51 | 2026-01-21 | 13:07 | DORINA | 4 | 1.04 | 1.05 | / | / | 0.539 |  |  |  | 7.86 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 17 | P/FINAL | 2026-01-21 | 14:52 | 2026-01-21 | 13:07 | DORINA | 4 | 1.04 | 1.05 | / | / | 0.563 | 6.206 |  |  | 12.3 | 109 |  | Andrea V |  | 3 | 2
3 | 4.00 | 18 | P/FINAL | 2026-01-21 | 14:55 | 2026-01-21 | 13:07 | DORINA | 4 | 3.94 | 3.89 | / | / | 1.878 |  |  |  | 9.67 | 128 |  | Andrea V |  | 3 | 3
3 | 4.00 | 19 | P/FINAL | 2026-01-21 | 14:55 | 2026-01-21 | 13:07 | DORINA | 4 | 4.10 | 4.04 | / | / | 1.941 |  |  |  | 13.7 | 102 |  | Andrea V |  | 3 | 3
3 | 4.00 | 20 | P/FINAL | 2026-01-21 | 14:56 | 2026-01-21 | 13:07 | DORINA | 4 | 3.91 | 3.99 | / | / | 1.864 | 6.231 |  |  | 38.6 | 111 |  | Andrea V |  | 3 | 3
1 | 0.00 | 21 | P/FINAL | 2026-01-21 | 15:00 | 2026-01-21 | 13:07 | DORINA | 4 | 0.00 | 0.01 | / | / | 0.001 |  |  |  | 0.87 | 127 |  | Andrea V |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2026-01-21 | 15:00 | 2026-01-21 | 13:07 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.261 |  |  | 0.87 | 111 |  | Andrea V |  | 3 | 1
2 | 1.00 | 23 | P/FINAL | 2026-01-21 | 15:52 | 2026-01-21 | 14:56 | ANA | 4 | 0.97 | 0.98 | / | / | 0.502 |  |  |  | 1.53 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2026-01-21 | 15:53 | 2026-01-21 | 14:56 | ANA | 4 | 1.05 | 1.02 | / | / | 0.542 |  |  |  | 1.20 | 124 |  | Andrea V |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2026-01-21 | 15:55 | 2026-01-21 | 14:56 | ANA | 4 | 1.06 | 1.00 | / | / | 0.549 | 6.273 |  |  | 39.1 | 117 |  | Andrea V |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2026-01-21 | 15:58 | 2026-01-21 | 14:56 | ANA | 4 | 4.15 | 4.04 | / | / | 1.962 |  |  |  | 21.1 | 114 |  | Andrea V |  | 3 | 3
3 | 4.00 | 27 | P/FINAL | 2026-01-21 | 15:59 | 2026-01-21 | 14:56 | ANA | 4 | 4.13 | 4.15 | / | / | 1.954 |  |  |  | 23.5 | 124 |  | Andrea V |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2026-01-21 | 15:59 | 2026-01-21 | 14:56 | ANA | 4 | 3.88 | 3.86 | / | / | 1.850 | 6.268 |  |  | 27.3 | 102 |  | Andrea V |  | 3 | 3
1 | 0.00 | 29 | P/FINAL | 2026-01-21 | 16:00 | 2026-01-21 | 14:56 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 21.2 | 98 |  | Andrea V |  | 3 | 1
2 | 1.00 | 30 | Old A | 2026-01-22 | 10:32 | 2026-01-22 | 07:13 | DORINA | 4 | 1.02 | 0.99 | / | / | 0.529 |  |  |  | 3.31 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 31 | Old A | 2026-01-22 | 10:32 | 2026-01-22 | 07:13 | DORINA | 4 | 1.01 | 0.98 | / | / | 0.523 |  |  |  | 3.73 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 32 | Old A | 2026-01-22 | 10:33 | 2026-01-22 | 07:13 | DORINA | 4 | 4.01 | 4.05 | / | / | 1.905 |  |  |  | 13.9 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 33 | Old A | 2026-01-22 | 10:33 | 2026-01-22 | 07:13 | DORINA | 4 | 3.99 | 4.09 | / | / | 1.895 |  |  |  | 2.29 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 34 | Old A | 2026-01-22 | 10:34 | 2026-01-22 | 07:13 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.53 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 35 | Old A | 02026/01/22 | 10:34 | 2026-01-22 | 07:13 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 2.11 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 36 | Old A | 02026/01/22 | 10:35 | 2026-01-22 | 07:13 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 | 6.365 |  |  | 34.0 | 73 |  | Andrea V |  | 3 | 1
1 | 0.00 | 37 | Old A | 02026/01/22 | 10:36 | 2026-01-22 | 07:13 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.28 | 100 |  | Andrea V |  | 3 | 1
2 | 1.00 | 38 | P/FINAL | 02026/01/22 | 10:36 | 2026-01-22 | 07:13 | DORINA | 4 | 1.02 | 0.98 | / | / | 0.529 | 6.190 |  |  | 1.67 | 115 |  | Andrea V |  | 3 | 2
2 | 1.00 | 39 | P/FINAL | 02026/01/22 | 10:37 | 2026-01-22 | 07:13 | DORINA | 4 | 1.03 | 0.99 | / | / | 0.535 |  |  |  | 0.97 | 128 |  | Andrea V |  | 3 | 2
2 | 1.00 | 40 | P/FINAL | 02026/01/22 | 10:37 | 2026-01-22 | 07:13 | DORINA | 4 | 1.03 | 1.05 | / | / | 0.535 |  |  |  | 5.33 | 104 |  | Andrea V |  | 3 | 2
3 | 4.00 | 41 | P/FINAL | 02026/01/22 | 10:38 | 2026-01-22 | 07:13 | DORINA | 4 | 4.01 | 4.08 | / | / | 1.904 |  |  |  | 9.12 | 105 |  | Andrea V |  | 3 | 3
3 | 4.00 | 42 | P/FINAL | 02026/01/22 | 10:38 | 2026-01-22 | 07:13 | DORINA | 4 | 4.02 | 4.06 | / | / | 1.908 |  |  |  | 11.0 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 43 | P/FINAL | 02026/01/22 | 10:39 | 2026-01-22 | 07:13 | DORINA | 4 | 3.96 | 4.02 | / | / | 1.885 | 6.196 |  |  | 6.51 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 44 | P/FINAL | 2026-01-22 | 15:09 | 2026-01-22 | 14:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.146 |  |  | 0.19 | 110 |  | Kinga |  | 3 | 1
1 | 0.00 | 45 | P/FINAL | 2026-01-22 | 15:09 | 2026-01-22 | 14:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.16 | 78 |  | Kinga |  | 3 | 1
2 | 1.00 | 46 | P/FINAL | 2026-01-22 | 15:10 | 2026-01-22 | 14:37 | ANA | 4 | 1.03 | 1.04 | / | / | 0.536 | 6.563 |  |  | 0.15 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 47 | P/FINAL | 2026-01-22 | 15:10 | 2026-01-22 | 14:37 | ANA | 4 | 1.03 | 1.04 | / | / | 0.536 |  |  |  | 0.11 | 118 |  | Kinga |  | 3 | 2
2 | 1.00 | 48 | P/FINAL | 2026-01-22 | 15:10 | 2026-01-22 | 14:37 | ANA | 4 | 1.03 | 1.03 | / | / | 0.533 |  |  |  | 0.11 | 103 |  | Kinga |  | 3 | 2
3 | 4.00 | 49 | P/FINAL | 2026-01-22 | 15:11 | 2026-01-22 | 14:37 | ANA | 4 | 4.08 | 4.09 | / | / | 1.933 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 50 | P/FINAL | 2026-01-22 | 15:11 | 2026-01-22 | 14:37 | ANA | 4 | 4.12 | 4.15 | / | / | 1.948 | 6.407 |  |  | 0.17 | 118 |  | Kinga |  | 3 | 3
3 | 4.00 | 51 | P/FINAL | 2026-01-22 | 15:11 | 2026-01-22 | 14:37 | ANA | 4 | 4.10 | 4.13 | / | / | 1.941 |  |  |  | 0.14 | 96 |  | Kinga |  | 3 | 3
1 | 0.00 | 52 | Old A | 2026-01-23 | 09:09 | 2026-01-23 | 06:51 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 1.86 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 53 | Old A | 2026-01-23 | 09:10 | 2026-01-23 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 54 | Old A | 2026-01-23 | 09:11 | 2026-01-23 | 06:51 | DORINA | 4 | 0.98 | 0.98 | / | / | 0.511 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 55 | Old A | 2026-01-23 | 09:11 | 2026-01-23 | 06:51 | DORINA | 4 | 1.00 | 1.02 | / | / | 0521 |  |  |  | 1.57 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 56 | Old A | 2026-01-23 | 09:12 | 2026-01-23 | 06:51 | DORINA | 4 | 3.91 | 3.97 | / | / | 1.865 |  |  |  | 1.97 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 57 | Old A | 2026-01-23 | 09:13 | 2026-01-23 | 06:51 | DORINA | 4 | 3.94 | 3.94 | / | / | 1.876 |  |  |  | 1.97 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 58 | P/FINAL | 2026-01-23 | 09:13 | 2026-01-23 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.310 |  |  | 1.03 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 59 | P/FINAL | 2026-01-23 | 09:14 | 2026-01-23 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.12 | 121 |  | Kinga |  | 3 | 1
2 | 1.00 | 60 | P/FINAL | 2026-01-23 | 09:16 | 2026-01-23 | 06:51 | DORINA | 4 | 1.01 | 1.04 | / | / | 0.523 |  |  |  | 4.65 | 97 |  | Kinga |  | 3 | 2
2 | 1.00 | 61 | P/FINAL | 2026-01-23 | 09:17 | 2026-01-23 | 06:51 | DORINA | 4 | 1.05 | 1.02 | / | / | 0.543 | 6.198 |  |  | 3.48 | 106 |  | Kinga |  | 3 | 2
2 | 1.00 | 62 | P/FINAL | 2026-01-23 | 09:17 | 2026-01-23 | 06:51 | DORINA | 4 | 1.02 | 1.04 | / | / | 0.537 |  |  |  | 3.41 | 118 |  | Kinga |  | 3 | 2
3 | 4.00 | 63 | P/FINAL | 2026-01-23 | 09:19 | 2026-01-23 | 06:51 | DORINA | 4 | 3.85 | 3.89 | / | / | 1.835 |  |  |  | 3.78 | 126 |  | Kinga |  | 3 | 3
3 | 4.00 | 64 | P/FINAL | 2026-01-23 | 09:19 | 2026-01-23 | 06:51 | DORINA | 4 | 3.85 | 3.88 | / | / | 1.832 | 6.170 |  |  | 1.30 | 111 |  | Kinga |  | 3 | 3
1 | 0.00 | 65 | P/FINAL | 2026-01-23 | 15:39 | 2026-01-23 | 14:21 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 66 | P/FINAL | 2026-01-23 | 15:40 | 2026-01-23 | 14:21 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.16 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 67 | P/FINAL | 2026-01-23 | 15:41 | 2026-01-23 | 14:21 | ANA | 4 | 1.05 | 1.05 | / | / | 0.544 |  |  |  | 0.17 | 116 |  | Andrea V |  | 3 | 2
2 | 1.00 | 68 | P/FINAL | 2026-01-23 | 15:42 | 2026-01-23 | 14:21 | ANA | 4 | 1.04 | 1.05 | / | / | 0.538 |  |  |  | 0.14 | 78 |  | Andrea V |  | 3 | 2
2 | 1.00 | 69 | P/FINAL | 2026-01-23 | 15:47 | 2026-01-23 | 14:21 | ANA | 4 | 1.05 | 1.06 | / | / | 0.542 | 6.198 |  |  | 0.11 | 93 |  | Andrea V |  | 3 | 2
3 | 4.00 | 70 | Old A | 2026-01-23 | 16:02 | 2026-01-23 | 14:21 | ANA |  | 4.12 | 4.13 | / | / | 1.947 |  |  |  | 0.40 | 121 |  | Andrea V |  | 3 | 3
3 | 4.00 | 71 | P/FINAL | 2026-01-23 | 16:03 | 2026-01-23 | 14:21 | ANA |  | 4.05 | 4.07 | / | / | 1.921 |  |  |  | 0.35 | 55 |  | Andrea V |  | 3 | 3
3 | 4.00 | 72 | P/FINAL | 2026-01-23 | 16:04 | 2026-01-23 | 14:21 | ANA |  | 4.14 | 4.15 | / | / | 1.958 | 6.384 |  |  | 0.25 | 112 |  | Andrea V |  | 3 | 3
3 | 4.00 | 73 | P/FINAL | 2026-01-23 | 16:06 | 2026-01-23 | 14:21 | ANA |  | 4.14 | 4.15 | / | / | 1.958 |  |  |  | 0.08 | 108 |  | Andrea V |  | 3 | 3
1 | 0.00 | 74 | P/FINAL | 2026-01-23 | 16:07 | 2026-01-23 | 14:21 | ANA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.21 | 83 |  | Andrea V |  | 3 | 1
1 | 0.00 | 75 | P/FINAL | 2026-01-23 | 16:08 | 2026-01-23 | 14:21 | ANA |  | 0.00 | 0.00 | / | / | 0.008 | 6.190 |  |  | 0.57 | 80 |  | Andrea V |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0 mg/L | 11 | 22 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 1.03 mg/L | 18 | 36 | 1.03 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 4.03 mg/L | 17 | 34 | 4.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 1.03 | YES
4.00 | 3.85 ÷ 4.15 | 4.03 | YES
Validation Date | by