## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1299 | HI93701-0 | CP-R25 | W 03/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2028-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-13 | 2026-01-26 | 4 HEAD |  |  | 1279
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-617 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2026-01-13 | 14:08 | 2026-01-13 | 13:50 | ERIKA |  | 0.96 | 0.96 | / | / | 0.499 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 2 | Old A | 2026-01-13 | 14:09 | 2026-01-13 | 13:50 | ERIKA |  | 0.97 | 0.97 | / | / | 0.505 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 3 | Old A | 2026-01-13 | 14:09 | 2026-01-13 | 13:50 | ERIKA |  | 4.06 | 4.09 | / | / | 1.952 |  |  |  | 1.30 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 4 | Old A | 2026-01-13 | 14:09 | 2026-01-13 | 13:50 | ERIKA |  | 4.03 | 4.06 | / | / | 1.913 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 5 | Old A | 2026-01-13 | 14:10 | 2026-01-13 | 13:50 | ERIKA |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 6 | Old A | 2026-01-13 | 14:10 | 2026-01-13 | 13:50 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 7 | Valid | 2026-01-13 | 14:13 | 2026-01-13 | 13:50 | ERIKA |  | 1.05 | 1.00 | / | / | 0.566 | 6.378 |  |  | 27.3 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 8 | Valid | 2026-01-13 | 14:14 | 2026-01-13 | 13:50 | ERIKA |  | 0.94 | 1.00 | / | / | 0.486 |  |  |  | 17.7 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 9 | Valid | 2026-01-13 | 14:15 | 2026-01-13 | 13:50 | ERIKA |  | 1.04 | 0.97 | / | / | 0.539 |  |  |  | 11.7 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 10 | Valid | 2026-01-13 | 14:18 | 2026-01-13 | 13:50 | ERIKA |  | 3.88 | 3.86 | / | / | 1.851 |  |  |  | 16.5 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 11 | Valid | 2026-01-13 | 14:21 | 2026-01-13 | 13:50 | ERIKA |  | 4.09 | 4.13 | / | / | 1.938 | 6.416 |  |  | 14.1 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 12 | Valid | 2026-01-13 | 14:21 | 2026-01-13 | 13:50 | ERIKA |  | 4.15 | 4.10 | / | / | 1.960 |  |  |  | 14.9 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 13 | Valid | 2026-01-13 | 14:22 | 2026-01-13 | 13:50 | ERIKA |  | 0.00 | 0.00 | / | / | -0.016 |  |  |  | 0.22 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 14 | Valid | 2026-01-13 | 14:22 | 2026-01-13 | 13:50 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 | 6.316 |  |  | 0.17 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 15 | Old A | 2026-01-26 | 09:34 | 2026-01-24 | 07:04 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 16 | Old A | 2026-01-26 | 09:35 | 2026-01-24 | 07:04 | ANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 17 | Old A | 2026-01-26 | 09:38 | 2026-01-24 | 07:04 | ANA | 4 | 1.02 | 0.96 | / | / | 0.528 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 18 | Old A | 2026-01-26 | 09:39 | 2026-01-24 | 07:04 | ANA | 4 | 1.02 | 0.98 | / | / | 0.523 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 19 | Old A | 2026-01-26 | 09:40 | 2026-01-24 | 07:04 | ANA | 4 | 4.09 | 3.98 | / | / | 1.938 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 20 | Old A | 2026-01-26 | 09:40 | 2026-01-24 | 07:04 | ANA | 4 | 4.06 | 3.99 | / | / | 1.939 |  |  |  | 1.11 | 140 |  | Kinga |  | 3 | 3
2 | 1.00 | 21 | P/FINAL | 2026-01-26 | 09:43 | 2026-01-24 | 07:04 | ANA | 4 | 0.95 | 0.94 | / | / | 0.495 |  |  |  | 1.51 | 130 |  | Kinga |  | 3 | 2
2 | 1.00 | 22 | P/FINAL | 2026-01-26 | 09:44 | 2026-01-24 | 07:04 | ANA | 4 | 1.02 | 0.94 | / | / | 0.527 | 6.177 |  |  | 0.47 | 112 |  | Kinga |  | 3 | 2
2 | 1.00 | 23 | P/FINAL | 2026-01-26 | 09:44 | 2026-01-24 | 07:04 | ANA | 4 | 1.01 | 0.98 | / | / | 0.523 |  |  |  | 0.43 | 119 |  | Kinga |  | 3 | 2
3 | 4.00 | 24 | P/FINAL | 2026-01-26 | 09:47 | 2026-01-24 | 07:04 | ANA | 4 | 4.06 | 3.93 | / | / | 1.923 |  |  |  | 1.88 | 114 |  | Kinga |  | 3 | 3
3 | 4.00 | 25 | P/FINAL | 2026-01-26 | 09:48 | 2026-01-24 | 07:04 | ANA | 4 | 4.00 | 3.91 | / | / | 1.901 | 6.145 |  |  | 0.83 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 26 | P/FINAL | 2026-01-26 | 09:53 | 2026-01-24 | 07:04 | ANA | 4 | 4.15 | 4.14 | / | / | 1.961 |  |  |  | 7.23 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2026-01-26 | 09:53 | 2026-01-24 | 07:04 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2026-01-26 | 09:54 | 2026-01-24 | 07:04 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.166 |  |  | 0.43 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 29 | P/FINAL | 2026-01-26 | 10:20 | 2026-01-26 | 07:03 | ANA | 4 | 0.96 | 0.94 | / | / | 0.498 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 30 | P/FINAL | 2026-01-26 | 10:21 | 2026-01-26 | 07:03 | ANA | 4 | 0.96 | 0.94 | / | / | 0.499 |  |  |  | 3.57 | 114 |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2026-01-26 | 10:22 | 2026-01-26 | 07:03 | ANA | 4 | 0.99 | 1.01 | / | / | 0.512 |  |  |  | 1.97 | 115 |  | Kinga |  | 3 | 2
3 | 4.00 | 32 | P/FINAL | 2026-01-26 | 10:24 | 2026-01-26 | 07:03 | Ana | 4 | 3.97 | 3.95 | / | / | 1.890 |  |  |  | 1.97 | 111 |  | Kinga |  | 3 | 3
3 | 4.00 | 33 | P/FINAL | 2026-01-26 | 10:25 | 2026-01-26 | 07:03 | Ana | 4 | 4.01 | 3.94 | / | / | 1.906 |  |  |  | 0.83 | 129 |  | Kinga |  | 3 | 3
3 | 4.00 | 34 | P/FINAL | 2026-01-26 | 10:27 | 2026-01-26 | 07:03 | Ana | 4 | 4.02 | 4.00 | / | / | 1.910 |  |  |  | 0.46 | 115 |  | Kinga |  | 3 | 3
1 | 0.00 | 35 | P/FINAL | 2026-01-26 | 10:28 | 2026-01-26 | 07:03 | Ana | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.23 | 121 |  | Kinga |  | 3 | 1
1 | 0.00 | 36 | P/FINAL | 2026-01-26 | 10:28 | 2026-01-26 | 07:03 | Ana | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2026-01-26 | 15:33 | 2026-01-26 | 14:43 | DORINA | 4 | 0.00 | 0.01 | / | / | -0.001 |  |  |  | 1.50 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 38 | P/FINAL | 2026-01-26 | 15:33 | 2026-01-26 | 14:43 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.154 |  |  | 1.54 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 39 | P/FINAL | 2026-01-26 | 15:36 | 2026-01-26 | 14:43 | DORINA | 4 | 1.05 | 1.03 | / | / | 0.545 |  |  |  | 1.44 | 113 |  | Kinga |  | 3 | 2
2 | 1.00 | 40 | P/FINAL | 2026-01-26 | 15:37 | 2026-01-26 | 14:43 | DORINA | 4 | 0.97 | 1.00 | / | / | 0.504 |  |  |  | 0.49 | 111 |  | Kinga |  | 3 | 2
2 | 1.00 | 41 | P/FINAL | 2026-01-26 | 15:37 | 2026-01-26 | 14:43 | DORINA | 4 | 0.99 | 1.02 | / | / | 0.512 | 6.347 |  |  | 0.46 | 106 |  | Kinga |  | 3 | 2
3 | 4.00 | 42 | P/FINAL | 2026-01-26 | 15:40 | 2026-01-26 | 14:43 | DORINA | 4 | 4.15 | 4.14 | / | / | 1.959 |  |  |  | 2.88 | 121 |  | Kinga |  | 3 | 3
3 | 4.00 | 43 | P/FINAL | 2026-01-26 | 15:41 | 2026-01-26 | 14:43 | DORINA | 4 | 4.13 | 4.15 | / | / | 1.968 | 6.493 |  |  | 0.43 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 44 | P/FINAL | 2026-01-26 | 15:41 | 2026-01-26 | 14:43 | DORINA | 4 | 4.02 | 4.07 | / | / | 1.953 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 45 | Old A | 2026-01-27 | 08:29 | 2026-01-27 | 06:52 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1 | 35547
1 | 0.00 | 46 | Old A | 2026-01-27 | 08:30 | 2026-01-27 | 06:52 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 35547
2 | 1.00 | 47 | Old A | 2026-01-27 | 08:33 | 2026-01-27 | 06:52 | ANA | 4 | 1.02 | 1.03 | / | / | 0.527 |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 2 | 35547
2 | 1.00 | 48 | Old A | 2026-01-27 | 08:33 | 2026-01-27 | 06:52 | ANA | 4 | 1.01 | 1.02 | / | / | 0.524 |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 2 | 35547
3 | 4.00 | 49 | Old A | 2026-01-27 | 08:36 | 2026-01-27 | 06:52 | ANA | 4 | 4.13 | 4.15 | / | / | 1.953 |  |  |  | 0.79 |  |  | Andrea V |  | 3 | 3 | 35547
3 | 4.00 | 50 | Old A | 2026-01-27 | 08:37 | 2026-01-27 | 06:52 | ANA | 4 | 4.11 | 4.12 | / | / | 1.946 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 35547
1 | 0.00 | 51 | P/FINAL | 2026-01-27 | 08:39 | 2026-01-27 | 06:52 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.16 | 110 |  | Andrea V |  | 3 | 1 | 35547
1 | 0.00 | 52 | P/FINAL | 2026-01-27 | 08:40 | 2026-01-27 | 06:52 | ANA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.325 |  |  | 0.57 | 103 |  | Andrea V |  | 3 | 1 | 35547
2 | 1.00 | 53 | P/FINAL | 2026-01-27 | 08:43 | 2026-01-27 | 06:52 | ANA | 4 | 1.01 | 1.04 | / | / | 0.526 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 2 | 35547
2 | 1.00 | 54 | P/FINAL | 2026-01-27 | 08:43 | 2026-01-27 | 06:52 | ANA | 4 | 1.02 | 1.02 | / | / | 0.529 |  |  |  | 0.19 | 110 |  | Andrea V |  | 3 | 2 | 35547
2 | 1.00 | 55 | P/FINAL | 2026-01-27 | 08:45 | 2026-01-27 | 06:52 | ANA | 4 | 1.03 | 1.04 | / | / | 0.532 | 6.385 |  |  | 0.24 | 114 |  | Andrea V |  | 3 | 2 | 35547
3 | 4.00 | 56 | P/FINAL | 2026-01-27 | 08:48 | 2026-01-27 | 06:52 | ANA | 4 | 4.14 | 4.15 | / | / | 1.956 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 35547
3 | 4.00 | 57 | P/FINAL | 2026-01-27 | 08:52 | 2026-01-27 | 06:52 | ANA | 4 | 4.13 | 4.15 | / | / | 1.951 | 6.541 |  |  | 0.08 | 101 |  | Andrea V |  | 3 | 3 | 35547
3 | 4.00 | 58 | P/FINAL | 2026-01-27 | 08:53 | 2026-01-27 | 06:52 | ANA | 4 | 4.12 | 4.14 | / | / | 1.947 |  |  |  | 0.09 | 107 |  | Andrea V |  | 3 | 3 | 35547
1 | 0.00 | 59 | Old A | 2026-01-28 | 08:26 | 2026-01-27 | 15:43 | DORINA | 4 | 0.01 | 0.02 | / | / | 0.010 |  |  |  | 1.53 |  |  | Kinga |  | 3 | 1 | 90510
1 | 0.00 | 60 | Old A | 2026-01-28 | 08:26 | 2026-01-27 | 15:43 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.34 |  |  | Kinga |  | 3 | 1 | 90510
2 | 1.00 | 61 | Old A | 2026-01-28 | 08:27 | 2026-01-27 | 15:43 | DORINA | 4 | 1.04 | 1.03 | / | / | 0.541 |  |  |  | 2.26 |  |  | Kinga |  | 3 | 2 | 90510
2 | 1.00 | 62 | Old A | 2026-01-28 | 08:28 | 2026-01-27 | 15:43 | DORINA | 4 | 1.00 | 1.03 | / | / | 0.538 |  |  |  | 2.21 |  |  | Kinga |  | 3 | 2 | 90510
3 | 4.00 | 63 | Old A | 2026-01-28 | 08:30 | 2026-01-27 | 15:43 | DORINA | 4 | 4.07 | 4.14 | / | / | 1.927 |  |  |  | 16.0 |  |  | Kinga |  | 3 | 3 | 90510
3 | 4.00 | 64 | Old A | 2026-01-28 | 08:31 | 2026-01-27 | 15:43 | DORINA | 4 | 4.05 | 4.12 | / | / | 1.926 |  |  |  | 13.6 |  |  | Kinga |  | 3 | 3 | 90510
1 | 0.00 | 65 | P/FINAL | 2026-01-28 | 08:33 | 2026-01-27 | 15:43 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 14.9 |  |  | Kinga |  | 3 | 1 | 90510
1 | 0.00 | 66 | P/FINAL | 2026-01-28 | 08:33 | 2026-01-27 | 15:43 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.267 |  |  | 12.9 | 109 |  | Kinga |  | 3 | 1 | 90510
2 | 1.00 | 67 | P/FINAL | 2026-01-28 | 08:36 | 2026-01-27 | 15:43 | DORINA | 4 | 1.01 | 1.01 | / | / | 0.523 |  |  |  | 3.15 | 119 |  | Kinga |  | 3 | 2 | 90510
2 | 1.00 | 68 | P/FINAL | 2026-01-28 | 08:36 | 2026-01-27 | 15:43 | DORINA | 4 | 0.99 | 1.00 | / | / | 0.513 |  |  |  | 1.17 | 117 |  | Kinga |  | 3 | 2 | 90510
2 | 1.00 | 69 | P/FINAL | 2026-01-28 | 08:37 | 2026-01-27 | 15:43 | DORINA | 4 | 1.00 | 1.02 | / | / | 0.515 | 6.326 |  |  | 0.25 | 117 |  | Kinga |  | 3 | 2 | 90510
3 | 4.00 | 70 | P/FINAL | 2026-01-28 | 08:39 | 2026-01-27 | 15:43 | DORINA | 4 | 3.91 | 3.85 | / | / | 1.864 |  |  |  | 2.07 | 115 |  | Kinga |  | 3 | 3 | 90510
3 | 4.00 | 71 | P/FINAL | 2026-01-28 | 08:40 | 2026-01-27 | 15:43 | DORINA | 4 | 4.12 | 4.15 | / | / | 1.956 |  |  |  | 2.13 | 117 |  | Kinga |  | 3 | 3 | 90510
3 | 4.00 | 72 | P/FINAL | 2026-01-28 | 08:41 | 2026-01-27 | 15:43 | DORINA | 4 | 4.14 | 4.08 | / | / | 1.955 | 6.568 |  |  | 0.80 |  |  | Kinga |  | 3 | 3 | 90510
1 | 0.00 | 73 | P/FINAL | 2026-01-28 | 08:46 | 2026-01-28 | 07:02 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 1 | 90510
1 | 0.00 | 74 | P/FINAL | 2026-01-28 | 08:46 | 2026-01-28 | 07:02 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.265 |  |  | 0.21 |  |  | Kinga |  | 3 | 1 | 90510
2 | 1.00 | 75 | P/FINAL | 2026-01-28 | 08:48 | 2026-01-28 | 07:02 | ANA | 4 | 1.01 | 1.02 | / | / | 0.525 |  |  |  | 1.55 | 19 |  | Kinga |  | 3 | 2 | 90510
2 | 1.00 | 76 | P/FINAL | 2026-01-28 | 08:49 | 2026-01-28 | 07:02 | ANA | 4 | 0.96 | 0.96 | / | / | 0.499 |  |  |  | 1.14 | 106 |  | Kinga |  | 3 | 2 | 90510
2 | 1.00 | 77 | P/FINAL | 2026-01-28 | 08:49 | 2026-01-28 | 07:02 | ANA | 4 | 0.98 | 0.96 | / | / | 0.504 | 6.277 |  |  | 1.18 | 115 |  | Kinga |  | 3 | 2 | 90510
3 | 4.00 | 78 | P/FINAL | 2026-01-28 | 08:53 | 2026-01-28 | 07:02 | ANA | 4 | 4.09 | 4.12 | / | / | 1.935 |  |  |  | 7.00 | 107 |  | Kinga |  | 3 | 3 | 90510
3 | 4.00 | 79 | P/FINAL | 2026-01-28 | 08:53 | 2026-01-28 | 07:02 | ANA | 4 | 3.99 | 3.87 | / | / | 1.898 |  |  |  | 7.68 |  |  | Kinga |  | 3 | 3 | 90510
3 | 4.00 | 80 | P/FINAL | 2026-01-28 | 08:54 | 2026-01-28 | 07:02 | ANA | 4 | 4.00 | 3.98 | / | / | 1.899 | 6.307 |  |  | 7.78 |  |  | Kinga |  | 3 | 3 | 90510
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.99 mg/L | 18 | 36 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 4.05 mg/L | 18 | 36 | 4.05 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.05 | YES
Validation Date | by