## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0818 | HI96779B-0 | CP-R25 | W46/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine Dioxide Reagent B | 2026-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0711 | 0818
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-11-01 | 2026-11-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2024-11-19 | 2024-11-20 | 4HEAD |  |  |  | 0754
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97779 | CTO-651
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | CTO-320 | HI98703 | CTO-850
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.55 | 0.32 | 0.78 |  | CM357 |  | 0.20 | & | 5% | 100%
3 | 1.65 | 1.37 | 1.93 | [8 empty] | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.20
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97779 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.55 | 1 | Old A | 2024-11-20 | 09:49 | 2024-11-20 |  | ERIKA | 4 | 0.35 | 0.35 | / | / | 0.070 |  |  |  | 1.89 |  | 1 | Brigitta P |  | 3 | 2 |  | SOMTHING MICROBIOLOGIC, INSIDE THE CUVETT
2 | 0.55 | 2 | Old B | 2024-11-20 | 09:52 | 2024-11-20 |  | ERIKA | 4 | 0.34 | 0.28 | / | / | 0.069 |  | 5.789 |  | 3.76 |  | 1 | Brigitta P |  | 3 | 2 |  | X
3 | 1.65 | 3 | Old B | 2024-11-20 | 09:55 | 2024-11-20 |  | ERIKA | 4 | 1.68 | 1.54 | / | / | 0.296 |  |  |  | 0.294 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.65 | 4 | Old B | 2024-11-20 | 09:56 | 2024-11-20 |  | ERIKA | 4 | 1.70 | 1.52 | / | / | 0.300 |  | 5.801 |  | 3.76 |  | 1 | Brigitta P |  | 3 | 3
2 | 0.55 | 5 | P/Final | 2024-11-20 | 10:40 | 2024-11-20 | 20:16 | DORINA | 4 | 0.64 | 0.66 | / | / | 0.118 |  |  |  | 0.12 | 125 | 1 | Brigitta P |  | 3 | 2
2 | 0.55 | 6 | P/Final | 2024-11-20 | 10:41 | 2024-11-20 | 20:16 | DORINA | 4 | 0.60 | 0.62 | / | / | 0.111 |  | 5.796 |  | 0.18 | 121 | 1 | Brigitta P |  | 3 | 2
2 | 0.55 | 7 | P/Final | 2024-11-20 | 10:50 | 2024-11-20 | 20:16 | DORINA | 4 | 0.62 | 0.66 | / | / | 0.115 |  |  |  | 0.21 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.65 | 8 | P/Final | 2024-11-20 | 10:50 | 2024-11-20 | 20:16 | DORINA | 4 | 1.93 | 1.93 | / | / | 0.370 |  | 5.716 |  | 0.21 | 118 | 1 | Brigitta P |  | 3 | 2
3 | 1.65 | 9 | P/Final | 2024-11-20 | 10:50 | 2024-11-20 | 20:16 | DORINA | 4 | 1.89 | 1.91 | / | / | 0.354 |  |  |  | 0.35 | 122 | 1 | Brigitta P |  | 3 | 2
3 | 1.65 | 10 | P/Final | 2024-11-20 | 10:50 | 2024-11-20 | 20:16 | DORINA | 4 | 1.91 | 1.92 | / | / | 0.358 |  | 5.713 |  | 0.20 |  | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 11 | P/Final | 2024-11-20 | 11:00 | 2024-11-20 | 20:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.20 | 125 | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 12 | P/Final | 2024-11-20 | 11:00 | 2024-11-20 | 20:16 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.001 |  | 5.752 |  | 0.22 |  | 1 | Brigitta P |  | 3 | 2
1 | 0.00 | 13 | P/Final | 2024-11-20 | 11:09 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.22 | 123 | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 14 | P/Final | 2024-11-20 | 11:09 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  | 5.797 |  | 0.26 |  | 1 | Brigitta P |  | 3 | 1
3 | 1.65 | 15 | P/Final | 2024-11-20 | 11:10 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 1.51 | 1.56 | / | / | 0.261 |  |  |  | 2.10 | 121 | 1 | Brigitta P |  | 3 | 3
3 | 1.65 | 16 | P/Final | 2024-11-20 | 11:11 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 1.50 | 1.50 | / | / | 0.260 |  | 5.772 |  | 2.49 | 108 | 1 | Brigitta P |  | 3 | 3
3 | 1.65 | 17 | P/Final | 2024-11-20 | 11:11 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 1.53 | 1.57 | / | / | 0.266 |  |  |  | 1.51 |  | 1 | Brigitta P |  | 3 | 3
2 | 0.55 | 18 | P/Final | 2024-11-20 | 11:16 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 0.33 | 0.38 | / | / | 0.067 |  | 5.769 |  | 1.63 | 131 | 1 | Brigitta P |  | 3 | 2
2 | 0.55 | 19 | P/Final | 2024-11-20 | 11:17 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 0.28 | 0.33 | / | / | 0.058 |  |  |  | 1.63 | 110 | 1 | Brigitta P |  | 3 | 2
2 | 0.55 | 20 | P/Final | 2024-11-20 | 11:17 | 2024-11-20 | 06:42 | GIORGIANA | 4 | 0.33 | 0.39 | / | / | 0.067 |  | 5.800 |  | 1.99 |  | 1 | Brigitta P |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.49 mg/L | 6 | 12 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.72 mg/L | 6 | 12 | 1.72 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.20 | 0.00 | YES
0.55 | 0.32 ÷ 0.78 | 0.49 | YES
1.65 | 1.37 ÷ 1.93 | 1.72 | YES
Validation Date | by