## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1015 | HI96779B-0 | CP-R25 | W17/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine Dioxide Reagent B | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-05-08 | 2025-05-08 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97779 | CTO-651
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.55 | 0.42 | 0.68 |  | CM357 |  | 0.10 | & | 5% | 100%
3 | 1.65 | 1.47 | 1.83 | [8 empty] | 6.0 | 5.7 | 6.3
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.55 | 1 | Old B | 2025-05-08 | 11:15 | 2025-05-08 | 09:44 | ANA |  | 0.58 | 0.58 | / | / | 0.108 |  |  |  | 0.85 |  |  | Brigitta P |  | 3 | 2
2 | 0.55 | 2 | Old B | 2025-05-08 | 11:16 | 2025-05-08 | 09:44 | ANA |  | 0.58 | 0.60 | / | / | 0.108 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 2
3 | 1.65 | 3 | Old B | 2025-05-08 | 11:23 | 2025-05-08 | 09:44 | ANA |  | 1.83 | 1.83 | / | / | 0.340 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 3
3 | 1.65 | 4 | Old B | 2025-05-08 | 11:25 | 2025-05-08 | 09:44 | ANA |  | 1.86 | 1.87 | / | / | 0.340 |  |  |  | 1.11 |  |  | Brigitta P |  | 3 | 3
3 | 1.65 | 5 | P/FINAL | 2025-05-08 | 11:34 | 2025-05-08 | 09:44 | ANA |  | 1.65 | 1.66 | / | / | 0.291 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 3
3 | 1.65 | 6 | P/FINAL | 2025-05-08 | 11:35 | 2025-05-08 | 09:44 | ANA |  | 1.65 | 1.65 | / | / | 0.290 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 3
3 | 1.65 | 7 | P/FINAL | 2025-05-08 | 11:35 | 2025-05-08 | 09:44 | ANA |  | 1.64 | 1.65 | / | / | 0.287 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3
3 | 1.65 | 8 | P/FINAL | 2025-05-08 | 11:36 | 2025-05-08 | 09:44 | ANA |  | 1.65 | 1.64 | / | / | 0.289 |  | 5.812 |  | 0.31 |  |  | Brigitta P |  | 3 | 3
2 | 0.55 | 9 | P/FINAL | 2025-05-08 | 11:40 | 2025-05-08 | 09:44 | ANA |  | 0.57 | 0.57 | / | / | 0.106 |  |  |  | 0.12 |  |  | Brigitta P |  | 3 | 2
2 | 0.55 | 10 | P/FINAL | 2025-05-08 | 11:41 | 2025-05-08 | 09:44 | ANA |  | 0.59 | 0.60 | / | / | 0.110 |  |  |  | 0.46 |  |  | Brigitta P |  | 3 | 2
2 | 0.55 | 11 | P/FINAL | 2025-05-08 | 11:43 | 2025-05-08 | 09:44 | ANA |  | 0.57 | 0.61 | / | / | 0.106 |  | 6.137 |  | 0.56 |  |  | Brigitta P |  | 3 | 2
2 | 0.55 | 12 | P/FINAL | 2025-05-08 | 11:43 | 2025-05-08 | 09:44 | ANA |  | 0.54 | 0.58 | / | / | 0.102 |  |  |  | 0.17 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 13 | P/FINAL | 2025-05-08 | 11:45 | 2025-05-08 | 09:44 | ANA |  | 0.00 | 0.00 | / | / | -0.001 |  | 5.826 |  | 0.19 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 14 | P/FINAL | 2025-05-08 | 11:46 | 2025-05-08 | 09:44 | ANA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.58 mg/L | 4 | 8 | 0.58 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.65 mg/L | 4 | 8 | 1.65 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
0.55 | 0.42 ÷ 0.68 | 0.58 | YES
1.65 | 1.47 ÷ 1.83 | 1.65 | YES
Validation Date | by